## Bid Form
APPENDIX K BID PRICING FORM (REVISED) 23-TA004736DJ ELWOOD STATION BOOSTER PUMP UPGRADES PROJECT #6097370 |  |  |  |  | EOR McKim and Creed
Bidders must provide prices for each available line item on each tab for their bid to be considered responsive. *To be considered responsive, it is the sole responsibility of the bidder to correctly calculate and manually enter all sub-total, contingency, and total bid price fields.
ITEM # | BRIEF DESCRIPTION OF ITEMS | UNIT | ESTIMATED QUANTITY | ESTIMATED QUANTITY | UNIT BID PRICE | AMOUNT | UNIT BID PRICE | AMOUNT
1 | Mobilization/Demobilization | LS | 1 | 1 | 320000 | 320000
2 | Demolition
2A | Pumps 1, 6 and 7 | EA | 3 | 3 | 15000 | 45000
3 | Mechanical Improvements
3A | Pump and Motor Replacement (Pumps 1, 6 and 7) | EA | 3 | 3 | 185000 | 555000
3B | 36-inch Butterfly Valve | EA | 3 | 3 | 25000 | 75000
3C | 30" Flow Control Valve | EA | 1 | 1 | 100000 | 100000
3D | 36" Ductile Iron Pipe | LF | 550 | 550 | 700 | 385000
3E | 30" Ducticle Iron Pipe | LF | 25 | 25 10 | 650 | 16250 |  |  | Qty Change
3F | 36'' 90° Bend | EA | 5 | 5 | 15800 | 79000
3G | 36'' 45° Bend | EA | 2 | 2 | 12600 | 25200
3H | 36" Tee | EA | 2 | 2 | 22000 | 44000
3I | 36" x 30" Tee | EA | 1 | 1 | 32000 | 32000
3J | 36'' Blind FL | EA | 1 | 1 | 9200 | 9200
3K | 36" 30" Flange Adapter | EA | 1 | 1 | 8200 | 8200 |  |  | Size Change
3L | 36" x 30" FL Concentric Reducer | EA | 1 | 1 | 36800 | 36800
3M | 12"x10" FL ECC Reducer | EA | 2 | 2 | 4000 | 8000
3N | 14"x12" FL ECC Reducer | EA | 2 | 2 | 4600 | 9200
3O | Bollards | EA | 8 | 8 | 700 | 5600
3P | 2" Air Release Valve | EA | 1 | 1 5 | 9000 | 9000 |  |  | Qty Change
3Q | Pipe Supports | EA | 5 | 5 | 3500 | 17500
3R | Equipment Pad | CY | 3 | 3 | 1400 | 4200
Mechanical Improvements - CROM TANK
3S | Mixer | EA | 3 | 3 | 65000 | 195000
3T | Inlet Pipe at Crom Tanks | EA | 3 | 3 | 380000 | 1140000
3U | Outlet Vortex Baffle | EA | 3 | 3 | 15000 | 45000
4 | Instrumentation & Controls
4A | Field Equipment | LS | 1 | 1 | 44400 | 44400
4B | Panel Equipment | LS | 1 | 1 | 10200 | 10200
4C | Network Modification Cable | LS | 1 | 1 | 500 | 500
4D | Spare Parts | LS | 1 | 1 | 950 | 950
4E | System Integration, Start Up, Testing and Software Implementation | LS | 1 | 1 | 91000 | 91000
5 | Electrical
5A | Equipment Relocation | LS | 1 | 1 | 158000 | 158000
5B | Demolition | LS | 1 | 1 | 11900 | 11900
5C | Panelboards | EA | 5 | 5 | 9880 | 49400
5D | Safety Disconnects, Junction and Terminal Boxes | EA | 4 | 4 | 1325 | 5300
5E | Rigid Conduit | LF | 2900 | 2900 | 42 | 121800
5F | Low Voltage Cables | LF | 11188 | 11188 | 8.25 | 92301
5G | Instrumentation Cable | LF | 100 | 100 | 35 | 3500
5H | Grounding and Bonding (Equipment Ground part of Low Voltage Cables)
5H-1 | Ground Rods | EA | 4 | 4 | 225 | 900
5H-2 | Bare Copper Cable #8 | FT | 40 | 40 | 22.5 | 900
5H-3 | Insulated Cable #8 | FT | 40 | 40 | 22.5 | 900
6 | Permit Allowance-REIMBURSEMENT OF ACTUAL AMOUNT PAID | LS | 1 | 1 | 5000 | 5000 | 5000 | 5000
7 | Record Drawings | LS | 1 | 1 | 10000 | 10000
SUBTOTAL | [5 empty] | 3771101
8 | Contract Contingency (Used only with County Approval) | LS | 10% | 10% |  | 377110.1
GRAND TOTAL | [5 empty] | 4148211.1
BIDDER NAME________________________________________________
BIDDER SIGNATURE___________________________________________
Bidders must provide prices for each available line item on each tab for their bid to be considered responsive. *To be considered responsive, it is the sole responsibility of the bidder to correctly calculate and manually enter all sub-total, contingency and total bid price fields.