## PDF Bid Form
APPENDIX K, BID PRICING FORM
IFBC NO. 20-TA003437AJ
SATELLITE LIFT (LS) STATION R&R 2020 Group 1
BID BASED ON A COMPLETION TIME OF 270 CALENDAR DAYS
ITEM NO. | DESCRIPTION | U/M | QTY. | UNIT PRICE | EXTENDED PRICE ($)
LS Manatee Palms 312
1 | Wetwell Cleaning | SF | 290 |  | 0
2 | Wetwell Discharge Piping, HDPE DR-11, 4" | LF | 42 |  | 0
3 | Pump Base Ells, BPIU-14 | EA | 2 |  | 0
4 | Pump Base Ell Mounting Plate | EA | 2 |  | 0
5 | S.S. Pipe Bracing, 6 ft dia. | EA | 2 |  | 0
6 | Modify Existing Rim Elevation
6.1 | Wet Well | VF | 0.25 |  | 0
7 | Replace Existing Top Slab
7.1 | Intentionally Left Blank
7.2 | Valve Vault | EA | 1 |  | 0
8 | PVC Vent, Sch 80, 4" | EA | 1 |  | 0
9 | Aluminum Hatch Cover, 30" x 54", single door (Wetwell) | EA | 1 |  | 0
10 | Aluminum Hatch Cover, 48" x 48", double door (Valve Vault) | EA | 1 |  | 0
11 | 2" S.S.Pump Guide Rail System | LF | 25 |  | 0
12 | Resilient (Link) Seals w/ Carrier Pipe & Liner Repair | EA | 5 |  | 0
13 | Wetwell Liner, spray-on | SF | 290 |  | 0
14 | Intentionally Left Blank
15 | Remove & Replace Ex. PVC Drain P-trap (regrout) | EA | 1 |  | 0
16 | Intentionally Left Blank
17 | Gate Valve, FLG, 4" | EA | 3 |  | 0
18 | Swing Check Valve, FLG, 4" | EA | 2 |  | 0
19 | Gate Valve, MJ, 4" | EA | 1 |  | 0
20 | Intentionally Left Blank
21 | Pipe, PVC (DR-18), 4" | LF | 10 |  | 0
22 | Ductile Iron Fittings
22.1 | Intentionally Left Blank
22.2 | Cross, FLG, 4" | EA | 1 |  | 0
22.3 | 90, FLG, 4" | EA | 2 |  | 0
22.4 | 90, MJ, 4" | EA | 1 |  | 0
22.5 | Intentionally Left Blank
23 | Coupling Adapters, D.I., FLG, 4" | EA | 1 |  | 0
24 | Quick Coupler Adapter, aluminum, male w/ Alum. Dust Cap, 4" | EA | 1 |  | 0
25 | Intentionally Left Blank
26 | Intentionally Left Blank
27 | Complete Removal of Existing Structure | EA | 1 |  | 0
28 | Construct New Valve Vault | EA | 1 |  | 0
29 | Intentionally Left Blank
30 | Influent Line Plug, 8" | EA | 1 |  | 0
31 | By-Pass Pumping | LS | 1 |  | 0
32 | Water Service Connection and Line
32.1 | 2" saddle and PE tubing | LF | 50 |  | 0
33 | Upgrade / Relocate Ex. Meter, Backflow, & Hose Bibb Assembly | EA | 1 |  | 0
34 | Replace Ex. Tapping Saddle; Install Brass Plug | EA | 1 |  | 0
35 | Remove & Replace Electric Meter Can | EA | 1 |  | 0
36 | Remove & Replace Fused Safety Switch (disconnect) | EA | 1 |  | 0
37 | Remove & Replace Control Panel | EA | 1 |  | 0
37.1 | Includes TCU Bubbler Unit (TBU-360) by DFS | EA | 1 |  | 0
38 | TCU & Fiberglass Enclosure, DFS | EA | 1 |  | 0
39 | Junction Box, 304 SS | EA | 1 |  | 0
40 | Remove & Replace Sch 80 PVC Conduit | LF | 30 |  | 0
41 | Remove & Replace Electrical Service | LF | 20 |  | 0
42 | Remove & Replace Electrical Mounting Structure | EA | 1 |  | 0
43 | Elect. System Study & Elect. Study Analysis, (NFPA 70E), complete | LS | 1 |  | 0
44 | Ex. Antenna Concrete Base, remove & disposal | LS | 1 |  | 0
45 | Intentionally Left Blank
46 | Brick & Mortar Valve Supports, 3 Total, Max. 8" High (if required) | VF | 3 |  | 0
47 | Intentionally Left Blank
48 | Intentionally Left Blank
49 | Intentionally Left Blank
50 | Concrete Repair, 2" thick (if required) | SF | 145 |  | 0
51 | Intentionally Left Blank
52 | Sodding | SY | 66 |  | 0
53 | Existing Manhole Rim, modification | EA | 1 |  | 0
54-63 | Intentionally Left Blank
Subtotal Construction Cost |  |  |  |  | 0
64 | Mobilization* | LS | 1 |  | 0
65 | Record Drawings* | LS | 1 |  | 0
| Total Base Bid Based on Completion Time of 270 Calendar Days for Manatee Palms 312 |  |  |  | 0
66 | Contract Contingency (10% of Subtotal Construction Cost) |  | 10% |  | 0
| Total Bid with Contract Contingency Based on Completion Time of 270 Calendar Days for Manatee Palms 312 |  |  |  | 0
ITEM NO. | DESCRIPTION | U/M | QTY. | UNIT PRICE | EXTENDED PRICE ($)
LS Rye Rd School 355
1 | Wetwell Cleaning | SF | 354 |  | 0
2 | Wetwell Discharge Piping, HDPE DR-11, 4" | LF | 56 |  | 0
3 | Pump Base Ells, BPIU-14 | EA | 2 |  | 0
4 | Pump Base Ell Mounting Plate | EA | 2 |  | 0
5 | S.S. Pipe Bracing, 6 ft dia. | EA | 2 |  | 0
6 | Modify Existing Rim Elevation
6.1 | Wet Well | VF | 0.5 |  | 0
7 | Replace Existing Top Slab
7.1 | Wet Well | EA | 1 |  | 0
7.2 | Intentionally Left Blank
8 | PVC Vent, Sch 80, 6" | EA | 1 |  | 0
9 | Aluminum Hatch Cover, 36" x 48", single door (Wetwell) | EA | 1 |  | 0
10 | Intentionally Left Blank
11 | 2" S.S.Pump Guide Rail System | LF | 32 |  | 0
12 | Intentionally Left Blank
13 | Wetwell Liner, spray-on | SF | 354 |  | 0
14 | Remove Ex. Liner | SF | 354 |  | 0
15 | Intentionally Left Blank
16 | Grout Fill Ex. Drain, abandon | EA | 1 |  | 0
17 | Gate Valve, FLG, 4" | EA | 3 |  | 0
18 | Swing Check Valve, FLG, 4" | EA | 2 |  | 0
19 | Gate Valve, MJ, 6" | EA | 1 |  | 0
20 | Pipe, D.I., FLG, 4" | LF | 5 |  | 0
21 | Pipe, PVC (DR-18), 4" | LF | 10 |  | 0
22 | Ductile Iron Fittings
22.1 | Tee, FLG, 4" | EA | 2 |  | 0
22.2 | Intentionally Left Blank
22.3 | 90, FLG, 4" | EA | 1 |  | 0
22.4 | 90, MJ, 4" | EA | 1 |  | 0
22.5 | Reducer, MJ, 4"x6" | EA | 1 |  | 0
23 | Intentionally Left Blank
24 | Quick Coupler Adapter, aluminum, male w/ Alum. Dust Cap, 4" | EA | 1 |  | 0
25 | S.S. Adjustable Valve Supports, FLG attachment | EA | 2 |  | 0
26 | Abandon Existing Structure | EA | 1 |  | 0
27 | Intentionally Left Blank
28 | Intentionally Left Blank
29 | Concrete Slab, Valve Assembly | EA | 1 |  | 0
30 | Influent Line Plug, 10" | EA | 1 |  | 0
31 | By-Pass Pumping | LS | 1 |  | 0
32 | Water Service Connection and Line
32.1 | 2" saddle and PE tubing | LF | 23 |  | 0
33 | Upgrade / Relocate Ex. Meter, Backflow, & Hose Bibb Assembly | EA | 1 |  | 0
34 | Replace Ex. Tapping Saddle; Install Brass Plug | EA | 1 |  | 0
35 | Remove & Replace Electric Meter Can | EA | 1 |  | 0
36 | Remove & Replace Fused Safety Switch (disconnect) | EA | 1 |  | 0
37 | Remove & Replace Control Panel | EA | 1 |  | 0
37.1 | Includes TCU Bubbler Unit (TBU-360) by DFS | EA | 1 |  | 0
38 | TCU & Fiberglass Enclosure, DFS | EA | 1 |  | 0
39 | Junction Box, 304 SS | EA | 1 |  | 0
40 | Remove & Replace Sch 80 PVC Conduit | LF | 30 |  | 0
41 | Remove & Replace Electrical Service | LF | 20 |  | 0
42 | Remove & Replace Electrical Mounting Structure | EA | 1 |  | 0
43 | Elect. System Study & Elect. Study Analysis, (NFPA 70E), complete | LS | 1 |  | 0
44 | Ex. Antenna Concrete Base, remove & disposal | LS | 1 |  | 0
45 | Washed Shell with Weed Barrier | SY | 150 |  | 0
46 | Intentionally Left Blank
47 | 6' High Black Vinyl Coated Galvanized Fence | LF | 16 |  | 0
48 | 6' High Black Vinyl Coated Galvanized Fence Gate | EA | 1 |  | 0
49 | 6' High Black Vinyl Coated Galvanized Corner/Gate Post | EA | 6 |  | 0
50 | Concrete Repair, 2" thick (if required) | SF | 177 |  | 0
51 | Install New Lift Station Driveway, 6" thick concrete | SY | 24 |  | 0
52 | Intentionally Left Blank
53 | Intentionally Left Blank
Subtotal Construction Cost |  |  |  |  | 0
EMERGENCY GENERATOR REMOVAL-EMERGENCY BACKUP PUMP INSTALLATION
54 | Site Demolition | LS | 1 |  | 0
55 | Reinforced Concrete Slab (poured in place) | SY | 15 |  | 0
56 | Emergency Backup Pump & Fuel Tank | LS | 1 |  | 0
57 | PVC Pipe (C900, DR-18), 6" (Pump Discharge Line) | LF | 26 |  | 0
58 | HDPE DR-11, 8" (Pump Suction Line) | LF | 32 |  | 0
59 | Ductile Iron Fittings
59.1 | 4"x6" Red., DI, FLG | EA | 2 |  | 0
59.2 | 4"x8" Red., DI, FLG | EA | 1 |  | 0
59.3 | 6" 45 deg., DI, FLG | EA | 2 |  | 0
59.4 | 6" 90 deg., DI, FLG | EA | 1 |  | 0
59.5 | 8" 45 deg., DI, FLG | EA | 1 |  | 0
59.6 | 8" 90 deg., DI, FLG | EA | 1 |  | 0
59.7 | 8" 90 deg., DI, MJ | EA | 1 |  | 0
60 | Sch 80 PVC Conduit, 2" | LF | 15 |  | 0
61 | Level Transducer, GXS3-PP300-A49-B49-50-C01-D49 | EA | 1 |  | 0
62 | PVC Stilling Well, 6" | LF | 28 |  | 0
63 | Permits | LS | 1 |  | 0
Generator Subtotal Construction Cost |  |  |  |  | 0
Subtotal Overall Cost |  |  |  |  | 0
64 | Mobilization | LF | 1 |  | 0
65 | Record Drawings | LS | 1 |  | 0
| Total Base Bid Based on Completion Time of 270 Calendar Days |  |  |  | 0
64 | Contract Contingency (10% of Subtotal Construction Cost) |  | 10% |  | 0
| Total Bid with Contract Contingency Based on Completion Time of 270 Calendar Days for LS Rye Rd School 355 |  |  |  | 0
ITEM NO. | DESCRIPTION | U/M | QTY. | UNIT PRICE | EXTENDED PRICE ($)
LS River Wilderness 3 531
1 | Wetwell Cleaning | SF | 502 |  | 0
2 | Wetwell Discharge Piping, HDPE DR-11, 4" | LF | 63 |  | 0
3 | Pump Base Ells, BPIU-14 | EA | 2 |  | 0
4 | Pump Base Ell Mounting Plate | EA | 2 |  | 0
5 | S.S. Pipe Bracing, 7 ft dia. | EA | 2 |  | 0
6 | Intentionally Left Blank
6.1 | Intentionally Left Blank
7 | Replace Existing Top Slab
7.1 | Wet Well | EA | 1 |  | 0
7.2 | Intentionally Left Blank
8 | PVC Vent, Sch 80, 4" | EA | 1 |  | 0
9 | Aluminum Hatch Cover, 36" x 48", single door (Wetwell) | EA | 1 |  | 0
10 | Intentionally Left Blank
11 | 2" S.S.Pump Guide Rail System | LF | 39 |  | 0
12 | Intentionally Left Blank
13 | Wetwell Liner, spray-on | SF | 502 |  | 0
14 | Intentionally Left Blank
15 | Intentionally Left Blank
16 | Grout Fill Ex. Drain, abandon | EA | 1 |  | 0
17 | Gate Valve, FLG, 4" | EA | 3 |  | 0
18 | Swing Check Valve, FLG, 4" | EA | 2 |  | 0
19 | Gate Valve, MJ, 4" | EA | 1 |  | 0
20 | Pipe, D.I., FLG, 4" | LF | 5 |  | 0
21 | Pipe, PVC (DR-18), 4" | LF | 18 |  | 0
22 | Ductile Iron Fittings
22.1 | Tee, FLG, 4" | EA | 2 |  | 0
22.2 | Intentionally Left Blank
22.3 | 90, FLG, 4" | EA | 1 |  | 0
22.4 | 90, MJ, 4" | EA | 1 |  | 0
22.5 | Intentionally Left Blank
23 | Coupling Adapters, D.I., FLG, 4" | EA | 1 |  | 0
24 | Quick Coupler Adapter, aluminum, male w/ Alum. Dust Cap, 4" | EA | 1 |  | 0
25 | S.S. Adjustable Valve Supports, FLG attachment | EA | 2 |  | 0
26 | Abandon Existing Structure | EA | 1 |  | 0
27 | Intentionally Left Blank
28 | Intentionally Left Blank
29 | Concrete Slab, Valve Assembly | EA | 1 |  | 0
30 | Influent Line Plug, 8" | EA | 1 |  | 0
31 | By-Pass Pumping | LS | 1 |  | 0
32 | Water Service Connection and Line
32.1 | 2" saddle and PE tubing | LF | 55 |  | 0
33 | Upgrade / Relocate Ex. Meter, Backflow, & Hose Bibb Assembly | EA | 1 |  | 0
34 | Replace Ex. Tapping Saddle; Install Brass Plug | EA | 1 |  | 0
35 | Remove & Replace Electric Meter Can | EA | 1 |  | 0
36 | Remove & Replace Fused Safety Switch (disconnect) | EA | 1 |  | 0
37 | Remove & Replace Control Panel | EA | 1 |  | 0
37.1 | Includes TCU Bubbler Unit (TBU-360) by DFS | EA | 1 |  | 0
38 | TCU & Fiberglass Enclosure, DFS | EA | 1 |  | 0
39 | Junction Box, 304 SS | EA | 1 |  | 0
40 | Remove & Replace Sch 80 PVC Conduit | LF | 30 |  | 0
41 | Intentionally Left Blank
42 | Remove & Replace Electrical Mounting Structure | EA | 1 |  | 0
43 | Elect. System Study & Elect. Study Analysis, (NFPA 70E), complete | LS | 1 |  | 0
44 | Ex. Antenna Concrete Base, remove & disposal | LS | 1 |  | 0
45 | Intentionally Left Blank
46 | Intentionally Left Blank
47 | Intentionally Left Blank
48 | Intentionally Left Blank
49 | Intentionally Left Blank
50 | Concrete Repair, 2" thick (if required) | SF | 251 |  | 0
51 | Install New Lift Station Driveway, 6" thick concrete | SY | 266 |  | 0
52 | Sodding | SY | 50 |  | 0
53 | Existing Manhole Rim, modification | EA | 1 |  | 0
54-63 | Intentionally Left Blank
Subtotal Construction Cost |  |  |  |  | 0
64 | Mobilization* | LS | 1 |  | 0
65 | Record Drawings* | LS | 1 |  | 0
| Total Base Bid Based on Completion Time of 270 Calendar Days |  |  |  | 0
66 | Contract Contingency (10% of Subtotal Construction Cost) |  | 10% |  | 0
| Total Bid with Contract Contingency Based on Completion Time of 270 Calendar Days for River Wilderness 3 531 |  |  |  | 0
| Grand Total Bid with Contract Contingency Based on Completion Time of 270 Calendar Days (Manatee Palm 312 + Rye Rd School 355 + River Wilderness 3 531) |  |  |  | 0