## OVERALL ESTIMATE LS 21 GRP 2
OVERALL ESTIMATE LS 21 GRP 2
|  | APPENDIX K, BID PRICING FORMS |  |  |  |  | =MID(CELL("filename"),FIND("]",CELL("filename"))+1,255)
IFBC NO. 21-TA003585AJ
SATELLITE LIFT STATION (LS) R&R 2021 GROUP 2 ·LS MORTON VILLAGE RTU 110 ·LS PALM COURT RTU 145 ·LS HARBOUR LANDINGS ESTATES RTU 153 ·LS 15D RTU 218
SLS R&R 2021 GROUP 2, REHAB WETWELL, VALVE VAULT, & PIPING FOR LIFT STATION
BIDS BASED ON A COMPLETION TIME OF 240 CALENDAR DAYS
LIFT STATION REHABILITATION
| ITEM NO. | DESCRIPTION | UNITS | QTY. | UNIT PRICE ($) | EXTENDED PRICE ($) | Morton Village | Palm Court | Harbour Landings Estates | 15D
1AA | 1 | Wetwell Cleaning | SF |  |  | 0 | 0 | 0 | 0 | 0
4-8AA | 2 | Wetwell Discharge Piping, HDPE DR-11 | LF |  |  | 0 | 0 | 0 | 0 | 0
20-22AA | 3 | Pump Base Ells, BPIU | EA |  |  | 0 | 0 | 0 | 0 | 0
23-26AA | 4 | Pump Base Ell Mounting Plate | EA |  |  | 0 | 0 | 0 | 0 | 0
26-32AA | 5 | S.S. Pipe Bracing | EA |  |  | 0 | 0 | 0 | 0 | 0
34-37AA | 6 | Modify Existing Rim Elevation, wet well | VF |  |  | 0 | 0 | 0 | 0 | 0
38-41AA | 7 | Replace Existing Top Slab, wet well | EA |  |  | 0 | 0 | 0 | 0 | 0
| 8 | PVC Vent, Sch 80, 4" | EA |  |  | 0 | 0 | 0 | 0 | 0
42-48AA | 9 | Aluminum Hatch Cover, varies, single door (Wetwell) | EA |  |  | 0 | 0 | 0 | 0 | 0
49AA | 10 | 2" S.S.Pump Guide Rail System | LF |  |  | 0 | 0 | 0 | 0 | 0
59-65AA | 11 | Liner, spray-on | SF |  |  | 0 | 0 | 0 | 0 | 0
| 12 | Remove / Repair Ex. Liner | SF |  |  | 0 | 0 | 0 | 0 | 0
| 13 | Grout Fill Ex. Drain, abandon | EA |  |  | 0 | 0 | 0 | 0 | 0
73-77AA | 14 | Gate Valve, FLG | EA |  |  | 0 | 0 | 0 | 0 | 0
78-82AA | 15 | Swing Check Valve, FLG | EA |  |  | 0 | 0 | 0 | 0 | 0
101-105AA | 16 | Gate Valve, MJ | EA |  |  | 0 | 0 | 0 | 0 | 0
83-87AA | 17 | Pipe, D.I., FLG | LF |  |  | 0 | 0 | 0 | 0 | 0
106-110AA | 18 | Pipe, PVC (DR-18) | LF |  |  | 0 | 0 | 0 | 0 | 0
88AA | 19 | Ductile Iron Fittings
| 19.1 | Tee, FLG | EA |  |  | 0 | 0 | 0 | 0 | 0
| 19.2 | 90, FLG | EA |  |  | 0 | 0 | 0 | 0 | 0
| 19.3 | 90, MJ | EA |  |  | 0 | 0 | 0 | 0 | 0
| 19.4 | 45, MJ | EA |  |  | 0 | 0 | 0 | 0 | 0
| 19.5 | MJ Sleeve | EA |  |  | 0 | 0 | 0 | 0 | 0
95-96AA | 20 | Quick Coupler Adapter, aluminum, male, w/ Alum. Dust Cap | EA |  |  | 0 | 0 | 0 | 0 | 0
97AA | 21 | S.S. Adjustable Valve Supports, FLG attachment | EA |  |  | 0 | 0 | 0 | 0 | 0
| 22 | Abandon Existing Structure | EA |  |  | 0 | 0 | 0 | 0 | 0
| 23 | Concrete Slab, Valve Assembly | EA |  |  | 0 | 0 | 0 | 0 | 0
116-123AA | 24 | Influent Line Plug | EA |  |  | 0 | 0 | 0 | 0 | 0
124-127AA | 25 | By-Pass Pumping | LS |  |  | 0 | 0 | 0 | 0 | 0
129AA | 26 | Water Service Connection and Line, 2" | LF |  |  | 0 | 0 | 0 | 0 | 0
| 27 | Upgrade / Relocate Ex. Meter, Backflow, & Hose Bibb Assembly | EA |  |  | 0 | 0 | 0 | 0 | 0
| 28 | Replace Ex. Tapping Saddle; Install Brass Plug | EA |  |  | 0 | 0 | 0 | 0 | 0
| 29 | Washed Shell with Weed Barrier | SY |  |  | 0 | 0 | 0 | 0 | 0
17A | 30 | Concrete Repair, Wet Well, 2" thick, (if required) | SF |  |  | 0 | 0 | 0 | 0 | 0
19A | 31 | Install New Lift Station Driveway, 6" thick concrete | SY |  |  | 0 | 0 | 0 | 0 | 0
| 32 | Curb, Miami | LF |  |  | 0 | 0 | 0 | 0 | 0
| 33 | Sodding | SY |  |  | 0 | 0 | 0 | 0 | 0
| 34 | Landscape Removal | LS |  |  | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0
|  | Subtotal Construction Cost |  |  |  | 0 | 0 | 0 | 0 | 0
| 35 | Mobilization |  |  |  | 0 | 0 | 0 | 0 | 0
| 36 | Record Drawings |  |  |  | 0 | 0 | 0 | 0 | 0
Total Base Bid Based on Completion time of 240 Calendar days
| 37 | Contract Contingency | LS | 10% |  | 0 | 0 | 0 | 0 | 0
|  | Total Bid with Contingency Based on Completion Time of 240 Calendar Days |  |  |  | 0 | 0 | 0 | 0 | 0
1000
| 1001 | Influent Drop Bowl/Pipe | EA |  |  | 0
| 1002 | New Polymer Concrete Lift Station & Aboveground Valve Assembly | LS |  |  | 0
| 1003 | Convert Ex. Lift Station to Concentric Manhole | LS |  |  | 0
| 1004 | Site Demolition | LS |  |  | 0
| 1005 | Tree Removal; 1"-6" | EA |  |  | 0
| 1006 | Fill Dirt, clean and compacted | CY |  |  | 0
| 1007 | Retaining Wall, railroad tie construction | LS |  |  | 0
| 1008 | Site Demolition | LS |  |  | 0
| 1009 | Reinforced Concrete Slab (poured in place) | SY |  |  | 0
| 1010 | Emergency Backup Pump & Fuel Tank | LS |  |  | 0
| 1011 | PVC Pipe (C900, DR-18), 6" (Pump Discharge Line) | LF |  |  | 0
| 1012 | HDPE DR-11, 8" (Pump Suction Line) | LF |  |  | 0
| 1013 | Ductile Iron Fittings
| 1013.1 | Red., FLG, 4"x6" | EA |  |  | 0
| 1013.2 | Red., FLG, 4"x8" | EA |  |  | 0
| 1013.3 | 45, MJ, 6" | EA |  |  | 0
| 1013.4 | 90, FLG, 6" | EA |  |  | 0
| 1013.5 | 45, FLG, 8" | EA |  |  | 0
| 1013.6 | 90, FLG. 8" | EA |  |  | 0
| 1013.7 | 90, MJ, 8" | EA |  |  | 0
| 1013.8 | 90, HDPE Molded , Fusion Welded, 8" | EA |  |  | 0
| 1014 | Sch 80 PVC Conduit, 2" | LF |  |  | 0
| 1015 | Level Transducer, GXS3-PP300-A49-B49-50-C01-D49 | EA |  |  | 0
| 1016 | PVC Stilling Well, 6" | LF |  |  | 0
| 1017 | Permits | LS |  |  | 0

## Morton Village 110
APPENDIX K, BID PRICING FORMS
IFBC NO. 21-TA003585AJ
SLS R&R 2021 GROUP 2, REHAB WETWELL, VALVE VAULT, & PIPING FOR LIFT STATION
BIDS BASED ON A COMPLETION TIME OF 240 CALENDAR DAYS
LS MORTON VILLAGE RTU 110 - PROJECT NO. 402.5158380
| ITEM NO. | DESCRIPTION | U/M | QTY. | UNIT PRICE | EXTENDED PRICE ($)
1AA | 1 | Wetwell Cleaning | SF | 434 |  | 0
4-8AA | 2 | Wetwell Discharge Piping, HDPE DR-11, 4" | LF | 54 |  | 0 |  | 4
20-22AA | 3 | Pump Base Ells, BPIU-14 | EA | 2 |  | 0
23-26AA | 4 | Pump Base Ell Mounting Plate | EA | 2 |  | 0
26-32AA | 5 | S.S. Pipe Bracing, 6 ft dia. | EA | 3 |  | 0
34-37AA | 6 | Modify Existing Rim Elevation, wet well | VF | 1.5 |  | 0
38-41AA | 7 | Replace Existing Top Slab, wet well | EA | 1 |  | 0
| 8 | PVC Vent, Sch 80, 4" | EA | 1 |  | 0
42-48AA | 9 | Aluminum Hatch Cover, 36" x 48", single door (Wetwell) | EA | 1 |  | 0
49AA | 10 | 2" S.S.Pump Guide Rail System | LF | 40 |  | 0
59-65AA | 11 | Liner, spray-on | SF | 434 |  | 0
| 12 | Left Intentionally Blank
| 13 | Grout Fill Ex. Drain, abandon | EA | 1 |  | 0 |  |  |  |  | Hatch Cover Size Requirements
73-77AA | 14 | Gate Valve, FLG, 4" | EA | 3 |  | 0 |  |  |  |  | Disch Pipe Size |  | Hatch Size | WW Dia. Range
78-82AA | 15 | Swing Check Valve, FLG, 4" | EA | 2 |  | 0 |  |  |  |  | 3" |  | 30"x32" | 41" | *side-out let tee
1-12P | 16 | Gate Valve, MJ, 4" | EA | 1 |  | 0 |  |  |  |  | 4"* |  | 30"x42" | 4' | *side-out let tee
83-87AA | 17 | Pipe, D.I., FLG, 4" | LF | 5 |  | 0 |  |  |  |  | 4" |  | 30"x48" | 5'
106-110AA | 18 | Pipe, PVC (DR-18), 4" | LF | 10 |  | 0 |  |  |  |  | 4" |  | 36"x48" | 6'
88AA | 19 | Ductile Iron Fittings | [8 empty] | 6" |  | 36"x60" | 6', 8'
| 19.1 | Tee, FLG, 4" | EA | 2 |  | 0 |  |  |  |  | 8" |  | 36"x72" | 8'
| 19.2 | 90, FLG, 4" | EA | 1 |  | 0
| 19.3 | 90, MJ, 4" | EA | 1 |  | 0
| 19.4 | Left Intentionally Blank
| 19.5 | MJ Sleeve, 4" | EA | 1 |  | 0
95-96AA | 20 | Quick Coupler Adapter, aluminum, male, w/ Alum. Dust Cap, 4" | EA | 1 |  | 0
97AA | 21 | S.S. Adjustable Valve Supports, FLG attachment | EA | 2 |  | 0 |  |  |  |  | Below | Above
| 22 | Abandon Existing Structure | EA | 1 |  | 0 |  |  |  |  | 0 | 2
| 23 | Concrete Slab, Valve Assembly | EA | 1 |  | 0 |  |  |  |  | 1 | 0
116-123AA | 24 | Influent Line Plug, 8" | EA | 1 |  | 0 |  |  |  |  | 2 | 1
124-127AA | 25 | By-Pass Pumping | LS | 1 |  | 0 |  |  |  |  | 0 | 1
129AA | 26 | Left Intentionally Blank
| 27 | Upgrade / Relocate Ex. Meter, Backflow, & Hose Bibb Assembly | EA | 1 |  | 0
| 28 | Left Intentionally Blank
| 29 | Mulch with Weed Barrier | SY | 15 |  | 0
| 30 | Concrete Repair, Wet Well, 2" thick, (if required) | SF | 217 |  | 0
| 31 | Install New Lift Station Driveway, 6" thick concrete | SY | 38 |  | 0
| 32 | Left Intentionally Blank
15A | 33 | Sodding | SY | 150 |  | 0
| 34 | Landscape Removal, 14 vibernums & leafy plant | LS | 1 |  | 0
|  | Subtotal Construction Cost |  |  |  | 0
| 35 | Mobilization | LS | 1 |  | 0 | 10%
| 36 | Record Drawings | LS | 1 |  | 0 | 1.7%
Total Base Bid Based on Completion time of 240 Calendar days
| 37 | Contract Contingency | LS | 10% |  | 0
|  | Total Bid with Contingency Based on Completion Time of 240 Calendar Days |  |  |  | 0
[9 empty] | Design Point: | 125 | @ | 76
|  | taken from Lsinfo 2018 | Top Elevation: | 24.5 | NGVD | WW Depth: | [5 empty] | 1 pump | 2 pumps (150%)
|  |  | Bottom Elevation: | 6 | NGVD | 20 |  |  |  | Dia. Disch. Pipe (in) | Design Flow (gpm) | Vel. In Disch. Pipe (f/s) | Vel. In Disch. Pipe (f/s)
|  |  | Wet Well Dia: | 6 | ft |  |  |  |  | 3.89 | 125 | 3.3762 | 5.0642
|  |  | WW2Cross: | 5 | ft | No. of Pumps | [5 empty] | Keep Size
|  |  | Cross2P.V.: | 5 | ft | 2
|  |  | Top or Bottom Surface Area: | 29 | sq-ft |  |  |  |  | If Vel. In Disch. Pipe (1 pump) ≥ 8 f/s upsize pipe diameter
|  |  | Total Internal Surface Area: | 434 | sq-ft | Add Stilling Well
|  |  | Wall Surface Area: | 376 | sq-ft | No |  |  |  | DIA. | HDPE ID | PVC ID | Sch 80
|  |  | Wet Well to be Raised/(Lowered): | 1.5 | ft
|  |  | Valve Vault to be Raised: | 0 | ft | New Spray Liner |  |  |  | 2 | 2.05 |  | 2.047
|  |  | Meter Vault to be Raised: | 0 | ft | Yes |  |  |  | 4 | 3.89 | 4.27
|  |  | Concrete Floor & Fillit Concrete Vol: | 2 | cu-yd |  |  |  |  | 6 | 5.59 | 6.13
[6 empty] | Above Ground Valve Assembly |  |  |  | 8 | 7.34 | 8.04
Yes
Replace Guide Rails?
Yes
1000
| 1001 | Influent Drop Bowl/Pipe | EA |  |  | 0
| 1002 | New Polymer Concrete Lift Station & Aboveground Valve Assembly | LS |  |  | 0
| 1003 | Convert Ex. Lift Station to Concentric Manhole | LS |  |  | 0
| 1004 | Site Demolition | LS |  |  | 0
| 1005 | Tree Removal; 1"-6" | EA |  |  | 0
| 1006 | Fill Dirt, clean and compacted | CY |  |  | 0
| 1007 | Retaining Wall, railroad tie construction | LS |  |  | 0
| 1008 | Site Demolition | LS |  |  | 0
| 1009 | Reinforced Concrete Slab (poured in place) | SY |  |  | 0
| 1010 | Emergency Backup Pump & Fuel Tank | LS |  |  | 0
| 1011 | PVC Pipe (C900, DR-18), 6" (Pump Discharge Line) | LF |  |  | 0
| 1012 | HDPE DR-11, 8" (Pump Suction Line) | LF |  |  | 0
| 1013 | Ductile Iron Fittings
| 1013.1 | Red., FLG, 4"x6" | EA |  |  | 0
| 1013.2 | Red., FLG, 4"x8" | EA |  |  | 0 | [8 empty] | Yes
| 1013.3 | 45, MJ, 6" | EA |  |  | 0 | [8 empty] | No
| 1013.4 | 90, FLG, 6" | EA |  |  | 0
| 1013.5 | 45, FLG, 8" | EA |  |  | 0
| 1013.6 | 90, FLG. 8" | EA |  |  | 0
| 1013.7 | 90, MJ, 8" | EA |  |  | 0
| 1013.8 | 90, HDPE Molded , Fusion Welded, 8" | EA |  |  | 0
| 1014 | Sch 80 PVC Conduit, 2" | LF |  |  | 0
| 1015 | Level Transducer, GXS3-PP300-A49-B49-50-C01-D49 | EA |  |  | 0
| 1016 | PVC Stilling Well, 6" | LF |  |  | 0
| 1017 | Permits | LS |  |  | 0
Note on M39: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: might need an extra bend for quick connect; might need a reducer

## Palm Court 145
APPENDIX K, BID PRICING FORMS
IFBC NO. 21-TA003585AJ
SLS R&R 2021 GROUP 2, REHAB WETWELL, VALVE VAULT, & PIPING FOR LIFT STATION
BIDS BASED ON A COMPLETION TIME OF 240 CALENDAR DAYS
LS PALM COURT RTU 145 - PROJECT NO. 402.5158480
| ITEM NO. | DESCRIPTION | U/M | QTY. | UNIT PRICE | EXTENDED PRICE ($)
1AA | 1 | Wetwell Cleaning | SF | 583 |  | 0
4-8AA | 2 | Wetwell Discharge Piping, HDPE DR-11, 6" | LF | 57 |  | 0 |  | 6
20-22AA | 3 | Pump Base Ells, BPIU-14 | EA | 2 |  | 0
23-26AA | 4 | Pump Base Ell Mounting Plate | EA | 2 |  | 0
26-32AA | 5 | S.S. Pipe Bracing, 8 ft dia. | EA | 3 |  | 0
34-37AA | 6 | Left Intentionally Blank
38-41AA | 7 | Replace Existing Top Slab, wet well | EA | 1 |  | 0
| 8 | PVC Vent, Sch 80, 6" | EA | 1 |  | 0
42-48AA | 9 | Aluminum Hatch Cover, 36" x 60", single door (Wetwell) | EA | 1 |  | 0
49AA | 10 | 2" S.S.Pump Guide Rail System | LF | 39 |  | 0
59-65AA | 11 | Liner, spray-on | SF | 583 |  | 0
| 12 | Left Intentionally Blank
| 13 | Grout Fill Ex. Drain, abandon | EA | 1 |  | 0 |  |  |  |  | Hatch Cover Size Requirements
73-77AA | 14 | Gate Valve, FLG, 6" | EA | 3 |  | 0 |  |  |  |  | Disch Pipe Size |  | Hatch Size | WW Dia. Range
78-82AA | 15 | Swing Check Valve, FLG, 6" | EA | 2 |  | 0 |  |  |  |  | 3" |  | 30"x32" | 41" | *side-out let tee
1-12P | 16 | Gate Valve, MJ, 6" | EA | 1 |  | 0 |  |  |  |  | 4"* |  | 30"x42" | 4' | *side-out let tee
83-87AA | 17 | Pipe, D.I., FLG, 6" | LF | 5 |  | 0 |  |  |  |  | 4" |  | 30"x48" | 5'
106-110AA | 18 | Pipe, PVC (DR-18), 6" | LF | 10 |  | 0 |  |  |  |  | 4" |  | 36"x48" | 6'
88AA | 19 | Ductile Iron Fittings | [8 empty] | 6" |  | 36"x60" | 6', 8'
| 19.1 | Tee, FLG, 6" | EA | 2 |  | 0 |  |  |  |  | 8" |  | 36"x72" | 8'
| 19.2 | 90, FLG, 6" | EA | 1 |  | 0
| 19.3 | 90, MJ, 6" | EA | 1 |  | 0
| 19.4 | 45, MJ, 6" | EA | 4 |  | 0
| 19.5 | MJ Sleeve, 6" | EA | 1 |  | 0
95-96AA | 20 | Quick Coupler Adapter, aluminum, male, w/ Alum. Dust Cap, 6" | EA | 1 |  | 0
97AA | 21 | S.S. Adjustable Valve Supports, FLG attachment | EA | 2 |  | 0 |  |  |  |  | Below | Above
| 22 | Abandon Existing Structure | EA | 1 |  | 0 |  |  |  |  | 0 | 2
| 23 | Concrete Slab, Valve Assembly | EA | 1 |  | 0 |  |  |  |  | 1 | 0
116-123AA | 24 | Influent Line Plug, 8" | EA | 1 |  | 0 |  |  |  |  | 2 | 1
124-127AA | 25 | By-Pass Pumping | LS | 1 |  | 0 |  |  |  |  | 0 | 1
129AA | 26 | Left Intentionally Blank
29AB | 27 | Upgrade / Relocate Ex. Meter, Backflow, & Hose Bibb Assembly | EA | 1 |  | 0
| 28 | Left Intentionally Blank
| 29 | Mulch with Weed Barrier | SY | 60 |  | 0
| 30 | Concrete Repair, Wet Well, 2" thick, (if required) | SF | 292 |  | 0
| 31 | Install New Lift Station Driveway, 6" thick concrete | SY | 200 |  | 0
| 32 | Curb, miami | LF | 45 |  | 0
15A | 33 | Sodding | SY | 60 |  | 0
| 34 | Left Intentionally Blank
|  | Subtotal Construction Cost |  |  |  | 0
| 35 | Mobilization | LS | 1 |  | 0 | 10%
| 36 | Record Drawings | LS | 1 |  | 0 | 1.4%
Total Base Bid Based on Completion time of 240 Calendar days
| 37 | Contract Contingency |  | 10% |  | 0
|  | Total Bid with Contingency Based on Completion Time of 240 Calendar Days |  |  |  | 0
[9 empty] | Design Point: | 700 | @ | 43.7
|  | taken from Lsinfo 2018 | Top Elevation: | 8.7 | NGVD | WW Depth: | [5 empty] | 1 pump | 2 pumps (150%)
|  |  | Bottom Elevation: | -10.5 | NGVD | 19.2 |  |  |  | Dia. Disch. Pipe (in) | Design Flow (gpm) | Vel. In Disch. Pipe (f/s) | Vel. In Disch. Pipe (f/s)
|  |  | Wet Well Dia: | 8 | ft |  |  |  |  | 5.59 | 420 | 5.4933 | 8.24
|  |  | WW2Cross: | 7 | ft | No. of Pumps | [5 empty] | Keep Size
|  |  | Cross2P.V.: | 3 | ft | 2
|  |  | Top or Bottom Surface Area: | 51 | sq-ft |  |  |  |  | If Vel. In Disch. Pipe (1 pump) ≥ 8 f/s upsize pipe diameter
|  |  | Total Internal Surface Area: | 583 | sq-ft | Add Stilling Well
|  |  | Wall Surface Area: | 481 | sq-ft | No |  |  |  | DIA. | HDPE ID | PVC ID | Sch 80
|  |  | Wet Well to be Raised/(Lowered): | 0 | ft
|  |  | Valve Vault to be Raised: | 0 | ft | New Spray Liner |  |  |  | 2 |  |  | 2.047
|  |  | Meter Vault to be Raised: | 0 | ft | Yes |  |  |  | 4 | 3.89 | 4.27
|  |  | Concrete Floor & Fillit Concrete Vol: | 3 | cu-yd |  |  |  |  | 6 | 5.59 | 6.13
[6 empty] | Above Ground Valve Assembly |  |  |  | 8 | 7.34 | 8.04
Yes
Replace Guide Rails?
Yes
1000
| 1001 | Influent Drop Bowl/Pipe | EA |  |  | 0
| 1002 | New Polymer Concrete Lift Station & Aboveground Valve Assembly | LS |  |  | 0
| 1003 | Convert Ex. Lift Station to Concentric Manhole | LS |  |  | 0
| 1004 | Site Demolition | LS |  |  | 0
| 1005 | Tree Removal; 1"-6" | EA |  |  | 0
| 1006 | Fill Dirt, clean and compacted | CY |  |  | 0
| 1007 | Retaining Wall, railroad tie construction | LS |  |  | 0
| 1008 | Site Demolition | LS |  |  | 0
| 1009 | Reinforced Concrete Slab (poured in place) | SY |  |  | 0
| 1010 | Emergency Backup Pump & Fuel Tank | LS |  |  | 0
| 1011 | PVC Pipe (C900, DR-18), 6" (Pump Discharge Line) | LF |  |  | 0
| 1012 | HDPE DR-11, 8" (Pump Suction Line) | LF |  |  | 0
| 1013 | Ductile Iron Fittings
| 1013.1 | Red., FLG, 4"x6" | EA |  |  | 0
| 1013.2 | Red., FLG, 4"x8" | EA |  |  | 0 | [8 empty] | Yes
| 1013.3 | 45, MJ, 6" | EA |  |  | 0 | [8 empty] | No
| 1013.4 | 90, FLG, 6" | EA |  |  | 0
| 1013.5 | 45, FLG, 8" | EA |  |  | 0
| 1013.6 | 90, FLG. 8" | EA |  |  | 0
| 1013.7 | 90, MJ, 8" | EA |  |  | 0
| 1013.8 | 90, HDPE Molded , Fusion Welded, 8" | EA |  |  | 0
| 1014 | Sch 80 PVC Conduit, 2" | LF |  |  | 0
| 1015 | Level Transducer, GXS3-PP300-A49-B49-50-C01-D49 | EA |  |  | 0
| 1016 | PVC Stilling Well, 6" | LF |  |  | 0
| 1017 | Permits | LS |  |  | 0

## Harbour Landings Estates 153
APPENDIX K, BID PRICING FORMS
IFBC NO. 21-TA003585AJ
SLS R&R 2021 GROUP 2, REHAB WETWELL, VALVE VAULT, & PIPING FOR LIFT STATION
BIDS BASED ON A COMPLETION TIME OF 240 CALENDAR DAYS
LS HARBOUR LANDINGS ESTATES RTU 153 - PROJECT NO. 402.5158580
| ITEM NO. | DESCRIPTION | U/M | QTY. | UNIT PRICE | EXTENDED PRICE ($)
1AA | 1 | Wetwell Cleaning | SF | 391 |  | 0
4-8AA | 2 | Wetwell Discharge Piping, HDPE DR-11, 4" | LF | 52 |  | 0 |  | 4
20-22AA | 3 | Pump Base Ells, BPIU-14 | EA | 2 |  | 0
23-26AA | 4 | Pump Base Ell Mounting Plate | EA | 2 |  | 0
26-32AA | 5 | S.S. Pipe Bracing, 6 ft dia. | EA | 2 |  | 0
34-37AA | 6 | Left Intentionally Blank
38-41AA | 7 | Replace Existing Top Slab, wet well | EA | 1 |  | 0
| 8 | PVC Vent, Sch 80, 4" | EA | 1 |  | 0
42-48AA | 9 | Aluminum Hatch Cover, 36" x 48", single door (Wetwell) | EA | 1 |  | 0
49AA | 10 | 2" S.S.Pump Guide Rail System | LF | 36 |  | 0
59-65AA | 11 | Liner, spray-on | SF | 391 |  | 0
| 12 | Left Intentionally Blank
| 13 | Grout Fill Ex. Drain, abandon | EA | 1 |  | 0 |  |  |  |  | Hatch Cover Size Requirements
73-77AA | 14 | Gate Valve, FLG, 4" | EA | 3 |  | 0 |  |  |  |  | Disch Pipe Size |  | Hatch Size | WW Dia. Range
78-82AA | 15 | Swing Check Valve, FLG, 4" | EA | 2 |  | 0 |  |  |  |  | 3" |  | 30"x32" | 41" | *side-out let tee
1-12P | 16 | Gate Valve, MJ, 4" | EA | 1 |  | 0 |  |  |  |  | 4"* |  | 30"x42" | 4' | *side-out let tee
83-87AA | 17 | Pipe, D.I., FLG, 4" | LF | 5 |  | 0 |  |  |  |  | 4" |  | 30"x48" | 5'
106-110AA | 18 | Pipe, PVC (DR-18), 4" | LF | 10 |  | 0 |  |  |  |  | 4" |  | 36"x48" | 6'
88AA | 19 | Ductile Iron Fittings | [8 empty] | 6" |  | 36"x60" | 6', 8'
| 19.1 | Tee, FLG, 4" | EA | 2 |  | 0 |  |  |  |  | 8" |  | 36"x72" | 8'
| 19.2 | 90, FLG, 4" | EA | 1 |  | 0
| 19.3 | 90, MJ, 4" | EA | 1 |  | 0
| 19.4 | Left Intentionally Blank
| 19.5 | MJ Sleeve, 4" | EA | 1 |  | 0
95-96AA | 20 | Quick Coupler Adapter, aluminum, male, w/ Alum. Dust Cap, 4" | EA | 1 |  | 0
97AA | 21 | S.S. Adjustable Valve Supports, FLG attachment | EA | 2 |  | 0 |  |  |  |  | Below | Above
| 22 | Abandon Existing Structure | EA | 1 |  | 0 |  |  |  |  | 0 | 2
| 23 | Concrete Slab, Valve Assembly | EA | 1 |  | 0 |  |  |  |  | 1 | 0
116-123AA | 24 | Influent Line Plug, 8" | EA | 2 |  | 0 |  |  |  |  | 2 | 1
124-127AA | 25 | By-Pass Pumping | LS | 1 |  | 0 |  |  |  |  | 0 | 1
129AA | 26 | Left Intentionally Blank
29AB | 27 | Upgrade / Relocate Ex. Meter, Backflow, & Hose Bibb Assembly | EA | 1 |  | 0
| 28 | Left Intentionally Blank
| 29 | Washed Shell with Weed Barrier | SY | 30 |  | 0
| 30 | Concrete Repair, Wet Well, 2" thick, (if required) | SF | 196 |  | 0
| 31 | Left Intentionally Blank
| 32 | Left Intentionally Blank
15A | 33 | Sodding | SY | 25 |  | 0
| 34 | Left Intentionally Blank
|  | Subtotal Construction Cost |  |  |  | 0
| 35 | Mobilization | LS | 1 |  | 0 | 10%
| 36 | Record Drawings | LS | 1 |  | 0 | 1.7%
|  | Total Base Bid Based on Completion time of 240 Calendar days | [13 empty] | 1
| 37 | Contract Contingency |  | 10% |  | 0
|  | Total Bid with Contingency Based on Completion Time of 240 Calendar Days |  |  |  | 0
[9 empty] | Design Point: | 109.5 | @ | 26
|  | taken from Lsinfo 2018 | Top Elevation: | 17.75 | NGVD | WW Depth: | [5 empty] | 1 pump | 2 pumps (150%)
|  |  | Bottom Elevation: | 0 | NGVD | 17.75 |  |  |  | Dia. Disch. Pipe (in) | Design Flow (gpm) | Vel. In Disch. Pipe (f/s) | Vel. In Disch. Pipe (f/s)
|  |  | Wet Well Dia: | 6 | ft |  |  |  |  | 3.89 | 109.5 | 2.9575 | 4.4363
|  |  | WW2Cross: | 6 | ft | No. of Pumps | [5 empty] | Keep Size
|  |  | Cross2P.V.: | 4 | ft | 2
|  |  | Top or Bottom Surface Area: | 29 | sq-ft |  |  |  |  | If Vel. In Disch. Pipe (1 pump) ≥ 8 f/s upsize pipe diameter
|  |  | Total Internal Surface Area: | 391 | sq-ft | Add Stilling Well
|  |  | Wall Surface Area: | 333 | sq-ft | No |  |  |  | DIA. | HDPE ID | PVC ID | Sch 80
|  |  | Wet Well to be Raised/(Lowered): | 0 | ft
|  |  | Valve Vault to be Raised: | 0 | ft | New Spray Liner |  |  |  | 2 |  |  | 2.047
|  |  | Meter Vault to be Raised: | 0 | ft | Yes |  |  |  | 4 | 3.89 | 4.27
|  |  | Concrete Floor & Fillit Concrete Vol: | 2 | cu-yd |  |  |  |  | 6 | 5.59 | 6.13
[6 empty] | Above Ground Valve Assembly |  |  |  | 8 | 7.34 | 8.04
Yes
Replace Guide Rails?
Yes
1000
| 1001 | Influent Drop Bowl/Pipe | EA |  |  | 0
| 1002 | New Polymer Concrete Lift Station & Aboveground Valve Assembly | LS |  |  | 0
| 1003 | Convert Ex. Lift Station to Concentric Manhole | LS |  |  | 0
| 1004 | Site Demolition | LS |  |  | 0
| 1005 | Tree Removal; 1"-6" | EA |  |  | 0
| 1006 | Fill Dirt, clean and compacted | CY |  |  | 0
| 1007 | Retaining Wall, railroad tie construction | LS |  |  | 0
| 1008 | Site Demolition | LS |  |  | 0
| 1009 | Reinforced Concrete Slab (poured in place) | SY |  |  | 0
| 1010 | Emergency Backup Pump & Fuel Tank | LS |  |  | 0
| 1011 | PVC Pipe (C900, DR-18), 6" (Pump Discharge Line) | LF |  |  | 0
| 1012 | HDPE DR-11, 8" (Pump Suction Line) | LF |  |  | 0
| 1013 | Ductile Iron Fittings
| 1013.1 | Red., FLG, 4"x6" | EA |  |  | 0
| 1013.2 | Red., FLG, 4"x8" | EA |  |  | 0 | [8 empty] | Yes
| 1013.3 | 45, MJ, 6" | EA |  |  | 0 | [8 empty] | No
| 1013.4 | 90, FLG, 6" | EA |  |  | 0
| 1013.5 | 45, FLG, 8" | EA |  |  | 0
| 1013.6 | 90, FLG. 8" | EA |  |  | 0
| 1013.7 | 90, MJ, 8" | EA |  |  | 0
| 1013.8 | 90, HDPE Molded , Fusion Welded, 8" | EA |  |  | 0
| 1014 | Sch 80 PVC Conduit, 2" | LF |  |  | 0
| 1015 | Level Transducer, GXS3-PP300-A49-B49-50-C01-D49 | EA |  |  | 0
| 1016 | PVC Stilling Well, 6" | LF |  |  | 0
| 1017 | Permits | LS |  |  | 0

## 15D 218
APPENDIX K, BID PRICING FORMS
IFBC NO. 21-TA003585AJ
SLS R&R 2021 GROUP 2, REHAB WETWELL, VALVE VAULT, & PIPING FOR LIFT STATION
BIDS BASED ON A COMPLETION TIME OF 240 CALENDAR DAYS
LS 15D RTU 218 - PROJECT NO. 402.5121081
| ITEM NO. | DESCRIPTION | U/M | QTY. | UNIT PRICE | EXTENDED PRICE ($)
1AA | 1 | Wetwell Cleaning | SF | 679 |  | 0
4-8AA | 2 | Wetwell Discharge Piping, HDPE DR-11, 6" | LF | 94 |  | 0 |  | 6
20-22AA | 3 | Pump Base Ells, BPIU-14 | EA | 2 |  | 0
23-26AA | 4 | Pump Base Ell Mounting Plate | EA | 2 |  | 0
26-32AA | 5 | S.S. Pipe Bracing, 8 ft dia. | EA | 3 |  | 0
34-37AA | 6 | Modify Existing Rim Elevation, wet well | VF | 4 |  | 0
38-41AA | 7 | Replace Existing Top Slab, wet well | EA | 1 |  | 0
| 8 | PVC Vent, Sch 80, 6" | EA | 1 |  | 0
42-48AA | 9 | Aluminum Hatch Cover, 36" x 60", single door (Wetwell) | EA | 1 |  | 0
49AA | 10 | 2" S.S.Pump Guide Rail System | LF | 46 |  | 0
59-65AA | 11 | Liner, spray-on | SF | 679 |  | 0
| 12 | Remove / Repair Ex. Liner | SF | 679 |  | 0
| 13 | Grout Fill Ex. Drain, abandon | EA | 1 |  | 0 |  |  |  |  | Hatch Cover Size Requirements
73-77AA | 14 | Gate Valve, FLG, 6" | EA | 3 |  | 0 |  |  |  |  | Disch Pipe Size |  | Hatch Size | WW Dia. Range
78-82AA | 15 | Swing Check Valve, FLG, 6" | EA | 2 |  | 0 |  |  |  |  | 3" |  | 30"x32" | 41" | *side-out let tee
1-12P | 16 | Gate Valve, MJ, 6" | EA | 1 |  | 0 |  |  |  |  | 4"* |  | 30"x42" | 4' | *side-out let tee
83-87AA | 17 | Pipe, D.I., FLG, 6" | LF | 5 |  | 0 |  |  |  |  | 4" |  | 30"x48" | 5'
106-110AA | 18 | Pipe, PVC (DR-18), 6" | LF | 25 |  | 0 |  |  |  |  | 4" |  | 36"x48" | 6'
88AA | 19 | Ductile Iron Fittings | [8 empty] | 6" |  | 36"x60" | 6', 8'
| 19.1 | Tee, FLG, 6" | EA | 2 |  | 0 |  |  |  |  | 8" |  | 36"x72" | 8'
| 19.2 | 90, FLG, 6" | EA | 1 |  | 0
| 19.3 | 90, MJ, 6" | EA | 3 |  | 0
| 19.4 | Left Intentionally Blank
| 19.5 | MJ Sleeve, 6" | EA | 1 |  | 0
95-96AA | 20 | Quick Coupler Adapter, aluminum, male, w/ Alum. Dust Cap, 6" | EA | 1 |  | 0
97AA | 21 | S.S. Adjustable Valve Supports, FLG attachment | EA | 2 |  | 0 |  |  |  |  | Below | Above
| 22 | Abandon Existing Structure | EA | 1 |  | 0 |  |  |  |  | 0 | 2
| 23 | Concrete Slab, Valve Assembly | EA | 1 |  | 0 |  |  |  |  | 1 | 0
116-123AA | 24 | Influent Line Plug, 15" | EA | 1 |  | 0 |  |  |  |  | 2 | 1
124-127AA | 25 | By-Pass Pumping | LS | 1 |  | 0 |  |  |  |  | 0 | 1
129AA | 26 | Water Service Connection and Line, 2" | LF | 40 |  | 0
| 27 | Upgrade / Relocate Ex. Meter, Backflow, & Hose Bibb Assembly | EA | 1 |  | 0
| 28 | Replace Ex. Tapping Saddle; Install Brass Plug | EA | 1 |  | 0
| 29 | Left Intentionally Blank
| 30 | Concrete Repair, Wet Well, 2" thick, (if required) | SF | 340 |  | 0
| 31 | Left Intentionally Blank
| 32 | Left Intentionally Blank
15A | 33 | Sodding | SY | 50 |  | 0
| 34 | Landscape Removal | LS | 1 |  | 0
|  | Subtotal Construction Cost |  |  |  | 0
| 35 | Mobilization | LS | 1 |  | 0 | 10%
| 36 | Record Drawings | LS | 1 |  | 0 | 1.4%
Total Base Bid Based on Completion time of 240 Calendar days
| 37 | Contract Contingency |  | 10% |  | 0
|  | Total Bid with Contingency Based on Completion Time of 240 Calendar Days |  |  |  | 0
[9 empty] | Design Point: | 600 | 60 | 20.5
|  | taken from Lsinfo 2018 | Top Elevation: | 6 | NGVD | WW Depth: | [5 empty] | 1 pump | 2 pumps (150%)
|  |  | Bottom Elevation: | -13 | NGVD | 23 |  |  |  | Dia. Disch. Pipe (in) | Design Flow (gpm) | Vel. In Disch. Pipe (f/s) | Vel. In Disch. Pipe (f/s)
|  |  | Wet Well Dia: | 8 | ft |  |  |  |  | 5.59 | 600 | 7.8476 | 11.7714
|  |  | WW2Cross: | 22 | ft | No. of Pumps | [5 empty] | Keep Size
|  |  | Cross2P.V.: | 3 | ft | 2
|  |  | Top or Bottom Surface Area: | 51 | sq-ft |  |  |  |  | If Vel. In Disch. Pipe (1 pump) ≥ 8 f/s upsize pipe diameter
|  |  | Total Internal Surface Area: | 679 | sq-ft | Add Stilling Well
|  |  | Wall Surface Area: | 577 | sq-ft | No |  |  |  | DIA. | HDPE ID | PVC ID | Sch 80
|  |  | Wet Well to be Raised/(Lowered): | 4 | ft
|  |  | Valve Vault to be Raised: | 0 | ft | New Spray Liner |  |  |  | 2 |  |  | 2.047
|  |  | Meter Vault to be Raised: | 0 | ft | Yes |  |  |  | 4 | 3.89 | 4.27
|  |  | Concrete Floor & Fillit Concrete Vol: | 3 | cu-yd |  |  |  |  | 6 | 5.59 | 6.13
[6 empty] | Above Ground Valve Assembly |  |  |  | 8 | 7.34 | 8.04
[6 empty] | Yes |  |  |  | 10 | 8.96
[10 empty] | 12 | 10.66
Replace Guide Rails?
Yes
1000
| 1001 | Influent Drop Bowl/Pipe | EA |  |  | 0
| 1002 | New Polymer Concrete Lift Station & Aboveground Valve Assembly | LS |  |  | 0
| 1003 | Convert Ex. Lift Station to Concentric Manhole | LS |  |  | 0
| 1004 | Site Demolition | LS |  |  | 0
| 1005 | Tree Removal; 1"-6" | EA |  |  | 0
| 1006 | Fill Dirt, clean and compacted | CY |  |  | 0
| 1007 | Retaining Wall, railroad tie construction | LS |  |  | 0
| 1008 | Site Demolition | LS |  |  | 0
| 1009 | Reinforced Concrete Slab (poured in place) | SY |  |  | 0
| 1010 | Emergency Backup Pump & Fuel Tank | LS |  |  | 0
| 1011 | PVC Pipe (C900, DR-18), 6" (Pump Discharge Line) | LF |  |  | 0
| 1012 | HDPE DR-11, 8" (Pump Suction Line) | LF |  |  | 0
| 1013 | Ductile Iron Fittings
| 1013.1 | Red., FLG, 4"x6" | EA |  |  | 0
| 1013.2 | Red., FLG, 4"x8" | EA |  |  | 0 | [8 empty] | Yes
| 1013.3 | 45, MJ, 6" | EA |  |  | 0 | [8 empty] | No
| 1013.4 | 90, FLG, 6" | EA |  |  | 0
| 1013.5 | 45, FLG, 8" | EA |  |  | 0
| 1013.6 | 90, FLG. 8" | EA |  |  | 0
| 1013.7 | 90, MJ, 8" | EA |  |  | 0
| 1013.8 | 90, HDPE Molded , Fusion Welded, 8" | EA |  |  | 0
| 1014 | Sch 80 PVC Conduit, 2" | LF |  |  | 0
| 1015 | Level Transducer, GXS3-PP300-A49-B49-50-C01-D49 | EA |  |  | 0
| 1016 | PVC Stilling Well, 6" | LF |  |  | 0
| 1017 | Permits | LS |  |  | 0