## Sheet1
APPENDIX K, BID PRICING FORM - REVISION (2) IFBC NO. 22-TA004367JH PROJECT NAME: LIFT STATION 9A REHABILITATION AND FORCE MAIN REPLACEMENT IFBC NO. 22-TA004367JH PROJECT NUMBER: 6074081 Bidders must provide prices for each available line item on each tab for their bid to be considered responsive.
PAY ITEM NO. | DESCRIPTION | QTY | U/M | UNIT PRICE BID A 300 CALENDAR DAYS | EXTENDED PRICE BID A | UNIT PRICE BID B 360 CALENDAR DAYS | EXTENDED PRICE BID B
1 | MOBILIZATION | 1 | LS |  | 0 |  | 0
2 | DEMOLITION | 1 | LS |  | 0 |  | 0
3 | SITEWORK
3.1 | SELECTIVE DEMOLITION | 1 | LS |  | 0 |  | 0
3.2 | SHORING | 1 | LS |  | 0 |  | 0
3.3 | TRAFFIC CONTROL BARRIER | 1 | LS |  | 0 |  | 0
3.4 | EROSION CONTROL | 1 | LS |  | 0 |  | 0
3.5 | ASPHALT REPLACEMENT | 2500 | SY |  | 0 |  | 0
3.6 | DRIVEWAY ASPHALT REPLACEMENT | 1200 | SY |  | 0 |  | 0
3.7 | SOD REPLACEMENT | 8175 | SY |  | 0 |  | 0
3.8 | REPAIR SIDEWALKS | 236 | SF |  | 0 |  | 0
3.9 | REPAIR CONCRETE | 15 | SY |  | 0 |  | 0
3.1 | MILL & RESURFACING | 2100 | SY |  | 0 |  | 0
3.11 | MANHOLE LINING - SPRAY LINER | 6 | EA |  | 0 |  | 0
3.12 | MISC. SITEWORK | 1 | LS |  | 0 |  | 0
3.13. | TEMPORARY BYPASS ALLOWANCE | 1 | LS |  | 0 |  | 0
4 | FURNISH AND INSTALL YARD PIPE
4.1 | 6" SLAB ON GRADE | 10 | CY |  | 0 |  | 0
4.2 | 6" DI #350 WATER MAIN AND FITTINGS - RESTRAINED | 116 | LF |  | 0 |  | 0
4.3 | MEGALUG | 16 | EA |  | 0 |  | 0
4.3. | 12" PVC SDR 35 GRAVITY SEWER MAIN AND FITTINGS | 25 | LF |  | 0 |  | 0
4.4. | 10" PVC SDR 35 GRAVITY SEWER MAIN AND FITTINGS | 36 | LF |  | 0 |  | 0
4.5. | 8" PVC SDR 35 GRAVITY SEWER MAIN AND FITTINGS | 33 | LF |  | 0 |  | 0
4.6. | 2" PVC SCH. 80 WATER SERVICE PIPE AND FITTINGS - SOCKET JOINT | 20 | LF |  | 0 |  | 0
4.7. | BURIED STRUCTURES, MANHOLES, 48" DIA. | 2 | EA |  | 0 |  | 0
4.8. | BURIED STRUCTURES, MANHOLES, 48" DIA. - SITEWORK ALLOWANCE | 1 | LS |  | 0 |  | 0
4.9. | WATER METER AND BACKFLOW PREVENTION ASSEMBLY, 2 1/2" | 1 | EA |  | 0 |  | 0
4.10. | 18" RCP CLASS III CULVERT | 538 | LF |  | 0 |  | 0
4.11. | 24" RCP CLASS III CULVERT | 58 | LF |  | 0 |  | 0
4.12. | CONNECTION TO EXISTING MANHOLE | 2 | EA |  | 0 |  | 0
5 | FURNISH AND INSTALL FORCE MAIN
5.1. | 12" PVC C900 DR 18 FORCEMAIN AND FITTINGS - RESTRAINED | 1572 | LF |  | 0 |  | 0
5.2 | MEGALUG | 97 | EA |  | 0 |  | 0
5.2. | 12" PVC C900 DR 18 FORCEMAIN AND FITTINGS - PUSH-ON JOINT | 4586 | LF |  | 0 |  | 0
5.3. | 24" PVC CASING | 60 | LF |  | 0 |  | 0
5.4. | AIR RELIEF VALVE | 6 | EA |  | 0 |  | 0
5.5. | 12" PLUG VALVE | 5 | EA |  | 0 |  | 0
5.6. | CONNECTION TO EXISTING MANHOLE | 1 | EA |  | 0 |  | 0
6 | FURNISH AND INSTALL LIFT STATION
6.1 | 6" SLAB ON GRADE | 5.83 | CY |  | 0 |  | 0
6.2 | ALUMINUM HATCH COVER | 1 | LS |  | 0 |  | 0
6.3 | FINISHES, OTHER | 1 | LS |  | 0 |  | 0
6.4 | ELECTRICAL | 1 | LS |  | 0 |  | 0
6.5 | EARTHWORK | 1092 | CY |  | 0 |  | 0
6.6 | 12' DIA. WETWELL | 1 | EA |  | 0 |  | 0
6.7 | PROCESS PIPE AND FITTINGS | 125 | LF |  | 0 |  | 0
6.8 | I&C | 1 | LS |  | 0 |  | 0
6.9 | SUBMERSIBLE PUMP, 35 HP | 2 | EA |  | 0 |  | 0
6.1 | 12" CHECK VALVE | 2 | EA |  | 0 |  | 0
6.11 | 12" GATE VALVE | 7 | EA |  | 0 |  | 0
6.12 | ADJUSTABLE 316 SST PIPE SUPPORTS | 4 | EA |  | 0 |  | 0
7 | CLEANUP AND DEMOBILIZATION | 1 | LS |  | 0 |  | 0
8 | CONTRACT CONTINGENCY WORK |  |  |  | #VALUE!
SUB-TOTAL BASE BID
8 | Contract Contingency (Used only with County Approval) | 1 | 10%
TOTAL CONTRACT AWARD (Including 10% Contract Contingency)
Authorized Signature(s):
Name and Title of Above Signer(s):
Date:
*To be considered responsive, it is the sole responsibility of the bidder to correctly calculate and manually enter all sub-total, contingency and total bid price fields.