## Bid A Cntry Club Hts Replac.
APPENDIX J - BID FORM - Addendum #3
(Submit in Triplicate)
IFBC No. 18-TA002741OV
Country Club Heights Waterline Replacement
Project No. 404-6088770
BID "A" Based on Completion time of 310 Calendar Days
ITEM |  |  |  | BID PRICE | TOTAL BID
# | DESCRIPTION | U/M | QTY. | PER UNIT | PRICE
1 | 6" HDPE DR 11 (C-906) Waterline (Directional Bored | LF | 1180 |  | 0
2 | 6" PVC DR 18 (C-900) Waterline (Direct Bury) | LF | 2755 |  | 0
3 | 6" DI (CL 350) Waterline (Direct Bury) | LF | 2312 |  | 0
4 | 8" HDPE DR 11 (C-906) Waterline (Directional Bored) | LF | 280 |  | 0
5 | Fire Hydrant Assembly | EA | 6 |  | 0
6 | 14 x 6 Tapping Sleeve & Valve | EA | 1 |  | 0
7 | 12 x 8 Tapping Sleeve & Valve | EA | 2 |  | 0
8 | 6" Gate Valve | EA | 36 |  | 0
*9 | Grout Fill Abandoned Pipe (Addendum #3) | CF | 795 |  | 0
10 | 8 x 6 Reducer | EA | 2 |  | 0
11 | 6" 90 Bend | EA | 1 |  | 0
*12 | 6" Bend 45 or less (Addendum #3) | EA | 60 |  | 0
13 | 6" Sleeve | EA | 7 |  | 0
14 | 6" Tee | EA | 10 |  | 0
15 | 6 x 4 Reducer | EA | 8 |  | 0
16 | 6" Cross | EA | 1 |  | 0
17 | 4" Bend 45 or less | EA | 1 |  | 0
18 | 4" Sleeve | EA | 5 |  | 0
*19 | Water Service - Short Single (Addendum #3) | EA | 30 |  | 0
*20 | Water Service - Long Single (Addendum #3) | EA | 41 |  | 0
21 | Water Service - Short Double | EA | 4 |  | 0
*22 | Water Service - Long Double (Addendum #3) | EA | 5 |  | 0
23 | Connect to Existing Waterline | EA | 17 |  | 0
24 | 6" MJ HDPE Adapter | EA | 4 |  | 0
25 | 8" MJ HDPE Adapter | EA | 2 |  | 0
26 | 8" MJ Pipe Joint Restraint | EA | 6 |  | 0
*27 | 6" Pipe Restraints - Bell Type (Addendum #3) | EA | 61 |  | 0
28 | 6" Pipe Joint Restraint - MJ | EA | 268 |  | 0
29 | Silt Fence | LF | 5067 |  | 0
30 | Inlet Protection | EA | 17 |  | 0
31 | Erosion Control | LS | 1 |  | 0
32 | Bahia Sodding | SY | 5152 |  | 0
33 | Driveway Restoration Concrete 6" Thick | SY | 599 |  | 0
34 | Driveway Restoration - Asphalt 3" - S-III incl. 3" Crushed Conc. Base | SY | 194 |  | 0
35 | Driveway Restoration - Shell 6" Thick | SY | 25 |  | 0
*36 | Concrete Sidewalk 4" Thick (Addendum #3) | SY | 11 |  | 0
37 | Curb Gutter Replacement | LF | 655 |  | 0
38 | Air Release Valve Assembly | EA | 1 |  | 0
39 | Asphalt Road Restoration (Base & Resurface) | SY | 1261 |  | 0
40 | Backflow Preventer with Vacuum Breakers | EA | 20 |  | 0
41 | Clearing and Grubbing | AC | 1.8 |  | 0
42 | MOT to FDOT Standards | LS | 1 |  | 0
43 | Miscellaneous Concrete | CY | 20 |  | 0
44 | Remove Tree 4.1" to 12" dia | EA | 4 |  | 0
45 | Remove Asphalt Pavement | SY | 1261 |  | 0
46 | Remove and Restore Mailbox | EA | 8 |  | 0
*47 | Water Meter Relocation (Addendum #3) | EA | 14 |  | 0
*48 | Meter Box, Potable Water, (NEW) (Addendum #3) | EA | 20 |  | 0
49 | Mobilization | LS | 1 |  | 0
50 | Miscellaneous Work & Clean Up | LS | 1 |  | 0
*51 | Record Drawings (NEW) (Addendum #3) | LS | 1 |  | 0
52 | TOTAL BASE BID (ITEMS 1 -51) |  |  |  | 0
| CONTINGENCY (10% OF ITEMS 1 - 52) (Used only with County Approval) |  |  | 10% | 0
| TOTAL OFFER BID "A"- Based On Completion Time of 310 Calendar Days |  |  |  | 0

## Bid B Cntry Club Hts Replac (2)
APPENDIX J - BID FORM - Addendum #3
(Submit in Triplicate)
IFBC No. 18-TA002741OV
Country Club Heights Waterline Replacement
Project No. 404-6088770
BID "B" Based on Completion time of 370 Calendar Days
ITEM |  |  |  | BID PRICE | TOTAL BID
# | DESCRIPTION | U/M | QTY. | PER UNIT | PRICE
1 | 6" HDPE DR 11 (C-906) Waterline (Directional Bored | LF | 1180 |  | 0
2 | 6" PVC DR 18 (C-900) Waterline (Direct Bury) | LF | 2755 |  | 0
3 | 6" DI (CL 350) Waterline (Direct Bury) | LF | 2312 |  | 0
4 | 8" HDPE DR 11 (C-906) Waterline (Directional Bored) | LF | 280 |  | 0
5 | Fire Hydrant Assembly | EA | 6 |  | 0
6 | 14 x 6 Tapping Sleeve & Valve | EA | 1 |  | 0
7 | 12 x 8 Tapping Sleeve & Valve | EA | 2 |  | 0
8 | 6" Gate Valve | EA | 36 |  | 0
*9 | Grout Fill Abandoned Pipe (Addendum #3) | CF | 795 |  | 0
10 | 8 x 6 Reducer | EA | 2 |  | 0
11 | 6" 90 Bend | EA | 1 |  | 0
*12 | 6" Bend 45 or less (Addendum #3) | EA | 60 |  | 0
13 | 6" Sleeve | EA | 7 |  | 0
14 | 6" Tee | EA | 10 |  | 0
15 | 6 x 4 Reducer | EA | 8 |  | 0
16 | 6" Cross | EA | 1 |  | 0
17 | 4" Bend 45 or less | EA | 1 |  | 0
18 | 4" Sleeve | EA | 5 |  | 0
*19 | Water Service - Short Single (Addendum #3) | EA | 30 |  | 0
*20 | Water Service - Long Single (Addendum #3) | EA | 41 |  | 0
21 | Water Service - Short Double | EA | 4 |  | 0
*22 | Water Service - Long Double (Addendum #3) | EA | 5 |  | 0
23 | Connect to Existing Waterline | EA | 17 |  | 0
24 | 6" MJ HDPE Adapter | EA | 4 |  | 0
25 | 8" MJ HDPE Adapter | EA | 2 |  | 0
26 | 8" MJ Pipe Joint Restraint | EA | 6 |  | 0
*27 | 6" Pipe Restraints - Bell Type (Addendum #3) | EA | 61 |  | 0
28 | 6" Pipe Joint Restraint - MJ | EA | 268 |  | 0
29 | Silt Fence | LF | 5067 |  | 0
30 | Inlet Protection | EA | 17 |  | 0
31 | Erosion Control | LS | 1 |  | 0
32 | Bahia Sodding | SY | 5152 |  | 0
33 | Driveway Restoration Concrete 6" Thick | SY | 599 |  | 0
34 | Driveway Restoration - Asphalt 3" - S-III incl. 3" Crushed Conc. Base | SY | 194 |  | 0
35 | Driveway Restoration - Shell 6" Thick | SY | 25 |  | 0
*36 | Concrete Sidewalk 4" Thick (Addendum #3) | SY | 11 |  | 0
37 | Curb Gutter Replacement | LF | 655 |  | 0
38 | Air Release Valve Assembly | EA | 1 |  | 0
39 | Asphalt Road Restoration (Base & Resurface) | SY | 1261 |  | 0
40 | Backflow Preventer with Vacuum Breakers | EA | 20 |  | 0
41 | Clearing and Grubbing | AC | 1.8 |  | 0
42 | MOT to FDOT Standards | LS | 1 |  | 0
43 | Miscellaneous Concrete | CY | 20 |  | 0
44 | Remove Tree 4.1" to 12" dia | EA | 4 |  | 0
45 | Remove Asphalt Pavement | SY | 1261 |  | 0
46 | Remove and Restore Mailbox | EA | 8 |  | 0
*47 | Water Meter Relocation (Addendum #3) | EA | 14 |  | 0
*48 | Meter Box, Potable Water, (NEW) (Addendum #3) | EA | 20 |  | 0
49 | Mobilization | LS | 1 |  | 0
50 | Miscellaneous Work & Clean Up | LS | 1 |  | 0
*51 | Record Drawings (NEW) (Addendum #3) | LS | 1 |  | 0
52 | TOTAL BASE BID (ITEMS 1 -51) |  |  |  | 0
| CONTINGENCY (10% OF ITEMS 1 - 52) (Used only with County Approval) |  |  | 10% | 0
| TOTAL OFFER BID "B"- Based On Completion Time of 370 Calendar Days |  |  |  | 0