## Bid Form A
| PROJECT NAME: | Gateway East Waterline Replacement
| PROJECT NUMBER: | 404.6109770
| SECTION / TWNSHP / RANGE: | 3,10,15/35/117
| PROJECT DESCRIPTION: | Replace approx. 9,200 lf of water main installed in 1972
| PROJECT SITE DIMENSIONS: | 9,200 LF of ROW
| PREPARED BY: | BLR/JSS |  | 2023-08-22
APPENDIX L, BID PRICING FORM (FILLABLE)(REVISED)
IFBC NO. 23-TA004841SAM
GATEWAY EAST WATER MAIN REPLACEMENT
PROJECT #6109770
Bidders shall provide prices for each line item for their bid to be considered responsive.
To be considered responsive, it is the sole responsibility of the bidder to correctly calculate and manually enter all sub-total, contingency and total bid price fields.
WATER MAIN REPLACEMENT - BID A, CONSTRUCTION COMPLETION OF 360 CALENDAR DAYS
ITEM NO. | DESCRIPTION |  | UNITS | QTY. | UNIT PRICE ($) | EXTENDED PRICE ($)
1 | Curb Replacement |  | LF | 452 |  | 0
2 | Asphalt Pavement Restoration
2.01 | Road Pavement Base |  | SY | 448 |  | 0
2.02 | Asphalt, S-III, 2" thick |  | SY | 714 |  | 0
2.03 | Asphalt Pavement Restoration (Mill & Resurface) |  | SY | 4018 |  | 0
3 | Thermoplastic Striping
3.01 | Stop Bar, White, 24" |  | LF | 54 |  | 0
3.02 | Crosswalk, White, 12" |  | LF | 270 |  | 0
3.03 | Double Yellow, 6" |  | LF | 400 |  | 0
4 | Sidewalk Replacement (4" min. thick), concrete |  | SY | 193 |  | 0
5 | Driveway Restoration
5.01 | Concrete |  | SY | 1815 |  | 0
5.02 | Asphalt |  | SY | 141 |  | 0
5.03 | Paver Bricks (6" min thick) |  | SY | 48 |  | 0
5.04 | Shell |  | SY | 45 |  | 0
6 | Sodding |  | SY | 3690 |  | 0
7 | Misc. Vegetation & Tree Removal
7.01 | General Removal and/or Trimming |  | LS | 1 |  | 0
7.02 | Palm Tree Removal, (as needed) |  | EA | 5 |  | 0
8 | Fence, Chain-link, existing, relocate |  | LF | 275 |  | 0
9 | Mailbox, removal/reinstall and new
9.01 | Remove and Reinstall |  | EA | 25 |  | 0
9.02 | New |  | EA | 20 |  | 0
10 | Grout Fill Abandoned Pipe (flowable fill) |  | CY | 168 |  | 0
11 | Remove Existing Items
11.01 | Valve |  | EA | 20 |  | 0
11.02 | Fire Hydrant |  | EA | 9 |  | 0 | Revised
12 | Pipe
12.01 | DIP (CLASS 350), 6" |  | LF | 1323 |  | 0
12.02 | DIP (CLASS 350), 8" |  | LF | 40 |  | 0
12.03 | PVC (C-900), 6" |  | LF | 7561 |  | 0
12.04 | PVC (C-900), 8" |  | LF | 183 |  | 0
13 | Water Services (reuse existing meter boxes)
13.01 | 1" PE Single Service (Short) |  | EA | 27 |  | 0
13.02 | 1" PE Single Service (Long), w/ 2" casing |  | EA | 16 |  | 0
13.03 | 1" PE Double Service (Short) |  | EA | 34 |  | 0
13.04 | 1" PE Double Service (Long), w/ 2" casing |  | EA | 44 |  | 0
13.05 | Service Line, PE (SDR9), 2" |  | LF | 229 |  | 0
13.06 | Add'l 1" Service Pipe over 10' (Short) and 30' (Long) |  | LF | 700 |  | 0
14 | Meter Box, new |  | EA | 25 |  | 0
15 | Backflow Prevention Assembly (BPA)
15.01 | RPZ BPA, 3/4" |  | EA | 35 |  | 0
15.02 | Vacuum Breakers, brass |  | EA | 35 |  | 0
16 | Permitting Fees - Building Department - BPA Installation |  | EA | 24 |  | 0
17 | DI Fittings, (MJ) (Water)
17.01 | Tee, 6"x 4" |  | EA | 1 |  | 0
17.02 | Tee, 6"x 6" |  | EA | 5 |  | 0
17.03 | Cross, 6"x 6" |  | EA | 2 |  | 0
17.04 | Sleeve, 6" |  | EA | 7 |  | 0
17.05 | Caps, 4" |  | EA | 1 |  | 0
17.06 | Bends (<90), 6" |  | EA | 95 |  | 0
17.07 | Tee, 8"x 8" |  | EA | 1 |  | 0
17.08 | Tee, 8"x 6" |  | EA | 3 |  | 0
17.09 | Reducer 8"x6" |  | EA | 1 |  | 0
17.1 | Sleeve, 8" |  | EA | 1 |  | 0
17.11 | Caps, 8" |  | EA | 2 |  | 0
17.12 | Bends (<90), 8" |  | EA | 4 |  | 0
18 | Pipe Joint Restrains
18.01 | 6" |  | EA | 165 |  | 0
18.02 | 8" |  | EA | 15 |  | 0
19 | Valves
19.01 | Gate, 2" |  | EA | 2 |  | 0
19.02 | Gate, 6" |  | EA | 22 |  | 0
19.03 | Gate, 8" |  | EA | 4 |  | 0
19.04 | 8" Tapping Valve |  | EA | 1 |  | 0
20 | Tapping Sleeve, 30"x8" |  | EA | 1 |  | 0
21 | Fire Hydrant Assembly |  | EA | 15 |  | 0
22 | Vertical Relocation of Sewer Service Lateral |  | EA | 25 |  | 0
23 | Miscellaneous Concrete, 3,000 psi |  | CY | 10 |  | 0
24 | Traffic Control |  | LS | 1 |  | 0
25 | Erosion and Sediment Control |  | LS | 1 |  | 0
25.01 | Inlet Protection System |  | EA | 36 |  | 0
SubTotal Construction Cost
26 | Mobilization |  |  | 1 |  | 0
27 | Record Drawings |  |  | 1 |  | 0
28 | Contingency (10% of SubTotal) County Authorized Use Only |  |  | 10%
TOTAL BID A, CONSTRUCTION COMPLETION OF 360 CALENDAR DAYS
Note on E60: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: As directed by the Building Department, each Plumbing Permits will cover a group of 10 lots on the same street. The first lot address of the group shall be used for the permit application and the remaining 9 addresses of the group shall be listed in the permit application description. Each plumbing permit has a $48 fee. Example: if you have 18 lots on one street, then 10 lots are on one permit and the remaining 8 lots would be on a second permit. A new street name starts a new group.

## Bid Form B
| PROJECT NAME: | Gateway East Waterline Replacement
| PROJECT NUMBER: | 404.6109770
| SECTION / TWNSHP / RANGE: | 3,10,15/35/117
| PROJECT DESCRIPTION: | Replace approx. 9,200 lf of water main installed in 1972
| PROJECT SITE DIMENSIONS: | 9,200 LF of ROW
| PREPARED BY: | BLR/JSS |  | 2023-08-22
APPENDIX L, BID PRICING FORM (FILLABLE)(REVISED)
IFBC NO. 23-TA004841SAM
GATEWAY EAST WATER MAIN REPLACEMENT
PROJECT #6109770
Bidders shall provide prices for each line item for their bid to be considered responsive.
To be considered responsive, it is the sole responsibility of the bidder to correctly calculate and manually enter all sub-total, contingency and total bid price fields.
WATER MAIN REPLACEMENT - BID B, CONSTRUCTION COMPLETION OF 300 CALENDAR DAYS
ITEM NO. | DESCRIPTION |  | UNITS | QTY. | UNIT PRICE ($) | EXTENDED PRICE ($)
1 | Curb Replacement |  | LF | 452 |  | 0
2 | Asphalt Pavement Restoration
2.01 | Road Pavement Base |  | SY | 448 |  | 0
2.02 | Asphalt, S-III, 2" thick |  | SY | 714 |  | 0
2.03 | Asphalt Pavement Restoration (Mill & Resurface) |  | SY | 4018 |  | 0
3 | Thermoplastic Striping
3.01 | Stop Bar, White, 24" |  | LF | 54 |  | 0
3.02 | Crosswalk, White, 12" |  | LF | 270 |  | 0
3.03 | Double Yellow, 6" |  | LF | 400 |  | 0
4 | Sidewalk Replacement (4" min. thick), concrete |  | SY | 193 |  | 0
5 | Driveway Restoration
5.01 | Concrete |  | SY | 1815 |  | 0
5.02 | Asphalt |  | SY | 141 |  | 0
5.03 | Paver Bricks (6" min thick) |  | SY | 48 |  | 0
5.04 | Shell |  | SY | 45 |  | 0
6 | Sodding |  | SY | 3690 |  | 0
7 | Misc. Vegetation & Tree Removal
7.01 | General Removal and/or Trimming |  | LS | 1 |  | 0
7.02 | Palm Tree Removal, (as needed) |  | EA | 5 |  | 0
8 | Fence, Chain-link, existing, relocate |  | LF | 275 |  | 0
9 | Mailbox, removal/reinstall and new
9.01 | Remove and Reinstall |  | EA | 25 |  | 0
9.02 | New |  | EA | 20 |  | 0
10 | Grout Fill Abandoned Pipe (flowable fill) |  | CY | 168 |  | 0
11 | Remove Existing Items
11.01 | Valve |  | EA | 20 |  | 0
11.02 | Fire Hydrant |  | EA | 9 |  | 0 | Revised
12 | Pipe
12.01 | DIP (CLASS 350), 6" |  | LF | 1323 |  | 0
12.02 | DIP (CLASS 350), 8" |  | LF | 40 |  | 0
12.03 | PVC (C-900), 6" |  | LF | 7561 |  | 0
12.04 | PVC (C-900), 8" |  | LF | 183 |  | 0
13 | Water Services (reuse existing meter boxes)
13.01 | 1" PE Single Service (Short) |  | EA | 27 |  | 0
13.02 | 1" PE Single Service (Long), w/ 2" casing |  | EA | 16 |  | 0
13.03 | 1" PE Double Service (Short) |  | EA | 34 |  | 0
13.04 | 1" PE Double Service (Long), w/ 2" casing |  | EA | 44 |  | 0
13.05 | Service Line, PE (SDR9), 2" |  | LF | 229 |  | 0
13.06 | Add'l 1" Service Pipe over 10' (Short) and 30' (Long) |  | LF | 700 |  | 0
14 | Meter Box, new |  | EA | 25 |  | 0
15 | Backflow Prevention Assembly (BPA)
15.01 | RPZ BPA, 3/4" |  | EA | 35 |  | 0
15.02 | Vacuum Breakers, brass |  | EA | 35 |  | 0
16 | Permitting Fees - Building Department - BPA Installation |  | EA | 24 |  | 0
17 | DI Fittings, (MJ) (Water)
17.01 | Tee, 6"x 4" |  | EA | 1 |  | 0
17.02 | Tee, 6"x 6" |  | EA | 5 |  | 0
17.03 | Cross, 6"x 6" |  | EA | 2 |  | 0
17.04 | Sleeve, 6" |  | EA | 7 |  | 0
17.05 | Caps, 4" |  | EA | 1 |  | 0
17.06 | Bends (<90), 6" |  | EA | 95 |  | 0
17.07 | Tee, 8"x 8" |  | EA | 1 |  | 0
17.08 | Tee, 8"x 6" |  | EA | 3 |  | 0
17.09 | Reducer 8"x6" |  | EA | 1 |  | 0
17.1 | Sleeve, 8" |  | EA | 1 |  | 0
17.11 | Caps, 8" |  | EA | 2 |  | 0
17.12 | Bends (<90), 8" |  | EA | 4 |  | 0
18 | Pipe Joint Restrains
18.01 | 6" |  | EA | 165 |  | 0
18.02 | 8" |  | EA | 15 |  | 0
19 | Valves
19.01 | Gate, 2" |  | EA | 2 |  | 0
19.02 | Gate, 6" |  | EA | 22 |  | 0
19.03 | Gate, 8" |  | EA | 4 |  | 0
19.04 | 8" Tapping Valve |  | EA | 1 |  | 0
20 | Tapping Sleeve, 30"x8" |  | EA | 1 |  | 0
21 | Fire Hydrant Assembly |  | EA | 15 |  | 0
22 | Vertical Relocation of Sewer Service Lateral |  | EA | 25 |  | 0
23 | Miscellaneous Concrete, 3,000 psi |  | CY | 10 |  | 0
24 | Traffic Control |  | LS | 1 |  | 0
25 | Erosion and Sediment Control |  | LS | 1 |  | 0
25.01 | Inlet Protection System |  | EA | 36 |  | 0
SubTotal Construction Cost
26 | Mobilization (% of SubTotal) |  |  | 1 |  | 0
27 | Record Drawings |  |  | 1 |  | 0
28 | Contingency (10% of SubTotal) County Authorized Use Only |  |  | 10%
TOTAL BID B, CONSTRUCTION COMPLETION OF 300 CALENDAR DAYS
Note on E60: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: As directed by the Building Department, each Plumbing Permits will cover a group of 10 lots on the same street. The first lot address of the group shall be used for the permit application and the remaining 9 addresses of the group shall be listed in the permit application description. Each plumbing permit has a $48 fee. Example: if you have 18 lots on one street, then 10 lots are on one permit and the remaining 8 lots would be on a second permit. A new street name starts a new group.