## BID FORM
APPENDIX L - BID PRICING FORM (REVISION 2)
IFBC No. 24-TA005162JH SR 684 (CORTEZ ROAD) WATER MAIN AND FORCE MAIN INTRACOASTAL CROSSING
Bidders must provide prices for each available line item on each tab for their bid to be considered responsive
*To be considered responsive, it is the sole responsibility of the bidder to correctly calculate and manually enter all sub-total, contingency, and total bid price fields*
|  |  |  | BID A 520 CALENDAR DAYS |  | BID B 580 CALENDAR DAYS
ITEM | DESCRIPTION | QUANTITY |  | UNIT PRICE | TOTAL PRICE | UNIT PRICE | TOTAL PRICE
I. MISCELLANEOUS
1 | Mobilization | 1 | LS |  | 0 |  | 0
2 | Maintenance of Traffic | 1 | LS |  | 0 |  | 0
3 | Maintenance of Drill | 1 | LS |  | 0 |  | 0
4 | Erosion and Sediment Control | 1 | LS |  | 0 |  | 0
5 | Clearing and Grubbing | 1 | LS |  | 0 |  | 0
6 | Preconstruction Video | 1 | LS |  | 0 |  | 0
7 | Project Signs | 1 | LS |  | 0 |  | 0
8 | Record Drawings | 1 | LS |  | 0 |  | 0
MISCELLANEOUS SUBTOTAL
II. PROPOSED IMPROVEMENTS
WATER IMPROVEMENTS
9 | 24" HDPE DR 9 Water Main (HDD) | 3120 | LF |  | 0 |  | 0
10 | 36" Steel Casing (Open-Cut) | 105 | LF |  | 0 |  | 0
11 | 36" Steel Casing (Jack and Bore) | 430 | LF |  | 0 |  | 0
12 | 20" DIP Class 250 Water Main (Open Cut) | 1380 | LF |  | 0 |  | 0
13 | 10" HDPE DR 11 Water Main (HDD) | 240 | LF |  | 0 |  | 0
14 | 8" DIP Class 350 Water Main (Open Cut) | 50 | LF |  | 0 |  | 0
15 | 6" DIP Class 350 Water Main (Open Cut) | 50 | LF |  | 0 |  | 0
16 | 20" DI Fitting - 90 Deg. Bend, MJ (Water) | 3 | EA |  | 0 |  | 0
17 | 20" DI Fitting - 45 Deg. Bend, MJ (Water) | 9 | EA |  | 0 |  | 0
18 | 20" DI Fitting - 22.5 Deg. Bend, MJ (Water) | 7 | EA |  | 0 |  | 0
19 | 20" DI Fitting - 11.25 Deg. Bend, MJ (Water) | 2 | EA |  | 0 |  | 0
20 | 8" DI Fitting - 90 Deg. Bend MJ (Water) | 1 | EA |  | 0 |  | 0
21 | 8" DI Fitting - 45 Deg. Bend MJ (Water) | 8 | EA |  | 0 |  | 0
22 | 8" DI Fitting - 22.5 Deg. Bend MJ (Water) | 2 | EA |  | 0 |  | 0
23 | 8" DI Fitting - 11.25 Deg. Bend MJ (Water) | 2 | EA |  | 0 |  | 0
24 | 6" DI Fitting - 90 Deg. Bend, MJ (Water) | 2 | EA |  | 0 |  | 0
25 | 8" X 20" DI Fitting - Reducer, MJ (Water) | 1 | EA |  | 0 |  | 0
26 | 20" X 24" DI Fitting - Reducer, MJ (Water) | 2 | EA |  | 0 |  | 0
27 | 8" X 10" DI Fitting - Reducer, MJ (Water) | 2 | EA |  | 0 |  | 0
28 | 20" DI Fitting - Tee, MJ (Water) | 3 | EA |  | 0 |  | 0
29 | 6" X 20" DI Fitting - Tee, MJ (Water) | 2 | EA |  | 0 |  | 0
30 | 8" X 20" DI Fitting - Tee, MJ (Water) | 1 | EA |  | 0 |  | 0
31 | 8" Foster Adapter (Water) | 2 | EA |  | 0 |  | 0
32 | 24" HDPE MJ Adapter (Water) | 2 | EA |  | 0 |  | 0
33 | 10" HDPE MJ Adapter (Water) | 2 | EA |  | 0 |  | 0
34 | Water Monitoring Valve Vault | 1 | EA |  | 0 |  | 0
35 | 20" Micrometer Ultra Mag UM-020 | 1 | EA |  | 0 |  | 0
36 | 20" Mechanical Electric Actuated Gate Valve | 1 | EA |  | 0 |  | 0
37 | Pressure Monitor | 1 | EA |  | 0 |  | 0
38 | Electrical and Instrumentation Integration for Monitoring Assembly | 1 | LS |  |  |  |  | Removed
39 | 20" DI Gate Valve, MJ | 4 | EA |  | 0 |  | 0
40 | 8" DI Gate Valve, MJ | 2 | EA |  | 0 |  | 0
41 | Above Ground Air Release Valve Assembly | 2 | EA |  | 0 |  | 0
42 | Cut and Connect to 8" Water Main | 2 | EA |  | 0 |  | 0
43 | Cut and Connect to 20" Water Main | 2 | EA |  | 0 |  | 0
44 | 6" Fire Hydrant Assembly | 1 | EA |  | 0 |  | 0
PROPOSED WATER IMPROVEMENTS SUBTOTAL
WASTEWATER IMPROVEMENTS
45 | 20" HDPE DR 9 Force Main (HDD) | 3250 | LF |  | 0 |  | 0
46 | 18" PVC C900 DR 18 Force Main (Open Cut) | 850 | LF |  | 0 |  | 0
47 | 6" PVC C900 DR 18 Force Main (Open Cut) | 130 | LF |  | 0 |  | 0
48 | 8" HDPE DR 11 Force Main (HDD) | 250 | LF |  | 0 |  | 0
49 | 18" DI Fitting - 90 Deg. Bend, MJ (Wastewater) | 2 | EA |  | 0 |  | 0
50 | 18" DI Fitting - 45 Deg. Bend, MJ (Wastewater) | 12 | EA |  | 0 |  | 0
51 | 18" DI Fitting - 22.5 Deg. Bend, MJ (Wastewater) | 3 | EA |  | 0 |  | 0
52 | 18" DI Fitting - 11.25 Deg. Bend, MJ (Wastewater) | 2 | EA |  | 0 |  | 0
53 | 6" DI Fitting - 90 Deg. Bend, MJ (Wastewater) | 1 | EA |  | 0 |  | 0
54 | 6" DI Fitting - 45 Deg. Bend, MJ (Wastewater) | 6 | EA |  | 0 |  | 0
55 | 6" DI Fitting - 11.25 Deg. Bend, MJ (Wastewater) | 2 | EA |  | 0 |  | 0
56 | 18" X 20" DI Fitting - Reducer, MJ (Wastewater) | 3 | EA |  | 0 |  | 0
57 | 6" X 8" DI Fitting - Reducer, MJ (Wastewater) | 2 | EA |  | 0 |  | 0
58 | 6" X 18" DI Fitting - Tee, MJ (Wastewater) | 1 | EA |  | 0 |  | 0
59 | 18" DI Fitting - Tee, MJ (Wastewater) | 2 | EA |  | 0 |  | 0
60 | 20" HDPE MJ Adadpter (Wastewater) | 3 | EA |  | 0 |  | 0
61 | 8" HDPE MJ Adapter (Wastewater) | 2 | EA |  | 0 |  | 0
62 | 18" DI Plug Valve, MJ | 3 | EA |  | 0 |  | 0
63 | 6" DI Plug Valve, MJ | 1 | EA |  | 0 |  | 0
64 | Cut and Connect to 6" Force Main | 1 | EA |  | 0 |  | 0
65 | Cut and Connect to 18" Force Main | 2 | EA |  | 0 |  | 0
66 | Force Main Monitoring and Bypassing Valve Vault | 1 | EA |  | 0 |  | 0
67 | 18" DI FLG Adapter (Wastewater) | 1 | EA |  | 0 |  | 0
68 | 18" Micrometer Ultra Mag UM-018 | 1 | EA |  | 0 |  | 0
69 | 2" Stainless Steel Pressure Gauge with Saddle Tap | 2 | EA |  | 0 |  | 0
70 | Electrical and Instrumentation Integration for Monitoring Assembly | 1 | LS |  | 0 |  | 0
71 | Force Main Bypass Valve Vault | 1 | EA |  | 0 |  | 0
72 | 18" DI Fitting - Tee, FLG (Wastewater) | 2 | EA |  | 0 |  | 0
73 | 18" DI Fitting - 90 Deg. Bend, FLG (Wastewater) | 1 | EA |  | 0 |  | 0
74 | 18" DI Plug Valve, FLG | 4 | EA |  | 0 |  | 0
PROPOSED WASTEWATER IMPROVEMENTS SUBTOTAL
ITS IMPROVEMENTS
75 | 3.5" OD Duraline Smoothwall HDPE SDR 9 Conduit (HDD) | 3430 | LF |  | 0 |  | 0
76 | Fiber Optic Splice Box (30"x60"x48") w/ Hand Line | 2 | EA |  | 0 |  | 0
PROPOSED ITS IMPROVEMENTS SUBTOTAL
III. PROPOSED GENERAL IMPROVEMENTS
77 | Grout Fill and Abandon Existing 6" Water Main and 8" Force Main | 4 | CY |  | 0 |  | 0
78 | Abandon Existing 20" Water Main and 18" Force Main | 1 | LS |  | 0 |  | 0
79 | Full Road Restoration | 690 | SY |  | 0 |  | 0
80 | Sidewalk & Concrete Driveway Restoration | 450 | SY |  | 0 |  | 0
81 | Remove & Replace Curb | 100 | LF |  | 0 |  | 0
82 | Mill and Resurfacing | 320 | SY |  | 0 |  | 0
83 | Sodding | 6500 | SY |  | 0 |  | 0
84 | Water Service Replacement | 7 | EA |  | 0 |  | 0
85 | Tree and Shrub Replacement | 1 | LS |  | 0 |  | 0
PROPOSED GENERAL IMPROVEMENTS SUBTOTAL
BASE BID CONSTRUCTION TOTAL WITHOUT CONTINGENCY
86 | Contract Contingency (Used only with County Approval) | 10%
TOTAL BASE BID (SUBTOTAL PRICE PLUS THE CONTINGENCY)
Bidders Name______________________________________________________
Bidders Signature___________________________________________________