## Bid Tabulation
APPENDIX L, BID PRICING FORM (REVISED) FILLABLE
IFBC NO. 24-TA005135JH MOCCASIN WALLOW ROAD SEGMENT 2 FROM 115TH STREET EAST TO WEST OF SAWGRASS ROAD
Bidders must provide prices for each available line item on each tab for their bid to be considered responsive
*To be considered responsive, it is the sole responsibility of the bidder to correctly calculate and manually enter all sub-total, contingency, and total bid price fields*
|  |  |  | BID A 450 CALENDAR DAYS |  | BID B 540 CALENDAR DAYS
Pay Item No. | Item | Estimated Quantity | Unit | Unit Price | Extended Price | Unit Price | Extended Price
GENERAL, EARTHWORK, ROADWAY & DRAINAGE COMPONENT
101-1 | MOBILIZATION | 1 | LS |  | 0 |  | 0
102-1 | MAINTENANCE OF TRAFFIC | 1 | LS |  | 0 |  | 0
102-2-200 | SPECIAL DETOUR-TEMPORARY PAVEMENT | 3040 | SY |  | 0 |  | 0
104-10-3 | SEDIMENT BARRIER | 24520 | LF |  | 0 |  | 0
104-11 | FLOATING TURBIDITY BARRIER | 509 | LF |  | 0 |  | 0
104-18 | INLET PROTECTION SYSTEM | 34 | EA |  | 0 |  | 0
110-1-1 | CLEARING & GRUBBING | 43 | AC |  | 0 |  | 0
120-1 | REGULAR EXCAVATION | 22638 | CY |  | 0 |  | 0
120-4 | SUBSOIL EXCAVATION | 278 | CY |  | 0 |  | 0
120-6 | EMBANKMENT | 150080 | CY |  | 0 |  | 0
160-4a | TYPE B STABILIZATION | 93182 | SY |  | 0 |  | 0
160-4b | TYPE B STABILIZATION FOR SHARED USE PATH | 12978 | SY |  | 0 |  | 0
285-701 | OPTIONAL BASE, BASE GROUP 01 FOR SHARED USE PATH | 8912 | SY |  | 0 |  | 0
285-709 | OPTIONAL BASE, BASE GROUP 09 | 80219 | SY |  | 0 |  | 0
327-70-6 | MILLING EXISTING ASPHALT PAVEMENT, 1 1/2" AVG DEPTH | 734 | SY |  | 0 |  | 0
334-1-12 | SUPERPAVE ASPHALTIC CONC, TRAFFIC B FOR SHARED USE PATH | 736 | TN |  | 0 |  | 0
334-1-13 | SUPERPAVE ASPHALTIC CONC, TRAFFIC C | 13236 | TN |  | 0 |  | 0
337-7-83 | ASPHALT CONCRETE FRICTION COURSE,TRAFFIC C, FC-12.5, PG 76-22 | 6484 | TN |  | 0 |  | 0
425-1-351 | INLETS, CURB, TYPE P-5, <10' | 1 | EA |  | 0 |  | 0
425-1-361 | INLETS, CURB, TYPE P-6, <10' | 26 | EA |  | 0 |  | 0
425-1-362 | INLETS, CURB, TYPE P-6, >10' | 1 | EA |  | 0 |  | 0
425-1-461 | INLETS, CURB, TYPE J-6, <10' | 2 | EA |  | 0 |  | 0
425-1-583 | INLETS, DT BOT, TYPE H, J BOTTOM <10' (2 GRATE) MODIFIED | 1 | EA |  | 0 |  | 0
425-1-583a | INLETS, DT BOT, TYPE H, J BOTTOM <10' (4 GRATE) MODIFIED | 2 | EA |  | 0 |  | 0
425-1-584 | INLETS, DT BOT, TYPE H, J BOTTOM >10' (2 GRATE) MODIFIED | 1 | EA |  | 0 |  | 0
425-1-584a | INLETS, DT BOT, TYPE H, J BOTTOM >10' (4 GRATE) MODIFIED | 1 | EA |  | 0 |  | 0
425-2-61 | MANHOLES, P-8, <10' | 4 | EA |  | 0 |  | 0
425-2-91 | MANHOLES, J-8, <10' | 1 | EA |  | 0 |  | 0
425-2-92 | MANHOLES, J-8, >10' | 4 | EA |  | 0 |  | 0
425-10 | YARD DRAIN | 10 | EA |  | 0 |  | 0
425-11 | MODIFY EXISTING DRAINAGE STRUCTURE - PARTIAL | 5 | EA |  | 0 |  | 0
430-175-118 | PIPE CULVERT,OPTIONAL MATERIAL,ROUND, 18"S/CD | 1936 | LF |  | 0 |  | 0
430-175-124 | PIPE CULVERT,OPTIONAL MATERIAL,ROUND, 24"S/CD | 2179 | LF |  | 0 |  | 0
430-175-130 | PIPE CULVERT, OPT MATERIAL, ROUND, 30"S/CD | 999 | LF |  | 0 |  | 0
430-175-136 | PIPE CULVERT, OPT MATERIAL, ROUND, 36"S/CD | 330 | LF |  | 0 |  | 0
430-175-142 | PIPE CULVERT, OPT MATERIAL, ROUND, 42"S/CD | 568 | LF |  | 0 |  | 0
430-175-148 | PIPE CULVERT, OPT MATERIAL, ROUND, 48"S/CD | 47 | LF |  | 0 |  | 0
430-175-160 | PIPE CULVERT, OPT MATERIAL, ROUND, 60"S/CD | 160 | LF |  | 0 |  | 0
430-175-172 | PIPE CULVERT, OPT MATERIAL, ROUND, 72"S/CD | 460 | LF |  | 0 |  | 0
430-175-230 | PIPE CULVERT, OPT MATERIAL, OTHER SHAPE - ELIP/ARCH, 30"S/CD | 54 | LF |  | 0 |  | 0
430-175-254 | PIPE CULVERT, OPT MATERIAL, OTHER SHAPE - ELIP/ARCH, 54"S/CD | 108 | LF |  | 0 |  | 0
430-524-100 | STRAIGHT CONCRETE ENDWALLS, 24", SINGLE, 0 DEGREES, ROUND | 3 | EA |  | 0 |  | 0
430-530-100 | STRAIGHT CONCRETE ENDWALLS, 30", SINGLE, 0 DEGREES, ROUND | 1 | EA |  | 0 |  | 0
430-536-100 | STRAIGHT CONCRETE ENDWALLS, 36", SINGLE, 0 DEGREES, ROUND | 1 | EA |  | 0 |  | 0
430-542-100 | STRAIGHT CONCRETE ENDWALLS, 42", SINGLE, 0 DEGREES, ROUND | 1 | EA |  | 0 |  | 0
430-548-100 | STRAIGHT CONCRETE ENDWALLS, 48", SINGLE, 0 DEGREES, ROUND | 1 | EA |  | 0 |  | 0
430-560-100 | STRAIGHT CONCRETE ENDWALLS, 60", SINGLE, 0 DEGREES, ROUND | 1 | EA |  | 0 |  | 0
430-964-6 | PVC PIPE, 8 INCH | 834 | LF |  | 0 |  | 0
520-1-10 | CONCRETE CURB & GUTTER, TYPE F | 16927 | LF |  | 0 |  | 0
520-1-7 | CONCRETE CURB & GUTTER, TYPE E | 346 | LF |  | 0 |  | 0
520-5-11 | TRAFFIC SEPARATOR CONCRETE-TYPE I, 4' WIDE | 304 | LF |  | 0 |  | 0
522-1 | CONCRETE SIDEWALK AND DRIVEWAYS, 4" THICK | 6056 | SY |  | 0 |  | 0
522-2 | CONCRETE SIDEWALK AND DRIVEWAYS, 6" THICK | 149 | SY |  | 0 |  | 0
527-2 | DETECTABLE WARNINGS | 377 | SF |  | 0 |  | 0
570-1-2 | PERFORMANCE TURF, SOD | 62747 | SY |  | 0 |  | 0
SPECIAL-1 | RECORD DRAWINGS PER MANATEE COUNTY STANDARDS (DRAINAGE) | 1 | LS |  | 0 |  | 0
SPECIAL-2 | EXISTING DITCH REGRADING (30' WIDE) | 1791 | LF |  | 0 |  | 0
SPECIAL-3 | 4" CONCRETE, TERRACOTTA & IMPRINTED WITH BRICK | 1280 | SY |  | 0 |  | 0
SPECIAL-4 | TRAFFIC SEPARATOR CONCRETE-TYPE I, 3' WIDE | 235 | LF |  | 0 |  | 0
SPECIAL-5 | TRAFFIC CONTROL STRIPING AND PAVEMENT MARKINGS (INCLUDES TEMPORARY PAINT MARKINGS) | 1 | LS |  | 0 |  | 0
SPECIAL-6 | TRAFFIC CONTROL SIGNAGE | 1 | LS |  | 0 |  | 0
SPECIAL-7 | 6" UNDERDRAIN | 1883 | LF |  | 0 |  | 0
SPECIAL-8 | UNDERDRAIN CLEANOUT | 37 | EA |  | 0 |  | 0
MC-201.3 | CONCRETE CURB & GUTTER, TYPE "AB" MODIFIED | 4036 | LF |  | 0 |  | 0
GENERAL, EARTHWORK, ROADWAY & DRAINAGE COMPONENT SUB-TOTAL
SIGNALIZATION COMPONENT
630-2-11 | CONDUIT, FURNISH & INSTALL, OPEN TRENCH | 11137 | LF |  | 0 |  | 0
630-2-12 | CONDUIT, FURNISH & INSTALL, DIRECTIONAL BORE | 1828 | LF |  | 0 |  | 0
632-7-1 | SIGNAL CABLE - NEW OR RECONSTRUCTED INTERSECTION, F&I | 1 | PI |  | 0 |  | 0
633-1-121 | FIBER OPTIC CABLE, F&I, UNDERGROUND,2-12 FIBERS | 377 | LF |  | 0 |  | 0
633-1-122 | FIBER OPTIC CABLE, F&I, UNDERGROUND,13-48 FIBERS | 9764 | LF |  | 0 |  | 0
633-2-31 | FIBER OPTIC CONNECTION, INSTALL, SPLICE | 52 | EA |  | 0 |  | 0
633-3-11 | FIBER OPTIC CONNECTION HARDWARE, F&I, SPLICE ENCLOSURE | 1 | EA |  | 0 |  | 0
633-3-12 | FIBER OPTIC CONNECTION HARDWARE, F&I, SPLICE TRAY | 2 | EA |  | 0 |  | 0
633-3-13 | FIBER OPTIC CONNECTION HARDWARE, F&I, PRETERMINATED CONNECTOR ASSEMBLY | 2 | EA |  | 0 |  | 0
633-3-15 | FIBER OPTIC CONNECTION HARDWARE, F&I, PRETERMINATED PATCH PANEL | 1 | EA |  | 0 |  | 0
633-8-1 | MULTI-CONDUCTOR COMMUNICATION CABLE, FURNISH & INSTALL | 4906 | LF |  | 0 |  | 0
635-2-12 | PULL & SPLICE BOX, F&I, 24" X 36" COVER SIZE | 35 | EA |  | 0 |  | 0
635-2-13 | PULL & SPLICE BOX, F&I, 30" X 60" RECTANGULAR OR 36" ROUND COVER SIZE | 1 | EA |  | 0 |  | 0
635-2-14 | PULL & SPLICE BOX, F&I, 17" X 30" COVER SIZE | 6 | EA |  | 0 |  | 0
639-1-122 | ELECTRICAL POWER SEVICE, F&I, UNDERGROUND, METER PURCHASED BY CONTRACTOR | 1 | AS |  | 0 |  | 0
639-2-1 | ELECTRICAL SERVICE WIRE, FURNISH & INSTALL | 8 | LF |  | 0 |  | 0
639-3-11 | ELECTRICAL SERVICE DISCONNECT, F&I, POLE MOUNT | 1 | EA |  | 0 |  | 0
639-4-6 | EMERGENCY GENERATOR - PORTABLE, INSTALL HOUSING ONLY | 1 | EA |  | 0 |  | 0
641-2-12 | PRESTRESSED CONCRETE POLE, F&I, TYPE P-II SERVICE POLE | 1 | EA |  | 0 |  | 0
641-2-13 | PRESTRESSED CONCRETE POLE, F&I, TYPE P-III | 4 | EA |  | 0 |  | 0
646-1-11 | ALUMINUM SIGNALS POLE, F&I, PEDESTAL | 8 | EA |  | 0 |  | 0
649-21-6 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, SINGLE ARM 50' | 1 | EA |  | 0 |  | 0
649-21-15 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, SINGLE ARM 70' | 1 | EA |  | 0 |  | 0
649-21-21 | STEEL MAST ARM ASSEMBLY, F&I, SINGLE ARM 78' | 4 | EA |  | 0 |  | 0
649-21-27 | MAST ARM ASSEMBLY, FURNISH & INSTALL, DOUBLE ARM 78'-78' | 1 | EA |  | 0 |  | 0
650-1-34 | VEHICULAR TRAFFIC SIGNAL, FURNISH & INSTALL POLYCARBONATE, 3 SECTION, 1 WAY | 22 | AS |  | 0 |  | 0
650-1-39 | VEHICULAR TRAFFIC SIGNAL, FURNISH & INSTALL POLYCARBONATE, 5 SECTION CLUSTER, 1 WAY | 4 | AS |  | 0 |  | 0
653-1-11 | PEDESTRIAN SIGNAL, F&I, LED COUNTDOWN, 1 WAY | 8 | AS |  | 0 |  | 0
660-3-11 | VEHICLE DETECTION SYSTEM - WAVETRONIX SMARTSENSOR HD, F&I CABINET EQUIPMENT | 6 | EA |  | 0 |  | 0
660-3-12 | VEHICLE DETECTION SYSTEM - WAVETRONIX SMARTSENSOR HD, F&I, ABOVE GROUND EQUIPMENT | 12 | EA |  | 0 |  | 0
665-1-11 | PEDESTRIAN DETECTOR, F&I, STANDARD | 8 | EA |  | 0 |  | 0
670-5-110 | TRAFFIC CONTROLLER ASSEMBLY, F&I, NEMA | 1 | AS |  | 0 |  | 0
676-3-10 | SMALL EQUIPMENT ENCLOSURE, FURNISH AND INSTALL, LESS THAN 10"W X 13"H X 11" D | 4 | EA |  | 0 |  | 0
682-1-113 | ITS CCTV CAMERA, F&I, DOME PTZ ENCLOSURE - PRESSURIZED, IP, HIGH DEFINITION | 1 | EA |  | 0 |  | 0
684-1-1 | MANAGED FIELD ETHERNET SWITCH, F&I | 1 | EA |  | 0 |  | 0
685-1-12 | UNINTERRUPTIBLE POWER SUPPLY, FURNISH AND INSTALL, ONLINE/DOUBLE CONVERSION | 1 | EA |  | 0 |  | 0
685-2-1 | REMOTE POWER MANAGEMENT UNIT-RPMU, FURNISH AND INSTALL | 1 | EA |  | 0 |  | 0
700-3-201 | SIGN PANEL, FURNISH & INSTALL GROUND MOUNT, UP TO 12 SF | 10 | EA |  | 0 |  | 0
700-5-22 | INTERNALLY ILLUMINATED SIGN, FURNISH & INSTALL, OVERHEAD MOUNT, 12-18 SF | 4 | EA |  | 0 |  | 0
715-5-32 | LUMINAIRE & BRACKET ARM-GALV STEEL, FURNISH & INSTALL NEW LUMINAIRE, AND ARM ON NEW/EXISTING POLE | 4 | EA |  | 0 |  | 0
SIGNALIZATION COMPONENT SUB-TOTAL
LIGHTING COMPONENT
630-2-11 | CONDUIT, FURNISH & INSTALL, OPEN TRENCH | 16036 | LF |  | 0 |  | 0
630-2-12 | CONDUIT, FURNISH & INSTALL, DIRECTIONAL BORE | 616 | LF |  | 0 |  | 0
635-2-11 | PULL & SPLICE BOX, F&I, 13" x 24" COVER SIZE | 132 | EA |  | 0 |  | 0
639-1-122 | ELECTRICAL POWER SERVICE, F&I, UNDERGROUND, METER PURCHASED BY CONTRACTOR | 1 | AS |  | 0 |  | 0
641-2-12 | PRESTRESSED CONCRETE POLE, F&I, TYPE P-II SERVICE POLE | 1 | EA |  | 0 |  | 0
715-1-12 | LIGHTING CONDUCTORS, F&I, INSULATED, NO. 8 - 6 | 59268 | LF |  | 0 |  | 0
715-1-13 | LIGHTING CONDUCTORS, F&I, INSULATED, NO. 4 - 2 | 688 | LF |  | 0 |  | 0
715-61-352 | LIGHT POLE COMPLETE, F&I, STANDARD POLE STANDARD FOUNDATION, 40' MOUNTING HEIGHT, 15' ARM LENGTH | 110 | EA |  | 0 |  | 0
715-7-11 | LOAD CENTER, F&I, SECONDARY VOLTAGE | 1 | EA |  | 0 |  | 0
715-500-1 | POLE CABLE DISTRIBUTION SYSTEM, CONVENTIONAL | 124 | EA |  | 0 |  | 0
715-511-313 | LIGHT POLE COMPLETE - SPECIAL DESIGN, F&I, SINGLE ARM SHOULDER MOUNT, CONCRETE, 13' | 14 | EA |  | 0 |  | 0
LIGHTING COMPONENT SUB-TOTAL
POTABLE WATER COMPONENT
101-1 | MOBILIZATION | 1 | LS |  | 0 |  | 0
1050-16003 | UTILITY PIPE, REMOVE & DISPOSE, 5-7.9" | 120 | LF |  | 0 |  | 0
1050-16004 | UTILITY PIPE, REMOVE & DISPOSE 8-19.9" | 788 | LF |  | 0 |  | 0
1050-16005 | UTILITY PIPE,REMOVE & DISPOSE, 20-49.9" - 30" | 8280 | LF |  | 0 |  | 0
1050-31202 | UTILITY PIPE- POLY VINYL CHLORIDE, FURNISH & INSTALL, WATER/SEWER, 2" | 6 | LF |  | 0 |  | 0
1050-31208 | UTILITY PIPE- POLY VINYL CHLORIDE, FURNISH & INSTALL, WATER/SEWER, 8" | 45 | LF |  | 0 |  | 0
1050-51206 | UTILITY PIPE-DUCTILE IRON/CAST IRON, FURNISH & INSTALL, WATER/SEWER, 6" | 148 | LF |  | 0 |  | 0
1050-51208 | UTILITY PIPE- DUCTILE IRON/CAST IRON, FURNISH & INSTALL, WATER/SEWER, 8" | 147 | LF |  | 0 |  | 0
1050-51212 | UTILITY PIPE-DUCTILE IRON/CAST IRON, FURNISH & INSTALL, WATER/SEWER, 12" | 147 | LF |  | 0 |  | 0
1050-51230 | UTILITY PIPE- DUCTILE IRON/CAST IRON, FURNISH & INSTALL, WATER/SEWER, 30" | 8297 | LF |  | 0 |  | 0
1055-51108 | UTILITY FITTINGS, DUCTILE IRON/CAST IRON, FURNISH & INSTALL 45 DEG ELBOW, 8" | 6 | EA |  | 0 |  | 0
1055-51112 | UTILITY FITTINGS, DUCTILE IRON/CAST IRON, FURNISH & INSTALL 45 DEG ELBOW, 12" | 2 | EA |  | 0 |  | 0
1055-51130 | UTILITY FITTINGS, DUCTILE IRON/CAST IRON, FURNISH & INSTALL 45 DEG ELBOW, 30" | 28 | EA |  | 0 |  | 0
1055-51230a | UTILITY FITTINGS, DI F&I, TEE, 30" X 6" | 1 | EA |  | 0 |  | 0
1055-51230b | UTILITY FITTINGS, DI F&I, TEE, 30" X 8" | 4 | EA |  | 0 |  | 0
1055-51230c | UTILITY FITTINGS, DI F&I, TEE, 30" X 12" | 1 | EA |  | 0 |  | 0
1055-51230d | UTILITY FITTINGS, DI F&I, TEE, 30" X 30" | 1 | EA |  | 0 |  | 0
1055-51230e | UTILITY FITTINGS, DI F&I, CROSS, 30"X30"X12"X12" | 1 | EA |  | 0 |  | 0
1055-51308 | UTILITY FITTINGS, DUCTILE IRON/CAST IRON, FURNISH & INSTALL REDUCER, 8"x2" | 1 | EA |  | 0 |  | 0
1055-51312 | UTILITY FITTINGS, DUCTILE IRON/CAST IRON, FURNISH & INSTALL REDUCER, 12"X8" | 1 | EA |  | 0 |  | 0
1080-22112 | UTILITY FIXTURE-BACKFLOW ASSEMBLY, RELOCATE | 1 | EA |  | 0 |  | 0
1080-24106 | UTILITY FIXTURE, VALVE ASSEMBLY, FURNISH AND INSTALL, 6" | 1 | EA |  | 0 |  | 0
1080-24108 | UTILITY FIXTURE, VALVE ASSEMBLY, FURNISH AND INSTALL, 8" | 5 | EA |  | 0 |  | 0
1080-24112 | UTILITY FIXTURE, VALVE ASSEMBLY, FURNISH AND INSTALL, 12" | 1 | EA |  | 0 |  | 0
1080-24130 | UTILITY FIXTURE, VALVE ASSEMBLY, FURNISH AND INSTALL, 30" | 19 | EA |  | 0 |  | 0
1080-25102 | UTILITY FIXTURE- BLOWOFF ASSEMBLY, FURNISH AND INSTALL, 2" | 2 | EA |  | 0 |  | 0
1080-29102 | UTILITY FIXTURE, MECHANICAL JOINT RESTRAINT, FURNISH & INSTALL, 2" | 1 | EA |  | 0 |  | 0
1080-29106 | UTILITY FIXTURE, MECHANICAL JOINT RESTRAINT, FURNISH & INSTALL, 6" | 1 | EA |  | 0 |  | 0
1080-29108 | UTILITY FIXTURE, MECHANICAL JOINT RESTRAINT, FURNISH & INSTALL, 8" | 5 | EA |  | 0 |  | 0
1080-29112 | UTILITY FIXTURE, MECHANICAL JOINT RESTRAINT, FURNISH & INSTALL, 12" | 1 | EA |  | 0 |  | 0
1080-29130 | UTILITY FIXTURE, MECHANICAL JOINT RESTRAINT, FURNISH & INSTALL, 30" | 357 | EA |  | 0 |  | 0
1644-113-08 | FIRE HYDRANT, F&I, STANDARD, 2 HOSE, 1 PUMPER, 6" | 9 | EA |  | 0 |  | 0
1644-800 | FIRE HYDRANT, RELOCATE | 2 | EA |  | 0 |  | 0
SPECIAL-9 | RECORD DRAWINGS PER MANATEE COUNTY STANDARDS (UTILITY) | 1 | LS |  | 0 |  | 0
POTABLE WATER COMPONENT SUB-TOTAL
RECLAIM COMPONENT
101-1 | MOBILIZATION | 1 | LS |  | 0 |  | 0
1050-16002 | UTILITY PIPE, REMOVE & DISPOSE, 2-4.9" | 832 | LF |  | 0 |  | 0
1050-16003 | ITILITY PIPE, REMOVE & DISPOSE, 5-7.9" | 103 | LF |  | 0 |  | 0
1050-16004 | ITILITY PIPE, REMOVE & DISPOSE, 8-19.9" | 2641 | LF |  | 0 |  | 0
1051-16005 | ITILITY PIPE, REMOVE & DISPOSE, 20-49.9" | 1195 | LF |  | 0 |  | 0
1050-31204 | UTILITY PIPE- POLY VINYL CHLORIDE, FURNISH & INSTALL, WATER/SEWER, 4" | 142 | LF |  | 0 |  | 0
1050-31210 | UTILITY PIPE- POLY VINYL CHLORIDE, FURNISH & INSTALL, WATER/SEWER, 10" | 2384 | LF |  | 0 |  | 0
1050-51206 | UTILITY PIPE- DUCTILE IRON/CAST IRON, FURNISH & INSTALL, WATER/SEWER, 6" | 346 | LF |  | 0 |  | 0
1050-51210 | UTILITY PIPE- DUCTILE IRON/CAST IRON, FURNISH & INSTALL, WATER/SEWER, 10" | 295 | LF |  | 0 |  | 0
1050-51220 | UTILITY PIPE- DUCTILE IRON/CAST IRON, FURNISH & INSTALL, WATER/SEWER, 20" | 1285 | LF |  | 0 |  | 0
1050 61112 | UTILITY PIPE- STEEL, FURNISH & INSTALL, CASING, 12" | 127 | LF |  | 0 |  | 0
1055-51110a | UTILITY FITTINGS, DUCTILE IRON/CAST IRON, FURNISH & INSTALL 11.25 DEG ELBOW, 10" | 1 | EA |  | 0 |  | 0
1055-51110b | UTILITY FITTINGS, DUCTILE IRON/CAST IRON, FURNISH & INSTALL 45 DEG ELBOW, 10" | 15 | EA |  | 0 |  | 0
1055-51120 | UTILITY FITTINGS, DUCTILE IRON/CAST IRON, FURNISH & INSTALL 45 DEG ELBOW, 20" | 6 | EA |  | 0 |  | 0
1055-51210a | UTILITY FITTINGS, DI F&I, TEE, 10" X 6" | 1 | EA |  | 0 |  | 0
1055-51210b | UTILITY FITTINGS, DI F&I, TEE, 10" X 10" | 1 | EA |  | 0 |  | 0
1055-51220a | UTILITY FITTINGS, DI F&I, TEE, 20" X 20" | 2 | EA |  | 0 |  | 0
1055-51220b | UTILITY FITTINGS, DI F&I, TEE, 20" X 6" | 1 | EA |  | 0 |  | 0
1055-51220c | UTILITY FITTINGS, DI F&I, TEE, 20" X 4" | 1 | EA |  | 0 |  | 0
1055-51220d | UTILITY FITTINGS, DI F&I, CROSS, 20" X 10" X 10" X 10" | 1 | EA |  | 0 |  | 0
1055-51510 | UTILITY FITTINGS, DUCTILE IRON/CAST IRON, FURNISH & INSTALL, CAP/PLUG, 10" | 1 | EA |  | 0 |  | 0
1080-22112 | UTILITY FIXTURE-BACKFLOW ASSEMBLY, RELOCATE | 2 | EA |  | 0 |  | 0
1080-24104 | UTILITY FIXTURE, VALVE ASSEMBLY, FURNISH AND INSTALL, 4" | 2 | EA |  | 0 |  | 0
1080-24106 | UTILITY FIXTURE, VALVE ASSEMBLY, FURNISH AND INSTALL, 6" | 2 | EA |  | 0 |  | 0
1080-24110 | UTILITY FIXTURE, VALVE ASSEMBLY, FURNISH AND INSTALL, 10" | 7 | EA |  | 0 |  | 0
1080-24120 | UTILITY FIXTURE, VALVE ASSEMBLY, FURNISH AND INSTALL, 20" | 9 | EA |  | 0 |  | 0
1080-29104 | UTILITY FIXTURE, MECHANICAL JOINT RESTRAINT, FURNISH & INSTALL, 4" | 4 | EA |  | 0 |  | 0
1080-29106 | UTILITY FIXTURE, MECHANICAL JOINT RESTRAINT, FURNISH & INSTALL, 6" | 14 | EA |  | 0 |  | 0
1080-29110 | UTILITY FIXTURE, MECHANICAL JOINT RESTRAINT, FURNISH & INSTALL, 10" | 36 | EA |  | 0 |  | 0
1080-29120 | UTILITY FIXTURE, MECHANICAL JOINT RESTRAINT, FURNISH & INSTALL, 20" | 63 | EA |  | 0 |  | 0
1644-113-08 | FIRE HYDRANT, F&I, STANDARD, 2 HOSE, 1 PUMPER, 6" | 11 | EA |  | 0 |  | 0
SPECIAL-10 | RECORD DRAWINGS PER MANATEE COUNTY STANDARDS (UTILITY) | 1 | LS |  | 0 |  | 0
RECLAIM COMPONENT SUB-TOTAL
SANITARY COMPONENT
101-1 | MOBILIZATION | 1 | LS |  | 0 |  | 0
SPECIAL-11 | RECORD DRAWINGS PER MANATEE COUNTY STANDARDS (UTILITY) | 1 | LS |  | 0 |  | 0
1050 16004 | UTILITY PIPE, REMOVE & DISPOSE, 8-19.9" | 165 | LF |  | 0 |  | 0
1050-31202 | UTILITY PIPE- POLY VINYL CHLORIDE, FURNISH & INSTALL, WATER/SEWER, 2"' | 181 | LF |  | 0 |  | 0
1050-31210 | UTILITY PIPE- POLY VINYL CHLORIDE, FURNISH & INSTALL, WATER/SEWER, 10" | 186 | LF |  | 0 |  | 0
1050-61104 | UTILITY PIPE- STEEL, FURNISH & INSTALL, CASING, 4" | 99 | LF |  | 0 |  | 0
1050-61120 | UTILITY PIPE- STEEL, FURNISH & INSTALL, CASING, 20" | 127 | LF |  | 0 |  | 0
1055-51110 | UTILITY FITTINGS, DUCTILE IRON/CAST IRON, FURNISH & INSTALL 45 DEG ELBOW, 10" | 2 | EA |  | 0 |  | 0
1055-51310a | UTILITY FITTINGS, DUCTILE IRON/CAST IRON, FURNISH & INSTALL REDUCER, 10"x2" | 1 | EA |  | 0 |  | 0
1055-51310b | UTILITY FITTINGS, DUCTILE IRON/CAST IRON, FURNISH & INSTALL REDUCER, 10"x4" | 1 | EA |  | 0 |  | 0
1055-51510 | UTILITY FITTINGS, DUCTILE IRON/CAST IRON, FURNISH & INSTALL, CAP/PLUG, 10" | 1 | EA |  | 0 |  | 0
1055-51612 | UTILITY FITTINGS, DUCTILE IRON/CAST IRON, FURNISH & INSTALL Y, 12" | 2 | EA |  | 0 |  | 0
1080-24102 | UTILITY FIXTURE, VALVE ASSEMBLY, FURNISH AND INSTALL, 2" | 2 | EA |  | 0 |  | 0
1080-24110 | UTILITY FIXTURE, VALVE ASSEMBLY, FURNISH AND INSTALL, 10" | 2 | EA |  | 0 |  | 0
1080-24500 | UTILITY FIXTURE, VALVE ASSEMBLY, ADJUST/MODIFY | 12 | EA |  | 0 |  | 0
1080-26500 | UTILITY FIXTURE, VAC/AIR ASSEMBLY, ADJUST/MODIFY | 3 | EA |  | 0 |  | 0
1080-29102 | UTILITY FIXTURE, MECHANICAL JOINT RESTRAINT, FURNISH & INSTALL, 2" | 8 | EA |  | 0 |  | 0
1080-29110 | UTILITY FIXTURE, MECHANICAL JOINT RESTRAINT, FURNISH & INSTALL, 10" | 2 | EA |  | 0 |  | 0
1080-29112 | UTILITY FIXTURE, MECHANICAL JOINT RESTRAINT, FURNISH & INSTALL, 12" | 1 | EA |  | 0 |  | 0 | Updated
SANITARY COMPONENT SUB-TOTAL
Sub-Total Price (Total General, Earthwork, Roadway & Drainage, Signialization, Lighting, Potable Water, Reclaim, Sanitary)
| CONTRACT CONTINGENCY (USED ONLY WITH COUNTY APPROVAL) | 10%
TOTAL BID PRICE (SUB-TOTAL PRICE PLUS THE CONSTRUCTION CONTINGENCY)
BIDDER NAME_____________________________________________________________
BIDDER SIGNATURE________________________________________________________