## 451 Fairway 6
APPENDIX M, BID PRICING FORM REV 2
IFBC NO. 26-R088187LP 26-R089354LP *Change
SATELLITE LIFT STATION R&R 2026 GROUP 1
PROJECT NAME: |  | SLS R&R 2026 Group 1 - Fairway 6 RTU 451
PROJECT NUMBER: |  | 402-5165580
SECTION / TWNSHP / RANGE: |  | 27/35/18
PROJECT DESCRIPTION: |  | Rehab wet well & valve vault piping for lift station.
PROJECT SITE DIMENSIONS: |  | All work within lift station site.
FAIRWAY 6 RTU 451
To be considered responsive, it is the sole responsibility of the bidder to correctly calculate and manually enter all sub-total, contingency
and total bid prices.
LIFT STATION REHABILITATION
ITEM NO. | DESCRIPTION |  | U/M | QTY. | UNIT PRICE | EXTENDED PRICE
1 | Wet Well Cleaning |  | SF | 406 |  | 0
2 | Wet Well Discharge Piping, HDPE DR-11, 4" |  | LF | 50 |  | 0
3 | Pump Base Ells, BPIU-14 |  | EA | 2 |  | 0
4 | Pump Base Ell Mounting Plate |  | EA | 2 |  | 0
5 | S.S. Pipe Bracing, 6 ft |  | EA | 3 |  | 0
6 | Intentionally Left Blank
6.01 | Intentionally Left Blank
7 | Replace Existing Top Slab
7.01 | Wet Well, thickness, 10" |  | EA | 1 |  | 0
8 | PVC Vent, Sch 80, 4" |  | EA | 1 |  | 0
9 | Aluminum Hatch Cover
9.01 | Wet Well. 36" x 60", single door, w/ fall protection |  | EA | 1 |  | 0
10 | S.S. Pump Guide Rail System, 2" |  | LF | 37 |  | 0
11 | Liner, spray-on (wet well & manhole) |  | SF | 621 |  | 0
12 | Intentionally Left Blank
13 | Intentionally Left Blank
14 | Gate Valve, FLG, 4" |  | EA | 3 |  | 0
15 | Swing Check Valve, FLG, 4" |  | EA | 2 |  | 0
16 | Gate Valve, MJ, 4" |  | EA | 1 |  | 0
17 | Pipe, D.I., FLG, 4" |  | LF | 7 |  | 0
18 | Pipe, PVC (DR-18), 4" |  | LF | 9.5 |  | 0
19 | Fittings, ductile iron
19.01 | Intentionally Left Blank
19.02 | Tee, FLG, 4" |  | EA | 2 |  | 0
19.03 | 90, FLG, 4" |  | EA | 1 |  | 0
19.04 | Intentionally Left Blank
19.05 | 90, MJ, 4" |  | EA | 1 |  | 0
19.06 | 45, MJ, 4" |  | EA | 2 |  | 0
19.07 | Intentionally Left Blank
19.08 | Intentionally Left Blank
19.09 | Intentionally Left Blank
19.1 | Intentionally Left Blank
20 | Quick Coupler Adapter, aluminum, male, w/ Alum. Dust Cap, 4" |  | EA | 1 |  | 0
21 | S.S. Adjustable Valve Supports, FLG attachment |  | EA | 2 |  | 0
22 | Abandon Existing Structure |  | EA | 1 |  | 0
23 | Concrete Slab, Valve Assembly |  | EA | 1 |  | 0
24 | Influent Line Plug, 8" |  | EA | 1 |  | 0
25 | By-Pass Pumping |  | LS | 1 |  | 0
26 | Water Service Connection and Line, 2" |  | LF | 58 |  | 0
27 | Install Meter, Backflow, & Hose Bibb Assembly, Standard |  | EA | 1 |  | 0
28 | Abandon Ex. Tapping Saddle; Install Brass Plug |  | EA | 1 |  | 0
29 | Remove & Replace Electric Meter Can |  | EA | 1 |  | 0
30 | Remove & Replace Fused Safety Switch (disconnect) |  | EA | 1 |  | 0
31 | Remove & Replace Control Panel |  | EA | 1 |  | 0
31.01 | Includes TCU Bubbler Unit (RPT-001) by DFS |  | EA | 1 |  | 0
31.02 | Intentionally Left Blank
32 | TCU & Fiberglass Enclosure, DFS |  | EA | 1 |  | 0
33 | Junction Box, 304 SS |  | EA | 1 |  | 0
34 | Remove & Replace PVC Conduit
34.01 | Sch 40, 1" |  | LF | 10 |  | 0
34.02 | Sch 80, 2" |  | LF | 30 |  | 0
34.03 | Intentionally Left Blank
35 | Remove & Replace Electrical Service
35.01 | Sch 80, 2", new |  | LF | 100 |  | 0
35.02 | New Wiring, etc. |  | LF | 100 |  | 0
36 | Remove & Replace Electrical Mounting Structure |  | EA | 1 |  | 0
36.01 | Intentionally Left Blank
37 | Elect. System Study & Elect. Study Analysis, (NFPA 70E), complete |  | LS | 1 |  | 0
38 | Ex. Antenna Concrete Base, remove & disposal |  | LS | 1 |  | 0
39 | Telemetry Tower Base & Concrete Base, new |  | LS | 1 |  | 0
40 | Concrete Repair, 2" thick (if required) |  | SF | 200 |  | 0
41 | Sodding - match existing |  | SY | 25 |  | 0
42 | Intentionally Left Blank
43 | Install New Lift Station Driveway, 6" Thick Concrete |  | SY | 76 |  | 0
44 | Intentionally Left Blank
45 | Intentionally Left Blank
46 | Intentionally Left Blank
47 | Intentionally Left Blank
48 | Intentionally Left Blank
49 | Adjust Frame & Cover, match new driveway elevation |  | LS | 1 |  | 0
50 | Intentionally Left Blank
51 | Intentionally Left Blank
Subtotal Construction Cost
52 | Mobilization* |  | LS | 1 |  | 0
53 | Contract Contingency (County authorized only) |  | 10%
Total Construction Cost
*(% of Subtotal)

## 456 Pinehurst
APPENDIX M, BID PRICING FORM REV 2
IFBC NO. 26-R088187LP 26-R089354LP *Change
SATELLITE LIFT STATION R&R 2026 GROUP 1
PROJECT NAME: |  | SLS R&R 2026 Group 1 - Pinehurst RTU 456
PROJECT NUMBER: |  | 402-5165581
SECTION / TWNSHP / RANGE: |  | 28/35/18
PROJECT DESCRIPTION: |  | Rehab wet well & valve vault piping for lift station.
PROJECT SITE DIMENSIONS: |  | All work within lift station site.
456 Pinehurst
To be considered responsive, it is the sole responsibility of the bidder to correctly calculate and manually enter all sub-total, contingency
and total bid prices.
LIFT STATION REHABILITATION
ITEM NO. | DESCRIPTION |  | U/M | QTY. | UNIT PRICE | EXTENDED PRICE
1 | Wet Well Cleaning |  | SF | 357 |  | 0
2 | Wet Well Discharge Piping, HDPE DR-11, 4" |  | LF | 45 |  | 0
3 | Pump Base Ells, BPIU-14 |  | EA | 2 |  | 0
4 | Pump Base Ell Mounting Plate |  | EA | 2 |  | 0
5 | S.S. Pipe Bracing, 6 ft |  | EA | 2 |  | 0
6 | Intentionally Left Blank
6.01 | Intentionally Left Blank
7 | Replace Existing Top Slab
7.01 | Wet Well, thickness, 10" |  | EA | 1 |  | 0
8 | PVC Vent, Sch 80, 4" |  | EA | 1 |  | 0
9 | Aluminum Hatch Cover
9.01 | Wet Well. 36" x 60", single door, w/ fall protection |  | EA | 1 |  | 0
10 | S.S. Pump Guide Rail System, 2" |  | LF | 32 |  | 0
11 | Liner, spray-on |  | SF | 357 |  | 0
12 | Intentionally Left Blank
13 | Grout Fill Ex. Drain, abandon |  | EA | 1 |  | 0
14 | Gate Valve, FLG, 4" |  | EA | 3 |  | 0
15 | Swing Check Valve, FLG, 4" |  | EA | 2 |  | 0
16 | Gate Valve, MJ, 6" |  | EA | 1 |  | 0
17 | Pipe, D.I., FLG, 4" |  | LF | 5 |  | 0
18 | Pipe, PVC (DR-18), 6" |  | LF | 15 |  | 0
19 | Fittings, ductile iron
19.01 | Intentionally Left Blank
19.02 | Tee, FLG, 4" |  | EA | 2 |  | 0
19.03 | 90, FLG, 4" |  | EA | 1 |  | 0
19.04 | 90, MJ, 6" |  | EA | 1 |  | 0
19.05 | 45, MJ, 6" |  | EA | 1 |  | 0
19.06 | Reducer, MJ, 4"x6" |  | EA | 1 |  | 0
19.07 | Intentionally Left Blank
19.08 | MJxMJ Adapter, 6" |  | EA | 1 |  | 0
19.09 | Intentionally Left Blank
19.1 | Intentionally Left Blank
20 | Quick Coupler Adapter, aluminum, male, w/ Alum. Dust Cap, 4" |  | EA | 1 |  | 0
21 | S.S. Adjustable Valve Supports, FLG attachment |  | EA | 2 |  | 0
22 | Abandon Existing Structure |  | EA | 1 |  | 0
23 | Concrete Slab, Valve Assembly |  | EA | 1 |  | 0
24 | Influent Line Plug, 8" |  | EA | 1 |  | 0
25 | By-Pass Pumping |  | LS | 1 |  | 0
26 | Water Service Connection and Line, 2" |  | LF | 30 |  | 0
27 | Install Meter, Backflow, & Hose Bibb Assembly, Standard |  | EA | 1 |  | 0
28 | Abandon Ex. Tapping Saddle; Install Brass Plug |  | EA | 1 |  | 0
29 | Remove & Replace Electric Meter Can |  | EA | 1 |  | 0
30 | Remove & Replace Fused Safety Switch (disconnect) |  | EA | 1 |  | 0
31 | Remove & Replace Control Panel |  | EA | 1 |  | 0
31.01 | Includes TCU Bubbler Unit (RPT-001) by DFS |  | EA | 1 |  | 0
31.02 | Intentionally Left Blank
32 | TCU & Fiberglass Enclosure, DFS |  | EA | 1 |  | 0
33 | Junction Box, 304 SS |  | EA | 1 |  | 0
34 | Remove & Replace PVC Conduit
34.01 | Sch 40, 1" |  | LF | 10 |  | 0
34.02 | Sch 80, 2" |  | LF | 30 |  | 0
34.03 | Intentionally Left Blank
35 | Remove & Replace Electrical Service
35.01 | Sch 80, 2", new |  | LF | 120 |  | 0
35.02 | New Wiring, etc. |  | LF | 120 |  | 0
36 | Remove & Replace Electrical Mounting Structure |  | EA | 1 |  | 0
36.01 | Intentionally Left Blank
37 | Elect. System Study & Elect. Study Analysis, (NFPA 70E), complete |  | LS | 1 |  | 0
38 | Intentionally Left Blank
39 | Telemetry Tower Base & Concrete Base, new |  | LS | 1 |  | 0
40 | Concrete Repair, 2" thick (if required) |  | SF | 175 |  | 0
41 | Sodding - match existing |  | SY | 25 |  | 0
42 | Intentionally Left Blank
43 | Install New Lift Station Driveway, 6" Thick Concrete |  | SY | 70 |  | 0
44 | Intentionally Left Blank
45 | Intentionally Left Blank
46 | Intentionally Left Blank
47 | Intentionally Left Blank
48 | Intentionally Left Blank
49 | Intentionally Left Blank
50 | Intentionally Left Blank
51 | Intentionally Left Blank
Subtotal Construction Cost
52 | Mobilization* |  | LS | 1 |  | 0
53 | Contract Contingency (County authorized only) |  | 10%
Total Construction Cost
*(% of Subtotal)

## 463 University Pines
APPENDIX M, BID PRICING FORM REV 2
IFBC NO. 26-R088187LP 26-R089354LP *Change
SATELLITE LIFT STATION R&R 2026 GROUP 1
PROJECT NAME: |  | SLS R&R 2026 Group 1 - University Pines RTU 463
PROJECT NUMBER: |  | 402-5165582
SECTION / TWNSHP / RANGE: |  | 33/35/18
PROJECT DESCRIPTION: |  | Rehab wet well & valve vault piping for lift station.
PROJECT SITE DIMENSIONS: |  | All work within lift station site.
463 University Pines
To be considered responsive, it is the sole responsibility of the bidder to correctly calculate and manually enter all sub-total, contingency
and total bid prices.
LIFT STATION REHABILITATION
ITEM NO. | DESCRIPTION |  | U/M | QTY. | UNIT PRICE | EXTENDED PRICE
1 | Wet Well Cleaning |  | SF | 406 |  | 0
2 | Wet Well Discharge Piping, HDPE DR-11, 4" |  | LF | 55 |  | 0
3 | Pump Base Ells, BPIU-14 |  | EA | 2 |  | 0
4 | Pump Base Ell Mounting Plate |  | EA | 2 |  | 0
5 | S.S. Pipe Bracing, 6 ft |  | EA | 3 |  | 0
6 | Intentionally Left Blank
6.01 | Intentionally Left Blank
7 | Replace Existing Top Slab
7.01 | Wet Well, thickness, 10" |  | EA | 1 |  | 0
8 | PVC Vent, Sch 80, 4" |  | EA | 1 |  | 0
9 | Aluminum Hatch Cover
9.01 | Wet Well. 36" x 60", single door, w/ fall protection |  | EA | 1 |  | 0
10 | S.S. Pump Guide Rail System, 2" |  | LF | 37 |  | 0
11 | Liner, spray-on |  | SF | 406 |  | 0
12 | Intentionally Left Blank
13 | Grout Fill Ex. Drain, abandon |  | EA | 1 |  | 0
14 | Gate Valve, FLG, 4" |  | EA | 3 |  | 0
15 | Swing Check Valve, FLG, 4" |  | EA | 2 |  | 0
16 | Gate Valve, MJ, 6" |  | EA | 1 |  | 0
17 | Pipe, D.I., FLG, 4" |  | LF | 5 |  | 0
18 | Pipe, PVC (DR-18), 4" |  | LF | 13 |  | 0
19 | Fittings, ductile iron
19.01 | Intentionally Left Blank
19.02 | Tee, FLG, 4" |  | EA | 2 |  | 0
19.03 | 90, FLG, 4" |  | EA | 1 |  | 0
19.04 | 90, MJ, 6" |  | EA | 1 |  | 0
19.05 | Intentionally Left Blank
19.06 | Reducer, MJ, 4"x6" |  | EA | 1 |  | 0
19.07 | Intentionally Left Blank
19.08 | MJxMJ Adapter, 6" |  | EA | 1 |  | 0
19.09 | MJ Sleeve, 6" |  | EA | 1 |  | 0
19.1 | Intentionally Left Blank
20 | Quick Coupler Adapter, aluminum, male, w/ Alum. Dust Cap, 4" |  | EA | 1 |  | 0
21 | S.S. Adjustable Valve Supports, FLG attachment |  | EA | 2 |  | 0
22 | Abandon Existing Structure |  | EA | 1 |  | 0
23 | Concrete Slab, Valve Assembly |  | EA | 1 |  | 0
24 | Influent Line Plug, 8" |  | EA | 1 |  | 0
25 | By-Pass Pumping |  | LS | 1 |  | 0
26 | Water Service Connection and Line, 2" |  | LF | 62 |  | 0
27 | Install Meter, Backflow, & Hose Bibb Assembly, Standard |  | EA | 1 |  | 0
28 | Abandon Ex. Tapping Saddle; Install Brass Plug |  | EA | 1 |  | 0
29 | Remove & Replace Electric Meter Can |  | EA | 1 |  | 0
30 | Remove & Replace Fused Safety Switch (disconnect) |  | EA | 1 |  | 0
31 | Remove & Replace Control Panel |  | EA | 1 |  | 0
31.01 | Includes TCU Bubbler Unit (RPT-001) by DFS |  | EA | 1 |  | 0
31.02 | Phase Converter, 1 Phase to 3 Phase, inside Control Panel |  | EA | 2 |  | 0
32 | TCU & Fiberglass Enclosure, DFS |  | EA | 1 |  | 0
33 | Junction Box, 304 SS |  | EA | 1 |  | 0
34 | Remove & Replace PVC Conduit
34.01 | Sch 40, 1" |  | LF | 10 |  | 0
34.02 | Sch 80, 2" |  | LF | 30 |  | 0
34.03 | Intentionally Left Blank
35 | Remove & Replace Electrical Service
35.01 | Sch 80, 2", new |  | LF | 140 |  | 0
35.02 | New Wiring, etc. |  | LF | 140 |  | 0
36 | Remove & Replace Electrical Mounting Structure |  | EA | 1 |  | 0
36.01 | Intentionally Left Blank
37 | Elect. System Study & Elect. Study Analysis, (NFPA 70E), complete |  | LS | 1 |  | 0
38 | Intentionally Left Blank
39 | Intentionally Left Blank
40 | Concrete Repair, 2" thick (if required) |  | SF | 200 |  | 0
41 | Intentionally Left Blank
42 | Washed Shell w/ Weed Barrier |  | SY | 85 |  | 0
43 | Intentionally Left Blank
44 | Intentionally Left Blank
45 | Intentionally Left Blank
46 | Intentionally Left Blank
47 | Intentionally Left Blank
48 | Intentionally Left Blank
49 | Intentionally Left Blank
50 | Intentionally Left Blank
51 | Intentionally Left Blank
Subtotal Construction Cost
52 | Mobilization* |  | LS | 1 |  | 0
53 | Contract Contingency (County authorized only) |  | 10%
Total Construction Cost
*(% of Subtotal)

## 464 Glenbrook
APPENDIX M, BID PRICING FORM REV 2
IFBC NO. 26-R088187LP 26-R089354LP *Change
SATELLITE LIFT STATION R&R 2026 GROUP 1
PROJECT NAME: |  | SLS R&R 2026 Group 1 - Glenbrooke RTU 464
PROJECT NUMBER: |  | 402-5165583
SECTION / TWNSHP / RANGE: |  | 33/35/18
PROJECT DESCRIPTION: |  | Rehab wet well & valve vault piping for lift station.
PROJECT SITE DIMENSIONS: |  | All work within lift station site.
464 Glenbrook
To be considered responsive, it is the sole responsibility of the bidder to correctly calculate and manually enter all sub-total, contingency
and total bid prices.
LIFT STATION REHABILITATION
ITEM NO. | DESCRIPTION |  | U/M | QTY. | UNIT PRICE | EXTENDED PRICE
1 | Wet Well Cleaning |  | SF | 503 |  | 0
2 | Wet Well Discharge Piping, HDPE DR-11, 4" |  | LF | 45 |  | 0
3 | Pump Base Ells, BPIU-14 |  | EA | 2 |  | 0
4 | Pump Base Ell Mounting Plate |  | EA | 2 |  | 0
5 | S.S. Pipe Bracing, 8 ft |  | EA | 2 |  | 0
6 | Intentionally Left Blank
6.01 | Intentionally Left Blank
7 | Replace Existing Top Slab
7.01 | Wet Well, thickness, 10" |  | EA | 1 |  | 0
8 | PVC Vent, Sch 80, 4" |  | EA | 1 |  | 0
9 | Aluminum Hatch Cover
9.01 | Wet Well. 36" x 60", single door, w/ fall protection |  | EA | 1 |  | 0
10 | S.S. Pump Guide Rail System, 2" |  | LF | 32 |  | 0
11 | Liner, spray-on |  | SF | 503 |  | 0
12 | Intentionally Left Blank
13 | Grout Fill Ex. Drain, abandon |  | EA | 1 |  | 0
14 | Gate Valve, FLG, 4" |  | EA | 3 |  | 0
15 | Swing Check Valve, FLG, 4" |  | EA | 2 |  | 0
16 | Gate Valve, MJ, 4" |  | EA | 1 |  | 0
17 | Pipe, D.I., FLG, 4" |  | LF | 5 |  | 0
18 | Pipe, PVC (DR-18), 4" |  | LF | 9.5 |  | 0
19 | Fittings, ductile iron
19.01 | Intentionally Left Blank
19.02 | Tee, FLG, 4" |  | EA | 2 |  | 0
19.03 | 90, FLG, 4" |  | EA | 1 |  | 0
19.04 | 90, MJ, 4" |  | EA | 1 |  | 0
19.05 | Intentionally Left Blank
19.06 | Intentionally Left Blank
19.07 | Intentionally Left Blank
19.08 | Intentionally Left Blank
19.09 | MJ Sleeve, 4" |  | EA | 1 |  | 0
19.1 | Intentionally Left Blank
20 | Quick Coupler Adapter, aluminum, male, w/ Alum. Dust Cap, 4" |  | EA | 1 |  | 0
21 | S.S. Adjustable Valve Supports, FLG attachment |  | EA | 2 |  | 0
22 | Abandon Existing Structure |  | EA | 1 |  | 0
23 | Concrete Slab, Valve Assembly |  | EA | 1 |  | 0
24 | Influent Line Plug, 8" |  | EA | 2 |  | 0
25 | By-Pass Pumping |  | LS | 1 |  | 0
26 | Water Service Connection and Line, 2" |  | LF | 50 |  | 0
27 | Install Meter, Backflow, & Hose Bibb Assembly, Standard |  | EA | 1 |  | 0
28 | Abandon Ex. Tapping Saddle; Install Brass Plug |  | EA | 1 |  | 0
29 | Remove & Replace Electric Meter Can |  | EA | 1 |  | 0
30 | Remove & Replace Fused Safety Switch (disconnect) |  | EA | 1 |  | 0
31 | Remove & Replace Control Panel |  | EA | 1 |  | 0
31.01 | Includes TCU Bubbler Unit (RPT-001) by DFS |  | EA | 1 |  | 0
31.02 | Intentionally Left Blank
32 | TCU & Fiberglass Enclosure, DFS |  | EA | 1 |  | 0
33 | Junction Box, 304 SS |  | EA | 1 |  | 0
34 | Remove & Replace PVC Conduit
34.01 | Sch 40, 1" |  | LF | 10 |  | 0
34.02 | Sch 80, 2" |  | LF | 30 |  | 0
34.03 | Intentionally Left Blank
35 | Remove & Replace Electrical Service
35.01 | Sch 80, 2", new |  | LF | 60 |  | 0
35.02 | New Wiring, etc. |  | LF | 60 |  | 0
36 | Remove & Replace Electrical Mounting Structure |  | EA | 1 |  | 0
36.01 | Intentionally Left Blank
37 | Elect. System Study & Elect. Study Analysis, (NFPA 70E), complete |  | LS | 1 |  | 0
38 | Intentionally Left Blank
39 | Intentionally Left Blank
40 | Concrete Repair, 2" thick (if required) |  | SF | 215 |  | 0
41 | Intentionally Left Blank
42 | Intentionally Left Blank
43 | Install New Lift Station Driveway, 6" Thick Concrete |  | SY | 60 |  | 0
44 | Intentionally Left Blank
45 | Intentionally Left Blank
46 | Intentionally Left Blank
47 | Intentionally Left Blank
48 | Intentionally Left Blank
49 | Intentionally Left Blank
50 | Remove & Reinstall Portion of Existing Fence |  | LS | 1 |  | 0
51 | Tree Removal |  | EA | 1 |  | 0
Subtotal Construction Cost
52 | Mobilization* |  | LS | 1 |  | 0
53 | Contract Contingency (County authorized only) |  | 10%
Total Construction Cost
*(% of Subtotal)

## 482 Cooper Creek
APPENDIX M, BID PRICING FORM REV 2
IFBC NO. 26-R088187LP 26-R089354LP *Change
SATELLITE LIFT STATION R&R 2026 GROUP 1
PROJECT NAME: |  | SLS R&R 2026 Group 1 - Cooper Creek #15 RTU 482
PROJECT NUMBER: |  | 402-5165584
SECTION / TWNSHP / RANGE: |  | 36/35/18
PROJECT DESCRIPTION: |  | Rehab wet well & valve vault piping for lift station.
PROJECT SITE DIMENSIONS: |  | All work within lift station site.
482 Cooper Creek
To be considered responsive, it is the sole responsibility of the bidder to correctly calculate and manually enter all sub-total, contingency
and total bid prices.
LIFT STATION REHABILITATION
ITEM NO. | DESCRIPTION |  | U/M | QTY. | UNIT PRICE | EXTENDED PRICE
1 | Wet Well Cleaning |  | SF | 1233 |  | 0
2 | Wet Well Discharge Piping, HDPE DR-11, 10" |  | LF | 80 |  | 0
3 | Pump Base Ells, BPIU-14 |  | EA | 3 |  | 0
4 | Pump Base Ell Mounting Plate |  | EA | 3 |  | 0
5 | S.S. Pipe Bracing, 12 ft |  | EA | 3 |  | 0
6 | Modify Existing Rim Elevation
6.01 | Wet Well | 28 | VF | 2.33 |  | 0
7 | Replace Existing Top Slab
7.01 | Wet Well, thickness, 12" |  | EA | 1 |  | 0
8 | PVC Vent, Sch 80, 6" |  | EA | 1 |  | 0
9 | Aluminum Hatch Cover
9.01 | Wet Well. 36" x 60", single door, w/ fall protection |  | EA | 3 |  | 0
10 | S.S. Pump Guide Rail System, 2" |  | LF | 56 |  | 0
11 | Liner, spray-on (wet well and manhole) |  | SF | 1496 |  | 0
12 | Remove Ex. Liner |  | SF | 1233 |  | 0
13 | Grout Fill Ex. Drain, abandon |  | EA | 2 |  | 0
14 | Gate Valve, FLG, 10" |  | EA | 4 |  | 0
15 | Swing Check Valve, FLG, 10" |  | EA | 3 |  | 0
16 | Gate Valve, MJ, 10" |  | EA | 1 |  | 0
17 | Pipe, D.I., FLG, 10" |  | LF | 9 |  | 0
18 | Pipe, PVC (DR-18), 10" |  | LF | 12 |  | 0
19 | Fittings, ductile iron
19.01 | Cross, FLG, 10" |  | EA | 1 |  | 0
19.02 | Tee, FLG, 10" |  | EA | 1 |  | 0
19.03 | 90, FLG, 10" |  | EA | 2 |  | 0
19.04 | 45, FLG, 10" |  | EA | 2 |  | 0
19.05 | 90, MJ, 10" |  | EA | 1 |  | 0
19.06 | Intentionally Left Blank
19.07 | Spool, 10", length as required |  | EA | 4 |  | 0
19.08 | Intentionally Left Blank
19.09 | MJ Sleeve, 10" |  | EA | 1 |  | 0
19.1 | Ecc. Reducer, FLG, 4"x10" |  | EA | 3 |  | 0
20 | Quick Coupler Adapter, aluminum, male, w/ Alum. Dust Cap, 6" |  | EA | 1 |  | 0
21 | S.S. Adjustable Valve Supports, FLG attachment |  | EA | 8 |  | 0
22 | Abandon Existing Structure |  | EA | 2 |  | 0
23 | Concrete Slab, Valve Assembly |  | EA | 1 |  | 0
24 | Influent Line Plug, 16" |  | EA | 1 |  | 0
25 | By-Pass Pumping w/ 24 HR Operator |  | LS | 1 |  | 0
26 | Intentionally Left Blank
27 | Intentionally Left Blank
28 | Intentionally Left Blank
29 | Remove & Replace Electric Meter Can |  | EA | 1 |  | 0
30 | Remove & Replace Fused Safety Switch (disconnect) |  | EA | 1 |  | 0
31 | Remove & Replace Control Panel |  | EA | 1 |  | 0
31.01 | Includes TCU Bubbler Unit (RPT-001) by DFS |  | EA | 1 |  | 0
31.02 | Intentionally Left Blank
32 | TCU & Fiberglass Enclosure, DFS |  | EA | 1 |  | 0
33 | Junction Box, 304 SS |  | EA | 1 |  | 0
34 | Remove & Replace PVC Conduit
34.01 | Sch 40, 1" |  | LF | 10 |  | 0
34.02 | Sch 80, 2" |  | LF | 90 |  | 0
34.03 | Sch 80, 3/4" |  | LF | 35 |  | 0
35 | Remove & Replace Electrical Service
35.01 | Sch 80, 2", new |  | LF | 120 |  | 0
35.02 | New Wiring, etc. |  | LF | 120 |  | 0
36 | Remove & Replace Electrical Mounting Structure, one-sided |  | EA | 1 |  | 0
36.01 | Electrical Mounting Rack Extension for ATS Enclosure |  | EA | 1 |  | 0
37 | Elect. System Study & Elect. Study Analysis, (NFPA 70E), complete |  | LS | 1 |  | 0
38 | Intentionally Left Blank
39 | Intentionally Left Blank
40 | Concrete Repair, 2" thick (if required) |  | SF | 600 |  | 0
41 | Intentionally Left Blank
42 | Washed Shell w/ Weed Barrier |  | SY | 150 |  | 0
43 | Intentionally Left Blank
44 | Fill Dirt, compacted |  | CY | 32 |  | 0
45 | Automatic Transfer Switch, complete removal |  | LS | 1 |  | 0
46 | Automatic Transfer Switch (ATS), new |  | LS | 1 |  | 0
47 | Flow Meter, McCrometer, Ultra Mag, 10" |  | EA | 1 |  | 0
48 | 10"x2" 316 SS Service Saddle & 2" 316 SS Ball Valve |  | LS | 1 |  | 0
49 | Intentionally Left Blank
50 | Intentionally Left Blank
51 | Intentionally Left Blank
Subtotal Construction Cost
52 | Mobilization* |  | LS | 1 |  | 0
53 | Contract Contingency (County authorized only) |  | 10%
Total Construction Cost
*(% of Subtotal)