## Bid "A"
SECTION 00300 BID FORM
(Submit in triplicate)
IFB #14-2404-OV (ADDENDUM #2)
44th Avenue East (From 30thStreet East to 45th Street East)
Bid "A" Based on a completion time of 540 Calendar Days
Project No.: 6071160
FDOT ITEM NO. | DESCRIPTION | U/M | EST. QTY. | BID PRICE PER UNIT ($) | TOTAL BID PRICE ($)
ROADWAY:
101-1 | Mobilization | LS | 1 |  | 0
102-1 | Maintenance of Traffic | LS | 1 |  | 0
104-10-3 | Sediment Barrier | LF | 40190 |  | 0
104-11 | Floating Turbidity Barrier | LF | 1555 |  | 0
104-12 | Staked Turbidity Barrier - Nylon Reinforced PVC | LF | 992 |  | 0
104-15 | Soil Tracking Prevention Device | EA | 5 |  | 0
104-18 | Inlet Protection System | EA | 72 |  | 0
110-1-1 | Clearing and Grubbing (31.35 AC) | LS | 1 |  | 0
110-4 | Removal of Existing Concrete Pavement | SY | 840 |  | 0
110-7-1 | Mail Box (F & I ) Single (NEW) | EA | 5 |  | 0
*120-1 | Regular Excavation (ADDENDUM #2) | CY | 110228 |  | 0
120-4 | Subsoil Excavation | CY | 8463 |  | 0
*120-6 | Embankment (ADDENDUM #2) | CY | 127414 |  | 0
*122-1 | Slurry Wall (ADDENDUM #2) | SF | 4779 |  | 0
141-70 | Settlement Plate Assembly | AS | 7 |  | 0
WMS-1 | Wetland Mitigation Site Creation and Enhancement | LS | 1 |  | 0
160-4 | Type B Stabilization | SY | 59260 |  | 0
285-709 | Optional Base (Base Group 09) | SY | 51860 |  | 0
286-1 | Turnout Construction | SY | 739 |  | 0
327-70-6 | Milling Exist. Asph. Pavt. 1 1/2" Avg Depth | SY | 3275 |  | 0
*334-1-13 | SUPERPAVE Asphaltic Conc., Traffic C (ADDENDUM #2) | TN | 8560 |  | 0
337-7-74 | Asphalt Friction Course Traffic C, FC-12.5, PG 76-22, ARB | TN | 4550 |  | 0
339-1 | Miscellaneous Asphalt Pavement | TN | 118 |  | 0
400-0-11 | Concrete Class NS, Gravity Wall | CY | 440 |  | 0
400-1-2 | Concrete Class I, Endwalls | CY | 43.2 |  | 0
400-4-1 | Concrete Class IV, Culverts | CY | 167 |  | 0
415-1-1 | Reinforcing Steel - Roadway | LB | 26774 |  | 0
425-1-351 | Inlets, Curb, Type P-5 <10' | EA | 53 |  | 0
425-1-361 | Inlets, Curb, Type P-6, <10' | EA | 10 |  | 0
425-1-451 | Inlets, Curb, Type J-5, <10' | EA | 5 |  | 0
425-1-452 | Inlets, Curb, Type J-5, >10' | EA | 5 |  | 0
425-1-461 | Inlets, Curb, Type J-6, <10' | EA | 2 |  | 0
425-1-549 | Inlets, DT BOT, Type D, Modify | EA | 3 |  | 0
*425-2-43 | Manholes, P-7 Partial (ADDENDUM #2) | EA | 3 |  | 0
*425-2-61 | Manholes, P-8, <10' (ADDENDUM #2) | EA | 7 |  | 0
*425-2-91 | Manholes, J-8, <10' (ADDENDUM #2) | EA | 4 |  | 0
*425-2-101 | Manholes, Special, <10' (ADDENDUM #2) | EA | 1 |  | 0
430-94-1 | Desilting Pipe, 0-24" | LF | 167 |  | 0
430-175-115 | Pipe Culvert, OPT Material, Round, 15" S/CD (RCP) | LF | 639 |  | 0
430-175-118 | Pipe Culvert, OPT Material, Round, 18" S/CD (RCP) | LF | 3992 |  | 0
430-175-124 | Pipe Culvert, OPT Material, Round, 24" S/CD (RCP) | LF | 2827 |  | 0
430-175-130 | Pipe Culvert, OPT Material, Round, 30" S/CD (RCP) | LF | 1484 |  | 0
430-175-136 | Pipe Culvert, OPT Material, Round, 36" S/CD (RCP) | LF | 1991 |  | 0
430-175-142 | Pipe Culvert, OPT Material, Round, 42" S/CD (RCP) | LF | 294 |  | 0
430-175-148 | Pipe Culvert, OPT Material, Round, 48" S/CD (RCP) | LF | 742 |  | 0
430-175-154 | Pipe Culvert, OPT Material, Round, 54" S/CD (RCP) | LF | 312 |  | 0
430-175-218 | Pipe Culvert, OPT Material, Other-ELIP/ARCH, 18" S/CD (RCP) | LF | 32 |  | 0
430-175-224 | Pipe Culvert, OPT Material, Other-ELIP/ARCH, 24" S/CD (RCP) | LF | 394 |  | 0
430-200-29 | Flared End Section, Concrete 24" | EA | 2 |  | 0
430-982-123 | Mitered End Section, Optional Round, 15" CD | EA | 1 |  | 0
430-982-125 | Mitered End Section, Optional Round, 18" CD | EA | 11 |  | 0
430-982-129 | Mitered End Section, Optional Round, 24" CD | EA | 3 |  | 0
430-982-138 | Mitered End Section, Optional Round, 36" CD | EA | 2 |  | 0
430-982-141 | Mitered End Section, Optional Round, 48" CD | EA | 2 |  | 0
430-984-625 | Mitered End Section, Optional Elliptical / ARCH, 18" SD | EA | 2 |  | 0
430-984-629 | Mitered End Section, Optinal Elliptical / ARCH, 24" SD | EA | 6 |  | 0
440-1-20 | Underdrain, TYPE II | LF | 1165 |  | 0
*514-72 | Liner Impermeable PVC (ADDENDUM #2) | SY | 28750 |  | 0
515-1-1 | Pipe Handrail - Guiderail, Steel | LF | 20 |  | 0
*515-2-311 | Pedestrian/Bicycle Railing, Non Specified, 42" Type 1 - Index 862 w/ Aluminum Material (ADDENDUM#2 -revise Item No. from 515-2-111 TO 515-2-311) | LF | 1759 |  | 0
520-1-10 | Curb & Gutter Concrete (TYPE E) | LF | 11973 |  | 0
520-1-7 | Curb & Gutter Concrete (TYPE F) | LF | 12659 |  | 0
522-1 | Sidewalk Concrete (4" Thick) | SY | 5130 |  | 0
522-2 | Sidewalk Concrete (6" Thick) | SY | 2610 |  | 0
530-3-3 | RIPRAP- Rubble, Bank and Shore | TN | 979 |  | 0
530-3-4 | RIPRAP - Rubble, F & I, Ditch Lining | TN | 74 |  | 0
*530-74 | Bedding Stone (ADDENDUM #2) | TN | 937 |  | 0
536-1-1 | Guardrail - Roadway | LF | 2156.25 |  | 0
536-7 | Special Guardrail Post | EA | 16 |  | 0
536-85-24 | Guardrail End Anchorage Assembly - Parrel | EA | 2 |  | 0
536-85-25 | Guardrail End Anchorage Assembly- Type II | EA | 2 |  | 0
550-10-220 | Fencing, Type B, 5.1-6.0, Standard | LF | 5345 |  | 0
550-60-224 | Fence Gate, Type B, Double, 18. 1-20.0' Opening | EA | 6 |  | 0
570-1-2 | Performance Turf (SOD) | SY | 71845 |  | 0
580-1-1 | Landscape Complete - Small Plants - Mainline Buffer | LS | 1 |  | 0
580-1-2 | Landscape Complete - Large Plants - Planting Plan | LS | 1 |  | 0
700-1-11 | Single Post Sign (F & I, <12 SF) | AS | 16 |  | 0
700-1-12 | Single Post Sign (F & I, 12-20 SF) | AS | 7 |  | 0
700-1-60 | Single Post Sign (Remove) | AS | 11 |  | 0
705-11-1 | Delineator, Flexible Tubular | EA | 20 |  | 0
706-3 | Retro-Reflective Pavement Markers | EA | 709 |  | 0
710-11-160 | Painted Pavement Markings, STD., White, BIKE LANE | EA | 24 |  | 0
710-11-290 | Painted Pavement Markings, STD., Yellow , ISLAND NOSE | SF | 155.4 |  | 0
710-90 | Painted Pavement Markings (Final Surface) | LS | 1 |  | 0
711-11-111 | Thermoplastic, STD., White, SOLID, 6" | NM | 4.105 |  | 0
711-11-122 | Thermoplastic, STD., White, SOLID, 8" | LF | 834 |  | 0
711-11-123 | Thermoplastic, STD., White, SOLID, 12" | LF | 755 |  | 0
711-11-124 | Thermoplastic, STD., White, SOLID, 18" | LF | 338 |  | 0
711-11-125 | Thermoplastic, STD., White SOLID, 24" | LF | 273 |  | 0
711-11-131 | Thermoplastic, STD., White SKIP, 6" (10' - 30') | GM | 1.177 |  | 0
711-11-151 | Thermoplastic, STD., White, SKIP, 6" (2' - 4') | LF | 56 |  | 0
711-11-160 | Thermoplastic, STD., White, MERGE | EA | 2 |  | 0
711-11-170 | Thermoplastic, STD., White ARROW (LEFT) | EA | 44 |  | 0
711-11-211 | Thermoplastic, STD., Yellow, SOLID, 6" | NM | 3.613 |  | 0
711-11-224 | Thermoplastic, STD., Yellow, SOLID, 18" | LF | 566 |  | 0
711-11-251 | Thermoplastic SATD., Yellow, SKIP, 6", (2' - 4') | LF | 128 |  | 0
715-1-12 | Lighting Conductors (F & I) (Insulated) (No. 8 - 6) | LF | 60973 |  | 0 | #REF!
715-2-11 | Lighting Conduit (F & I) (Underground) | LF | 8577 |  | 0
715-4-123 | Light Pole Complete (F & I) (Wind Speed 130) (Pole Height 50') | EA | 17 |  | 0 | #REF!
715-4-129 | Light Pole Complete (F & I) (Wind Speed 130) (Custom Height) | EA | 34 |  | 0 | #REF!
715-7-11 | Load Center (F & I) Secondary Voltage) | EA | 1 |  | 0 | #REF!
715-14-11 | Lighting Pull Box (F & I) (Roadside) | EA | 12 |  | 0 | #REF!
715-500-1 | Pole Cable Distribution System | EA | 51 |  | 0 | #REF!
783-4-112 | ITS Conduit (F & I) Underground | LF | 6538 |  | 0 | #REF!
783-5-1 | ITS Pull Box for FO (F & I) | EA | 13 |  | 0
783-6-1 | ITS Splice Box for FO (F & I) | EA | 1 |  | 0 | #REF!
| SUBTOTAL ROADWAY |  |  |  | 0
| Contract Contingency (Used only with County Approval) | % | 7.5 |  | 0
| TOTAL ROADWAY, Bid "A" based on a Completion time of 540 Calendar Days |  |  |  | 0
WATER MAIN COST
MANATEE COUNTY ITEM | DESCRIPTION | UNIT | EST. QTY. | BID PRICE PER UNIT ($) | TOTAL BID PRICE ($) | #VALUE!
MC-1 | 6" PVC Water Main Pipe | LF | 70 |  | 0
MC-2 | 6" 45 Degree Bend | EA | 4 |  | 0
MC-3 | 6" Plug | EA | 1 |  | 0
MC-4 | 6" Gate Valve | EA | 3 |  | 0
MC-5 | 8"PVC Water Main Pipe | LF | 5110 |  | 0
MC-6 | 8" DIP Water Main Pipe | LF | 140 |  | 0
MC-7 | 8" 11 1/4 Degree Bend | EA | 1 |  | 0
MC-8 | 8" 45 Degree Bend | EA | 3 |  | 0
MC-9 | 8" 90 Degree Bend | EA | 1 |  | 0
MC-10 | 8" Tee | EA | 4 |  | 0
MC-11 | 8" Cross | EA | 1 |  | 0
MC-12 | 8" x 6" Reducer | EA | 2 |  | 0
*MC-13 | Fire Hydrant Assembly (Including 6" Gate Valve) (ADDENDUM #2) | EA | 10 |  | 0
*MC-14 | Fire Hydrant / Blow-Off Assembly (30" and Greater) (ADDENDUM #2) | EA | 1 |  | 0
MC-15 | 8" Gate Valve | EA | 19 |  | 0
MC-16 | 14" Dia. X 1/4" Wall Thickness Steel Casing (Open Cut) | LF | 100 |  | 0
MC-17 | 18" Dia. X 1/2" Wall Thickness Steel Casing (J & B) | LF | 100 |  | 0
*MC-18 | 18" Dia. X 1/2" Wall Thickness Steel Casing (Open Cut) (ADDENDUM #2) | LF | 270 |  | 0
MC-19 | 36" X 30" Tee | EA | 1 |  | 0
MC-20 | 36" Ductile Iron Water Main Pipe | LF | 1365 |  | 0
*MC-21 | Not Used (ADDENDUM #2) |  |  |  | 0
MC-22 | 30" Butterfly Valve | EA | 1 |  | 0
MC-23 | 36" Butterfly Valve | EA | 3 |  | 0
MC-24 | 36" 45 Degree Bend | EA | 2 |  | 0
MC-25 | 36" X 6" Tee | EA | 1 |  | 0
MC-26 | 36" X 8" Tee | EA | 1 |  | 0
MC-27 | 36" Plug | EA | 1 |  | 0
MC-28 | Air Release Assembly | EA | 1 |  | 0
MC-29 | Remove Existing 36" Water Main Pipe | LF | 1390 |  | 0
MC-30 | Remove Existing 8" Water Main Pipe | LF | 50 |  | 0
MC-31 | Remove Existing 6" Water Main Pipe | LF | 175 |  | 0
MC-32 | Remove Existing 6" Valve | EA | 1 |  | 0
MC-33 | Temporary Jumper Connection | EA | 2 |  | 0
MC-34 | Miscellaneous Concrete (Thrust Blocks) | CY | 4 |  | 0
*MC-35 | Water Main Tie-Ins (ADDENDUM #2) |  |  |  | 0
*MC-35A | 6" Water Main Tie-Ins (ADDENDUM #2) | EA | 3 |  | 0
*MC-35B | 8" Water Main Tie-Ins (ADDENDUM #2) | EA | 4 |  | 0
*MC-35C | 30" Water Main Tie-Ins (ADDENDUM #2) | EA | 1 |  | 0
*MC-35D | 36" Water Main Tie-Ins (ADDENDUM #2) | EA | 2 |  | 0
*MC-36 | 36" Tee (ADDENDUM #2) | EA | 1 |  | 0
*MC-37 | 36" 90 degree bend (ADDENDUM #2) | EA | 1 |  | 0
| SUBTOTAL WATER MAIN |  |  |  | 0
| Contract Contingency (Used only with County Approval) | % | 10 |  | 0
| TOTAL WATER MAIN, Bid "A" Based on Completion Time of 540 Calendar Days |  |  |  | 0
| GRAND TOTAL ROADWAY AND WATER MAIN, Based on Bid "A", 540 Calendar Day Completion Time. |  |  |  | 0

## Bid "B"
SECTION 00300 BID FORM
(Submit in triplicate)
IFB #14-2404-OV (ADDENDUM #2)
44th Avenue East (From 30thStreet East to 45th Street East)
Bid "B" Based on a completion time of 720 Calendar Days
Project No.: 6071160
FDOT ITEM NO. | DESCRIPTION | U/M | EST. QTY. | BID PRICE PER UNIT ($) | TOTAL BID PRICE ($)
ROADWAY:
101-1 | Mobilization | LS | 1 |  | 0
102-1 | Maintenance of Traffic | LS | 1 |  | 0
104-10-3 | Sediment Barrier | LF | 40190 |  | 0
104-11 | Floating Turbidity Barrier | LF | 1555 |  | 0
104-12 | Staked Turbidity Barrier - Nylon Reinforced PVC | LF | 992 |  | 0
104-15 | Soil Tracking Prevention Device | EA | 5 |  | 0
104-18 | Inlet Protection System | EA | 72 |  | 0
110-1-1 | Clearing and Grubbing (31.35 AC) | LS | 1 |  | 0
110-4 | Removal of Existing Concrete Pavement | SY | 840 |  | 0
110-7-1 | Mail Box (F & I ) Single (NEW) | EA | 5 |  | 0
*120-1 | Regular Excavation (ADDENDUM #2) | CY | 110228 |  | 0
120-4 | Subsoil Excavation | CY | 8463 |  | 0
*120-6 | Embankment (ADDENDUM #2) | CY | 127414 |  | 0
*122-1 | Slurry Wall (ADDENDUM #2) | SF | 4779 |  | 0
141-70 | Settlement Plate Assembly | AS | 7 |  | 0
WMS-1 | Wetland Mitigation Site Creation and Enhancement | LS | 1 |  | 0
160-4 | Type B Stabilization | SY | 59260 |  | 0
285-709 | Optional Base (Base Group 09) | SY | 51860 |  | 0
286-1 | Turnout Construction | SY | 739 |  | 0
327-70-6 | Milling Exist. Asph. Pavt. 1 1/2" Avg Depth | SY | 3275 |  | 0
*334-1-13 | SUPERPAVE Asphaltic Conc., Traffic C (ADDENDUM #2) | TN | 8560 |  | 0
337-7-74 | Asphalt Friction Course Traffic C, FC-12.5, PG 76-22, ARB | TN | 4550 |  | 0
339-1 | Miscellaneous Asphalt Pavement | TN | 118 |  | 0
400-0-11 | Concrete Class NS, Gravity Wall | CY | 440 |  | 0
400-1-2 | Concrete Class I, Endwalls | CY | 43.2 |  | 0
400-4-1 | Concrete Class IV, Culverts | CY | 167 |  | 0
415-1-1 | Reinforcing Steel - Roadway | LB | 26774 |  | 0
425-1-351 | Inlets, Curb, Type P-5 <10' | EA | 53 |  | 0
425-1-361 | Inlets, Curb, Type P-6, <10' | EA | 10 |  | 0
425-1-451 | Inlets, Curb, Type J-5, <10' | EA | 5 |  | 0
425-1-452 | Inlets, Curb, Type J-5, >10' | EA | 5 |  | 0
425-1-461 | Inlets, Curb, Type J-6, <10' | EA | 2 |  | 0
425-1-549 | Inlets, DT BOT, Type D, Modify | EA | 3 |  | 0
*425-2-43 | Manholes, P-7 Partial (ADDENDUM #2) | EA | 3 |  | 0
*425-2-61 | Manholes, P-8, <10' (ADDENDUM #2) | EA | 7 |  | 0
*425-2-91 | Manholes, J-8, <10' (ADDENDUM #2) | EA | 4 |  | 0
*425-2-101 | Manholes, Special, <10' (ADDENDUM #2) | EA | 1 |  | 0
430-94-1 | Desilting Pipe, 0-24" | LF | 167 |  | 0
430-175-115 | Pipe Culvert, OPT Material, Round, 15" S/CD (RCP) | LF | 639 |  | 0
430-175-118 | Pipe Culvert, OPT Material, Round, 18" S/CD (RCP) | LF | 3992 |  | 0
430-175-124 | Pipe Culvert, OPT Material, Round, 24" S/CD (RCP) | LF | 2827 |  | 0
430-175-130 | Pipe Culvert, OPT Material, Round, 30" S/CD (RCP) | LF | 1484 |  | 0
430-175-136 | Pipe Culvert, OPT Material, Round, 36" S/CD (RCP) | LF | 1991 |  | 0
430-175-142 | Pipe Culvert, OPT Material, Round, 42" S/CD (RCP) | LF | 294 |  | 0
430-175-148 | Pipe Culvert, OPT Material, Round, 48" S/CD (RCP) | LF | 742 |  | 0
430-175-154 | Pipe Culvert, OPT Material, Round, 54" S/CD (RCP) | LF | 312 |  | 0
430-175-218 | Pipe Culvert, OPT Material, Other-ELIP/ARCH, 18" S/CD (RCP) | LF | 32 |  | 0
430-175-224 | Pipe Culvert, OPT Material, Other-ELIP/ARCH, 24" S/CD (RCP) | LF | 394 |  | 0
430-200-29 | Flared End Section, Concrete 24" | EA | 2 |  | 0
430-982-123 | Mitered End Section, Optional Round, 15" CD | EA | 1 |  | 0
430-982-125 | Mitered End Section, Optional Round, 18" CD | EA | 11 |  | 0
430-982-129 | Mitered End Section, Optional Round, 24" CD | EA | 3 |  | 0
430-982-138 | Mitered End Section, Optional Round, 36" CD | EA | 2 |  | 0
430-982-141 | Mitered End Section, Optional Round, 48" CD | EA | 2 |  | 0
430-984-625 | Mitered End Section, Optional Elliptical / ARCH, 18" SD | EA | 2 |  | 0
430-984-629 | Mitered End Section, Optinal Elliptical / ARCH, 24" SD | EA | 6 |  | 0
440-1-20 | Underdrain, TYPE II | LF | 1165 |  | 0
*514-72 | Liner Impermeable PVC (ADDENDUM #2) | SY | 28750 |  | 0
515-1-1 | Pipe Handrail - Guiderail, Steel | LF | 20 |  | 0
*515-2-311 | Pedestrian/Bicycle Railing, Non Specified, 42" Type 1 - Index 862 w/ Aluminum Material (ADDENDUM#2 -revise Item No. from 515-2-111 TO 515-2-311) | LF | 1759 |  | 0
520-1-10 | Curb & Gutter Concrete (TYPE E) | LF | 11973 |  | 0
520-1-7 | Curb & Gutter Concrete (TYPE F) | LF | 12659 |  | 0
522-1 | Sidewalk Concrete (4" Thick) | SY | 5130 |  | 0
522-2 | Sidewalk Concrete (6" Thick) | SY | 2610 |  | 0
530-3-3 | RIPRAP- Rubble, Bank and Shore | TN | 979 |  | 0
530-3-4 | RIPRAP - Rubble, F & I, Ditch Lining | TN | 74 |  | 0
*530-74 | Bedding Stone (ADDENDUM #2) | TN | 937 |  | 0
536-1-1 | Guardrail - Roadway | LF | 2156.25 |  | 0
536-7 | Special Guardrail Post | EA | 16 |  | 0
536-85-24 | Guardrail End Anchorage Assembly - Parrel | EA | 2 |  | 0
536-85-25 | Guardrail End Anchorage Assembly- Type II | EA | 2 |  | 0
550-10-220 | Fencing, Type B, 5.1-6.0, Standard | LF | 5345 |  | 0
550-60-224 | Fence Gate, Type B, Double, 18. 1-20.0' Opening | EA | 6 |  | 0
570-1-2 | Performance Turf (SOD) | SY | 71845 |  | 0
580-1-1 | Landscape Complete - Small Plants - Mainline Buffer | LS | 1 |  | 0
580-1-2 | Landscape Complete - Large Plants - Planting Plan | LS | 1 |  | 0
700-1-11 | Single Post Sign (F & I, <12 SF) | AS | 16 |  | 0
700-1-12 | Single Post Sign (F & I, 12-20 SF) | AS | 7 |  | 0
700-1-60 | Single Post Sign (Remove) | AS | 11 |  | 0
705-11-1 | Delineator, Flexible Tubular | EA | 20 |  | 0
706-3 | Retro-Reflective Pavement Markers | EA | 709 |  | 0
710-11-160 | Painted Pavement Markings, STD., White, BIKE LANE | EA | 24 |  | 0
710-11-290 | Painted Pavement Markings, STD., Yellow , ISLAND NOSE | SF | 155.4 |  | 0
710-90 | Painted Pavement Markings (Final Surface) | LS | 1 |  | 0
711-11-111 | Thermoplastic, STD., White, SOLID, 6" | NM | 4.105 |  | 0
711-11-122 | Thermoplastic, STD., White, SOLID, 8" | LF | 834 |  | 0
711-11-123 | Thermoplastic, STD., White, SOLID, 12" | LF | 755 |  | 0
711-11-124 | Thermoplastic, STD., White, SOLID, 18" | LF | 338 |  | 0
711-11-125 | Thermoplastic, STD., White SOLID, 24" | LF | 273 |  | 0
711-11-131 | Thermoplastic, STD., White SKIP, 6" (10' - 30') | GM | 1.177 |  | 0
711-11-151 | Thermoplastic, STD., White, SKIP, 6" (2' - 4') | LF | 56 |  | 0
711-11-160 | Thermoplastic, STD., White, MERGE | EA | 2 |  | 0
711-11-170 | Thermoplastic, STD., White ARROW (LEFT) | EA | 44 |  | 0
711-11-211 | Thermoplastic, STD., Yellow, SOLID, 6" | NM | 3.613 |  | 0
711-11-224 | Thermoplastic, STD., Yellow, SOLID, 18" | LF | 566 |  | 0
711-11-251 | Thermoplastic SATD., Yellow, SKIP, 6", (2' - 4') | LF | 128 |  | 0
715-1-12 | Lighting Conductors (F & I) (Insulated) (No. 8 - 6) | LF | 60973 |  | 0 | #REF!
715-2-11 | Lighting Conduit (F & I) (Underground) | LF | 8577 |  | 0
715-4-123 | Light Pole Complete (F & I) (Wind Speed 130) (Pole Height 50') | EA | 17 |  | 0 | #REF!
715-4-129 | Light Pole Complete (F & I) (Wind Speed 130) (Custom Height) | EA | 34 |  | 0 | #REF!
715-7-11 | Load Center (F & I) Secondary Voltage) | EA | 1 |  | 0 | #REF!
715-14-11 | Lighting Pull Box (F & I) (Roadside) | EA | 12 |  | 0 | #REF!
715-500-1 | Pole Cable Distribution System | EA | 51 |  | 0 | #REF!
783-4-112 | ITS Conduit (F & I) Underground | LF | 6538 |  | 0 | #REF!
783-5-1 | ITS Pull Box for FO (F & I) | EA | 13 |  | 0
783-6-1 | ITS Splice Box for FO (F & I) | EA | 1 |  | 0 | #REF!
| SUBTOTAL ROADWAY |  |  |  | 0
| Contract Contingency (Used only with County Approval) | % | 7.5 |  | 0
| TOTAL ROADWAY, Bid "B " based on a Completion time of 720 Calendar Days |  |  |  | 0
WATER MAIN COST
MANATEE COUNTY ITEM | DESCRIPTION | UNIT | EST. QTY. | BID PRICE PER UNIT ($) | TOTAL BID PRICE ($) | #VALUE!
MC-1 | 6" PVC Water Main Pipe | LF | 70 |  | 0
MC-2 | 6" 45 Degree Bend | EA | 4 |  | 0
MC-3 | 6" Plug | EA | 1 |  | 0
MC-4 | 6" Gate Valve | EA | 3 |  | 0
MC-5 | 8"PVC Water Main Pipe | LF | 5110 |  | 0
MC-6 | 8" DIP Water Main Pipe | LF | 140 |  | 0
MC-7 | 8" 11 1/4 Degree Bend | EA | 1 |  | 0
MC-8 | 8" 45 Degree Bend | EA | 3 |  | 0
MC-9 | 8" 90 Degree Bend | EA | 1 |  | 0
MC-10 | 8" Tee | EA | 4 |  | 0
MC-11 | 8" Cross | EA | 1 |  | 0
MC-12 | 8" x 6" Reducer | EA | 2 |  | 0
*MC-13 | Fire Hydrant Assembly (Including 6" Gate Valve) (ADDENDUM #2) | EA | 10 |  | 0
*MC-14 | Fire Hydrant / Blow-Off Assembly (30" and Greater) (ADDENDUM #2) | EA | 1 |  | 0
MC-15 | 8" Gate Valve | EA | 19 |  | 0
MC-16 | 14" Dia. X 1/4" Wall Thickness Steel Casing (Open Cut) | LF | 100 |  | 0
MC-17 | 18" Dia. X 1/2" Wall Thickness Steel Casing (J & B) | LF | 100 |  | 0
*MC-18 | 18" Dia. X 1/2" Wall Thickness Steel Casing (Open Cut) (ADDENDUM #2) | LF | 270 |  | 0
MC-19 | 36" X 30" Tee | EA | 1 |  | 0
MC-20 | 36" Ductile Iron Water Main Pipe | LF | 1365 |  | 0
*MC-21 | Not Used (ADDENDUM #2) |  |  |  | 0
MC-22 | 30" Butterfly Valve | EA | 1 |  | 0
MC-23 | 36" Butterfly Valve | EA | 3 |  | 0
MC-24 | 36" 45 Degree Bend | EA | 2 |  | 0
MC-25 | 36" X 6" Tee | EA | 1 |  | 0
MC-26 | 36" X 8" Tee | EA | 1 |  | 0
MC-27 | 36" Plug | EA | 1 |  | 0
MC-28 | Air Release Assembly | EA | 1 |  | 0
MC-29 | Remove Existing 36" Water Main Pipe | LF | 1390 |  | 0
MC-30 | Remove Existing 8" Water Main Pipe | LF | 50 |  | 0
MC-31 | Remove Existing 6" Water Main Pipe | LF | 175 |  | 0
MC-32 | Remove Existing 6" Valve | EA | 1 |  | 0
MC-33 | Temporary Jumper Connection | EA | 2 |  | 0
MC-34 | Miscellaneous Concrete (Thrust Blocks) | CY | 4 |  | 0
*MC-35 | Water Main Tie-Ins (ADDENDUM #2) |  |  |  | 0
*MC-35A | 6" Water Main Tie-Ins (ADDENDUM #2) | EA | 3 |  | 0
*MC-35B | 8" Water Main Tie-Ins (ADDENDUM #2) | EA | 4 |  | 0
*MC-35C | 30" Water Main Tie-Ins (ADDENDUM #2) | EA | 1 |  | 0
*MC-35D | 36" Water Main Tie-Ins (ADDENDUM #2) | EA | 2 |  | 0
*MC-36 | 36" Tee (ADDENDUM #2) | EA | 1 |  | 0
*MC-37 | 36" 90 degree bend (ADDENDUM #2) | EA | 1 |  | 0
| SUBTOTAL WATER MAIN |  |  |  | 0
| Contract Contingency (Used only with County Approval) | % | 10 |  | 0
| TOTAL WATER MAIN, Bid "B" Based on Completion Time of 720 Calendar Days |  |  |  | 0
| GRAND TOTAL ROADWAY AND WATER MAIN, Based on Bid "B", 720 Calendar Day Completion Time. |  |  |  | 0

## DEFINITIONS
DEFINITION OF THE UNITS OF MEASURE, IFB #14-2404-OV, 44th Avenue East (From 30th Street East to 45th Street East (Project No. 6071160 (ADDENDUM #2)
DEFINITION OF THE UNITS OF MEASURE | U/M
Acre | AC
Assembly | AS
Cubic Yard | CY
Each | EA
Each Day | ED
Foot | FT
Gross Mile | GM
Hour | HR
Linear Foot | LF
Lump Sum | LS
Net Mile | NM
Per Intersection | PI
Pound | LB
Square Feet | SF
Square Yard | SY
Ton | TN