## ADD # 2-BID "A"
BID FORM
(SUBMIT IN DUPLICATE)
IFB# 15-2089-DS (ADDENDUM # 3)
Spanish Park Lift Station Rehab and Main Replacement
Based on Completion Time of 160 Calendar Completion Days
(EA = Each, LF = Linear Foot, CY = Cubic Yard, SF= Square Foot, TN = Tons, LB = Pounds, VF = Vertical Feet, SY = Square Yard, LS = Lump Sum)
SANITARY SEWER REHABILITATION
ITEM NO. | DESCRIPTION |  | UNITS | QTY. | UNIT PRICE ($) | EXTENDED PRICE ($)
FORCE MAIN
1 | Curb Replacement | LF | LF | 40 |  | 0
2 | Pavement Repair & Road Restoration (Base & Resurface) | SY | SY | 9 |  | 0
3 | Pavement Repair & Road Restoration (Mill & Resurface) | SY | SY | 94 |  | 0
4 | Driveway Restoration, Concrete (6" min. thick.) | SY | SY | 24 |  | 0
5 | Sodding | SY | SY | 226 |  | 0
6 | Grout Fill Abandoned 6" Force Main | CY | CY | 8 |  | 0
7 | Rehabilitate Exist. Manhole (3MH, 4-ft dia. structure & liner) | VF | VF | 25 |  | 0
8 | 6" HDPE (DR-11), direction drill | LF | LF | 812 |  | 0
9 | 6" PVC (DR-18), direct bury | LF | LF | 156 |  | 0 |  |  |  | 6" DI FITTINGS
10 | DI Fittings | LB | LB | 780 |  | 0 |  |  |  | 90 | 65 | 0 | 0
11 | Pipe Adapter | EA | EA | 10 |  | 0 |  |  |  | 45 | 60 | 13 | 780
12 | 6" Gate Valve, MJ | EA | EA | 1 |  | 0 |  |  |  | TEE | 95 | 0 | 0
13 | Air Release Valve | EA | EA | 1 |  | 0 | [6 empty] | 780
14 | Air Release Valve Enclosure (fiberglass) | EA | EA | 1 |  | 0
15 | Connect to Exist. Manhole (Detail US-9 & US-8) | LS | EA | 1 |  | 0
|  |  | SUBTOTAL CONSTRUCTION COST( FORCE MAIN) |  |  | 0
LIFT STATION REHABILITATION
16 | Wetwell Cleaning |  | SF | 364 |  | 0
17 | 4" DR-11 HDPE Piping |  | LF | 57 |  | 0
18 | BPIU.14 Base Ells |  | EA | 2 |  | 0 | [6 empty] | HDPE Fitting | Wgt
19 | Base Ell Mounting Plates |  | EA | 2 |  | 0 | 4 | HDPE Fitting | Wgt | Qty |  |  | 2
20 | S.S. Pipe Bracing, 6 ft dia. |  | EA | 2 |  | 0 |  | 90 | 4 | 2 | 8 |  | 4 | 4
21 | Replace Ex. Wetwell Top Slab |  | EA | 1 |  | 0 |  |  |  |  | 8 |  | 6 | 11
22 | 4" PVC Vent, Sch 80 |  | EA | 1 |  | 0 | [6 empty] | 8 | 20
23 | Aluminum Hatch Cover, 36" x 48", single door (Wetwell) |  | EA | 1 |  | 0 | [6 empty] | 10 | 39
24 | 2" S.S.Pump Guide Rail System |  | LF | 33 |  | 0 | [6 empty] | 12 | 63
25 | Wetwell Liner, spray-on |  | SF | 335 |  | 0
26 | Grout Fill Ex. Drain, abandon (flowable fill) |  | EA | 1 |  | 0
27 | 4" Flanged Gate Valve |  | EA | 3 |  | 0
28 | 4" Flanged Swing Check Valve |  | EA | 2 |  | 0
29 | 4" D.I. Flanged Pipe |  | LF | 5 |  | 0 | [6 empty] | DI Fitting | Tee | Cross | 90
30 | Ductile Iron Fittings |  | LB | 210 |  | 0 | 4 | DI Fitting | Wgt | Qty |  |  | 2
31 | 4" D.I. Flanged Adapter |  | EA | 1 |  | 0 |  | 4x6 ecc red. | 45 | 0 | 0 |  | 4 | 60 | 80 | 45
32 | 4" Male Aluminum Quick Coupler Adapter |  | EA | 1 |  | 0 |  | Tee | 60 | 2 | 120 |  | 6 | 95 | 120 | 65
33 | S.S. Adjustable Valve Supports, flange attachment |  | EA | 2 |  | 0 |  | Cross | 80 | 0 | 0 |  | 8 | 155 | 195 | 105
34 | Complete Removal of Valve Vault |  | EA | 1 |  | 0 |  | 90 | 45 | 2 | 90 |  | 10 | 270 | 330 | 165
35 | Concrete Slab, Valve Assembly |  | EA | 1 |  | 0 |  |  |  |  | 210 |  | 12 | 385 | 460 | 235
36 | 4" Gate Valve, MJ |  | EA | 1 |  | 0
37 | 4" PVC Pipe (C900) |  | LF | 5 |  | 0
38 | 10" Influent Line Plug |  | EA | 1 |  | 0
39 | By-Pass Pumping System |  | LS | 1 |  | 0
40 | Relocate Ex. Backflow, Meter, & Hose Bib Assembly |  | LS | 1 |  | 0
41 | Remove & Replace Electric Meter Can |  | EA | 1 |  | 0 | DAYS
42 | Remove & Replace Fused Safety Switch (disconnect) |  | EA | 1 |  | 0 | DAYS
43 | Remove & Replace Control Panel |  | EA | 1 |  | 0
44 | Remove & Replace Sch 80 PVC Conduit |  | LF | 30 |  | 0
45 | Electrical Service |  | LF | 10 |  | 0
46 | Remove & Replace Electrical Mounting Structure |  | EA | 1 |  | 0
47 | Washed Shell with Weed Barrier |  | SY | 27 |  | 0
48 | Concrete Repair, 1/2" to 2" thickness |  | SF | 170 |  | 0
49 | Bollards w/ Yellow PVC Covering |  | EA | 2 |  | 0
|  |  | SUBTOTAL CONSTRUCTION COST (LIFT STATION REHABILTATION) |  |  | 0
50 | Mobilization |  | LS |  |  | $
51 | Miscellaneous Work & Clean Up |  | LS |  |  | $
52 | Record Drawings |  | LS |  |  | $
| Total Base Bid (Based on Completion of 160 Calendar Days) |  |  |  |  | 0
53 | CONTRACT CONTIGENCY (Used ONLY WITH COUNTY APPROVAL) |  | 10% of TOTAL BASE BID |  |  | 0
| TOTAL OFFER FOR BID "A" with CONTRACT CONTIGENCY (BASED ON COMPLETION TIME OF 160 CALENDAR DAYS) |  |  |  |  | 0
|  |  | Top Elevation: | 25.8 | NGVD | WW Depth:

## ADD # 2- BID "B"
BID FORM
(SUBMIT IN DUPLICATE)
IFB# 15-2089-DS (ADDENDUM #3)
Spanish Park Lift Station Rehab and Main Replacement
Based on Completion Time of 210 Calendar Completion Days
(EA = Each, LF = Linear Foot, CY = Cubic Yard, SF= Square Foot, TN = Tons, LB = Pounds, VF = Vertical Feet, SY = Square Yard, LS = Lump Sum)
SANITARY SEWER REHABILITATION
ITEM NO. | DESCRIPTION |  | UNITS | QTY. | UNIT PRICE ($) | EXTENDED PRICE ($)
FORCE MAIN
1 | Curb Replacement | LF | LF | 40 |  | 0
2 | Pavement Repair & Road Restoration (Base & Resurface) | SY | SY | 9 |  | 0
3 | Pavement Repair & Road Restoration (Mill & Resurface) | SY | SY | 94 |  | 0
4 | Driveway Restoration, Concrete (6" min. thick.) | SY | SY | 24 |  | 0
5 | Sodding | SY | SY | 226 |  | 0
6 | Grout Fill Abandoned 6" Force Main | CY | CY | 8 |  | 0
7 | Rehabilitate Exist. Manhole (3MH, 4-ft dia. structure & liner) | VF | VF | 25 |  | 0
8 | 6" HDPE (DR-11), direction drill | LF | LF | 812 |  | 0
9 | 6" PVC (DR-18), direct bury | LF | LF | 156 |  | 0 |  |  |  | 6" DI FITTINGS
10 | DI Fittings | LB | LB | 780 |  | 0 |  |  |  | 90 | 65 | 0 | 0
11 | Pipe Adapter | EA | EA | 10 |  | 0 |  |  |  | 45 | 60 | 13 | 780
12 | 6" Gate Valve, MJ | EA | EA | 1 |  | 0 |  |  |  | TEE | 95 | 0 | 0
13 | Air Release Valve | EA | EA | 1 |  | 0 | [6 empty] | 780
14 | Air Release Valve Enclosure (fiberglass) | EA | EA | 1 |  | 0
15 | Connect to Exist. Manhole (Detail US-9 & US-8) | LS | EA | 1 |  | 0
|  |  | SUBTOTAL CONSTRUCTION COST (FORCE MAIN) |  |  | 0
LIFT STATION REHABILITATION
16 | Wetwell Cleaning |  | SF | 364 |  | 0
17 | 4" DR-11 HDPE Piping |  | LF | 57 |  | 0
18 | BPIU.14 Base Ells |  | EA | 2 |  | 0 | [6 empty] | HDPE Fitting | Wgt
19 | Base Ell Mounting Plates |  | EA | 2 |  | 0 | 4 | HDPE Fitting | Wgt | Qty |  |  | 2
20 | S.S. Pipe Bracing, 6 ft dia. |  | EA | 2 |  | 0 |  | 90 | 4 | 2 | 8 |  | 4 | 4
21 | Replace Ex. Wetwell Top Slab |  | EA | 1 |  | 0 |  |  |  |  | 8 |  | 6 | 11
22 | 4" PVC Vent, Sch 80 |  | EA | 1 |  | 0 | [6 empty] | 8 | 20
23 | Aluminum Hatch Cover, 36" x 48", single door (Wetwell) |  | EA | 1 |  | 0 | [6 empty] | 10 | 39
24 | 2" S.S.Pump Guide Rail System |  | LF | 33 |  | 0 | [6 empty] | 12 | 63
25 | Wetwell Liner, spray-on |  | SF | 335 |  | 0
26 | Grout Fill Ex. Drain, abandon (flowable fill) |  | EA | 1 |  | 0
27 | 4" Flanged Gate Valve |  | EA | 3 |  | 0
28 | 4" Flanged Swing Check Valve |  | EA | 2 |  | 0
29 | 4" D.I. Flanged Pipe |  | LF | 5 |  | 0 | [6 empty] | DI Fitting | Tee | Cross | 90
30 | Ductile Iron Fittings |  | LB | 210 |  | 0 | 4 | DI Fitting | Wgt | Qty |  |  | 2
31 | 4" D.I. Flanged Adapter |  | EA | 1 |  | 0 |  | 4x6 ecc red. | 45 | 0 | 0 |  | 4 | 60 | 80 | 45
32 | 4" Male Aluminum Quick Coupler Adapter |  | EA | 1 |  | 0 |  | Tee | 60 | 2 | 120 |  | 6 | 95 | 120 | 65
33 | S.S. Adjustable Valve Supports, flange attachment |  | EA | 2 |  | 0 |  | Cross | 80 | 0 | 0 |  | 8 | 155 | 195 | 105
34 | Complete Removal of Valve Vault |  | EA | 1 |  | 0 |  | 90 | 45 | 2 | 90 |  | 10 | 270 | 330 | 165
35 | Concrete Slab, Valve Assembly |  | EA | 1 |  | 0 |  |  |  |  | 210 |  | 12 | 385 | 460 | 235
36 | 4" Gate Valve, MJ |  | EA | 1 |  | 0
37 | 4" PVC Pipe (C900) |  | LF | 5 |  | 0
38 | 10" Influent Line Plug |  | EA | 1 |  | 0
39 | By-Pass Pumping System |  | LS | 1 |  | 0
40 | Relocate Ex. Backflow, Meter, & Hose Bib Assembly |  | LS | 1 |  | 0
41 | Remove & Replace Electric Meter Can |  | EA | 1 |  | 0 | DAYS | 10 | 581 | = | 5810
42 | Remove & Replace Fused Safety Switch (disconnect) |  | EA | 1 |  | 0 | DAYS | 10 | 1079 | = | 10790
43 | Remove & Replace Control Panel |  | EA | 1 |  | 0
44 | Remove & Replace Sch 80 PVC Conduit |  | LF | 30 |  | 0
45 | Electrical Service |  | LF | 10 |  | 0
46 | Remove & Replace Electrical Mounting Structure |  | EA | 1 |  | 0
47 | Washed Shell with Weed Barrier |  | SY | 27 |  | 0
48 | Concrete Repair, 1/2" to 2" thickness |  | SF | 170 |  | 0
49 | Bollards w/ Yellow PVC Covering |  | EA | 2 |  | 0
|  |  | SUBTOTAL CONSTRUCTION COST (LIFT STATION REHABILITATION) |  |  | 0
50 | Mobilization |  | LS
51 | Miscellaneous Work & Clean Up |  | LS
52 | Record Drawings |  | LS
| Total Base Bid (Based on Completion of 210 Calendar Days) |  |  |  |  | 0
53 | CONTRACT CONTIGENCY (Used ONLY WITH COUNTY APPROVAL) |  | LS | 10% of TOTAL BASE BID |  | 0
| TOTAL OFFER FOR BID "B" with CONTRACT CONTIGENCY (BASED ON COMPLETION TIME OF 210 CALENDAR DAYS) |  |  |  |  | 0
|  |  | Top Elevation: | 25.8 | NGVD | WW Depth: