## Bid Summary
IFB #15-1599BLS - Sanitary Sewer Systems, Stormwater Systems, Line and Manhole Rehabilitation Services (as required) BID FORM SUMMARY | GROUP/SECTION TOTALS FOR BID AWARD PURPOSES
GROUP 1 - SANITARY SEWER & STORMWATER
Section 1-A: Sewer Line Cleaning and Inspection | 0
Section 1-B: Sanitary Sewer Systems Line Rehabilitation Method 1, CIPP (Cured-In-Place-Pipe) | 0
Section 1-C: Sanitary Sewer Systems / Stormwater Systems Line Rehabilitation-By-Pass Pumping | 0
Section 1-D: Sanitary Sewer Joint Air Testing, Joint Grouting, and Lateral Grouting | 0
Section 1-E: Miscellaneous Items | 0
SUB-TOTAL (Sections 1-A, 1-B, 1-C, 1-D and 1-E) | 0
GROUP 2 - SANITARY SEWER SYSTEMS
Section 2-A: Stormwater - Method 2 POLYETHYLENE Trenchless Pipe Reconstruction System - HDPE (High-Density-Polyethylene) | 0
Section 2-B: Sanitary Sewer Systems Rehabilitation - Method 3 REPAIR SLEEVE Trenchless Pipe Reconstruction - CIPP (Cured-In-Place-Pipe) | 0
Section 2-C: Miscellaneous Items | 0
SUB-TOTAL (Sections 2-A, 2-B and 2-C) | 0
GROUP 3 -LINE & MANHOLE REHABILITATION
Section 3-A: Line & Manhole Rehabilitation - Method 1, Manhole Surfacing - Corrosion Protection of Manholes | 0
Section 3-B: Line & Manhole Rehabilitation - Method 2, Manhole Surfacing: Structural Rehabilitation of Manholes | 0
Section 3-C: Miscellaneous Items | 0
SUB-TOTAL (Sections 3-A, 3-B and 3-C) | 0
GRAND TOTAL - (Section A, Section B, and Section C) | 0
Bidder Name: __________________________________________________________________
NOTE: Select Bid Form "TAB" below

## Bid Form
BID FORM - IFB #15-1599BLS (Sanitary Sewer, Stormwater, Line & Manhole Rehabilitation Services) |  |  |  | Bidder Name: _______________________
Est.
|  |  |  | Annual |  | Unit of | Extended
| Description | Size |  | Qty | Pricing | Measure | Pricing
GROUP 1 - SANITARY SEWER & STORMWATER
Section 1- A
Sewer Line Cleaning and Inspection
1 | Mobilization /Demobilization |  |  | 1 |  | lump sum | 0
2 | Light Cleaning | 6" to 12" | diameter | 10000 |  | linear foot | 0
|  | 14" to 18" | diameter | 8000 |  | linear foot | 0
|  | 20" to 24" | diameter | 8000 |  | linear foot | 0
|  | 27" to 42" | diameter | 3000 |  | linear foot | 0
|  | 43" to 54" | diameter | 3000 |  | linear foot | 0
|  | > 54" | diameter | 2000 |  | linear foot | 0
3 | Medium Cleaning | 6" to 12" | diameter | 10000 |  | linear foot | 0
|  | 14" to 18" | diameter | 5000 |  | linear foot | 0
|  | 20" to 24" | diameter | 5000 |  | linear foot | 0
|  | 27" to 42" | diameter | 3000 |  | linear foot | 0
|  | 43" to 54" | diameter | 3000 |  | linear foot | 0
|  | > 54" | diameter | 2000 |  | linear foot | 0
4 | Heavy Cleaning | 6" to 12" | diameter | 5000 |  | linear foot | 0
|  | 14" to 18" | diameter | 5000 |  | linear foot | 0
|  | 20" to 24" | diameter | 5000 |  | linear foot | 0
|  | 27" to 42" | diameter | 3000 |  | linear foot | 0
|  | 43" to 54" | diameter | 2000 |  | linear foot | 0
|  | > 54" | diameter | 1000 |  | linear foot | 0
5 | Root Removal | 6" to 12" | diameter | 3000 |  | linear foot | 0
|  | 14" to 18" | diameter | 3000 |  | linear foot | 0
|  | 20" to 24" | diameter | 3000 |  | linear foot | 0
|  | 27" to 42" | diameter | 3000 |  | linear foot | 0
|  | 43" to 54" | diameter | 2000 |  | linear foot | 0
|  | > 54" | diameter | 2000 |  | linear foot | 0
6 | Tuberculation | 6" to 12" | diameter | 3000 |  | linear foot | 0
|  | 14" to 18" | diameter | 3000 |  | linear foot | 0
|  | 20" to 24" | diameter | 2000 |  | linear foot | 0
|  | 27" to 42" | diameter | 1000 |  | linear foot | 0
|  | 43" to 54" | diameter | 1000 |  | linear foot | 0
|  | > 54" | diameter | 2000 |  | linear foot | 0
7 | Mechanical Cutting | 6" to 12" | diameter | 3000 |  | linear foot | 0
|  | 14" to 18" | diameter | 3000 |  | linear foot | 0
|  | 20" to 24" | diameter | 1000 |  | linear foot | 0
|  | 27" to 42" | diameter | 1000 |  | linear foot | 0
|  | 43" to 54" | diameter | 1000 |  | linear foot | 0
|  | > 54" | diameter | 2000 |  | linear foot | 0
| By-Pass Pumping | [5 empty] | 0
8 | 8" - 54" diameters | 6" | sewer flow | 1000 |  | linear foot | 0
|  | 8" | sewer flow | 3000 |  | linear foot | 0
|  | 10" | sewer flow | 3000 |  | linear foot | 0
|  | 12" | sewer flow | 3000 |  | linear foot | 0
|  | 15" | sewer flow | 4000 |  | linear foot | 0
|  | 18" | sewer flow | 4000 |  | linear foot | 0
|  | 20" | sewer flow | 4000 |  | linear foot | 0
|  | 24" | sewer flow | 4000 |  | linear foot | 0
|  | 30" | sewer flow | 4000 |  | linear foot | 0
|  | 36" | sewer flow | 1000 |  | linear foot | 0
|  | 42" | sewer flow | 1000 |  | linear foot | 0
|  | 48" | sewer flow | 1000 |  | linear foot | 0
|  | 54" | sewer flow | 1000 |  | linear foot | 0
|  | >54" | sewer flow | 1000 |  | linear foot | 0
9 | Pump Set-Up | 4" | pump | 5 |  | per each | 0
|  | 6" | pump | 5 |  | per each | 0
|  | 8" | pump | 5 |  | per each | 0
|  | 10" | pump | 5 |  | per each | 0
|  | 12" | pump | 5 |  | per each | 0
10 | Pump Operation (per hour / per pump) | 4" | pump | 6 |  | hour | 0
|  | 6" | pump | 6 |  | hour | 0
|  | 8" | pump | 6 |  | hour | 0
|  | 10" | pump | 6 |  | hour | 0
|  | 12" | pump | 6 |  | hour | 0
11 | TV Inspection - Sewer Lateral
| Mobilization / Demobilization |  |  | 1 |  | lump sum | 0
| Lateral Inspection 0' to 30' |  |  | 10 |  | per each | 0
| Additional Lateral Inspection > 30' |  |  | 10 |  | linear foot | 0
| Lateral Cleaning |  |  | 5000 |  | linear foot | 0
12 | TV Pipe Inspection (<10,000 linear ft)
| Mobilization / Demobilization |  |  | 1 |  | lump sum | 0
| 6" to 12" diameter |  |  | 1000 |  | linear foot | 0
| 14" to 18" diameter |  |  | 8000 |  | linear foot | 0
| 20" to 24" diameter |  |  | 5000 |  | linear foot | 0
| 37" to 54" diameter |  |  | 2000 |  | linear foot | 0
| 43" to 54" diameter |  |  | 2000 |  | linear foot | 0
| >54" diameter |  |  | 2000 |  | linear foot | 0
13 | Smoke Testing
| Smoke Testing |  |  | 5000 |  | linear foot | 0
| Additional Set-Up |  |  | 1 |  | lump sum | 0
| TOTAL - SECTION 1-A (items 1-13) | [5 empty] | 0
Section 1- B
Sanitary Sewer Systems Line Rehabilitation - Method 1, CIPP (Cured-In-Place-Pipe)
1 | Sanitary Sewer Mains
| 5.0mm normal thickness (.197) | 6" | diameter | 5000 |  | linear foot | 0
2 | Sanitary Sewer Mains
| 7.5mm normal thickness (.295) | 8" | diameter | 10000 |  | linear foot | 0
3 | Sanitary Sewer Mains
| 6.0mm normal thickness (.236) | 10" | diameter | 8000 |  | linear foot | 0
| 7.5mm normal thickness (.295) | 10" | diameter | 8000 |  | linear foot | 0
4 | Sanitary Sewer Mains
| 7.5mm normal thickness (.295) | 12" | diameter | 8000 |  | linear foot | 0
| 9.0mm normal thickness (.354 | 12" | diameter | 8000 |  | linear foot | 0
plus/minus normal thickness (.059)
5 | Sanitary Sewer Mains
| 7.5mm normal thickness (.295) | 15" | diameter | 6000 |  | linear foot | 0
| 9.0mm normal thickness (.354) | 15" | diameter | 5000 |  | linear foot | 0
plus/minus normal thickness (.059)
6 | Sanitary Sewer Mains
| 7.5mm normal thickness (.295) | 18" | diameter | 5000 |  | linear foot | 0
| 9.0mm normal thickness (.354) | 18" | diameter | 5000 |  | linear foot | 0
| 10.5mm normal thickness (.413) | 18" | diameter | 5000 |  | linear foot | 0
plus/minus normal thickness (.059)
7 | Sanitary Sewer Mains
| 9.0mm normal thickness (.354) | 21" | diameter | 5000 |  | linear foot | 0
| 10.5mm normal thickness (.413) | 21" | diameter | 5000 |  | linear foot | 0
| 12.0mm normal thickness (.472) | 21" | diameter | 5000 |  | linear foot | 0
plus/minus normal thickness (.059)
8 | Sanitary Sewer Mains
| 10.5mm normal thickness (.413) | 24" | diameter | 5000 |  | linear foot | 0
| 12.0mm normal thickness (.472) | 24" | diameter | 5000 |  | linear foot | 0
| 13.5mm normal thickness (.531) | 24" | diameter | 5000 |  | linear foot | 0
| 15.0mm normal thickness (.591) | 24" | diameter | 5000 |  | linear foot | 0
plus/minus normal thickness (.059)
9 | Sanitary Sewer Mains
| 10.5mm normal thickness (.413) | 27" | diameter | 3000 |  | linear foot | 0
| 12.0mm normal thickness (.472) | 27" | diameter | 3000 |  | linear foot | 0
| 13.5mm normal thickness (.531) | 27" | diameter | 3000 |  | linear foot | 0
| 15.0mm normal thickness (.591) | 27" | diameter | 3000 |  | linear foot | 0
plus/minus normal thickness (.059)
10 | Sanitary Sewer Mains
| 12.0mm normal thickness (.472) | 30" | diameter | 3000 |  | linear foot | 0
| 13.5mm normal thickness (.531) | 30" | diameter | 3000 |  | linear foot | 0
| 15.0mm normal thickness (.591) | 30" | diameter | 3000 |  | linear foot | 0
plus/minus normal thickness (.059)
11 | Sanitary Sewer Mains
| 13.5mm normal thickness (.531) | 36" | diameter | 1000 |  | linear foot | 0
| 15.0mm normal thickness (.591) | 36" | diameter | 1000 |  | linear foot | 0
| 16.5mm normal thickness (.650) | 36" | diameter | 1000 |  | linear foot | 0
| 18.0mm normal thickness (.709) | 36" | diameter | 1000 |  | linear foot | 0
plus/minus normal thickness (.059)
12 | Sanitary Sewer Mains
| 13.5mm normal thickness (.531) | 42" | diameter | 1000 |  | linear foot | 0
| 15.0mm normal thickness (.591) | 42" | diameter | 1000 |  | linear foot | 0
| 16.5mm normal thickness (.650) | 42" | diameter | 1000 |  | linear foot | 0
| 18.0mm normal thickness (.709) | 42" | diameter | 1000 |  | linear foot | 0
plus/minus normal thickness (.059)
13 | Sanitary Sewer Mains
| 13.5mm normal thickness (.531) | 48" | diameter | 1000 |  | linear foot | 0
| 15.0mm normal thickness (.591) | 48" | diameter | 1000 |  | linear foot | 0
| 16.5mm normal thickness (.650) | 48" | diameter | 1000 |  | linear foot | 0
| 18.0mm normal thickness (.709) | 48" | diameter | 1000 |  | linear foot | 0
plus/minus normal thickness (.059)
14 | Sanitary Sewer Mains
| 13.5mm normal thickness (.531) | 54" | diameter | 1000 |  | linear foot | 0
| 15.0mm normal thickness (.591) | 54" | diameter | 1000 |  | linear foot | 0
| 16.5mm normal thickness (.650) | 54" | diameter | 1000 |  | linear foot | 0
| 18.0mm normal thickness (.709) | 54" | diameter | 1000 |  | linear foot | 0
plus/minus normal thickness (.059)
15 | Sanitary Sewer Mains
| 18.0mm normal thickness | >54" | diameter | 1000 |  | linear foot | 0
plus / minus normal thickness (.059)
| TOTAL - SECTION 1-B (items 1-15) | [5 empty] | 0
SECTION 1-C Sanitary Sewer Systems / Stormwater Systems Line Rehabilitation-By-Pass Pumping
1 | By-passing pumping | Incudes set-up, per each, per day
| 4" pump |  |  | 5 |  | per each | 0
| 6" pump |  |  | 5 |  | per each | 0
| 8" pump |  |  | 5 |  | per each | 0
| 10" pump |  |  | 5 |  | per each | 0
| 12" pump |  |  | 5 |  | per each | 0
2 | Tanker truck tank | 4,000 gallon capacity |  | 5 |  | per load | 0
3 | Mobilization / Demobilization |  |  | 1 |  | lump sum | 0
4 | Standard service reconnection |  |  | 5 |  | per each | 0
5 | Service with pressure grouting |  |  | 5 |  | per each | 0
6 | Lateral reinstatement cutting of defective lateral opening |  |  | 5 |  | per each | 0
7 | Trenchless lateral cleaning and reconstruction system up to 30 linear feet |  |  | 50 |  | linear foot
8 | Trenchless lateral cleaning and reconstruction system over 30 linear feet |  |  | 50 |  | linear foot | 0
9 | Full wrap at main and 24" up connection |  |  | 200 |  | per each | 0
10 | Additional for stack service - clean out installation up to 4' deep - grassed area |  |  | 10 |  | per each | 0
11 | Additional for stack service - clean out installation up to 4' deep - paved area |  |  | 10 |  | per each | 0
| TOTAL - SECTION 1-C (items 1-11) | [5 empty] | 0
SECTION 1-D Sanitary Sewer Joint Air Testing, Joint Grouting, and Lateral Grouting
1 | Lateral Grouting, 6” dia, sanitary sewer | Qty < 50 |  | 20 |  | each | 0
2 | Lateral Grouting, 6” dia, sanitary sewer | Qty > 50 |  | 20 |  | each | 0
3 | Lateral Grouting, 8-12” dia, sanitary sewer | Qty < 50 |  | 20 |  | each | 0
4 | Lateral Grouting, 8-12” dia, sanitary sewer | Qty > 50 |  | 20 |  | each | 0
5 | Joint Testing, 6-15” dia, sanitary sewer | Qty < 50 |  | 20 |  | each | 0
6 | Joint Testing, 6-15” dia, sanitary sewer | Qty > 50 |  | 20 |  | each | 0
7 | Joint Grouting, 6” dia, sanitary sewer | Qty < 50 |  | 20 |  | each | 0
8 | Joint Grouting, 6” dia, sanitary sewer | Qty > 50 |  | 20 |  | each | 0
9 | Joint Grouting, 8” dia, sanitary sewer | Qty < 50 |  | 20 |  | each | 0
10 | Joint Grouting, 8” dia, sanitary sewer | Qty > 50 |  | 20 |  | each | 0
11 | Joint Grouting, 10” dia, sanitary sewer | Qty < 50 |  | 20 |  | each | 0
12 | Joint Grouting, 10” dia, sanitary sewer | Qty > 50 |  | 20 |  | each | 0
13 | Joint Grouting, 12” dia, sanitary sewer | Qty < 50 |  | 20 |  | each | 0
14 | Joint Grouting, 12” dia, sanitary sewer | Qty > 50 |  | 20 |  | each | 0
15 | Joint Grouting, 15” dia, sanitary sewer | Qty < 50 |  | 20 |  | each | 0
16 | Joint Grouting, 15” dia, sanitary sewer | Qty > 50 |  | 20 |  | each | 0
17 | Grouting over 2.5 gallons, per gallon |  |  | 20 |  | per gallon | 0
| TOTAL -SECTION 1-D (items 1-17) | [5 empty] | 0
SECTION 1-E Miscellaneous Items
1 | Lateral reinstatement cutting of defective lateral openings |  |  | 30 |  | each | 0
2 | Mechanical cutting for grease or mineral deposits (heavier process than root cutting, not as heavy as tuberculation cutting (all sizes) |  |  | 30 |  | linear foot | 0
3 | Main line air testing and grouting of joints (8" - 24") |  |  | 1000 |  | ea pipe joint | 0
4 | Void grouting by the cubic yard |  |  | 2 |  | ea pipe joint | 0
Traffic Control
5 | Flagman (each) |  |  | 2 |  | per day | 0
6 | Arrowboard (each) |  |  | 2 |  | per day | 0
7 | Barricades (each) |  |  | 2 |  | per day | 0
8 | Lane dividers (each) |  |  | 4 |  | per day | 0
9 | Variable message board |  |  | 4 |  | per day | 0
10 | Light tower |  |  | 2 |  | per day | 0
11 | Easement access, additional less than 12" diameter |  |  | 100 |  | linear foot | 0
12 | Easement access, additional greater than 12" diameter |  |  | 100 |  | linear foot | 0
13 | Wellpointing / dewatering |  |  | 1 |  | lump sum | 0
| TOTAL - SECTION 1-E (items 1-13) | [5 empty] | 0
GROUP 2 - SANITARY SEWER SYSTEMS
SECTION 2-A
Stormwater-Method 2
POLYETHYLENE Trenchless Pipe Reconstruction System - HDPE (High-Density - Polyethylene)
1 | Sanitary Sewer Mains
| SDR 32.5 normal thickness (.268) | 8" | diameter | 5000 |  | linear foot | 0
| SDR 26 normal thickness (.332) | 8" | diameter | 5000 |  | linear foot | 0
| SDR 24 normal thickness (.359) | 8" | diameter | 5000 |  | linear foot | 0
2 | Sanitary Sewer Mains
| SDR 32.5 normal thickness (.321) | 10" | diameter | 4000 |  | linear foot | 0
| SDR 26 normal thickness (.413) | 10" | diameter | 4000 |  | linear foot | 0
| SDR 24 normal thickness (.448) | 10" | diameter | 4000 |  | linear foot | 0
3 | Sanitary Sewer Mains
| SDR 32.5 normal thickness (.392) | 12" | diameter | 4000 |  | linear foot | 0
| SDR 26 normal thickness (.490) | 12" | diameter | 4000 |  | linear foot | 0
| SDR 24 normal thickness (.531) | 12" | diameter | 4000 |  | linear foot | 0
4 | Lateral Reconstruction
| Up to 30 linear feet |  |  | 2000 |  | linear foot | 0
| Over 30 linear feet |  |  | 2000 |  | linear foot | 0
5 | Service with Pressure Grouting (lateral cutouts that leak) |  |  | 100 |  | per each | 0
6 | By-Pass Pumping | 8" - 54" | diameter
| 8" sewer flow |  |  | 2000 |  | linear foot | 0
| 10" sewer flow |  |  | 2000 |  | linear foot | 0
| 12" sewer flow |  |  | 2000 |  | linear foot | 0
| 15" sewer flow |  |  | 2000 |  | linear foot | 0
| 18" sewer flow |  |  | 2000 |  | linear foot | 0
| 20" sewer flow |  |  | 2000 |  | linear foot | 0
| 24" sewer flow |  |  | 2000 |  | linear foot | 0
| 30" sewer flow |  |  | 1000 |  | linear foot | 0
| 36" sewer flow |  |  | 1000 |  | linear foot | 0
| 42" sewer flow |  |  | 1000 |  | linear foot | 0
| 48" sewer flow |  |  | 1000 |  | linear foot | 0
| 54" sewer flow |  |  | 2000 |  | linear foot | 0
| >54" sewer flow |  |  | 2000 |  | linear foot | 0
7 | By-Pass Pumping | Pump Set Up
| 4" pump |  |  | 5 |  | per each | 0
| 6" pump |  |  | 5 |  | per each | 0
| 8" pump |  |  | 5 |  | per each | 0
| 10" pump |  |  | 5 |  | per each | 0
| 12" pump |  |  | 5 |  | per each | 0
8 | Pump Operation
| 4" pump |  |  | 6 |  | per hour | 0
| 6" pump |  |  | 6 |  | per hour | 0
| 8" pump |  |  | 6 |  | per hour | 0
| 10" pump |  |  | 6 |  | per hour | 0
| 12" pump |  |  | 6 |  | per hour | 0
9 | Mobilization / Demobilization |  |  | 3 |  | lump sum | 0
| TOTAL - SECTION 2-A (items 1-9) | [5 empty] | 0
SECTION 2-B Sanitary Sewer Systems Rehabilitation-Method 3
REPAIR SLEEVE Trenchless Pipe Reconstruction - CIPP (Cured-In-Place-Pipe)
1 | Sanitary sewer mains | 8" | diameter
7.5mm normal thickness (.295)
| 3' - 5' |  |  | 500 |  | linear foot | 0
| 6' - 9' |  |  | 500 |  | linear foot | 0
| 10' - 12' |  |  | 500 |  | linear foot | 0
| 13' - 15' |  |  | 500 |  | linear foot | 0
| 16' - 20' |  |  | 500 |  | linear foot | 0
| 21' - 25' |  |  | 500 |  | linear foot | 0
| 26' - 30' |  |  | 500 |  | linear foot | 0
2 | Sanitary sewer mains | 10" | diameter
7.5mm normal thickness (.295)
| 3' - 5" |  |  | 500 |  | linear foot | 0
| 6' - 9' |  |  | 500 |  | linear foot | 0
| 10' - 12' |  |  | 500 |  | linear foot | 0
| 13' - 15' |  |  | 500 |  | linear foot | 0
| 16' - 20' |  |  | 500 |  | linear foot | 0
| 21' - 25' |  |  | 500 |  | linear foot | 0
| 26' - 30' |  |  | 500 |  | linear foot | 0
3 | Sanitary sewer mains | 12" | diameter
9mm normal thickness (.354)
| 3' - 5" |  |  | 500 |  | linear foot | 0
| 6' - 9' |  |  | 500 |  | linear foot | 0
| 10' - 12' |  |  | 500 |  | linear foot | 0
| 13' - 15' |  |  | 500 |  | linear foot | 0
| 16' - 20' |  |  | 500 |  | linear foot | 0
| 21' - 25' |  |  | 500 |  | linear foot | 0
| 26' - 30' |  |  | 500 |  | linear foot | 0
4 | Sanitary sewer mains | 15" | diameter
10.5mm normal thickness (.413)
| 3' - 5" |  |  | 500 |  | linear foot | 0
| 6' - 9' |  |  | 500 |  | linear foot | 0
| 10' - 12' |  |  | 500 |  | linear foot | 0
| 13' - 15' |  |  | 500 |  | linear foot | 0
| 16' - 20' |  |  | 500 |  | linear foot | 0
| 21' - 25' |  |  | 500 |  | linear foot | 0
| 26' - 30' |  |  | 500 |  | linear foot | 0
5 | Sanitary sewer mains | 18" | diameter
13.5mm normal thickness (.531)
| 3' - 5" |  |  | 500 |  | linear foot | 0
| 6' - 9' |  |  | 500 |  | linear foot | 0
| 10' - 12' |  |  | 500 |  | linear foot | 0
| 13' - 15' |  |  | 500 |  | linear foot | 0
| 16' - 20' |  |  | 500 |  | linear foot | 0
| 21' - 25' |  |  | 500 |  | linear foot | 0
| 26' - 30' |  |  | 500 |  | linear foot | 0
6 | Sanitary sewer mains | 21" | diameter
13.5mm normal thickness (.531)
| 3' - 5" |  |  | 500 |  | linear foot | 0
| 6' - 9' |  |  | 500 |  | linear foot | 0
| 10' - 12' |  |  | 500 |  | linear foot | 0
| 13' - 15' |  |  | 500 |  | linear foot | 0
| 16' - 20' |  |  | 500 |  | linear foot | 0
| 21' - 25' |  |  | 500 |  | linear foot | 0
| 26' - 30' |  |  | 500 |  | linear foot | 0
7 | Sanitary sewer mains | 24" | diameter
| 13.5mm normal thickness (.531) |  | 3' - 5" | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 6' - 9' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 10' - 12' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 13' - 15' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 16' - 20' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 21' - 25' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 26' - 30' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
8 | Sanitary sewer mains | 30" | diameter
| 13.5mm normal thickness (.531) |  | 3' - 5" | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 6' - 9' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 10' - 12' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 13' - 15' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 16' - 20' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 21' - 25' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 26' - 30' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
9 | Sanitary sewer mains | 36" | diameter
| 13.5mm normal thickness (.531) |  | 3' - 5' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 18.0mm normal thickness (.709) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 6' - 9' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 18.0mm normal thickness (.709) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 10' - 12' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 18.0mm normal thickness (.709) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 13' - 15' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 18.0mm normal thickness (.709) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 16' - 20' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 18.0mm normal thickness (.709) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 21' - 25' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 18.0mm normal thickness (.709) |  |  | 500 |  | linear foot | 0
| 13.5mm normal thickness (.531) |  | 26' - 30' | 500 |  | linear foot | 0
| 15.0mm normal thickness (.591) |  |  | 500 |  | linear foot | 0
| 18.0mm normal thickness (.709) |  |  | 500 |  | linear foot | 0
10 | Lateral Reconstruction
| Up to 30 linear feet |  |  | 5000 |  | linear foot | 0
| Over 30 linear feet |  |  | 5000 |  | linear foot | 0
| Lateral Cleaning |  |  | 500 |  | per each | 0
| Full wrap at main + 24" into lateral |  |  | 50 |  | per each | 0
11 | Standard Service Reconnection |  |  | 500 |  | per each | 0
| Service with pressure grouting |  |  | 500 |  | per each | 0
| Lateral reinstatement cutting of defective lateral opening |  |  | 100 |  | per each | 0
| Hammer tap removal |  |  | 50 |  | per each | 0
12 | Mobilization / Demobilization |  |  | 1 |  | lump sum | 0
13 | By-passing pumping
| 6" sewer flow |  |  | 1000 |  | linear foot | 0
| 8" sewer flow |  |  | 3000 |  | linear foot | 0
| 10" sewer flow |  |  | 3000 |  | linear foot | 0
| 12" sewer flow |  |  | 3000 |  | linear foot | 0
| 15" sewer flow |  |  | 4000 |  | linear foot | 0
| 18" sewer flow |  |  | 4000 |  | linear foot | 0
| 20" sewer flow |  |  | 4000 |  | linear foot | 0
| 24" sewer flow |  |  | 4000 |  | linear foot | 0
| 30" sewer flow |  |  | 4000 |  | linear foot | 0
| 36" sewer flow |  |  | 4000 |  | linear foot | 0
| 42" sewer flow |  |  | 4000 |  | linear foot | 0
| 48" sewer flow |  |  | 4000 |  | linear foot | 0
| 54" sewer flow |  |  | 4000 |  | linear foot | 0
| >54" sewer flow |  |  | 1000 |  | linear foot | 0
14 | By-passing pumping | pump set up
| 4" pump |  |  | 5 |  | per each | 0
| 6" pump |  |  | 5 |  | per each | 0
| 8" pump |  |  | 5 |  | per each | 0
| 10" pump |  |  | 5 |  | per each | 0
| 12" pump |  |  | 5 |  | per each | 0
15 | Pump Operation | per hour/per pump
| 4" pump |  |  | 6 |  | per hour | 0
| 6" pump |  |  | 6 |  | per hour | 0
| 8" pump |  |  | 6 |  | per hour | 0
| 10" pump |  |  | 6 |  | per hour | 0
| 12" pump |  |  | 6 |  | per hour | 0
| TOTAL - SECTION 2-B (items 1-15) | [5 empty] | 0
SECTION 2-C Miscellaneous Items
1 | Lateral reinstatement cutting of defective lateral openings |  |  | 30 |  | each | 0
2 | Mechanical cutting for grease or mineral deposits (heavier process than root cutting, not as heavy as tuberculation cutting (all sizes) |  |  | 30 |  | linear foot | 0
3 | Main line air testing and grouting of joints (8" - 24") |  |  | 1000 |  | ea pipe joint | 0
4 | Void grouting by the cubic yard |  |  | 2 |  | ea pipe joint | 0
5 | Lateral Mobilization / Demobilization |  |  | 1 |  | lump sum | 0
6 | Lateral cleaning |  |  | 1000 |  | linear foot | 0
Traffic Control
7 | Flagman (each) |  |  | 2 |  | per day | 0
8 | Arrowboard (each) |  |  | 2 |  | per day | 0
9 | Barricades (each) |  |  | 2 |  | per day | 0
10 | Lane dividers (each) |  |  | 4 |  | per day | 0
11 | Variable message board |  |  | 4 |  | per day | 0
12 | Light tower |  |  | 2 |  | per day | 0
13 | Hammer tap removal |  |  | 5 |  | per each | 0
14 | Easement access, additional less than 12" diameter |  |  | 100 |  | linear foot | 0
15 | Easement access, additional greater than 12" diameter |  |  | 100 |  | linear foot | 0
16 | Blind shot set up |  |  | 50 |  | per each | 0
17 | Wellpointing / dewatering |  |  | 1 |  | lump sum | 0
| TOTAL - SECTION 2-C (items 1-4) | [5 empty] | 0
GROUP 3 - LINE & MANHOLE REHABILITATION
SECTION 3-A Line & Manhole Rehabilitation - Method 1
Manhole Surfacing - Corrosion Protection of Manholes
1 | Mobilization / Demobilization |  |  | 1 |  | lump sum | 0
2 | Corrosion protection
| 1/4" thickness (6mm) - 48" |  |  | 40 |  | vertical foot | 0
| 1/4" thickness (6mm) - 60" |  |  | 20 |  | vertical foot | 0
| 1/4" thickness (6mm) - 72" |  |  | 15 |  | vertical foot | 0
3 | Injection Grouting
| Manhole depth - 0' to 5' |  |  | 20 |  | per manhole | 0
| Manhole depth - 5'1" to 10' |  |  | 20 |  | per manhole | 0
| Manhole depth - 10'1" to 15' |  |  | 20 |  | per manhole | 0
| Manhole depth - 15' 1" to 20' |  |  | 20 |  | per manhole | 0
| Manhole depth - 20'1" and over |  |  | 20 |  | per manhole | 0
4 | Vacuum jet cleaning |  |  | 40 |  | per manhole | 0
5 | Removal of existing liner |  |  | 20 |  | vertical foot | 0
6 | Void grouting |  |  | 40 |  | cubic yard | 0
| TOTAL - SECTION 3-A (items 1-6) | [5 empty] | 0
SECTION 3-B Line & Manhole Rehabilitation - Method 2
Manhole Surfacing; Structural Rehabilitation of Manholes
1 | Mobilization / Demobilization |  |  | 1 |  | lump sum | 0
2 | Application
| 1/2" thickness (13mm) |  |  | 40 |  | vertical foot | 0
| 1" thickness (25mm) |  |  | 20 |  | vertical foot | 0
3 | Traffic Control
| Flagman (each) |  |  | 2 |  | per day | 0
| Arrowboard (each) |  |  | 2 |  | per day | 0
| Barricades (each) |  |  | 4 |  | per day | 0
| Lane dividers (each) |  |  | 4 |  | per day | 0
| Variable message board |  |  | 2 |  | per day | 0
| Light tower |  |  | 2 |  | per day | 0
4 | Bench / invert repair |  |  | 20 |  | per manhole | 0
5 | Injection grouting
| Manhole depth 0' to 5' |  |  | 20 |  | per manhole | 0
| Manhole depth - 5'1" to 10' |  |  | 20 |  | per manhole | 0
| Manhole depth - 10'1" to 15' |  |  | 20 |  | per manhole | 0
| Manhole depth - 15' 1" to 20' |  |  | 20 |  | per manhole | 0
| Manhole depth - 20'1" and over |  |  | 20 |  | per manhole | 0
6 | Void grouting |  |  | 20 |  | cubic yard | 0
7 | Vacuum jet cleaning |  |  | 20 |  | per manhole | 0
8 | Removal of existing liner |  |  | 20 |  | vertical foot | 0
9 | By-passing pumping | 8 - 72" | diameter
| 8" sewer flow |  |  | 3000 |  | linear foot | 0
| 10" sewer flow |  |  | 3000 |  | linear foot | 0
| 12" sewer flow |  |  | 3000 |  | linear foot | 0
| 15" sewer flow |  |  | 4000 |  | linear foot | 0
| 18" sewer flow |  |  | 4000 |  | linear foot | 0
| 20" sewer flow |  |  | 4000 |  | linear foot | 0
| 24" sewer flow |  |  | 4000 |  | linear foot | 0
| 30" sewer flow |  |  | 4000 |  | linear foot | 0
| 36" sewer flow |  |  | 4000 |  | linear foot | 0
| 42" sewer flow |  |  | 4000 |  | linear foot | 0
| 48" sewer flow |  |  | 4000 |  | linear foot | 0
| 54" sewer flow |  |  | 4000 |  | linear foot | 0
| >54" sewer flow |  |  | 2000 |  | linear foot | 0
10 | Manhole rim replacement
| 1 - 5 |  |  | 12 |  | per each | 0
| 6 - 10 |  |  | 15 |  | per each | 0
| 11 - 20 |  |  | 15 |  | per each | 0
| 20 plus |  |  | 15 |  | per each | 0
| TOTAL - SECTION 3-B (items 1-10) | [5 empty] | 0
SECTION 3-C Miscellaneous Items
1 | PACP manhole inspections - Level 1 - Visual inspection and report of observations |  |  | 10000 |  | linear foot | 0
2 | PACP manhole inspections - Level 2 - CCTV inspection and data capture computer reports - including measurements of manhole data |  |  | 10000 |  | linear foot | 0
Traffic Control
3 | Flagman (each) |  |  | 2 |  | per day | 0
4 | Arrowboard (each) |  |  | 2 |  | per day | 0
5 | Barricades (each) |  |  | 2 |  | per day | 0
6 | Lane dividers (each) |  |  | 4 |  | per day | 0
7 | Variable message board |  |  | 4 |  | per day | 0
8 | Light tower |  |  | 2 |  | per day | 0
9 | Easement access, additional less than 12" diameter |  |  | 100 |  | linear foot | 0
10 | Easement access, additional greater than 12" diameter |  |  | 100 |  | linear foot | 0
11 | Wellpointing / dewatering |  |  | 1 |  | lump sum | 0
| TOTAL - SECTION 3-C (items 1-11) | [5 empty] | 0
NOTE TO POTENTIAL BIDDERS:
ESTIMATED ANNUAL QUANTITY COLUMN IS LOCKED. PRICING ENTERED WILL
AUTOMATICALLY CALCULATE EXTENDED PRICING / TOTALS.