## Bid Form
IFB #16-2289BLS - Water and Sewer Materials and Accessories |  |  |  |  | Bidder Name: _________________________
Note: This excel spreadsheet is inter-active. Insert unit price in column H and extended pricing and grand total pricing will automatically extend and populate; Bidder to verify accuracy! | [6 empty] | Interactive | Bid Form
ITEM | MC STOCK NUMBER | PRODUCT DESCRIPTION |  | QTY | U/M | MFG / PART NUMBERS
GROUP A
PVC FITTINGS AND PIPE - SCHEDULE 40 AND SCHEDULE 80
A1 | 3Z1225 | MALE ADAPTOR - SLIP x MIPT SCH. 40 | ½ | 125 | EA | CHARLOTTE |  | 0
A2 | 3Z1230 |  | ¾ | 115 | EA | CHARLOTTE |  | 0
A3 | 3Z1300 |  | 3/4" X 1/2" | 25 | EA | CHARLOTTE |  | 0
A4 | 3Z1235 |  | 1 | 60 | EA | CHARLOTTE |  | 0
A5 | 3Z1240 |  | 1¼ | 25 | EA | CHARLOTTE |  | 0
A6 | 3Z1250 |  | 1½ | 25 | EA | CHARLOTTE |  | 0
A7 | 3Z1255 |  | 2 | 125 | EA | CHARLOTTE |  | 0
A8 | 3Z1265 | MALE ADAPTOR SLIP x MIPT SCH. 40 | 3 | 100 | EA | CHARLOTTE |  | 0
A9 | 3Z1270 |  | 4 | 10 | EA | CHARLOTTE |  | 0
A10 | 3Z1280 | FEMALE ADAPTOR - SLIP x FIPT SCH. 40 | ½ | 50 | EA | CHARLOTTE |  | 0
A11 | 3Z1295 |  | ¾ | 110 | EA | CHARLOTTE |  | 0
A12 | 3Z1305 |  | 1 | 60 | EA | CHARLOTTE |  | 0
A13 | 3Z1310 |  | 1¼ | 25 | EA | CHARLOTTE |  | 0
A14 | 3Z1315 |  | 1½ | 25 | EA | CHARLOTTE |  | 0
A15 | 3Z1320 |  | 2 | 25 | EA | CHARLOTTE |  | 0
A16 | 3Z1330 | FEMALE ADAPTOR SLIP x FIPT SCH. 40 | 3 | 12 | EA | CHARLOTTE |  | 0
A17 | 3Z1335 |  | 4 | 10 | EA | CHARLOTTE |  | 0
A18 | 3Z1345 | REDUCING BUSHING SLIP x SLIP SCH. 40 | ¾ x ½ | 200 | EA | CHARLOTTE |  | 0
A19 | 3Z1350 |  | 1 x ½ | 120 | EA | CHARLOTTE |  | 0
A20 | 3Z1355 |  | 1 x ¾ | 50 | EA | CHARLOTTE |  | 0
A21 | 3Z1365 |  | 1¼ x 1 | 5 | EA | CHARLOTTE |  | 0
A22 | 3Z1375 |  | 1½ x 1 | 10 | EA | CHARLOTTE |  | 0
A23 | 3Z1390 |  | 2 x 1 | 15 | EA | CHARLOTTE |  | 0
A24 | 3Z1395 |  | 2 x 1¼ | 5 | EA | CHARLOTTE |  | 0
A25 | 3Z1400 |  | 2 x 1½ | 5 | EA | CHARLOTTE |  | 0
A26 | 3Z1415 |  | 4 x 2 | 10 | EA | CHARLOTTE |  | 0
A27 | 3Z1420 |  | 4 x 3 | 15 | EA | CHARLOTTE |  | 0
A28 | 3Z1425 |  | 6 x 4 | 5 | EA | CHARLOTTE |  | 0
A29 | 3Z1440 | REDUCING BUSHING SLIP x FIPT SCH. 40 | 1 x ¾ | 25 | EA | CHARLOTTE |  | 0
A30 | 3Z1450 |  | 1¼ x 1 | 12 | EA | CHARLOTTE |  | 0
A31 | 3Z1455 |  | 1½ x ¾ | 12 | EA | CHARLOTTE |  | 0
A32 | 3Z1460 |  | 1½ x 1 | 12 | EA | CHARLOTTE |  | 0
A33 | 3Z1480 |  | 2 x ¾ | 125 | EA | CHARLOTTE |  | 0
A34 | 3Z1520 | CAP - SLIP SCH. 40 | ½ | 55 | EA | CHARLOTTE |  | 0
A35 | 3Z1525 |  | ¾ | 75 | EA | CHARLOTTE |  | 0
A36 | 3Z1530 |  | 1 | 15 | EA | CHARLOTTE |  | 0
A37 | 3Z1540 |  | 1¼ | 12 | EA | CHARLOTTE |  | 0
A38 | 3Z1545 |  | 1½ | 15 | EA | CHARLOTTE |  | 0
A39 | 3Z1550 |  | 2 | 15 | EA | CHARLOTTE |  | 0
A40 | 3Z1565 | CAP SLIP SCH. 40 | 3 | 15 | EA | CHARLOTTE |  | 0
A41 | 3Z1570 |  | 4 | 5 | EA | CHARLOTTE |  | 0
A42 | 3Z1575 |  | 6 | 20 | EA | CHARLOTTE |  | 0
A43 | 3Z1035 | CAP - FIPT SCH. 40 | ¾ | 10 | EA | CHARLOTTE |  | 0
A44 | 3Z1535 |  | 1 | 10 | EA | CHARLOTTE |  | 0
A45 | 3Z1040 |  | 1¼ | 10 | EA | CHARLOTTE |  | 0
A46 | 3Z1045 |  | 1½ | 10 | EA | CHARLOTTE |  | 0
A47 | 3Z1555 |  | 2 | 12 | EA | CHARLOTTE |  | 0
A48 | 3Z1050 |  | 3 | 5 | EA | CHARLOTTE |  | 0
A50 | 3Z1585 | COUPLING SLIP x SLIP SCH. 40 | ½ | 100 | EA | CHARLOTTE |  | 0
A51 | 3Z1590 |  | ¾ | 150 | EA | CHARLOTTE |  | 0
A52 | 3Z1595 |  | 1 | 65 | EA | CHARLOTTE |  | 0
A53 | 3Z1600 |  | 1¼ | 75 | EA | CHARLOTTE |  | 0
A54 | 3Z1605 |  | 1½ | 100 | EA | CHARLOTTE |  | 0
A55 | 3Z1610 |  | 2 | 450 | EA | CHARLOTTE |  | 0
A56 | 3Z1620 | COUPLING SLIP x SLIP SCH. 40 | 3 | 25 | EA | CHARLOTTE |  | 0
A57 | 3Z1625 |  | 4 | 50 | EA | CHARLOTTE |  | 0
A58 | 3Z1055 | COUPLING FIPT x FIPT SCH. 40 | ¾ | 100 | EA | CHARLOTTE |  | 0
A60 | 3Z1635 | BEND 45 DEGREE SLIP x SLIP SCH. 40 | ½ | 50 | EA | CHARLOTTE |  | 0
A61 | 3Z1640 |  | ¾ | 60 | EA | CHARLOTTE |  | 0
A62 | 3Z1645 |  | 1 | 60 | EA | CHARLOTTE |  | 0
A63 | 3Z1650 |  | 1¼ | 5 | EA | CHARLOTTE |  | 0
A64 | 3Z1655 |  | 1½ | 5 | EA | CHARLOTTE |  | 0
A65 | 3Z1660 |  | 2 | 25 | EA | CHARLOTTE |  | 0
A66 | 3Z1675 |  | 4 | 5 | EA | CHARLOTTE |  | 0
A67 | 3Z1690 | BEND 90 SLIP x SLIP SCH 40 | ½ | 210 | EA | CHARLOTTE |  | 0
A68 | 3Z1695 |  | ¾ | 210 | EA | CHARLOTTE |  | 0
A69 | 3Z1702 | BEND 90 DEGREE STREET SCH. 40 | 3/4" | 25 | EA | CHARLOTTE |  | 0
A70 | 3Z1705 | BEND 90 SLIP x SLIP SCH 40 | 1 | 105 | EA | CHARLOTTE |  | 0
A71 | 3Z1710 |  | 1¼ | 20 | EA | CHARLOTTE |  | 0
A72 | 3Z1715 | . | 1½ | 35 | EA | CHARLOTTE |  | 0
A73 | 3Z1720 |  | 2 | 25 | EA | CHARLOTTE |  | 0
A74 | 3Z1730 | BEND 90 SLIP x SLIP SCH. 40 | 3 | 25 | EA | CHARLOTTE |  | 0
A75 | 3Z1735 |  | 4 | 5 | EA | CHARLOTTE |  | 0
A76 | 3Z1070 | BEND 90 DEGREE THREAD x THREAD SCH. 80 | ½ | 12 | EA | CHARLOTTE |  | 0
A77 | 3Z1065 |  | ¾ | 25 | EA | CHARLOTTE |  | 0
A78 | 3Z1090 |  | 2 | 5 | EA | CHARLOTTE |  | 0
A79 | 3Z2640 | 90 DEGREE ELBOWS-SXS SCHED 80 | 4" | 40 | EA | CHARLOTTE |  | 0
A80 | 3Z1750 | TEE SLIP x SLIP SCH. 40 | ½ | 50 | EA | CHARLOTTE |  | 0
A81 | 3Z1755 |  | ¾ | 100 | EA | CHARLOTTE |  | 0
A82 | 3Z1760 |  | 1 | 60 | EA | CHARLOTTE |  | 0
A83 | 3Z1770 |  | 1½ | 10 | EA | CHARLOTTE |  | 0
A84 | 3Z1775 |  | 2 | 15 | EA | CHARLOTTE |  | 0
A85 | 3Z1785 | TEE SLIP x SLIP x SLIP SCH. 40 | 3 | 5 | EA | CHARLOTTE |  | 0
A86 | 3Z1790 |  | 4 | 20 | EA | CHARLOTTE |  | 0
A87 | 3Z1170 | TEE FIPT x FIPT x FIPT SCH. 80 | 2 | 5 | EA | CHARLOTTE |  | 0
A88 | 3Z1120 | PLUG THREAD SCH. 40 | ¾ | 65 | EA | CHARLOTTE |  | 0
A89 | 3Z1125 |  | 1 | 75 | EA | CHARLOTTE |  | 0
A90 | 3Z1130 |  | 1¼ | 5 | EA | CHARLOTTE |  | 0
A91 | 3Z1135 |  | 1½ | 5 | EA | CHARLOTTE |  | 0
A92 | 3Z1140 |  | 2 | 10 | EA | CHARLOTTE |  | 0
A93 | 3Z1145 |  | 3 | 5 | EA | CHARLOTTE |  | 0
A94 | 3Z1810 | NIPPLES SCH. 80 | ¾ x 2 | 10 | EA | SPEARS |  | 0
A95 | 3Z1815 |  | ¾ x 4 | 100 | EA | SPEARS |  | 0
A96 | 3Z1860 |  | 1½ x 4 | 4 | EA | SPEARS |  | 0
A97 | 3Z1115 |  | 1½ x 12 | 4 | EA | SPEARS |  | 0
A98 | 3Z1880 |  | 2 x 8 | 4 | EA | SPEARS |  | 0
A99 | 3Z1885 |  | 2 x 12 | 4 | EA | SPEARS |  | 0
A100 | 3Z1185 | UNION SCHEDULE 80 FIPT x FIPT | 1 | 4 | EA | CHARLOTTE |  | 0
A101 | 3Z1200 |  | 1¼ | 4 | EA | CHARLOTTE |  | 0
A102 | 3Z1190 |  | 2 | 5 | EA | CHARLOTTE |  | 0
A103 | 3Z1975 | FLANGE - VAN STONE - SCHEDULE 80 SLIP | 3 | 5 | EA | CHARLOTTE |  | 0
A104 | 3Z1980 |  | 4 | 10 | EA | CHARLOTTE |  | 0
A105 | 3Z1965 | ADAPTOR PVC SCH. 80 F.I.P. x FLANGE | 4 | 10 | EA | CHARLOTTE |  | 0
A106 | 3Z1970 |  | 6 | 6 | EA | SPEARS |  | 0
A107 | 3V1395 | BALL VALVE PVC FIP X FIP SCH. 80 TRUE UNION, EPDM GASKET, FULL PORT | ½ | 2 | EA | CHARLOTTE |  | 0
A108 | 3V1255 |  | 1½ | 2 | EA | CHARLOTTE |  | 0
A109 | 3V1410 | PVC COMPACT BALL VALVE TEFLON SEAT, EPDM O-RING, S x S | ½ | 4 | EA | CHARLOTTE |  | 0
A110 | 3V1415 |  | ¾ | 5 | EA | CHARLOTTE |  | 0
A111 | 3V1420 |  | 1 | 5 | EA | CHARLOTTE |  | 0
A112 | 3V1430 |  | 1½ | 4 | EA | CHARLOTTE |  | 0
A113 | 3V1435 |  | 2 | 5 | EA | CHARLOTTE |  | 0
A114 | 3P1055 | PVC PIPE,SCHED 40, 20 FT LENGTHS | 1/2" | 25 | EA | CHARLOTTE |  | 0
A115 | 3P1060 |  | 3/4" | 50 | EA | CHARLOTTE |  | 0
A116 | 3P1065 |  | 1" | 35 | EA | CHARLOTTE |  | 0
A117 | 3P1070 |  | 1 1/4" | 35 | EA | CHARLOTTE |  | 0
A118 | 3P1075 |  | 1 1/2" | 20 | EA | CHARLOTTE |  | 0
A119 | 3P1080 |  | 2" | 10 | EA | CHARLOTTE |  | 0
A120 | 3P1083 |  | 2 1/2" | 5 | EA | CHARLOTTE |  | 0
A121 | 3P1085 |  | 3" | 10 | EA | CHARLOTTE |  | 0
A122 | 3P1090 | . | 4" | 10 | EA | CHARLOTTE |  | 0
A123 | 3L1200 | PINT - PVC CEMENT SCHEDULE 80 W/DAUBER 700 |  | 50 | EA | ORTEG |  | 0
A124 | 3L1260 | PINT - PVC PRIMER - PURPLE W/DAUBER |  | 100 | EA | ORTEG |  | 0
A125 | 3L1205 | PINT - PVC CEMENT, WET DRY W/DAUBER |  | 100 | EA | ORTEG |  | 0
SUB TOTAL, GROUP A | [7 empty] | 0
FOR ALL OTHER ITEMS NOT LISTED ABOVE IN GROUP A, LIKE ITEMS MAY BE PURCHASED AT A FIXED PERCENTAGE DISCOUNT OFF A PUBLISHED MANUFACTUER'S PRICE LIST. Submit a detailed attachment is applicable.
[6 empty] | 5000 | _____% | #VALUE!
(estimate only)
GRAND TOTAL, GROUP A | [7 empty] | #VALUE!
GROUP B
C900 PVC PIPE (4" and above)
B1 | 3P1100 | PVC PIPE, C900, BLUE FOR POTABLE WATER | 4" | 5 | EA | DIAMOND NAPCO |  | 0
B2 | 3P1115 |  | 6" | 10 | EA | DIAMOND NAPCO |  | 0
B3 | 3P1125 |  | 8" | 3 | EA | DIAMOND NAPCO |  | 0
B4 | 3P1140 |  | 10" | 4 | EA | DIAMOND NAPCO |  | 0
B5 | 3P1150 |  | 12" | 4 | EA | DIAMOND NAPCO |  | 0
B6 | 3P1155 |  | 16" | 3 | EA | DIAMOND NAPCO |  | 0
B7 | 3P1105 | PVC PIPE, C900, GREEN FOR NON-POTABLE WATER | 4" | 8 | EA | DIAMOND NAPCO |  | 0
B8 | 3P1120 |  | 6" | 5 | EA | DIAMOND NAPCO |  | 0
B9 | 3P1130 |  | 8" | 4 | EA | DIAMOND NAPCO |  | 0
B10 | 3P1145 |  | 10" | 4 | EA | DIAMOND NAPCO |  | 0
B11 | 3P1146 |  | 12" | 4 | EA | DIAMOND NAPCO |  | 0
B12 | 3P1147 |  | 16" | 4 | EA | DIAMOND NAPCO |  | 0
B13 | 3P1217 | PVC PIPE, C900, PURPLE FOR NON-POTABLE RECLAIMED WATER | 6" | 4 | EA | DIAMOND NAPCO |  | 0
B14 | 3P1124 |  | 8" | 12 | EA | DIAMOND NAPCO |  | 0
SUB TOTAL, GROUP B | [7 empty] | 0
FOR ALL OTHER ITEMS NOT LISTED ABOVE IN GROUP B, LIKE ITEMS MAY BE PURCHASED AT A FIXED PERCENTAGE DISCOUNT OFF A PUBLISHED MANUFACTUER'S PRICE LIST. Submit a detailed attachment is applicable.
[6 empty] | 5000 | _____% | #VALUE!
(estimate only)
GRAND TOTAL, GROUP B | [7 empty] | #VALUE!
GROUP C
PVC PIPE & FITTINGS (SDR 26)
C1 | 3P1160 | PIPE, SEWER, SDR26, GREEN, 14 FT LENGTHS | 4" | 25 | EA | DIAMOND NAPCO |  | 0
C2 | 3P1165 |  | 6" | 25 | EA | DIAMOND NAPCO |  | 0
C3 | 3P1170 |  | 8" | 5 | EA | DIAMOND NAPCO |  | 0
C4 | 3P1158 | PIPE, SEWER, SDR, GREEN, 14 FT LENGTHS | 10" | 5 | EA | DIAMOND NAPCO |  | 0
C5 | 3P1173 |  | 12" | 5 | EA | DIAMOND NAPCO |  | 0
C6 | 3P1174 |  | 15" | 5 | EA | DIAMOND NAPCO |  | 0
C7 | 3S1020 | SDR 26 CLEANOUT FEMALE ADAPTOR | 4 | 50 | EA | DIAMOND NAPCO |  | 0
C8 | 3S1025 | . | 6 | 100 | EA | DIAMOND NAPCO |  | 0
C9 | 3S1030 | SDR 26 ELLS GASKETED | 4 BxB 45 | 10 | EA | DIAMOND NAPCO |  | 0
C10 | 3S1035 |  | 4 S/45 | 60 | EA | DIAMOND NAPCO |  | 0
C11 | 3S4040 |  | 6 BxB 45 | 10 | EA | DIAMOND NAPCO |  | 0
C12 | 3S1045 |  | 6 S/45 | 100 | EA | DIAMOND NAPCO |  | 0
C13 | 3S1050 |  | 4 BxB 22½ | 10 | EA | DIAMOND NAPCO |  | 0
C14 | 3S1055 |  | 4 S/22½ | 25 | EA | DIAMOND NAPCO |  | 0
C15 | 3S1060 |  | 6 BxB 22½ | 10 | EA | DIAMOND NAPCO |  | 0
C16 | 3S1065 |  | 6 S/22½ | 50 | EA | DIAMOND NAPCO |  | 0
C17 | 3S1085 | SDR 26 WYE GASKETED | 4 x 4 | 50 | EA | DIAMOND NAPCO |  | 0
C18 | 3S1090 |  | 6 x 6 | 100 | EA | DIAMOND NAPCO |  | 0
C19 | 3S1095 | SDR-26 WYE GASKETED | 8 x 6 | 10 | EA | MULTI PLASTIC TRED |  | 0
C20 | 3S1096 |  | 6 x 6 x 6 x 6 | 25 | EA | MULTI PLASTIC TRED |  | 0
C21 | 3S1097 | 4" PUSH PLUG | 4 | 25 | EA | MULTI PLASTIC TRED |  | 0
C22 | 3S1098 | 6" PUSH PLUG | 6 | 50 | EA | MULTI PLASTIC TRED |  | 0
C23 | 3S1105 | 6 x 4 INCREASER SDR-26 | 6 X 4 | 25 | EA | MULTI PLASTIC TRED |  | 0
C24 | 3S1107 | SANITARY TEE, SDR26 | 6 X 4 | 12 | EA | MULTI PLASTIC TRED |  | 0
C25 | 3S1109 | SANITARY TEE, SDR26 | 8 X 6 | 5 | EA | MULTI PLASTIC TRED |  | 0
C26 | 3Z1950 | SDR 26 INVERTED SCREW PLUG | 4 | 50 | EA | MULTI PLASTIC TRED |  | 0
C27 | 3Z1955 | 6" INVERTED SCREW PLUG | 6 | 100 | EA | MULTI PLASTIC TRED |  | 0
SUB TOTAL, GROUP C | [7 empty] | 0
FOR ALL OTHER ITEMS NOT LISTED ABOVE IN GROUP C, LIKE ITEMS MAY BE PURCHASED AT A FIXED PERCENTAGE DISCOUNT OFF A PUBLISHED MANUFACTUER'S PRICE LIST. Submit a detailed attachment is applicable.
[6 empty] | 5000 | _____% | #VALUE!
(estimate only)
GRAND TOTAL, GROUP C | [7 empty] | #VALUE!
GROUP D
HDPE PIPE AND FITTINGS (DR-11)
D1 | 3P1326 | PIPE, HDPE SDR11, BLUE STRIPE, 40 FOOT LENGTHS | 6" | 50 | EA | NATI J-M POLYPIPE PERFORMANCE |  | 0
D2 | 3P1345 |  | 8" | 12 | EA | NATI J-M POLYPIPE PERFORMANCE |  | 0
D3 | 3A1075 | DR-11 DIPS HDPE MJ ADAPTER W/KITS ISCO OR EQUAL | 4" | 5 | EA | CTR SPECIFIED IND PIPE |  | 0
D4 | 3A1080 |  | 6" | 10 | EA | CTR SPECIFIED IND PIPE |  | 0
D5 | 3A1085 |  | 8" | 5 | EA | CTR SPECIFIED IND PIPE |  | 0
D6 | 3A1325 | DR-11 DIPS HDPE FLANGE ADAPTER ISCO (ISMFFA0411DIPS) OR EQUAL | 4" | 5 | EA | CTR SPECIFIED IND PIPE |  | 0
D7 | 3A1330 |  | 6" | 5 | EA | CTR SPECIFIED IND PIPE |  | 0
D8 | 3A1335 |  | 8" | 5 | EA | CTR SPECIFIED IND PIPE |  | 0
D9 | 3A1340 | STAINLESS STEEL BACKUP RINGS ISCO (BU04DIPSSS) OR EQUAL | 4" | 5 | EA | CTR SPECIFIED IND PIPE |  | 0
D10 | 3A1345 |  | 6" | 5 | EA | CTR SPECIFIED IND PIPE |  | 0
D11 | 3A1350 |  | 8" | 5 | EA | CTR SPECIFIED IND PIPE |  | 0
D12 | 3A1300 | DR-11 DIPS HDPE MOLDED FITTINGS ISCO OR EQUAL- 90 DEGREE ELBOWS | 4" | 5 | EA | CTR SPECIFIED IND PIPE |  | 0
D13 | 3A1305 |  | 6" | 5 | EA | CTR SPECIFIED IND PIPE |  | 0
D14 | 3A1310 |  | 8" | 5 | EA | CTR SPECIFIED IND PIPE |  | 0
D15 | 3P1285 | POLY PIPE BLUE, CTS-SDR-ASTM D2737 - 100' ROLLS - CHARTER, ENDO PURE OR VANGUARD PROCORE | ¾ | 15 | RL | CHARTER |  | 0
D16 | 3P1290 |  | 1 | 50 | RL | CHARTER |  | 0
D17 | 3P1295 |  | 1½ | 5 | RL | CHARTER |  | 0
D18 | 3P1300 | POLY PIPE BLUE, CTS-SDR-ASTM D2737 - 100' ROLLS - CHARTER, ENDO PURE OR VANGUARD PROCORE | 2 | 25 | RL | CHARTER |  | 0
D19 | 3P1315 | POLY PIPE, PURPLE | 1 | 5 | RL | CHARTER |  | 0
D20 | 3P1325 |  | 2 | 5 | RL | CHARTER |  | 0
D21 | 3C1010 | INSERT CTS-SS-PE SDR 9 FLAIRED ENDS | 1" | 150 | EA | FORD |  | 0
D22 | 3C1015 |  | 2" | 75 | EA | FORD |  | 0
SUB TOTAL, GROUP D | [7 empty] | 0
FOR ALL OTHER ITEMS NOT LISTED ABOVE IN GROUP D, LIKE ITEMS MAY BE PURCHASED AT A FIXED PERCENTAGE DISCOUNT OFF A PUBLISHED MANUFACTUER'S PRICE LIST. Submit a detailed attachment is applicable.
[6 empty] | 5000 | _____% | #VALUE!
(estimate only)
GRAND TOTAL, GROUP D | [7 empty] | #VALUE!
GROUP E
MISCELLANEOUS WATER AND SEWER VALVES
E1 | 3V1080 | MJ GATE VALVE WITH OPERATING NUTS FULL BODY | 4 | 8 | EA |  |  | 0
E2 | 3V1085 |  | 6 | 25 | EA |  |  | 0
E3 | 3V1090 |  | 8 | 4 | EA |  |  | 0
E4 | 3V1100 |  | 12 | 2 | EA |  |  | 0
E5 | 3V1065 | FLANGED GATE VALVE/WHEEL HANDLE NRS (Non Rising Stem) | 4 | 4 | EA |  |  | 0
E6 | 3V1060 |  | 6 | 6 | EA |  |  | 0
E7 | 3V1135 | TAP VALVE WITH CENTERING RING | 6 | 4 | EA |  |  | 0
E8 | 3V1140 |  | 8 | 2 | EA |  |  | 0
E9 | 3V1042 | O S & Y VALVE WITH PET COCK, WHEEL, FLG. X FLG. | 3" | 2 | EA |  |  | 0
E10 | 3V1045 |  | 4" | 2 | EA |  |  | 0
E11 | 3V1050 |  | 6" | 3 | EA |  |  | 0
E12 | 3V1052 |  | 8" | 2 | EA |  |  | 0
E13 | 3V1160 | CHECK VALVE WITH WEIGHTED ARM | 4" | 4 | EA |  |  | 0
E14 | 3V1155 |  | 6" | 2 | EA |  |  | 0
E15 | 3V1165 |  | 8" | 2 | EA |  |  | 0
SUB GROUP E-A; ECCENTRIC PLUG VALVES
EA-1 | 3V1110 | ECCENTRIC PLUG VALVE - FLANGED ENDS, MILLIKEN OR EQUIVALENT | 3" | 1 | EA |  |  | 0
EA-2 | 3V1120 |  | 4" | 1 | EA |  |  | 0
EA-3 | 3V1115 |  | 6" | 1 | EA |  |  | 0
SUB GROUP E-B; EXTENSION VALVE STEMS
EB-1 | 3V1175 | EXTENSION VALVE STEMS W/CENTERING RINGS & STAINLESS STEEL PIN. | 3' | 5 | EA |  |  | 0
EB-2 | 3V1180 |  | 4' | 5 | EA |  |  | 0
EB-3 | 3V1185 |  | 5' | 5 | EA |  |  | 0
SUB TOTAL, GROUPS E, E-A, AND E-B | [7 empty] | 0
FOR ALL OTHER ITEMS NOT LISTED ABOVE IN GROUPS E, LIKE ITEMS MAY BE PURCHASED AT A FIXED PERCENTAGE DISCOUNT OFF A PUBLISHED MANUFACTUER'S PRICE LIST. Submit a detailed attachment is applicable.
[6 empty] | 5000 | _____% | #VALUE!
(estimate only)
GRAND TOTAL, GROUPS E, E-A, AND E-B | [7 empty] | #VALUE!
GROUP F
DUCTILE IRON PIPE & FITTINGS
F1 | 3F1041 | FLANGED FITINGS: BEND 90 | 3 | 5 | EA | SIGMA STES |  | 0
F2 | 3F1048 |  | 4 | 5 | EA | SIGMA STES |  | 0
F3 | 3F1013 |  | 6 | 4 | EA | SIGMA STES |  | 0
F4 | 3F1016 |  | 8 | 5 | EA | SIGMA STES |  | 0
F5 | 3F1018 |  | 10 | 2 | EA | SIGMA STES |  | 0
F6 | 3F1051 |  | 12 | 2 | EA | SIGMA STES |  | 0
F7 | 3F1116 | TEE | 3 | 5 | EA | SIGMA STES |  | 0
F8 | 3F1121 |  | 4 | 5 | EA | SIGMA STES |  | 0
F9 | 3F1128 |  | 8 | 5 | EA | SIGMA STES |  | 0
F10 | 3F1076 | FLANGE TAPPED D.I. | 4 x 2 | 5 | EA | SIGMA STES |  | 0
F11 | 3F1081 |  | 6 x 2 | 5 | EA | SIGMA STES |  | 0
F12 | 3F1084 |  | 8 x 2 | 5 | EA | SIGMA STES |  | 0
F13 | 3F1021 | 6" BLIND FLANGE D.I. | 6" | 5 | EA | SIGMA STES |  | 0
F14 | 3F1023 | 8" BLIND FLANGE | 8" | 4 | EA | SIGMA STES |  | 0
F15 | 3F1031 | CROSSES D.I. FLANGED | 6" | 2 | EA | SIGMA STES |  | 0
F16 | 3F1135 | EPDM SAFETY ORANGE, FULL FACE RUBBER GASKETS ⅛" | 3 | 12 | EA | Specification Rubber Products |  | 0
F17 | 3F1140 | EPDM SAFETY ORANGE, FULL FACE RUBBER GASKETS ⅛" | 4 | 60 | EA | Specification Rubber Products |  | 0
F18 | 3F1145 | EPDM SAFETY ORANGE, FULL FACE RUBBER GASKETS ⅛" | 6 | 25 | EA | Specification Rubber Products |  | 0
F19 | 3F1150 | EPDM SAFETY ORANGE, FULL FACE RUBBER GASKETS ⅛" | 8 | 10 | EA | Specification Rubber Products |  | 0
F20 | 3F1155 | EPDM SAFETY ORANGE, FULL FACE RUBBER GASKETS ⅛" | 10 | 50 | EA | Specification Rubber Products |  | 0
F21 | 3K1005 | MJ KIT LESS GLAND | 3 | 5 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F22 | 3K1010 | MJ KIT LESS GLAND | 4 | 45 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F23 | 3K1015 | MJ KIT LESS GLAND | 6 | 210 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F24 | 3K1020 | MJ KIT LESS GLAND | 8 | 20 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F25 | 3K1025 | MJ KIT LESS GLAND | 10 | 5 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F26 | 3K1030 | MJ KIT LESS GLAND | 12 | 8 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F27 | 3K1056 | MJ KIT WITH GLAND | 14 | 5 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F28 | 3K1057 | MJ KIT WITH GLAND | 16 | 8 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F29 | 3M1535 | MJ GASKET | 4 | 5 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F30 | 3M1540 | MJ GASKET | 6 | 5 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F31 | 3M1545 | MJ GASKET | 8 | 5 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F32 | 3M1550 | MJ GASKET | 10 | 5 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F33 | 3M1555 | MJ GASKET | 12 | 5 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F34 | 3M1560 | TRANSITION GASKET | 3 | 5 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F35 | 3M1565 | TRANSITION GASKET | 4 | 15 | EA | STZR, SIGMA, TYLER, UNION |  | 0
F36 | 3M1570 | TRANSITION GASKET | 6 | 10 | EA | STRZ/SIGMA |  | 0
F37 | 3M1575 | TRANSITION GASKET | 8 | 5 | EA | STRZ/SIGMA |  | 0
F38 | 3M1580 | TRANSITION GASKET | 10 | 5 | EA | STRZ/SIGMA |  | 0
F39 | 3M1585 | TRANSITION GASKET | 12 | 5 | EA | STRZ/SIGMA |  | 0
F40 | 3K1035 | MJ GRIP RING KITS; STAR PIPE #PVGPK4 | 4 | 5 | EA | STRZ/SIGMA |  | 0
F41 | 3K1040 | MJ GRIP RING KITS; STAR PIPE #PVGPK6 | 6 | 5 | EA | STRZ/SIGMA |  | 0
F42 | 3K1045 | MJ GRIP RING KITS; STAR PIPE #PVGPK8 | 8 | 5 | EA | STRZ/SIGMA |  | 0
F43 | 3K1050 | MJ GRIP RING KITS; STAR PIPE #PVGPK10 | 10 | 5 | EA | STRZ/SIGMA |  | 0
F44 | 3K1055 | MJ GRIP RING KITS; STAR PIPE #PVGPK12 | 12 | 5 | EA | STRZ/SIGMA |  | 0
F45 | 3M1167 | MECHANICAL JOINT FITTINGS: MJ 90 | 3 | 2 | EA | STRZ/SIGMA |  | 0
F46 | 3M1172 |  | 4 | 2 | EA | STRZ/SIGMA |  | 0
F47 | 3M1177 |  | 6 | 2 | EA | STRZ/SIGMA |  | 0
F48 | 3M1182 |  | 8 | 2 | EA | STRZ/SIGMA |  | 0
F49 | 3M1187 |  | 10 | 5 | EA | STRZ/SIGMA |  | 0
F50 | 3M1127 | MJ 45 | 4 | 2 | EA | STRZ/SIGMA |  | 0
F51 | 3M1133 |  | 6 | 5 | EA | STRZ/SIGMA |  | 0
F52 | 3M1137 |  | 8 | 5 | EA | STRZ/SIGMA |  | 0
F53 | 3M1372 | MJ TEE | 4 | 5 | EA | STRZ/SIGMA |  | 0
F54 | 3M1387 |  | 6 | 5 | EA | STRZ/SIGMA |  | 0
F55 | 3M1422 | MJ REDUCING TEES | 8 x 6 | 2 | EA | STRZ/SIGMA |  | 0
F56 | 3M1487 | MJ L/P SLEEVE DI | 4" LONG | 5 | EA | STRZ/SIGMA |  | 0
F57 | 3M1473 |  | 6" LONG | 30 | EA | STRZ/SIGMA |  | 0
F58 | 3M1507 |  | 16" LONG | 5 | EA | STRZ/SIGMA |  | 0
F59 | 3M1277 | MJ REDUCER DI | 6 x 3 | 2 | EA | STRZ/SIGMA |  | 0
F60 | 3M1282 |  | 6 x 4 | 5 | EA | STRZ/SIGMA |  | 0
F61 | 3M1297 |  | 8 x 6 | 2 | EA | STRZ/SIGMA |  | 0
F62 | 3M1322 |  | 12 x 10 | 2 | EA | STRZ/SIGMA |  | 0
F63 | 3M1072 | MJ CAP | 6 | 5 | EA | STRZ/SIGMA |  | 0
F64 | 3M1097 | MJ TAP x 2" FIPT CAPS | 4 | 4 | EA | STRZ/SIGMA |  | 0
F65 | 3M1102 |  | 6 | 2 | EA | STRZ/SIGMA |  | 0
F66 | 3M1242 | MJ TAP PLUG x 2" FIPT | 3 | 2 | EA | STRZ/SIGMA |  | 0
F67 | 3M1247 |  | 4 | 2 | EA | STRZ/SIGMA |  | 0
F68 | 3M1252 |  | 6 | 2 | EA | STRZ/SIGMA |  | 0
F69 | 3M1262 |  | 10 | 2 | EA | STRZ/SIGMA |  | 0
F70 | 3M1263 |  | 12 | 1 | EA | STRZ/SIGMA |  | 0
F71 | 3M1214 | PLUGS DI MJ | 3 | 4 | EA | STRZ/SIGMA |  | 0
F72 | 3M1222 |  | 6 | 4 | EA | STRZ/SIGMA |  | 0
F73 | 3M1022 | CROSSES MJ | 6 | 3 | EA | STRZ/SIGMA |  | 0
F74 | 3M1008 | M.J. 11-1/4 | 6 | 3 | EA | STRZ/SIGMA |  | 0
F75 | 3M1036 | M.J. 22-1/2 | 6 | 4 | EA | STRZ/SIGMA |  | 0
F76 | 3H1110 | MJ x SWIVEL TEE | 6 x 6 | 10 | EA | STRZ/SIGMA |  | 0
F77 | 3H1115 |  | 8 x 6 | 4 | EA | STRZ/SIGMA |  | 0
F78 | 3H1120 |  | 10 x 6 | 4 | EA | STRZ/SIGMA |  | 0
F79 | 3K1080 | MEGALUG RESTRAINERS FOR DUCTILE IRON PIPE; EBBA OR STAR | 3 #1103 | 4 | EA | STRZ/SIGMA |  | 0
F80 | 3K1085 |  | 4 #1104 | 5 | EA | STRZ/SIGMA |  | 0
F81 | 3K1090 |  | 6 #1106 | 60 | EA | STRZ/SIGMA |  | 0
F82 | 3K1095 |  | 8 #1108 | 10 | EA | STRZ/SIGMA |  | 0
F83 | 3K1100 |  | 10 #1110 | 15 | EA | STRZ/SIGMA |  | 0
F84 | 3K1105 |  | 12 #1112 | 2 | EA | STRZ/SIGMA |  | 0
F85 | 3K1107 |  | 16 #1116 | 5 | EA | STRZ/SIGMA |  | 0
F86 | 3K1109 | FOR C900 | 3 #2003PV | 2 | EA | STRZ/SIGMA |  | 0
F87 | 3K1110 |  | 4 #2004PV | 30 | EA | STRZ/SIGMA |  | 0
F88 | 3K1115 |  | 6 #2006PV | 100 | EA | STRZ/SIGMA |  | 0
F89 | 3K1120 |  | 8 #2008PV | 10 | EA | STRZ/SIGMA |  | 0
F90 | 3K1125 |  | 10 #2010PV | 5 | EA | STRZ/SIGMA |  | 0
F91 | 3K1130 |  | 12 #2012PV | 7 | EA | STRZ/SIGMA |  | 0
F92 | 3K1135 |  | 14 #2014PV | 2 | EA | STRZ/SIGMA |  | 0
F93 | 3K1140 |  | 16 #2016PV | 5 | EA | STRZ/SIGMA |  | 0
F94 | 3A1030 | ADAPTER, FLANGED COUPLING, MJ x FLANGE, FOR D.I., JCM OR EQUAL | 4" | 7 | EA | EBCC LOSS |  | 0
F95 | 3J1035 | BELL RESTRAINT FOR C900, EBBA OR EQUAL | 6" | 5 | EA | STRZ PRICELESS |  | 0
F96 | 3J1040 |  | 8" | 5 |  | STRZ PRICELESS |  | 0
F97 | 3A1053 | ADAPTOR UNIFLANGE CI - MODEL 400-C | 3" | 2 | EA | EBCC LOSS |  | 0
F98 | 3A1055 |  | 4" | 2 | EA | EBCC LOSS |  | 0
F99 | 3A1060 |  | 6" | 5 | EA | EBCC LOSS |  | 0
F100 | 3X1105 | POLYWRAP : BLUE 3"- 8" FOR D.I. |  | 2 | RL | TRUMBALL |  | 0
F101 | 3X1110 | POLYWRAP : BLUE 10"-12" FOR D.I. |  | 2 | RL | TRUMBALL |  | 0
F102 | 3X1115 | POLYWRAP: BLUE 14"- 16" FOR D.I. |  | 2 | RL | TRUMBALL |  | 0
F103 | 3X1120 | POLYWRAP: PURPLE 3"-8" FOR D.I. |  | 2 | RL | TRUMBALL |  | 0
F104 | 3X1125 | POLYWRAP: PURPLE 10"-12" FOR D.I. |  | 2 | RL | TRUMBALL |  | 0
F105 | 3X1130 | POLYWRAP: PURPLE 14"-16" FOR D.I. |  | 2 | RL | TRUMBALL |  | 0
SUB TOTAL, GROUP F | [7 empty] | 0
FOR ALL OTHER ITEMS NOT LISTED ABOVE IN GROUP F, LIKE ITEMS MAY BE PURCHASED AT A FIXED PERCENTAGE DISCOUNT OFF A PUBLISHED MANUFACTUER'S PRICE LIST. Submit a detailed attachment is applicable.
[6 empty] | 5000 | _____% | #VALUE!
(estimate only)
GRAND TOTAL, GROUP F | [7 empty] | #VALUE!
GROUP G
MISCELLANEIOUS WATER AND SEWER REPAIR CLAMPS
G1 | 3R1005 | CLAMP - PATCH | ¾ x 3 1.05 | 20 | EA | FORD FSC |  | 0
G2 | 3R1010 |  | ¾ x 6 1.05 | 10 | EA | FORD FSC |  | 0
G3 | 3R1015 |  | 1 x 3 1.32 | 10 | EA | FORD FSC |  | 0
G4 | 3R1020 |  | 1 x 6 1.32 | 7 | EA | FORD FSC |  | 0
G5 | 3R1040 |  | 1½ x 6 1.90 | 4 | EA | FORD FSC |  | 0
G6 | 3R1045 |  | 2 x 3 2.38 | 4 | EA | FORD FSC |  | 0
G7 | 3R1050 | . | 2 x 6 2.38 | 4 | EA | FORD FSC |  | 0
G8 | 3R1055 | REPAIR CLAMPS: 2 x 7½ 235-263 PVC |  | 7 | EA | FORD F1 |  | 0
G9 | 3R1060 | 2 x 12½ 235-263 PVC |  | 10 | EA | FORD F1 |  | 0
G10 | 3R1065 | 3 x 7½ 395-425 AC |  | 4 | EA | FORD F1 |  | 0
G11 | 3R1070 | 3 x 15 395-425 AC |  | 5 | EA | FORD F1 |  | 0
G12 | 3R1075 | CL 200 4 x 7½ 495-535 AC |  | 4 | EA | FORD F1 |  | 0
G13 | 3R1080 | CL 150 4 x 15 474-514 AC |  | 5 | EA | FORD F1 |  | 0
G14 | 3R1090 | CL 150 6 x 15 684-724 AC |  | 5 | EA | FORD F1 |  | 0
G15 | 3R1095 | CL 150 8 x 15 899-939 AC |  | 4 | EA | FORD F1 |  | 0
G16 | 3R1100 | CL 200 10 X 15 1175-1215 AC |  | 4 | EA | FORD F1 |  | 0
G17 | 3R1140 | CL 150 4 x 7½ 474-514 AC |  | 5 | EA | FORD F1 |  | 0
G18 | 3R1145 | CL 200 4 x 15 495-535 AC |  | 5 | EA | FORD F1 |  | 0
G19 | 3R1155 | CL 200 6 x 15 745-785 AC |  | 4 | EA | FORD F1 |  | 0
G20 | 3R1160 | CL 200 8 x 15 927-967 AC |  | 4 | EA | FORD F1 |  | 0
G21 | 3R1165 | C 900 10 X 15 1104-1144 |  | 4 | EA | FORD F1 |  | 0
G22 | 3R1170 | C 900 12 X 15 1310-1350 |  | 4 | EA | FORD F1 |  | 0
G23 | 3R1210 | 2½ x 12 270-300 PVC |  | 4 | EA | FORD F1 |  | 0
G24 | 3R1215 | 3 x 7½ 346-370 PVC |  | 4 | EA | FORD F1 |  | 0
G25 | 3R1220 | 3 x 15 346-370 PVC |  | 4 | EA | FORD F1 |  | 0
G26 | 3R1225 | 4 x 7½ 445-473 PVC |  | 4 | EA | FORD F1 |  | 0
G27 | 3R1230 | 4 x 15 445-473 PVC |  | 8 | EA | FORD F1 |  | 0
G28 | 3R1235 | 6 x 7½ 656-696 PVC |  | 4 | EA | FORD F1 |  | 0
G29 | 3R1240 | 6 x 15 656-696 PVC |  | 5 | EA | FORD F1 |  | 0
G30 | 3R1245 | 8 x 15 854-894 PVC |  | 4 | EA | FORD F1 |  | 0
G31 | 3R1290 | HYDRAULIC REPAIR COUPLINGS- 2.10 - 2.60 MINIMUM O.D. RANGE, #2000-0303 - 260 | 2" | 8 | EA | TOTAL PIPING SOLUTIONS |  | 0
G32 | 3R1295 | 3.46 - 4.33 MINIMUM O.D. RANGE, #2000-0433 -260 | 3" | 8 | EA | TOTAL PIPING SOLUTIONS |  | 0
G33 | 3R1300 | 4.25 - 5.63 MINIMUM O.D. RANGE, #2000-0563 -260 | 4" | 10 | EA | TOTAL PIPING SOLUTIONS |  | 0
G34 | 3R1305 | 6.42 - 7.68 MINIMUM O.D. RANGE, #2000-0768 -260 | 6" | 15 | EA | TOTAL PIPING SOLUTIONS |  | 0
G35 | 3R1310 | 8.54 - 9.84 MINIMUM O.D. RANGE, #2000-0984 -260 | 8" | 5 | EA | TOTAL PIPING SOLUTIONS |  | 0
G36 | 3R1350 | 10.7 -12.0 MINIMUM O.D. RANGE, #2000-1200 -260 | 10" | 4 | EA | TOTAL PIPING SOLUTIONS |  | 0
G37 | 3R1315 | 12.4 -13.66 MINIMUM O.D. RANGE, #2000-1366 -260 | 12" | 4 | EA | TOTAL PIPING SOLUTIONS |  | 0
G38 | 3R1265 | 10.96-12.26 3R1265 10" OVERSIZE, #2000-1226-260 |  | 3 | EA | TOTAL PIPING SOLUTIONS |  | 0
G39 | 3C1175 | Compression Cplg GALVANIZED | ½ 0.0840 | 4 | EA | TELSCO |  | 0
G40 | 3C1180 |  | ¾ 1.050 | 5 | EA | TELSCO |  | 0
G41 | 3C1185 |  | 1 1.315 | 4 | EA | TELSCO |  | 0
G42 | 3C1190 |  | 1¼ 1.660 | 4 | EA | TELSCO |  | 0
G43 | 3C1195 |  | 1½ 1.900 | 5 | EA | TELSCO |  | 0
G44 | 3C1200 |  | 2 2.375 | 20 | EA | TELSCO |  | 0
G45 | 3S1125 | FLEXIBLE COUPLINGS: CLAY x IPS PVC FERNCO | 4 x 4 | 50 | EA | FESNCO |  | 0
G46 | 3S1145 |  | 6 x 4 | 5 | EA | FESNCO |  | 0
G47 | 3S1150 |  | 6 x 6 | 100 | EA | FESNCO |  | 0
G48 | 3S1175 |  | 8 x 6 | 30 | EA | FESNCO |  | 0
G49 | 3S1170 |  | 8 x 8 | 10 | EA | FESNCO |  | 0
G50 | 3S1130 | IPS PVC x IPS PVC FERNCO | 4 x 4 | 75 | EA | FESNCO |  | 0
G51 | 3S1133 |  | 4 x 3 | 8 | EA | FESNCO |  | 0
G52 | 3S1140 |  | 6 x 4 | 100 | EA | FESNCO |  | 0
G53 | 3S1155 |  | 6 x 6 | 40 | EA | FESNCO |  | 0
G54 | 3S1185 |  | 8 x 6 | 5 | EA | FESNCO |  | 0
G55 | 3S1180 |  | 8 x 8 | 10 | EA | FESNCO |  | 0
G56 | 3S1135 | CLAY x CLAY FERNCO | 4 x 4 | 4 | EA | FESNCO |  | 0
G57 | 3S1165 |  | 8 x 8 | 4 | EA | FESNCO |  | 0
G58 | 3T1025 | SERVICE TAPPING SADDLES--2 x 1 PVC (2.38 - 2.50) | FORD S70 | 6 | EA | FORD |  | 0
G59 | 3T1140 | 4 x 2 PVC (4.25 - 4.50) | 325 SERIES | 4 | EA | SMITH BLAIR |  | 0
G60 | 3T1150 | 6 x 1 PVC (6.50 - 6.63) | 325 SERIES | 20 | EA | SMITH BLAIR |  | 0
G61 | 3T1155 | 6 x 2 PVC (6.50 - 6.63) | 325 SERIES | 5 | EA | SMITH BLAIR |  | 0
G62 | 3T1160 | 8 x 1 PVC (8.50 - 8.63) | 325 SERIES | 10 | EA | SMITH BLAIR |  | 0
G63 | 3T1165 | 8 x 2 PVC (8.50 - 8.63) | 325 SERIES | 3 | EA | SMITH BLAIR |  | 0
G64 | 3T1170 | 10 x 2 PVC (10.60 - 10.75) | 325 SERIES | 3 | EA | SMITH BLAIR |  | 0
G65 | 3T1175 | 12 x 2 PVC (12.75 - 13.50) | 325 SERIES | 3 | EA | SMITH BLAIR |  | 0
G66 | 3T1035 | 4 x 1 AC,DI (4.80 - 5.57) | FORD 202BS | 10 | EA | FORD |  | 0
G67 | 3T1045 | 4 x 2 AC,DI (4.80 - 5.57) | FORD 202BS | 5 | EA | FORD |  | 0
G68 | 3T1050 | 6 x 1 AC,DI (6.90 - 7.56) | FORD 202BS | 40 | EA | FORD |  | 0
G69 | 3T1055 | 6 x 2 AC,DI (6.90 - 7.56) | FORD 202BS | 30 | EA | FORD |  | 0
G70 | 3T1060 | 8 x 1 AC,DI (9.05 - 9.74) | FORD 202BS | 5 | EA | FORD |  | 0
G71 | 3T1065 | 8 x 2 AC,DI (9.05 - 9.74) | FORD 202BS | 5 | EA | FORD |  | 0
G72 | 3T1070 | 10 x 2 AC,DI (11.10 - 12.12) | FORD 202BS | 5 | EA | FORD |  | 0
G73 | 3T1075 | 12 x 2 AC,DI (13.20 - 14.38) | FORD 202BS | 5 | EA | FORD |  | 0
G74 | 3T1085 | 16 x 2 AC,DI (17.40 - 19.19) | FORD 202BS | 5 | EA | FORD |  | 0
G75 | 3T1033 | BRONZE TAPPING SADDLES- 3 X 1 DI,CI,C900 (3.80- 4.29) |  | 10 | EA | FORD |  | 0
G76 | 3T1040 | BRONZE TAPPING SADDLES- 3 X 2 DI,CI,C900 (3.80- 4.29) |  | 5 | EA | FORD |  | 0
G77 | 3T1047 | 4 X 2 DI,CI,C900 (4.80 - 5.00) |  | 5 | EA | FORD |  | 0
G78 | 3T1101 | 24 X 2 DI,CI,C905 (25.80 - 26.32) |  | 2 | EA | FORD |  | 0
G79 | 3T1148 | STAINLESS STEEL TAPPING SADDLES: 4" X 1" PVC,AC (4.36 - 5.66)+D543 |  | 2 | EA | FORD |  | 0
G80 | 3T1027 | 2" POLY TAP SADDLE 2.125 X 1IP ROMAC# 306213XI1P OR EQUAL (2.13 Copper Tube Size) |  | 20 | EA | ROMAC |  | 0
SUB TOTAL, GROUP G | [7 empty] | 0
FOR ALL OTHER ITEMS NOT LISTED ABOVE IN GROUP G, LIKE ITEMS MAY BE PURCHASED AT A FIXED PERCENTAGE DISCOUNT OFF A PUBLISHED MANUFACTUER'S PRICE LIST. Submit a detailed attachment is applicable.
[6 empty] | 5000 | _____% | #VALUE!
(estimate only)
GRAND TOTAL, GROUP G | [7 empty] | #VALUE!
GROUP H
METER AND VALVE BOXES & RELATED ACCESSORIES
H1 | 3W1005 | METER BOX, POTABLE WATER, CAST IRON, WITH LID, ROME 1910 OR EQUIVALENT. (LID PAINTED BLUE, MARKED WATER). |  | 200 | EA | SIGMA |  | 0
H2 | 3W1050 | LID ONLY, C.I., FOR POTABLE CAST IRON WATER METER BOXES, PAINTED BLUE, MARKED WATER |  | 100 | EA | SIGMA |  | 0
H3 | 3W1051 | LID ONLY, C.I. FOR POTABLE CAST IRON WATER METER BOXES, PAINTED BLUE, MARKED WATER (WITH 2" HOLE) |  | 25 | EA | SIGMA |  | 0
H4 | 3W1001 | LID ONLY, C.I., RUSSELL LC-528W, 11" X 17", UNPAINTED, (WITH PICK HOLE) |  | 10 | EA | SIGMA |  | 0
H5 | 3W1002 | LID ONLY, C.I., RUSSELL LC-528W, 11" X 17", UNPAINTED, (WITH 2" HOLE) |  | 10 | EA | SIGMA |  | 0
H6 | 3W1010 | METER BOX, RECLAIMED WATER, CAST IRON, WITH LID, ROME 1910 OR EQUIVALENT (LID PAINTED PURPLE, MARKED RECLAIM) |  | 4 | EA | SIGMA |  | 0
H7 | 3W1055 | LID ONLY, C.I., FOR RECLAIMED CAST IRON WATER METER BOXES, PAINTED PURPLE, MARKED RECLAIM |  | 4 | EA | SIGMA |  | 0
H8 | 3W1056 | LID ONLY, C.I., FOR RECLAIMED CAST IRON WATER METER BOXES, PAINTED PURPLE, MARKED RECLAIM, (WITH 2" HOLE) |  | 4 | EA | SIGMA |  | 0
H9 | 3W1100 | WASHER, METER RUBBER, 3/4" x 1/8" |  | 7000 | EA | BAYWHOLESALE |  | 0
H10 | 3W1101 | WASHER, METER RUBBER, 3/4" x 1/16" |  | 3500 | EA | BAYWHOLESALE |  | 0
H11 | 3W1015 | METER BOX , #OKDK-15 ONLY, 17" x 30" BOX FOR 2" METER |  | 3 | EA | CISSON DFW |  | 0
H12 | 3W1016 | LID FOR ABOVE BOX, OKDK-5 ONLY, 17" x 30" LID |  | 3 | EA | CISSON EAST JORDAN |  | 0
H13 | 3W1045 | VALVE BOX CL W/SQUARE LID MARKED RECLAIMED |  | 17 | EA | SIGMA STRZ |  | 0
H14 | 3W1021 | VALVE BOX 2PC VB-2611 & VB-2612 2PC.VALVE BOX TO DELIVERED ASSEMBLED AND IN CRATES |  | 100 | EA | PRORELEICT |  | 0
H15 | 3S1008 | LID ONLY FOR 2 PIECE VALVE BOX MARKED SEWER |  | 7 | EA | PRORELEICT |  | 0
H16 | 3W1025 | LID ONLY FOR 2 PIECE VALVE BOX MARKED WATER |  | 100 | EA | STRZ, SIGMA PRORELEICT |  | 0
H17 |  | Extra Deep Covers for high traffic areas, series 6800 |  | 13 | EA | EJ Water Solutions |  | 0
H18 | 3W1065 | LID ONLY FOR SQUARE VALVE BOX MARKED RECLAIM |  | 5 | EA | SIGMA |  | 0
H19 | 3W1030 | VALVE BOX RISER 1", FOR 461-S, 3-PIECE |  | 30 | EA | STRZ, SIGMA PRORELEICT |  | 0
H20 | 3W1035 | VALVE BOX RISER 1½", FOR 461-S, 3-PIECE |  | 25 | EA | STRZ, SIGMA PRORELEICT |  | 0
H21 | 3W1040 | VALVE BOX RISER 2", FOR 461-S, 3-PIECE |  | 40 | EA | STRZ, SIGMA PRORELEICT |  | 0
H22 | 3W1042 | VALVE BOX RISER 3", FOR 461-S, 3-PIECE |  | 50 | EA | STRZ, SIGMA PRORELEICT |  | 0
H23 |  | VALVE BOX RISER 2" SQUARE 9X9 RECLAIMED, |  | 15 | EA | Rell Corp |  | 0
H24 |  | VALVE BOX RISER 3" SQUARE 9X9 RECLAIMED, |  | 15 | EA | Rell Corp |  | 0
H25 | 3S1005 | CLEANOUTS #7621 |  | 100 | EA | SIGMA USF |  | 0
H26 | 3S1015 | MANHOLE RING TRAFFIC #170 |  | 100 | EA | USF |  | 0
H27 | 3S1010 | MANHOLE COVER TRAFFIC #170E, LIDS MUST BE MARKED "MANATEE COUNTY SANITARY SEWER" AND YEAR |  | 100 | EA | USF |  | 0
H28 | 3S1018 | MANHOLE INFLOW PROTECTORS STAINLESS STEEL 23-3/4 | 7WB - SS RAINSTOPPERS or Inflow Systems Equal | 200 | EA | INFLAW SHIELD |  | 0
SUB TOTAL, GROUP H | [7 empty] | 0
FOR ALL OTHER ITEMS NOT LISTED ABOVE IN GROUP H, LIKE ITEMS MAY BE PURCHASED AT A FIXED PERCENTAGE DISCOUNT OFF A PUBLISHED MANUFACTUER'S PRICE LIST. Submit a detailed attachment is applicable.
[6 empty] | 5000 | _____% | #VALUE!
(estimate only)
GRAND TOTAL, GROUP H | [7 empty] | #VALUE!
GROUP I
FIRE HYDRANTS
I1 | 3H1022 | 5¼ VALVE OPENING | BURY 24" | 5 | EA |  |  | 0
I2 | 3H1027 |  | BURY 30" | 5 | EA |  |  | 0
I3 | 3H1032 |  | BURY 36" | 8 | EA |  |  | 0
I4 | 3H1037 |  | BURY 42" | 10 | EA |  |  | 0
I5 | 3H1041 |  | BURY 48" | 10 | EA |  |  | 0
I6 | 3H1043 |  | BURY 54" | 4 | EA |  |  | 0
SUB GROUP I-A ;RELATED HYDRANT PARTS
I-A1 | 3H1010 | FIRE HYDRANT GRADELOCK W/GLANDS | 6 x 12 | 5 | EA |  |  | 0
I-A2 | 3H1015 |  | 6 x 24 | 4 | EA |  |  | 0
I-A3 | 3G1225 | TRACER WIRE BOXES | VALCO | 10 | EA |  |  | 0
I-A4 | 3H1130 | HYDRANT ADAPTOR NOZZLE | 2½" TO ¾" MALE | 10 | EA |  |  | 0
I-A5 | 3L1245 | HYDRANT OIL A-51 |  | 10 | GA |  |  | 0
I-A6 | 3H1125 | HYDRANT WRENCH - ADJUSTABLE HANDLE |  | 10 | EA |  |  | 0
I-A7 | 3H1127 | HYDRANT WRENCH- RECLAIM |  | 5 | EA |  |  | 0
SUB GROUP I-B ;TRAFFIC REPAIR KITS 340, AMERICAN DARLING ONLY.- OEM
I-B1 | 3H1050 | 5¼ VO EXTENSION | 6" | 4 | EA | AFC |  | 0
I-B2 | 3H1060 |  | 12" | 4 | EA | AFC |  | 0
I-B3 |  | AMERICAN DARLING B-84-B 5¼ HYDRANT VALVE |  | 4 | EA | AFC 84-41 |  | 0
I-B4 | 3H1140 | AMERICAN DARLING B-84-B 5¼ TRAFFIC REPAIR KIT |  | 5 | EA | AFC |  | 0
I-B5 | 3H1235 | AMERICAN DARLING B-62-B TRAFFIC REPAIR KIT |  | 4 | EA | AFC |  | 0
SUB GROUP I-C; TRAFFIC REPAIR KITS 340, KENNEDY ONLY. - OEM
I-C1 | 3H1045 | TRAFFIC REPAIR KITS 340, KENNEDY 5¼ VO EXTENSION | 6" | 3 | EA | Kennedy |  | 0
I-C2 | 3H1065 |  | 12" | 4 | EA | Kennedy |  | 0
I-C3 | K8151 | KENNEDY K-81 MAIN VALVE KIT 5 1/4 |  | 4 | EA | 1585MVRKRNC |  | 0
I-C4 | 3H1145 | KENNEDY K-81-A TRAFFIC REPAIR KIT |  | 5 | EA | Kennedy |  | 0
SUB GROUP I-D; TRAFFIC REPAIR KITS 340, MUELLER A-423 ONLY. - OEM
I-D1 | 3H1070 | TRAFFIC REPAIR KITS 340, MUELLER A-423 ; 5¼ VO EXTENSION | 6" | 3 | EA | Mueller 340 |  | 0
I-D2 | 3H1055 |  | 12" | 3 | EA | Mueller 340 |  | 0
I-D3 |  | MUELLER CENTURIAN 5 1/4 Bonnet Repair Kit |  | 3 |  | 280355 |  | 0
I-D4 |  | MUELLER CENTURIAN 5 1/4 Main Valve Repair Kit |  | 3 |  | 280359 |  | 0
I-D5 |  | MUELLER CENTURIAN 5 1/4 Shoe Repair Kit |  | 3 |  | 280357 |  | 0
I-D6 | 3H1150 | MUELLER CENTURIAN 5¼ TRAFFIC REPAIR KIT |  | 3 | EA | Mueller 340 |  | 0
SUB TOTAL, GROUPS I, I-A, I-B, I-C, AND I-D | [7 empty] | 0
FOR ALL OTHER ITEMS NOT LISTED ABOVE IN GROUPS I, LIKE ITEMS MAY BE PURCHASED AT A FIXED PERCENTAGE DISCOUNT OFF A PUBLISHED MANUFACTUER'S PRICE LIST. Submit a detailed attachment is applicable.
[6 empty] | 5000 | _____% | #VALUE!
(estimate only)
GRAND TOTAL, GROUPS I, I-A, I-B, I-C, AND I-D | [7 empty] | #VALUE!
Bid form is interactive; insert each / unit of measure pricing and the extended and grand total pricing will automatically populate. Bidder is responsible for proof reading totals.