## BidForm A FM
FORCE MAIN AND MASTER PUMP STATION
BID "A" 720 CALENDAR DAYS COMPLETION
SECTION I FORCE MAIN
| DESCRIPTION | EST QTY. | UNITS | BID PRICE PER UNIT ($) | TOTAL BID PRICE ($)
1 | Mobilization (5% of Force Main Bid Items) | 1 | LS | 0 | 0
2 | Maintenance of Traffic | 1 | LS | 0 | 0
3 | Erosion Control Measures / BMP | 9316 | LF | 0 | 0
4 | Roadway Restoration | 1535 | SY | 0 | 0
5 | FDOT Stormwater Culverts
5.1 | Headwall & ERCP @ STA 20+30 | 1 | EA | 0 | 0
5.2 | Headwall, ERCP, & Rip-Rap @ STA 36+15 | 1 | EA | 0 | 0
6 | PVC (C900 & C905) Pipe
6.1 | 6" AWWA C-900, DR-18 PVC Force Main | 1310 | LF | 0 | 0
6.2 | 16" AWWA C-905, DR-18 PVC Force Main | 6935 | LF | 0 | 0
6.3 | 18" AWWA C-905, DR-18 PVC Force Main | 28 | LF | 0 | 0
6.4 | 24" AWWA C-905, DR-18 PVC Force Main | 15 | LF | 0 | 0
7 | Directional Bore of HDPE Force Main
7.1 | 18" AWWA C-906, SDR-11 HDPE Force Main | 2839 | LF | 0 | 0
8 | Jack and Bore
8.1 | 30" Steel Casing | 29 | LF | 0 | 0
9 | Ductile Iron (CL350) Pipe
9.1 | 16" CL-350 DIP Force Main | 1111 | LF | 0 | 0
10 | Gate Valves
10.1 | 6" Gate Valve | 4 | EA | 0 | 0
10.2 | 8" Gate Valve | 1 | EA | 0 | 0
10.3 | 16" Gate Valve | 16 | EA | 0 | 0
10.4 | 18" Gate Valve | 1 | EA | 0 | 0
10.5 | 24" Gate Valve | 1 | EA | 0 | 0
11 | Open Cut Casing Pipe
11.1 | 30" Steel Casing | 40 | LF | 0 | 0
12 | Air Release Valves
12.1 | 2" Below Grade Air Release Valve | 8 | EA | 0 | 0
13 | Miscellaneous Concrete | 10 | CY | 0 | 0
14 | Tie In To Existing Force Main
14.1 | 16" Force Main Conect @ STA10+57 | 1 | EA | 0 | 0
14.2 | 18" Force Main Connect @ STA206+37 | 1 | EA | 0 | 0
| BASE BID (ITEMS 1 - 14.2) |  |  |  | 0
15 | Contingency | 10% of Base Bid |  |  | 0
| BID "A" SECTION I FORCE MAIN - SUBTOTAL (ITEMS 1 - 15) |  |  |  | 0

## BidForm A MPS
FORCE MAIN AND MASTER PUMP STATION
BID "A" 720 CALENDAR DAYS COMPLETION
SECTION II MASTER PUMP STATION
| DESCRIPTION | EST QTY. | UNITS | BID PRICE PER UNIT ($) | TOTAL BID PRICE ($)
1 | Mobilization (5% of MPS Bid Items) | 1 | LS | 0 | 0
2 | Site Demolition and Clearing | 1 | LS | 0 | 0
3 | Building Permit Fee Allowance $5,000.00 | 1 | LS | 0 | 0
4 | BMP's and Erosion Control Measures | 1 | LS | 0 | 0
5 | Yard Piping | 1 | LS | 0 | 0
6 | Mechanical Piping, Fittings, Valves, Appurtenances | 1 | LS | 0 | 0
7 | Flow Meter, Pressure Transmitters, Displays | 1 | LS | 0 | 0
8 | Gate Valves
8.1 | 12" Gate Valve | 1 | EA | 0 | 0
8.2 | 16" Gate Valve | 4 | EA | 0 | 0
8.3 | 18" Gate Valve | 1 | EA | 0 | 0
8.4 | 30" Gate Valve Actuators | 2 | EA | 0 | 0
9 | Water Service Connection & Meter Box Assembly
9.1 | 1" with Meter Box | 1 | EA | 0 | 0
9.2 | 2" without Meter Box | 1 | EA | 0 | 0
10 | Backflow Preventor Assembly (BFP)
10.1 | 3/4" BFP | 2 | EA | 0 | 0
10.2 | 1" BFP with Meter | 1 | EA | 0 | 0
10.3 | 2" BFP with Meter | 1 | EA | 0 | 0
11 | RCP Storm Sewer Pipe
11.1 | 15" RCP Storm Sewer Pipe | 416 | LF | 0 | 0
11.2 | 18" RCP Storm Sewer Pipe | 85 | LF | 0 | 0
12 | Storm Sewer Structures
12.1 | FDOT Ditch Bottom Inlet (DBI) | 4 | EA | 0 | 0
12.2 | Mitered End Section | 4 | EA | 0 | 0
12.3 | Retention Pond Control Structure | 1 | EA | 0 | 0
12.4 | 4' Diameter Concrete Storm Sewer Manhole | 2 | EA | 0 | 0
12.5 | Sump Discharge Structure | 1 | EA | 0 | 0
13 | Sump Pump & Piping | 1 | LS | 0 | 0
14 | Underdrain Treatment System | 1 | LS | 0 | 0
15 | Site Grading | 1 | AC | 0 | 0
16 | Asphalt Drive Construction and Road Restoration
16.1 | Pavement Base and Subbase
| (8" Shell Base and 8" Stabilized Subbase) | 1480 | SY | 0 | 0
16.2 | Asphaltic Concrete Base (1-1/2" or 2" Type S-III
| Asphaltic Concrete per Contract Drawings) | 1360 | SY | 0 | 0
17 | Traffic Signs | 4 | EA | 0 | 0
18 | Concrete Gravity Retaining Wall | 302 | LF | 0 | 0
19 | Chain Link Fence and Gates
19.1 | Chain Link Fence on Ground | 255 | LF | 0 | 0
19.2 | Chain Link Fence on Gravity Wall | 235 | LF | 0 | 0
19.3 | Cantilever Gates | 2 | EA | 0 | 0
20 | Pumps and Controls | 1 | LS | 0 | 0
21 | 2" Above Ground Air Release Valve Assembly | 1 | EA | 0 | 0
22 | Landscaping and Irrigation System | 1 | LS | 0 | 0
23 | Architectural (Pump Station Building&Equip) | 1 | LS | 0 | 0
24 | Electrical and SCADA Systems | 1 | LS | 0 | 0
25 | Diesel Generator, Fuel Storage Tank, Piping,
| Concrete Pad, and Accessories | 1 | LS | 0 | 0
26 | Remote Terminal Unit (RTU) System | 1 | LS | 0 | 0
| BASE BID (ITEMS 1 - 26) |  |  |  | 0
27 | Contingency | 10% of Base Bid |  |  | 0
| BID "A" SECTION II SUBTOTAL (ITEMS 1 - 27) |  |  |  | 0

## BidForm A Sidewalk
SIDEWALK
BID "A" 720 CALENDAR DAYS COMPLETION
OPTION SECTION III SIDEWALK
| DESCRIPTION | EST QTY. | UNITS | BID PRICE PER UNIT ($) | TOTAL BID PRICE ($)
101-1 | Mobilization (5% of Sidewalk Bid Items) | 1 | LS | 0 | 0
102-1-1 | Maintenance of Traffic | 1 | LS | 0 | 0
104-10-3 | Sediment Barrier (Incl's Silt Fence and Synthetic Bales) | 4000 | LF | 0 | 0
110-7-1 | Mailbox, F&I Single | 4 | EA | 0 | 0
110-2-1 | Clearing & Grubbing | 1 | AC | 0 | 0
120-1 | Regular Excavation | 500 | CY | 0 | 0
120-6 | Embankment (Regular) | 500 | CY | 0 | 0
425-8 | Drainage Structures, Miscellaneous, Adjust | 1 | EA | 0 | 0
522-1 | Concrete sidewalk 4" thick | 2004 | SY | 0 | 0
522-2 | Concrete Driveway 6" thick | 239 | SY | 0 | 0
527-2 | Detectable Warnings | 150 | SF | 0 | 0
570-1-2 | Performance Turf (Bahia Sod) | 5204 | SY | 0 | 0
700-1-11 | Single Post Sign, F & I | 2 | AS | 0 | 0
700-1-50 | Single Post Sign, Relocate | 5 | AS | 0 | 0
711-11- | Thermoplastic,
125 | Standard, White Solid, 24" (Stop Bar) | 19 | LF | 0 | 0
711-15- | Thermoplastic,
123 | Standard, White Solid, 12"(Cross Walk) | 101 | LF | 0 | 0
U-1 | Replace Water Meter Box Clocking Lid | 5 | EA | 0 | 0
U-2 | Adjust Water Valve Box & Lid to Finished Grade | 3 | EA | 0 | 0
U-3 | Replace Water Service Assembly Main to ROW | 3 | EA | 0 | 0
U-4 | Adjust Water Valve Box & Lid to Finished Grade | 3 | EA | 0 | 0
| BASE BID (ABOVE SIDEWALK ITEMS) |  |  |  | 0
| Contingency | 10% of Base Bid |  |  | 0
| OPTION BID "A" SECTION III SUBTOTAL (ABOVE ITEMS) |  |  |  | 0

## Summary of Bid A
FORCE MAIN AND MASTER PUMP STATION
SUMMARY OF BID "A" 720 COMPLETION DAYS
SECTION I SUBTOTAL - FORCE MAIN | 0
SECTION II SUBTOTAL - MASTER PUMP STATION | 0
GRAND TOTAL BID "A" | 0
OPTION
SECTION III SUBTOTAL - SIDEWALK | 0
Option awarded at the sole discretion of the County.
1
1
1
1

## BidForm B FM
FORCE MAIN
BID "B" 540 CALENDAR DAYS COMPLETION
SECTION I FORCE MAIN
| DESCRIPTION | EST QTY. | UNITS | BID PRICE PER UNIT ($) | TOTAL BID PRICE ($)
1 | Mobilization (5% of Force Main Bid Items) | 1 | LS | 0 | 0
2 | Maintenance of Traffic | 1 | LS | 0 | 0
3 | Erosion Control Measures / BMP | 9316 | LF | 0 | 0
4 | Roadway Restoration | 1535 | SY | 0 | 0
5 | FDOT Stormwater Culverts
5.1 | Headwall & ERCP @ STA 20+30 | 1 | EA | 0 | 0
5.2 | Headwall, ERCP, & Rip-Rap @ STA 36+15 | 1 | EA | 0 | 0
6 | PVC (C900 & C905) Pipe
6.1 | 6" AWWA C-900, DR-18 PVC Force Main | 1310 | LF | 0 | 0
6.2 | 16" AWWA C-905, DR-18 PVC Force Main | 6935 | LF | 0 | 0
6.3 | 18" AWWA C-905, DR-18 PVC Force Main | 28 | LF | 0 | 0
6.4 | 24" AWWA C-905, DR-18 PVC Force Main | 15 | LF | 0 | 0
7 | Directional Bore of HDPE Force Main
7.1 | 18" AWWA C-906, SDR-11 HDPE Force Main | 2839 | LF | 0 | 0
8 | Jack and Bore
8.1 | 30" Steel Casing | 29 | LF | 0 | 0
9 | Ductile Iron (CL350) Pipe
9.1 | 16" CL-350 DIP Force Main | 1111 | LF | 0 | 0
10 | Gate Valves
10.1 | 6" Gate Valve | 4 | EA | 0 | 0
10.2 | 8" Gate Valve | 1 | EA | 0 | 0
10.3 | 16" Gate Valve | 16 | EA | 0 | 0
10.4 | 18" Gate Valve | 1 | EA | 0 | 0
10.5 | 24" Gate Valve | 1 | EA | 0 | 0
11 | Open Cut Casing Pipe
11.1 | 30" Steel Casing | 40 | LF | 0 | 0
12 | Air Release Valves
12.1 | 2" Below Grade Air Release Valve | 8 | EA | 0 | 0
13 | Miscellaneous Concrete | 10 | CY | 0 | 0
14 | Tie In To Existing Force Main
14.1 | 16" Force Main Conect @ STA10+57 | 1 | EA | 0 | 0
14.2 | 18" Force Main Connect @ STA206+37 | 1 | EA | 0 | 0
| BASE BID (ITEMS 1 - 14.2) |  |  |  | 0
15 | Contingency | 10% of Base Bid |  |  | 0
| BID B SECTION I FORCE MAIN - SUBTOTAL (ITEMS 1 - 15) |  |  |  | 0

## BidForm B MPS
FORCE MAIN AND MASTER PUMP STATION
BID "B" 540 CALENDAR DAYS COMPLETION
SECTION II MASTER PUMP STATION
| DESCRIPTION | EST QTY. | UNITS | BID PRICE PER UNIT ($) | TOTAL BID PRICE ($)
1 | Mobilization (5% of MPS Bid Items) | 1 | LS | 0 | 0
2 | Site Demolition and Clearing | 1 | LS | 0 | 0
3 | Building Permit Fee Allowance $5,000.00 | 1 | LS | 0 | 0
4 | BMP's and Erosion Control Measures | 1 | LS | 0 | 0
5 | Yard Piping | 1 | LS | 0 | 0
6 | Mechanical Piping, Fittings, Valves, Appurtenances | 1 | LS | 0 | 0
7 | Flow Meter, Pressure Transmitters, Displays | 1 | LS | 0 | 0
8 | Gate Valves
8.1 | 12" Gate Valve | 1 | EA | 0 | 0
8.2 | 16" Gate Valve | 4 | EA | 0 | 0
8.3 | 18" Gate Valve | 1 | EA | 0 | 0
8.4 | 30" Gate Valve Actuators | 2 | EA | 0 | 0
9 | Water Service Connection & Meter Box Assembly
9.1 | 1" with Meter Box | 1 | EA | 0 | 0
9.2 | 2" without Meter Box | 1 | EA | 0 | 0
10 | Backflow Preventor Assembly (BFP)
10.1 | 3/4" BFP | 2 | EA | 0 | 0
10.2 | 1" BFP with Meter | 1 | EA | 0 | 0
10.3 | 2" BFP with Meter | 1 | EA | 0 | 0
11 | RCP Storm Sewer Pipe
11.1 | 15" RCP Storm Sewer Pipe | 416 | LF | 0 | 0
11.2 | 18" RCP Storm Sewer Pipe | 85 | LF | 0 | 0
12 | Storm Sewer Structures
12.1 | FDOT Ditch Bottom Inlet (DBI) | 4 | EA | 0 | 0
12.2 | Mitered End Section | 4 | EA | 0 | 0
12.3 | Retention Pond Control Structure | 1 | EA | 0 | 0
12.4 | 4' Diameter Concrete Storm Sewer Manhole | 2 | EA | 0 | 0
12.5 | Sump Discharge Structure | 1 | EA | 0 | 0
13 | Sump Pump & Piping | 1 | LS | 0 | 0
14 | Underdrain Treatment System | 1 | LS | 0 | 0
15 | Site Grading | 1 | AC | 0 | 0
16 | Asphalt Drive Construction and Road Restoration
16.1 | Pavement Base and Subbase
| (8" Shell Base and 8" Stabilized Subbase) | 1480 | SY | 0 | 0
16.2 | Asphaltic Concrete Base (1-1/2" or 2" Type S-III
| Asphaltic Concrete per Contract Drawings) | 1360 | SY | 0 | 0
17 | Traffic Signs | 4 | EA | 0 | 0
18 | Concrete Gravity Retaining Wall | 302 | LF | 0 | 0
19 | Chain Link Fence and Gates
19.1 | Chain Link Fence on Ground | 255 | LF | 0 | 0
19.2 | Chain Link Fence on Gravity Wall | 235 | LF | 0 | 0
19.3 | Cantilever Gates | 2 | EA | 0 | 0
20 | Pumps and Controls | 1 | LS | 0 | 0
21 | 2" Above Ground Air Release Valve Assembly | 1 | EA | 0 | 0
22 | Landscaping and Irrigation System | 1 | LS | 0 | 0
23 | Architectural (Pump Station Building&Equip) | 1 | LS | 0 | 0
24 | Electrical and SCADA Systems | 1 | LS | 0 | 0
25 | Diesel Generator, Fuel Storage Tank, Piping,
| Concrete Pad, and Accessories | 1 | LS | 0 | 0
26 | Remote Terminal Unit (RTU) System | 1 | LS | 0 | 0
| BASE BID (ITEMS 1 - 26) |  |  |  | 0
27 | Contingency | 10% of Base Bid |  |  | 0
| BID "B" SECTION II SUBTOTAL (ITEMS 1 - 27) |  |  |  | 0

## BidForm B Sidewalk
SIDEWALK
BID "B" 540 CALENDAR DAYS COMPLETION
OPTION SECTION III SIDEWALK
| DESCRIPTION | EST QTY. | UNITS | BID PRICE PER UNIT ($) | TOTAL BID PRICE ($)
101-1 | Mobilization (5% of Sidewalk Bid Items) | 1 | LS | 0 | 0
102-1-1 | Maintenance of Traffic | 1 | LS | 0 | 0
104-10-3 | Sediment Barrier (Incl's Silt Fence and Synthetic Bales) | 4000 | LF | 0 | 0
110-7-1 | Mailbox, F&I Single | 4 | EA | 0 | 0
110-2-1 | Clearing & Grubbing | 1 | AC | 0 | 0
120-1 | Regular Excavation | 500 | CY | 0 | 0
120-6 | Embankment (Regular) | 500 | CY | 0 | 0
425-8 | Drainage Structures, Miscellaneous, Adjust | 1 | EA | 0 | 0
522-1 | Concrete sidewalk 4" thick | 2004 | SY | 0 | 0
522-2 | Concrete Driveway 6" thick | 239 | SY | 0 | 0
527-2 | Detectable Warnings | 150 | SF | 0 | 0
570-1-2 | Performance Turf (Bahia Sod) | 5204 | SY | 0 | 0
700-1-11 | Single Post Sign, F & I | 2 | AS | 0 | 0
700-1-50 | Single Post Sign, Relocate | 5 | AS | 0 | 0
711-11- | Thermoplastic,
125 | Standard, White Solid, 24" (Stop Bar) | 19 | LF | 0 | 0
711-15- | Thermoplastic,
123 | Standard, White Solid, 12"(Cross Walk) | 101 | LF | 0 | 0
U-1 | Replace Water Meter Box Clocking Lid | 5 | EA | 0 | 0
U-2 | Adjust Water Valve Box & Lid to Finished Grade | 3 | EA | 0 | 0
U-3 | Replace Water Service Assembly Main to ROW | 3 | EA | 0 | 0
U-4 | Adjust Water Valve Box & Lid to Finished Grade | 3 | EA | 0 | 0
| BASE BID (ABOVE SIDEWALK ITEMS) |  |  |  | 0
| Contingency | 10% of Base Bid |  |  | 0
| OPTION BID "B" SECTION III SUBTOTAL (ABOVE ITEMS) |  |  |  | 0

## Summary of Bid B
FORCE MAIN AND MASTER PUMP STATION
SUMMARY OF BID "B" 540 COMPLETION DAYS
I. SUBTOTAL - FORCE MAIN | 0
II. SUBTOTAL - MASTER PUMP STATION | 0
GRAND TOTAL BID "B" | 0
OPTION
SECTION III SUBTOTAL - SIDEWALK | 0
Option awarded at the sole discretion of the County.
1
1
1
1