## Bid A-270 Days
IFBC 19-TA003009GL Willow Woods & Lake Estates Water Main Upgrades - BID A 270 CALENDAR DAYS
WATER LINES (Furnish and Install)
| ITEM NO. | DESCRIPTION | U/M | EST. QTY. | UNIT PRICE ($) | EXTENDED PRICE ($)
| 1 | Mobilization | LS | 1 |  | 0
| 2 | Curb Replacement | LF | 184 |  | 0
| 3 | Pavement Repair & Road Restoration
| 3.01 | Base & Resurface | SY | 200 |  | 0
| 3.02 | Mill & Overlay | SY | 1685 |  | 0
| 4 | Concrete Sidewalk Replacement (4" min. thick.) | SY | 715 |  | 0
| 5 | Driveway Restoration
| 5.01 | Concrete (6" min. thick.) | SY | 1328 |  | 0
| 6 | Sodding | SY | 5899 |  | 0
| 7 | Grout Fill Abandoned Pipe | CY | 22 |  | 0
| 8 | Blow-off Assembly, End of Line | EA | 2 |  | 0
| 9 | Reduced Pressure Backflow Prevention Assembly /w Pressure Relief Valve | EA | 48 |  | 0
| 9A | Vacuum Breaker, brass | EA | 96 |  | 0
| 10 | Permit Fee - New Water Service-Building Department | EA | 12 |  | 0
| 11 | Remove Existing Valve
| 11.01 | 4" | EA | 1 |  | 0
| 12 | Pipe
| 12.01 | 6" PVC, DR-18, direct bury | LF | 4953 |  | 0
| 12.02 | 6" DIP, direct bury | LF | 615 |  | 0
| 12.03 | 2" HDPE, DR-9, direct bury | LF | 485 |  | 0
| 13 | 14" Steel Casing, 0.188" thick, incl. 6" Dia. PVC RJ Carrier Pipe, jack & bore | LF | 51 |  | 0
| 14 | Water Services
| 14.01 | 1" PE Single Service (Short) | EA | 37 |  | 0
| 14.02 | 1" PE Single Service (Long), w/ 2" casing | EA | 43 |  | 0
| 14.03 | 1" PE Double Service (Short) | EA | 5 |  | 0
| 14.04 | 1" PE Double Service (Long), w/ 2" casing | EA | 2 |  | 0
| 14.05 | Additional 1" Service Pipe over 10' (Short) and 30' (Long) | LF | 613 |  | 0
| 15 | Relocate Meter Box | EA | 24 |  | 0
| 16 | Ductile Iron Fittings
| 16.01 | 6" Tee, MJ | EA | 6 |  | 0
| 16.02 | 6" Tee, MJ, Cut-in | EA | 1 |  | 0
| 16.03 | 6" Solid Sleeve | EA | 1 |  | 0
| 16.04 | 6" 45 Degree Bend or Less | EA | 24 |  | 0
| 16.05 | 8"x4" Reducer, MJ | EA | 1 |  | 0
| 16.06 | 8"x6" Reducer, MJ | EA | 1 |  | 0
| 16.07 | 6" Cap, W/2" Tap | EA | 3 |  | 0
| 16.08 | 4" Cap | EA | 2 |  | 0
| 16.09 | 4"x6" Hymax coupling | EA | 1 |  | 0
| 16.1 | 8" Tee, MJ Cut-in | EA | 2 |  | 0
| 16.11 | 8" Solid Sleeve | EA | 2 |  | 0
| 17 | Pipe Joint Restraints
2N | 17.01 | 4" | EA | 2 |  | 0
3N | 17.02 | 6" | EA | 85 |  | 0
4N | 17.03 | 8" | EA | 9 |  | 0
| 18 | Valves, MJ
1P | 18.01 | 2" Gate Valve | EA | 2 |  | 0
4P | 18.02 | 6" Gate Valve | EA | 18 |  | 0
2W | 18.03 | 6" Tapping Valve | EA | 2 |  | 0
| 18.04 | 8" Gate Valve | EA | 3 |  | 0
1S | 19 | 1" Air Release Valve | EA | 1 |  | 0
3T | 20 | ARV Cabinet, fiberglass | EA | 1 |  | 0
1U | 21 | Fire Hydrant Assembly | EA | 5 |  | 0
| 22 | Connect to Existing Water Main | EA | 5 |  | 0
| 23 | Tapping Sleeve (Main x Outlet)
3V | 23.01 | 8"x6" | EA | 1 |  | 0
22V | 23.02 | 20"x6" | EA | 1 |  | 0
| 24 | Erosion and Sediment Control | LS | 1 |  | 0
| 25 | Inlet Protection System | EA | 25 |  | 0
| 26 | Traffic Control Plan | LS | 1 |  | 0
| 27 | Miscellaneous Concrete, 3,000 psi | CY | 40 |  | 0
| 28 | Detectable Warnings, black, per FDOT 527-2 | SF | 50 |  | 0
| 29 | Fence, chainlink, galvanized, 8' long section | EA | 7 |  | 0
| 30 | Fence, corner/gate post | EA | 7 |  | 0
| 31 | Record Drawings | LS | 1 |  | 0
|  | SubTotal Construction Cost |  |  |  | 0
| 32 | Contract Contingency (10% of Subtotal Construction Cost) | LS | 1 | 10% | 0
|  | Total Construction Cost |  |  |  | 0
Bidder: __________________________________________
|  | Signature: _______________________________________ | Date:_______

## Bid B-330 Days
IFBC 19-TA003009GL Willow Woods & Lake Estates Water Main Upgrades - BID B 330 CALENDAR DAYS
WATER LINES (Furnish nd Install)
| ITEM NO. | DESCRIPTION | U/M | EST. QTY. | UNIT PRICE ($) | EXTENDED PRICE ($)
| 1 | Mobilization | LS | 1 |  | 0
| 2 | Curb Replacement | LF | 184 |  | 0
| 3 | Pavement Repair & Road Restoration
| 3.01 | Base & Resurface | SY | 200 |  | 0
| 3.02 | Mill & Overlay | SY | 1685 |  | 0
| 4 | Concrete Sidewalk Replacement (4" min. thick.) | SY | 715 |  | 0
| 5 | Driveway Restoration
| 5.01 | Concrete (6" min. thick.) | SY | 1328 |  | 0
| 6 | Sodding | SY | 5899 |  | 0
| 7 | Grout Fill Abandoned Pipe | CY | 22 |  | 0
| 8 | Blow-off Assembly, End of Line | EA | 2 |  | 0
| 9 | Reduced Pressure Backflow Prevention Assembly /w Pressure Relief Valve | EA | 48 |  | 0
| 9A | Vacuum Breaker, brass | EA | 96 |  | 0
| 10 | Permit Fee - New Water Service-Building Department | EA | 12 |  | 0
| 11 | Remove Existing Valve
| 11.01 | 4" | EA | 1 |  | 0
| 12 | Pipe
| 12.01 | 6" PVC, DR-18, direct bury | LF | 4953 |  | 0
| 12.02 | 6" DIP, direct bury | LF | 615 |  | 0
| 12.03 | 2" HDPE, DR-9, direct bury | LF | 485 |  | 0
| 13 | 14" Steel Casing, 0.188" thick, incl. 6" Dia. PVC RJ Carrier Pipe, jack & bore | LF | 51 |  | 0
| 14 | Water Services
| 14.01 | 1" PE Single Service (Short) | EA | 37 |  | 0
| 14.02 | 1" PE Single Service (Long), w/ 2" casing | EA | 43 |  | 0
| 14.03 | 1" PE Double Service (Short) | EA | 5 |  | 0
| 14.04 | 1" PE Double Service (Long), w/ 2" casing | EA | 2 |  | 0
| 14.05 | Additional 1" Service Pipe over 10' (Short) and 30' (Long) | LF | 613 |  | 0
| 15 | Relocate Meter Box | EA | 24 |  | 0
| 16 | Ductile Iron Fittings
| 16.01 | 6" Tee, MJ | EA | 6 |  | 0
| 16.02 | 6" Tee, MJ, Cut-in | EA | 1 |  | 0
| 16.03 | 6" Solid Sleeve | EA | 1 |  | 0
| 16.04 | 6" 45 Degree Bend or Less | EA | 24 |  | 0
| 16.05 | 8"x4" Reducer, MJ | EA | 1 |  | 0
| 16.06 | 8"x6" Reducer, MJ | EA | 1 |  | 0
| 16.07 | 6" Cap, W/2" Tap | EA | 3 |  | 0
| 16.08 | 4" Cap | EA | 2 |  | 0
| 16.09 | 4"x6" Hymax coupling | EA | 1 |  | 0
| 16.1 | 8" Tee, MJ Cut-in | EA | 2 |  | 0
| 16.11 | 8" Solid Sleeve | EA | 2 |  | 0
| 17 | Pipe Joint Restraints
2N | 17.01 | 4" | EA | 2 |  | 0
3N | 17.02 | 6" | EA | 85 |  | 0
4N | 17.03 | 8" | EA | 9 |  | 0
| 18 | Valves, MJ
1P | 18.01 | 2" Gate Valve | EA | 2 |  | 0
4P | 18.02 | 6" Gate Valve | EA | 18 |  | 0
2W | 18.03 | 6" Tapping Valve | EA | 2 |  | 0
| 18.04 | 8" Gate Valve | EA | 3 |  | 0
1S | 19 | 1" Air Release Valve | EA | 1 |  | 0
3T | 20 | ARV Cabinet, fiberglass | EA | 1 |  | 0
1U | 21 | Fire Hydrant Assembly | EA | 5 |  | 0
| 22 | Connect to Existing Water Main | EA | 5 |  | 0
| 23 | Tapping Sleeve (Main x Outlet)
3V | 23.01 | 8"x6" | EA | 1 |  | 0
22V | 23.02 | 20"x6" | EA | 1 |  | 0
| 24 | Erosion and Sediment Control | LS | 1 |  | 0
| 25 | Inlet Protection System | EA | 25 |  | 0
| 26 | Traffic Control Plan | LS | 1 |  | 0
| 27 | Miscellaneous Concrete, 3,000 psi | CY | 40 |  | 0
| 28 | Detectable Warnings, black, per FDOT 527-2 | SF | 50 |  | 0
| 29 | Fence, chainlink, galvanized, 8' long section | EA | 7 |  | 0
| 30 | Fence, corner/gate post | EA | 7 |  | 0
| 31 | Record Drawings | LS | 1 |  | 0
|  | SubTotal Construction Cost |  |  |  | 0
| 32 | Contract Contingency (10% of Subtotal Construction Cost) | LS | 1 | 10% | 0
|  | Total Construction Cost |  |  |  | 0
Bidder: __________________________________________
|  | Signature: _______________________________________ | Date:_______