## Bid 'A' Form
BID 'A' FORM
IFBC NO. 19-TA003165BB
WATER MAIN UPGRADES – WILLOW WOODS & LAKE ESTATES
BID 'A' BASED ON A COMPLETION TIME OF 270 CALENDAR DAYS
ITEM NO. | DESCRIPTION | U/M | EST QTY | UNIT PRICE | EXTENDED PRICE
1 | Mobilization | LS | 1 |  | 0
2 | Curb Replacement | LF | 184 |  | 0
3 | Pavement Repair & Road Restoration
3.01 | Base & Resurface | SY | 200 |  | 0
3.02 | Mill & Overlay | SY | 1685 |  | 0
4 | Concrete Sidewalk Replacement (4" min. thick.) | SY | 715 |  | 0
5 | Driveway Restoration
5.01 | Concrete (6" min. thick.) | SY | 1328 |  | 0
6 | Sodding | SY | 5899 |  | 0
7 | Grout Fill Abandoned Pipe | CY | 22 |  | 0
8 | Blow-off Assembly, End of Line | EA | 2 |  | 0
9 | Reduced Pressure Backflow Prevention Assembly /w Pressure Relief Valve | EA | 2 |  | 0
9A | Vacuum Breaker, brass | EA | 4 |  | 0
10 | Permit Fee - New Water Service-Building Department | EA | 2 |  | 0
11 | Remove Existing Valve
11.01 | 4" | EA | 1 |  | 0
12 | Pipe
12.01 | 6" PVC, DR-18, direct bury | LF | 4953 |  | 0
12.02 | 6" DIP, direct bury | LF | 615 |  | 0
12.03 | 2" HDPE, DR-9, direct bury | LF | 485 |  | 0
13 | 14" Steel Casing, 0.188" thick, incl. 6" Dia. PVC RJ Carrier Pipe, jack & bore | LF | 51 |  | 0
14 | Water Services
14.01 | 1" PE Single Service (Short) | EA | 37 |  | 0
14.02 | 1" PE Single Service (Long), w/ 2" casing | EA | 43 |  | 0
14.03 | 1" PE Double Service (Short) | EA | 5 |  | 0
14.04 | 1" PE Double Service (Long), w/ 2" casing | EA | 2 |  | 0
14.05 | Additional 1" Service Pipe over 10' (Short) and 30' (Long) | LF | 613 |  | 0
15 | Relocate Meter Box | EA | 23 |  | 0
16 | Ductile Iron Fittings
16.01 | 6" Tee, MJ | EA | 6 |  | 0
16.02 | 6" Tee, MJ, Cut-in | EA | 1 |  | 0
16.03 | 6" Solid Sleeve | EA | 1 |  | 0
16.04 | 6" 45 Degree Bend or Less | EA | 24 |  | 0
16.05 | 8"x4" Reducer, MJ | EA | 1 |  | 0
16.06 | 8"x6" Reducer, MJ | EA | 1 |  | 0
16.07 | 6" Cap, W/2" Tap | EA | 3 |  | 0
16.08 | 4" Cap | EA | 2 |  | 0
16.09 | 4"x6" Hymax coupling | EA | 1 |  | 0
16.1 | 8" Tee, MJ Cut-in | EA | 2 |  | 0
16.11 | 8" Solid Sleeve | EA | 2 |  | 0
17 | Pipe Joint Restraints
17.01 | 4" | EA | 2 |  | 0
17.02 | 6" | EA | 85 |  | 0
17.03 | 8" | EA | 9 |  | 0
18 | Valves, MJ
18.01 | 2" Gate Valve | EA | 2 |  | 0
18.02 | 6" Gate Valve | EA | 18 |  | 0
18.03 | 6" Tapping Valve | EA | 2 |  | 0
18.04 | 8" Gate Valve | EA | 3 |  | 0
19 | 1" Air Release Valve | EA | 1 |  | 0
20 | ARV Cabinet, fiberglass | EA | 1 |  | 0
21 | Fire Hydrant Assembly | EA | 5 |  | 0
22 | Connect to Existing Water Main | EA | 5 |  | 0
23 | Tapping Sleeve (Main x Outlet)
23.01 | 8"x6" | EA | 1 |  | 0
23.02 | 20"x6" | EA | 1 |  | 0
24 | Erosion and Sediment Control | LS | 1 |  | 0
25 | Inlet Protection System | EA | 25 |  | 0
26 | Traffic Control Plan | LS | 1 |  | 0
27 | Miscellaneous Concrete, 3,000 psi | CY | 40 |  | 0
28 | Detectable Warnings, black, per FDOT 527-2 | SF | 50 |  | 0
29 | Fence, chain-link, galvanized, 8' long section | EA | 7 |  | 0
30 | Fence, corner/gate post | EA | 7 |  | 0
31 | Record Drawings | LS | 1 |  | 0
Total Base Bid "A" Based on Completion Time of 270 Calendar Days |  |  |  |  | 0
Contract Contingency (10% of Total Base Bid)
Total Offer with Contract Contingency Bid "A" Based on Completion Time of 210 Calendar Days |  |  |  |  | 0

## Bid 'B' Form
BID 'B' FORM
IFBC NO. 19-TA003165BB
WATER MAIN UPGRADES – WILLOW WOODS & LAKE ESTATES
BID 'B' BASED ON A COMPLETION TIME OF 330 CALENDAR DAYS
ITEM NO. | DESCRIPTION | U/M | EST QTY | UNIT PRICE | EXTENDED PRICE
1 | Mobilization | LS | 1 |  | 0
2 | Curb Replacement | LF | 184 |  | 0
3 | Pavement Repair & Road Restoration
3.01 | Base & Resurface | SY | 200 |  | 0
3.02 | Mill & Overlay | SY | 1685 |  | 0
4 | Concrete Sidewalk Replacement (4" min. thick.) | SY | 715 |  | 0
5 | Driveway Restoration
5.01 | Concrete (6" min. thick.) | SY | 1328 |  | 0
6 | Sodding | SY | 5899 |  | 0
7 | Grout Fill Abandoned Pipe | CY | 22 |  | 0
8 | Blow-off Assembly, End of Line | EA | 2 |  | 0
9 | Reduced Pressure Backflow Prevention Assembly /w Pressure Relief Valve | EA | 2 |  | 0
9A | Vacuum Breaker, brass | EA | 4 |  | 0
10 | Permit Fee - New Water Service-Building Department | EA | 2 |  | 0
11 | Remove Existing Valve
11.01 | 4" | EA | 1 |  | 0
12 | Pipe
12.01 | 6" PVC, DR-18, direct bury | LF | 4953 |  | 0
12.02 | 6" DIP, direct bury | LF | 615 |  | 0
12.03 | 2" HDPE, DR-9, direct bury | LF | 485 |  | 0
13 | 14" Steel Casing, 0.188" thick, incl. 6" Dia. PVC RJ Carrier Pipe, jack & bore | LF | 51 |  | 0
14 | Water Services
14.01 | 1" PE Single Service (Short) | EA | 37 |  | 0
14.02 | 1" PE Single Service (Long), w/ 2" casing | EA | 43 |  | 0
14.03 | 1" PE Double Service (Short) | EA | 5 |  | 0
14.04 | 1" PE Double Service (Long), w/ 2" casing | EA | 2 |  | 0
14.05 | Additional 1" Service Pipe over 10' (Short) and 30' (Long) | LF | 613 |  | 0
15 | Relocate Meter Box | EA | 23 |  | 0
16 | Ductile Iron Fittings
16.01 | 6" Tee, MJ | EA | 6 |  | 0
16.02 | 6" Tee, MJ, Cut-in | EA | 1 |  | 0
16.03 | 6" Solid Sleeve | EA | 1 |  | 0
16.04 | 6" 45 Degree Bend or Less | EA | 24 |  | 0
16.05 | 8"x4" Reducer, MJ | EA | 1 |  | 0
16.06 | 8"x6" Reducer, MJ | EA | 1 |  | 0
16.07 | 6" Cap, W/2" Tap | EA | 3 |  | 0
16.08 | 4" Cap | EA | 2 |  | 0
16.09 | 4"x6" Hymax coupling | EA | 1 |  | 0
16.1 | 8" Tee, MJ Cut-in | EA | 2 |  | 0
16.11 | 8" Solid Sleeve | EA | 2 |  | 0
17 | Pipe Joint Restraints
17.01 | 4" | EA | 2 |  | 0
17.02 | 6" | EA | 85 |  | 0
17.03 | 8" | EA | 9 |  | 0
18 | Valves, MJ
18.01 | 2" Gate Valve | EA | 2 |  | 0
18.02 | 6" Gate Valve | EA | 18 |  | 0
18.03 | 6" Tapping Valve | EA | 2 |  | 0
18.04 | 8" Gate Valve | EA | 3 |  | 0
19 | 1" Air Release Valve | EA | 1 |  | 0
20 | ARV Cabinet, fiberglass | EA | 1 |  | 0
21 | Fire Hydrant Assembly | EA | 5 |  | 0
22 | Connect to Existing Water Main | EA | 5 |  | 0
23 | Tapping Sleeve (Main x Outlet)
23.01 | 8"x6" | EA | 1 |  | 0
23.02 | 20"x6" | EA | 1 |  | 0
24 | Erosion and Sediment Control | LS | 1 |  | 0
25 | Inlet Protection System | EA | 25 |  | 0
26 | Traffic Control Plan | LS | 1 |  | 0
27 | Miscellaneous Concrete, 3,000 psi | CY | 40 |  | 0
28 | Detectable Warnings, black, per FDOT 527-2 | SF | 50 |  | 0
29 | Fence, chain-link, galvanized, 8' long section | EA | 7 |  | 0
30 | Fence, corner/gate post | EA | 7 |  | 0
31 | Record Drawings | LS | 1 |  | 0
Total Base Bid "B" Based on Completion Time of 330 Calendar Days |  |  |  |  | 0
Contract Contingency (10% of Total Base Bid)
Total Offer with Contract Contingency Bid "B" Based on Completion Time of 330 Calendar Days |  |  |  |  | 0