## Bid 900 DAYS
BID FORM
(Submit in Triplicate)
44th Avenue East Extension Project - from 45th Street East to I-75
Based on Completion Time of 900 Calendar Days
PAY ITEM NO. | FDOT ITEM NUMBER | DESCRIPTION | 44th Ave. East- Braden River Segment QTY. | 44th Ave. East- 44th Ave. Plaza East to I-75 QTY | TOTAL PROJECT QTY. | UNITS | BID PRICE PER UNIT ($) | TOTAL BID PRICE ($)
ROADWAY & BRIDGE
1 | 0101 1 | Mobilization (Includes both projects) |  |  | 1 | LS |  | 0
2 | 0102 1 | Maintenance of Traffic (MOT), (Includes both Projects) |  |  | 1 | LS |  | 0
3 | 102-14 | Traffic Control Officer | 60 | 32 | 92 | HR |  | 0
4 | 0102 60 | WORK ZONE SIGN | 335 |  | 335 | ED |  | 0
5 | 0102 74 1 | CHANNELIZING DEVICE- TYPES I, II, DI, VP, DRUM, OR LCD | 744 |  | 744 | ED |  | 0
6 | 0102 74 2 | CHANNELIZING DEVICE, TYPE III, 6' | 203 |  | 203 | ED |  | 0
7 | 0102 76 | ARROW BOARD / ADVANCE WARNING ARROW PANEL | 400 |  | 400 | ED |  | 0
8 | 0102 78 | TEMPORARY RETROREFLECTIVE PAVEMENT MARKER | 961 |  | 961 | EA |  | 0
9 | 0102 99 | PORTABLE CHANGEABLE MESSAGE SIGN, TEMPORARY | 1800 |  | 1800 | ED |  | 0
10 | 0102107 1 | TEMPORARY TRAFFIC DETECTION AND MAINTENANCE, INTERSECTION | 200 |  | 200 | ED |  | 0
11 | 0103 1 | TEMPORARY WORK STRUCTURE | 1 |  | 1 | LS |  | 0
12 | 0104 10 3 | SEDIMENT BARRIER | 25889 | 8307 | 34196 | LF |  | 0
13 | 0104 11 | FLOATING TURBIDITY BARRIER | 444 |  | 444 | LF |  | 0
14 | 0104 12 | STAKED TURBIDITY BARRIER- NYLON REINFORCED PVC | 76 |  | 76 | LF |  | 0
15 | 0104-15 | SOIL TRACKING PREVENTION DEVICE |  | 2 | 2 | EA |  | 0
16 | 0104 18 | INLET PROTECTION SYSTEM | 120 | 51 | 171 | EA |  | 0
17 | 0107 1 | LITTER REMOVAL | 17.8 | 5.28 | 23.08 | AC |  | 0
18 | 0107 2 | MOWING | 9.34 | 5.28 | 14.62 | AC |  | 0
19 | 0108 2 | PROTECTION OF EXISTING STRUCTURES- VIBRATION MONITORING | 1 |  | 1 | LS |  | 0
20 | 0110 1 1 | CLEARING & GRUBBING | 40.1 | 11.12 | 51.22 | AC |  | 0
21 | 0110 4 10 | REMOVAL OF EXISTING CONCRETE | 4041 | 3269 | 7310 | SY |  | 0
22 | 0110 5 | PLUGGING WATER WELLS, ARTESIAN | 1 |  | 1 | EA |  | 0
23 | 0110 6 | PLUGGING WATER WELLS, NON-ARTESIAN | 1 |  | 1 | EA |  | 0
24 | 0120 1 | REGULAR EXCAVATION | 81736 | 16678 | 98414 | CY |  | 0
25 | 0120 4 | SUBSOIL EXCAVATION | 1851 |  | 1851 | CY |  | 0
26 | 0120 6 | EMBANKMENT | 68998 | 3707 | 72705 | CY |  | 0
27 | 120-77 | SURCHARGE EMBANKMENT | 21600 |  |  | CY |  | 0
28 | 0160 4 | TYPE B STABILIZATION | 101690 | 23500 | 125190 | SY |  | 0
29 | 0180-72 | RIGID PAVEMENT STABILIZED SUBBASE- SPECIAL WORK PLATFORM | 14 |  |  | CY |  | 0
30 | 0210-2 | LIMEROCK, NEW MATERIAL FOR REWORKING BASE | 7 |  |  | CY |  | 0
31 | 0285701 | OPTIONAL BASE, BASE GROUP 01 | 10354 |  | 10354 | SY |  | 0
32 | 0285709 | OPTIONAL BASE, BASE GROUP 09 | 70797 | 20874 | 91671 | SY |  | 0
33 | 0327 70 5 | MILLING EXIST ASPH PAVT, 2" AVG DEPTH | 4591 |  | 4591 | SY |  | 0
34 | 0327-70-6 | MILLING EXIST ASPH PAVT, 1 1/2" AVG DEPTH |  | 15664 | 15664 | SY |  | 0
35 | 0334 1 12 | SUPERPAVE ASPHALTIC CONC, TRAFFIC B | 647.7 |  | 647.7 | TN |  | 0
36 | 0334 1 13 | SUPERPAVE ASPHALTIC CONC, TRAFFIC C | 10641 | 4737 | 15378 | TN |  | 0
37 | 0337 7 83 | ASPHALT CONCRETE FRICTION COURSE,Traffic C, FC-12.5, PG 76-22, ARB | 9501 | 3015 | 12516 | TN |  | 0
38 | 0339 1 | MISCELLANEOUS ASPHALT PAVEMENT | 85.25 |  | 85.25 | TN |  | 0
39 | 0400 0 11 | CONCRETE CLASS NS, GRAVITY WALL | 318 | 75 | 393 | CY |  | 0
40 | 0400 1 2 | CONCRETE CLASS I, ENDWALLS | 8 |  | 8 | CY |  | 0
41 | 0400 2 2 | CONCRETE CLASS II, ENDWALLS | 12.5 | 0 | 12.5 | CY |  | 0
42 | 0400 2 4 | CONC CLASS II, SUPERSTRUCTURE | 4851.2 |  | 4851.2 | CY |  | 0
43 | 0400 2 10 | CONCRETE CLASS II, APPROACH SLABS | 248.6 |  | 248.6 | CY |  | 0
44 | 0400 4 5 | CONCRETE CLASS IV, SUBSTRUCTURE | 920.5 |  | 920.5 | CY |  | 0
45 | 0400 9 | BRIDGE DECK GROOVING & PLANING, DECK 8.5"&> | 13368.9 |  | 13368.9 | SY |  | 0
46 | 0400147 | COMPOSITE NEOPRENE PADS | 142.4 |  | 142.4 | CF |  | 0
47 | 0415 1 4 | REINFORCING STEEL - SUPERSTRUCTURE | 1268424 |  | 1268424 | LB |  | 0
48 | 0415 1 5 | REINFORCING STEEL- SUBSTRUCTURE | 220858 |  | 220858 | LB |  | 0
49 | 0415 1 9 | REINFORCING STEEL- APPROACH SLABS | 47262 |  | 47262 | LB |  | 0
50 | 0425 11 | MODIFY EXISTING DRAINAGE STRUCTURE |  | 3 | 3 | EA |  | 0
51 | 0425 1351 | INLETS, CURB, TYPE P-5, <10' | 19 | 24 | 43 | EA |  | 0
52 | 0425 1352 | INLETS, CURB, TYPE P-5, >10' | 2 |  | 2 | EA |  | 0
53 | 0425-1-355 | INLETS, CURB, TYPE P-5, PARTIAL |  | 2 | 2 | EA |  | 0
54 | 0425 1361 | INLETS, CURB, TYPE P-6, <10' | 18 | 2 | 20 | EA |  | 0
55 | 0425-1-365 | INLETS, CURB, TYPE P-6, PARTIAL |  | 4 | 4 | EA |  | 0
56 | 0425 1451 | INLETS, CURB, TYPE J-5, <10' | 11 | 3 | 14 | EA |  | 0
57 | 0425 1452 | INLETS, CURB, TYPE J-5, >10' | 9 |  | 9 | EA |  | 0
58 | 0425 1461 | INLETS, CURB, TYPE J-6, <10' | 9 | 3 | 12 | EA |  | 0
59 | 0425 1462 | INLETS, CURB, TYPE J-6, >10' | 2 |  | 2 | EA |  | 0
60 | 0425-1-529 | INLETS, DT BOT, TYPE C, MODIFY |  | 1 | 1 | EA |  | 0
61 | 0425 1531 | INLETS, DITCH BOTTOM, TYPE C MODIFIED- BACK OF SIDEWALK, <10' | 20 |  | 20 | EA |  | 0
62 | 0425 1541 | INLETS, DT BOT, TYPE D, <10' | 3 | 2 | 5 | EA |  | 0
63 | 0425-1-549 | INLETS, DT BOT, TYPE D, MODIFY |  | 2 | 2 | EA |  | 0
64 | 0425 1551 | INLETS, DT BOT, TYPE E, <10' | 4 |  | 4 | EA |  | 0
65 | 0425 1581 | INLETS, DT BOT, TYPE H, <10' | 2 |  | 2 | EA |  | 0
66 | 0425 1891 | INLETS, BARRIER WALL, <10' | 5 |  | 5 | EA |  | 0
67 | 0425 1910 | INLETS, CLOSED FLUME | 4 |  | 4 | EA |  | 0
68 | 0425 2 41 | MANHOLES, P-7, <10' | 6 |  | 6 | EA |  | 0
69 | 0425-2-61 | MANHOLES, P-8, < 10' |  | 2 | 2 | EA |  | 0
70 | 0425-2-63 | MANHOLES, P-8, PARTIAL |  | 1 | 1 | EA |  | 0
71 | 0425 2 71 | MANHOLES, J-7, <10' | 9 |  | 9 | EA |  | 0
72 | 0425 2 72 | MANHOLES, J-7, >10' | 5 |  | 5 | EA |  | 0
73 | 0425-2-91 | MANHOLES, J-8, < 10' |  | 2 | 2 | EA |  | 0
74 | 0430174115 | PIPE CULVERT, OPTIONAL MATERIAL, ROUND, 15"SD | 63 |  | 63 | LF |  | 0
75 | 0430174215 | PIPE CULVERT, OPTIONAL MATERIAL, OTHER SHAPE - ELLIP/ARCH, 15"SD | 68 |  | 68 | LF |  | 0
76 | 0430175112 | PIPE CULVERT,OPTIONAL MATERIAL,ROUND, 12"S/CD | 53 |  | 53 | LF |  | 0
77 | 0430-175-115 | PIPE CULVERT, OPTIONAL MATERIAL, ROUND, 15" S/CD |  | 141 | 141 | LF |  | 0
78 | 0430175118 | PIPE CULVERT,OPTIONAL MATERIAL,ROUND, 18"S/CD | 4228 | 2679 | 6907 | LF |  | 0
79 | 0430175124 | PIPE CULVERT,OPTIONAL MATERIAL,ROUND, 24"S/CD | 2223 | 636 | 2859 | LF |  | 0
80 | 0430175130 | PIPE CULVERT, OPT MATERIAL, ROUND, 30"S/CD | 716 | 99 | 815 | LF |  | 0
81 | 0430175136 | PIPE CULVERT, OPT MATERIAL, ROUND, 36"S/CD | 1329 | 360 | 1689 | LF |  | 0
82 | 0430175142 | PIPE CULVERT, OPT MATERIAL, ROUND, 42"S/CD | 695 |  | 695 | LF |  | 0
83 | 0430175148 | PIPE CULVERT, OPT MATERIAL, ROUND, 48"S/CD | 1234 |  | 1234 | LF |  | 0
84 | 0430175154 | PIPE CULVERT, OPT MATERIAL, ROUND, 54"S/CD | 3056 |  | 3056 | LF |  | 0
85 | 0430175160 | PIPE CULVERT, OPT MATERIAL, ROUND, 60"S/CD | 1516 |  | 1516 | LF |  | 0
86 | 0430175218 | PIPE CULVERT,OPTIONAL MATERIAL,OTHER-ELIP/ARCH, 18"S/CD | 226 | 8 | 234 | LF |  | 0
87 | 0430175224 | PIPE CULVERT,OPTIONAL MATERIAL,OTHER SHAPE-ELIP/ARCH, 24"S/CD | 277 | 4 | 281 | LF |  | 0
88 | 0430175230 | PIPE CULVERT, OPT MATERIAL, OTHER SHAPE - ELIP/ARCH, 30"S/CD | 79 |  | 79 | LF |  | 0
89 | 0430175242 | PIPE CULVERT, OPT MATERIAL, OTHER SHAPE - ELIP/ARCH, 42"S/CD | 198 |  | 198 | LF |  | 0
90 | 0430175254 | PIPE CULVERT, OPT MATERIAL, OTHER SHAPE - ELIP/ARCH, 54"S/CD | 36 |  | 36 | LF |  | 0
91 | 0430982123 | MITERED END SECTION, OPTIONAL ROUND, 15" CD |  | 1 | 1 | EA |  | 0
92 | 0430982125 | MITERED END SECTION, OPTIONAL ROUND, 18" CD | 2 | 1 | 3 | EA |  | 0
93 | 0430982129 | MITERED END SECTION, OPTIONAL ROUND, 24" CD | 3 | 2 | 5 | EA |  | 0
94 | 0430-982-133 | MITERED END SECTION, OPTIONAL ROUND, 30" CD | 1 | 1 | 2 | EA |  | 0
95 | 0430-982-138 | MITERED END SECTION, OPTIONAL ROUND, 36" CD |  | 1 | 1 | EA |  | 0
96 | 430-982-140 | MITERED END SECTION, OPTIONAL ROUND, 42" CD | 1 |  | 1 | EA |  | 0
97 | 0430982142 | MITERED END SECTION, OPTIONAL ROUND, 54" CD | 2 |  | 2 | EA |  | 0
98 | 0430982143 | MITERED END SECTION, OPTIONAL ROUND, 60" CD | 1 |  | 1 | EA |  | 0
99 | 0430982625 | MITERED END SECTION, OPTIONAL - ELLIPTICAL / ARCH, 18" CD | 2 |  | 2 | EA |  | 0
100 | 0430982629 | MITERED END SECTION, OPTIONAL - ELLIPTICAL / ARCH, 24" CD | 1 |  | 1 | EA |  | 0
101 | 0430984123 | MITERED END SECTION, OPTIONAL ROUND, 15" SD | 6 |  | 6 | EA |  | 0
102 | 0430984625 | MITERED END SECT, OPTIONAL - ELLIPTICAL / ARCH, 18" SD | 4 |  | 4 | EA |  | 0
103 | 0450 2 45 | PREST BEAMS: FLORIDA-I BEAM 45" | 14937.9 |  | 14937.9 | LF |  | 0
104 | 0455 34 5 | PRESTRESSED CONCRETE PILING, 24" SQ | 13278.9 |  | 13278.9 | LF |  | 0
105 | 0455143 5 | TEST PILES-PRESTRESSED CONCRETE,24" SQ | 1217 |  | 1217 | LF |  | 0
106 | 0458 1 11 | BRIDGE DECK EXPANSION JOINT, NEW CONSTRUCTION, F&I POURED JOINT WITH BACKER ROD | 689 |  | 689 | LF |  | 0
107 | 0459 71 | PILES, POLYETHYLENE SHEETING | 59.4 |  | 59.4 | SY |  | 0
108 | 0515-1-1 | PIPE HANDRAIL - GUIDERAIL, STEEL |  | 550 | 550 | LF |  | 0
109 | 0515 1 2 | PIPE HANDRAIL - GUIDERAIL, ALUMINUM | 1068 |  | 1068 | LF |  | 0
110 | 0515 42 | PEDESTRIAN/BICYCLE RAILING, ALUMINUM, DOUBLE BULLET RAIL | 3124.8 |  | 3124.8 | LF |  | 0
111 | 0519-78 | BOLLARDS | 4 |  | 4 | EA |  | 0
112 | 0520 1 10 | CONCRETE CURB & GUTTER, TYPE F | 16912 | 4145 | 21057 | LF |  | 0
113 | 0520 1 11 | CONCRETE CURB & GUTTER, VARIABLE HEIGHT TYPE F | 7681 |  | 7681 | LF |  | 0
114 | 0520-2-2 | CONCRETE CURB & GUTTER, TYPE AB |  | 8515 | 8515 | LF |  | 0
115 | 0520 5 11 | TRAFFIC SEPARATOR CONCRETE-TYPE I, 4' WIDE | 1386 |  | 1386 | LF |  | 0
116 | 0520 5 16 | TRAFFIC SEPARATOR CONCRETE- TYPE I, 8.5' WIDE | 1401 |  | 1401 | LF |  | 0
117 | 0521 1 | MEDIAN CONCRETE BARRIER WALL | 3557 |  | 3557 | LF |  | 0
118 | 0521 5 1 | CONCRETE TRAFFIC RAILING, BRIDGE 32" F - SHAPE | 6249.7 |  | 6249.7 | LF |  | 0
119 | 0521 6 11 | CONCRETE PARAPET, PEDESTRIAN/BICYCLE, 27" HEIGHT | 3124.8 |  | 3124.8 | LF |  | 0
120 | 0521 72 5 | SHOULDER CONCRETE BARRIER WALL, RIGID-CURB & GUTTER | 3720 |  | 3720 | LF |  | 0
121 | 0522 1 | CONCRETE SIDEWALK AND DRIVEWAYS, 4" THICK | 5901 | 4484 | 10385 | SY |  | 0
122 | 0522 2 | CONCRETE SIDEWALK AND DRIVEWAYS, 6" THICK | 2849 |  | 2849 | SY |  | 0
123 | 0524-1-2 | CONCRETE DITCH PAVEMENT, NON-REINFORCED, 4" |  | 11.9 | 11.9 | SY |  | 0
124 | 0527 2 | DETECTABLE WARNINGS | 495 | 379 | 874 | SF |  | 0
125 | 0530 1 | RIPRAP, SAND-CEMENT | 55 |  | 55 | CY |  | 0
126 | 0530 3 3 | RIPRAP- RUBBLE, BANK AND SHORE | 1558 |  | 1558 | TN |  | 0
127 | 0530-74 | BEDDING STONE | 1440 |  | 1440 | TN |  | 0
128 | 0536 1 0 | GUARDRAIL -ROADWAY, GENERAL/LOW SPEED TL-2 | 366.8 |  | 366.8 | LF |  | 0
129 | 0536 85 24 | GUARDRAIL END ANCHORAGE ASSEMBLY- PARALLEL | 1 |  | 1 | EA |  | 0
130 | 0536 85 26 | GUARDRAIL END ANCHORAGE ASSEMBLY- TYPE CRT | 1 |  | 1 | EA |  | 0
131 | 0542-70 | BUMPER GUARDS, CONCRETE | 11 |  | 11 | EA |  | 0
132 | 0550-10-222 | FENCING, TYPE B, 5.1-6.0, W/ VINYL COATING | 983 |  | 983 | LF |  | 0
133 | 0570 1 1 | PERFORMANCE TURF | 26152 |  | 26152 | SY |  | 0
134 | 0570 1 2 | PERFORMANCE TURF, SOD | 19369 | 18550 | 37919 | SY |  | 0
135 | 0710 11101 | PAINTED PAVEMENT MARKINGS, STANDARD, WHITE, SOLID, 6" | 3.34 | 3.114 | 6.454 | GM |  | 0
136 | 0710 11124 | PAINTED PAVEMENT MARKINGS, STANDARD, WHITE, SOLID FOR DIAGONAL OR CHEVRON, 18" | 97.8 |  | 97.8 | LF |  | 0
137 | 0710 11125 | PAINTED PAVEMENT MARKINGS, STANDARD, WHITE, SOLID FOR STOP LINE OR CROSSWALK, 24" | 528.1 | 183 | 711.1 | LF |  | 0
138 | 0710 11131 | PAINTED PAVEMENT MARKINGS, STANDARD, WHITE, SKIP, 10-30 OR 3-9 SKIP, 6" WIDE | 52.79 |  | 52.79 | GM |  | 0
139 | 0710 11160 | PAINTED PAVEMENT MARKINGS, STANDARD, WHITE, MESSAGE OR SYMBOL | 2 |  | 2 | EA |  | 0
140 | 0710 11201 | PAINTED PAVEMENT MARKINGS, STANDARD, YELLOW, SOLID, 6" | 55.4 | 2.947 | 58.347 | GM |  | 0
141 | 0710 11224 | PAINTED PAVEMENT MARKINGS, STANDARD, YELLOW, SOLID FOR DIAGONAL OR CHEVRON, 18" | 680.2 |  | 680.2 | LF |  | 0
|  | SUBTOTAL (ROADWAY & BRIDGE ONLY) | [5 empty] | 0
|  | CONTRACT CONTINGENCY WORK FOR ROADWAY & BRIDGE (USED ONLY WITH COUNTY APPROVAL) |  |  |  |  | 10% | 0
SIGNING AND PAVEMENT MARKING
142 | 0654 2 21 | RECTANGULAR RAPID FLASHING BEACON, F&I- SOLAR POWERED, COMPLETE SIGN ASSEMBLY- SINGLE DIRECTION |  | 2 | 2 | AS |  | 0
143 | 0654 2 22 | RECTANGULAR RAPID FLASHING BEACON, FURNISH & INSTALL- SOLAR POWERED, COMPLETE ASSEMBLY- BACK TO BACK | 2 | 1 | 3 | AS |  | 0
144 | 0700 1 11 | SINGLE POST SIGN, F&I GROUND MOUNT, UP TO 12 SF | 58 | 26 | 84 | AS |  | 0
145 | 0700 1 12 | SINGLE POST SIGN, F&I GROUND MOUNT, 12-20 SF | 6 | 1 | 7 | AS |  | 0
146 | 0700 1 13 | SINGLE POST SIGN, F&I GROUND MOUNT, 21-30 SF | 1 | 5 | 6 | AS |  | 0
147 | 0700 1 50 | SINGLE POST SIGN, RELOCATE | 4 | 1 | 5 | AS |  | 0
148 | 0700 1 60 | SINGLE POST SIGN, REMOVE | 21 |  | 21 | AS |  | 0
149 | 0700-1-74 | SINGLE POST SIGN, F&I CUSTOM, 31+ SF |  | 1 | 1 | AS |  | 0
150 | 0700 2 12 | MULTI- POST SIGN, F&I GROUND MOUNT, 12-20 SF | 1 |  | 1 | AS |  | 0
151 | 0700 2 13 | MULTI- POST SIGN, F&I GROUND MOUNT, 21-30 SF | 1 |  | 1 | AS |  | 0
152 | 0700 2 14 | MULTI- POST SIGN, F&I GROUND MOUNT, 31-50 SF | 2 | 2 | 4 | AS |  | 0
153 | 0700 3601 | SIGN PANEL, REMOVE, UP TO 12 SF | 3 | 2 | 5 | EA |  | 0
154 | 0700 6 60 | HIGHLIGHTED SIGN, REMOVE | 3 |  | 3 | AS |  | 0
155 | 0705 10 1 | OBJECT MARKER, TYPE 1 | 23 | 17 | 40 | EA |  | 0
156 | 0705 10 4 | OBJECT MARKER, TYPE 4 | 6 | 3 | 9 | EA |  | 0
157 | 0705-11-1 | DELINEATOR, FLEXIBLE TUBULAR, YELLOW - YELLOW |  | 8 | 8 | EA |  | 0
158 | 0705 11 3 | DELINEATOR, FLEXIBLE HIGH VISABILITY MEDIAN | 14 |  | 14 | EA |  | 0
159 | 0706 3 | RETRO-REFLECTIVE PAVEMENT MARKERS | 1159 |  | 1159 | EA |  | 0
160 | 0710 11290 | PAINTED PAVEMENT MARKINGS, STANDARD, YELLOW, ISLAND NOSE | 111 | 124 | 235 | SF |  | 0
161 | 0710-90 | PAINTED PAVEMENT MARKINGS, FINAL SURFACE |  | 1 | 1 | LS |  | 0
162 | 0711 11123 | THERMOPLASTIC, STANDARD, WHITE, SOLID, 12" FOR CROSSWALK AND ROUNDABOUT | 1606 | 1436 | 3042 | LF |  | 0
163 | 0711 11124 | THERMOPLASTIC, STANDARD, WHITE, SOLID, 18" FOR DIAGONALS AND CHEVRONS | 500 |  | 500 | LF |  | 0
164 | 0711 11125 | THERMOPLASTIC, STANDARD, WHITE, SOLID, 24" FOR STOP LINE AND CROSSWALK | 395 | 290 | 685 | LF |  | 0
165 | 0711 11141 | THERMOPLASTIC, STANDARD, WHITE, 2-4 DOTTED GUIDELINE/ 6-10 GAP EXTENSION, 6" | 0.616 | 0.502 | 1.118 | GM |  | 0
166 | 0711 11160 | THERMOPLASTIC, STANDARD, WHITE, MESSAGE OR SYMBOL | 2 |  | 2 | EA |  | 0
167 | 0711 11170 | THERMOPLASTIC, STANDARD, WHITE, ARROW | 74 | 25 | 99 | EA |  | 0
168 | 0711 11224 | THERMOPLASTIC, STANDARD, YELLOW, SOLID, 18" FOR DIAGONAL OR CHEVRON | 474 | 29 | 503 | LF |  | 0
169 | 0711 11241 | THERMOPLASTIC, STANDARD, YELLOW, 2-4 DOTTED GUIDE LINE /6-10 DOTTED EXTENSION LINE, 6" | 0.376 | 0.186 | 0.562 | GM |  | 0
170 | 0711 14125 | THERMOPLASTIC, PREFORMED, WHITE, SOLID, 24" FOR CROSSWALK | 520 | 526 | 1046 | LF |  | 0
171 | 0711 14160 | THERMOPLASTIC, PREFORMED, WHITE, MESSAGE | 35 | 8 | 43 | EA |  | 0
172 | 0711 14170 | THERMOPLASTIC, PREFORMED, WHITE, ARROWS | 35 | 8 | 43 | EA |  | 0
173 | 0711 16101 | THERMOPLASTIC, STANDARD-OTHER SURFACES, WHITE, SOLID, 6" | 8.653 | 3.263 | 11.916 | GM |  | 0
174 | 0711 16102 | THERMOPLASTIC, STANDARD-OTHER SURFACES, WHITE, SOLID, 8" | 0.087 |  | 0.087 | GM |  | 0
175 | 0711 16131 | THERMOPLASTIC, OTHER SURFACES, WHITE, SKIP, 6",10-30 SKIP OR 3-9 LANE DROP | 2.687 | 1.772 | 4.459 | GM |  | 0
176 | 0711 16201 | THERMOPLASTIC, STANDARD-OTHER SURFACES, YELLOW, SOLID, 6" | 4.168 | 1.831 | 5.999 | GM |  | 0
177 | 0711 17 | THERMOPLASTIC, REMOVE EXISTING THERMOPLASTIC PAVEMENT MARKINGS | 44 |  | 44 | SF |  | 0
178 | 0713103101 | PERMANENT TAPE, WHITE, SOLID, 6" FOR CONCRETE BRIDGES | 1.182 |  | 1.182 | GM |  | 0
179 | 0713103131 | PERMENENT TAPE, WHITE, SKIP/DOTTED, 6" FOR CONCRETE SURFACES | 0.591 |  | 0.591 | GM |  | 0
180 | 0713103201 | PERMANENT TAPE, YELLOW, SOLID, 6" FOR CONCRETE BRIDGES | 0.591 |  | 0.591 | GM |  | 0
181 | 0713103331 | PERMANENT TAPE, BLACK, SKIP/DOTTED, 6" FOR CONCRETE SURFACES | 0.591 |  | 0.591 | GM |  | 0
|  | SUBTOTAL (SIGNING & PAVEMENT MARKING ONLY) | [5 empty] | 0
| CONTRACT CONTINGENCY WORK FOR SIGNING & PAVEMENT MARKING (USED ONLY WITH COUNTY APPROVAL) | [5 empty] | 10% | 0
SIGNALIZATION & LIGHTING
182 | 0630 2 11 | CONDUIT, FURNISH & INSTALL, OPEN TRENCH | 23394 | 11611 | 35005 | LF |  | 0
183 | 0630 2 12 | CONDUIT, FURNISH & INSTALL, DIRECTIONAL BORE | 3697 | 2544 | 6241 | LF |  | 0
184 | 0630-2-14 | CONDUIT, FURNISH & INSTALL, ABOVE GROUND |  | 30 | 30 | LF |  | 0
185 | 0632 7 1 | SIGNAL CABLE- NEW OR RECONSTRUCTED INTERSECTION, FURNISH & INSTALL | 2 | 1 | 3 | PI |  | 0
186 | 0633 1121 | FIBER OPTIC CABLE, F&I, UNDERGROUND,2-12 FIBERS | 210 | 220 | 430 | LF |  | 0
187 | 633 1 122 | FIBER OPTIC CABLE, F&I, UNDERGROUND,13-48 FIBERS |  | 3994 | 3994 | LF |  | 0
188 | 0633 1123 | FIBER OPTIC CABLE, F&I, UNDERGROUND,49-96 FIBERS | 10926 |  | 10926 | LF |  | 0
189 | 0633 2 31 | FIBER OPTIC CONNECTION, INSTALL, SPLICE | 56 | 8 | 64 | EA |  | 0
190 | 0633 3 11 | FIBER OPTIC CONNECTION HARDWARE, F&I, SPLICE ENCLOSURE | 4 | 2 | 6 | EA |  | 0
191 | 0633 3 12 | FIBER OPTIC CONNECTION HARDWARE, F&I, SPLICE TRAY | 7 | 2 | 9 | EA |  | 0
192 | 0633 3 13 | FIBER OPTIC CONNECTION HARDWARE, F&I, PRETERMINATED CONNECTOR ASSEMBLY | 36 |  | 36 | EA |  | 0
193 | 633 3 15 | FIBER OPTIC CONNECTION HARDWARE, F&I, PRETERMINATED PATCH PANEL |  | 2 | 2 | EA |  | 0
194 | 0633 3 16 | FIBER OPTIC CONNECTION HARDWARE, F&I, PATCH PANEL- FIELD TERMINATED | 3 |  | 3 | EA |  | 0
195 | 0633 3 17 | FIBER OPTIC CONNECTION HARDWARE, F&I, CONNECTOR PANEL | 3 |  | 3 | EA |  | 0
196 | 0633 3 51 | FIBER OPTIC CONNECTION HARDWARE, ADJUST/MODIFY SPLICE ENCLOSURE | 1 |  | 1 | EA |  | 0
197 | 0633 3 52 | FIBER OPTIC CONNECTION HARDWARE, ADJUST/MODIFY SPLICE TRAY | 1 |  | 1 | EA |  | 0
198 | 0633 8 1 | MULTI-CONDUCTOR COMMUNICATION CABLE, FURNISH & INSTALL | 414 | 460 | 874 | LF |  | 0
199 | 0643-620 | Wood Strain Poles, Remove | 1 |  | 1 | EA |  | 0
200 | 0635 2 11 | PULL & SPLICE BOX, F&I, 13" x 24" COVER SIZE | 172 | 72 | 244 | EA |  | 0
201 | 0635 2 12 | PULL & SPLICE BOX, F&I, 24" X 36" COVER SIZE | 13 | 60 | 73 | EA |  | 0
202 | 0635 2 13 | PULL & SPLICE BOX, F&I, 30" X 60" RECTANGULAR OR 36" ROUND COVER SIZE | 5 | 2 | 7 | EA |  | 0
203 | 0639 1122 | ELECTRICAL POWER SERVICE, F&I, UNDERGROUND, METER PURCHASED BY CONTRACTOR | 3 | 1 | 4 | AS |  | 0
204 | 0639 2 1 | ELECTRICAL SERVICE WIRE | 980 | 807 | 1787 | LF |  | 0
205 | 0639 3 11 | ELECTRICAL SERVICE DISCONNECT, F&I, POLE MOUNT | 5 | 1 | 6 | EA |  | 0
206 | 639 4 6 | EMERGENCY GENERATOR- PORTABLE, INSTALL HOUSING ONLY |  | 1 | 1 | EA |  | 0
207 | 0641 2 12 | PRESTRESSED CONCRETE POLE, F&I, TYPE P-II SERVICE POLE | 4 | 1 | 5 | EA |  | 0
208 | 0641 2 13 | PRESTRESSED CONCRETE POLE, F&I, TYPE P-III | 4 | 1 | 5 | EA |  | 0
209 | 0646 1 11 | ALUMINUM SIGNALS POLE, PEDESTAL | 12 | 6 | 18 | EA |  | 0
210 | 649 21 6 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, SINGLE ARM 50 |  | 3 | 3 | EA |  | 0
211 | 0649 31207 | MAST ARM,F&I, WIND SPEED-130,SINGLE ARM,W/0 LUMINAIRE-46 | 1 |  | 1 | EA |  | 0
212 | 0649 31203 | MAST ARM,F&I, WIND SPEED-130,SINGLE ARM,W/0 LUMINAIRE-60 | 1 |  | 1 | EA |  | 0
213 | 0649 31204 | MAST ARM,F&I, WIND SPEED-130,SINGLE ARM,W/0 LUMINAIRE, ARM LENGTH 70.5 | 1 |  | 1 | EA |  | 0
214 | 0649 31205 | MAST ARM,F&I, WIND SPEED-130,SINGLE ARM,W/0 LUMINAIRE, ARM LENGTH 78 | 1 |  | 1 | EA |  | 0
215 | 0650 1 14 | TRAFFIC SIGNAL, FURNISH & INSTALL ALUMINUM, 3 SECTION, 1 WAY | 9 | 6 | 15 | AS |  | 0
216 | 0650 1 16 | TRAFFIC SIGNAL, FURNISH & INSTALL ALUMINUM, 4 SECTION, 1 WAY | 5 | 2 | 7 | AS |  | 0
217 | 0650 1 19 | TRAFFIC SIGNAL, FURNISH & INSTALL ALUMINUM, 5 SECTION CLUSTER, 1 WAY | 5 |  | 5 | AS |  | 0
218 | 0650 1 60 | TRAFFIC SIGNAL, REMOVE- POLES TO REMAIN | 3 |  | 3 | AS |  | 0
219 | 0650 1 70 | TRAFFIC SIGNAL, RELOCATE | 2 |  | 2 | AS |  | 0
220 | 0653 1 11 | PEDESTRIAN SIGNAL, FURNISH & INSTALL LED COUNTDOWN, 1 WAY | 12 | 6 | 18 | AS |  | 0
221 | 0660 3 11 | VEHICLE DETECTION SYSTEM- MICROWAVE, FURNISH & INSTALL CABINET EQUIPMENT | 4 | 2 | 6 | EA |  | 0
222 | 0660 3 12 | VEHICLE DETECTION SYSTEM- MICROWAVE, FURNISH & INSTALL, ABOVE GROUND EQUIPMENT | 6 | 4 | 10 | EA |  | 0
223 | 0660 4 11 | VEHICLE DETECTION SYSTEM- VIDEO, FURNISH & INSTALL CABINET EQUIPMENT | 1 |  | 1 | EA |  | 0
224 | 0660 4 12 | VEHICLE DETECTION SYSTEM- VIDEO, FURNISH & INSTALL ABOVE GROUND EQUIPMENT | 4 |  | 4 | EA |  | 0
225 | 0660 4 52 | VEHICLE DETECTION SYSTEM- VIDEO, ADJUST/MODIFY ABOVE GROUND EQUIPMENT | 1 |  | 1 | EA |  | 0
226 | 0660 6121 | VEHICLE DETECTION SYSTEM- AVI, BLUETOOTH, FURNISH & INSTALL, CABINET EQUIPMENT | 2 | 1 | 3 | EA |  | 0
227 | 0660 6122 | VEHICLE DETECTION SYSTEM- AVI, BLUETOOTH, FURNISH & INSTALL, ABOVE GROUND EQUIPMENT | 2 | 1 | 3 | EA |  | 0
228 | 0663 1 111 | SIGNAL PRIORITY AND PREEMPTION SYSTEM, F&I, OPTICAL, CABINET ELECTRONICS |  | 1 | 1 | EA |  | 0
229 | 0663 1 112 | SIGNAL PRIORITY AND PREEMPTION SYSTEM, F&I, OPTICAL, DETECTOR |  | 3 | 3 | EA |  | 0
230 | 0665 1 11 | PEDESTRIAN DETECTOR, FURNISH & INSTALL, STANDARD | 12 | 6 | 18 | EA |  | 0
231 | 0670 5112 | TRAFFIC CONTROLLER ASSEMBLY, F&I, NEMA, 2 PREEMPTION | 1 | 1 | 2 | AS |  | 0
232 | 0670 5400 | TRAFFIC CONTROLLER ASSEMBLY, MODIFY | 1 |  | 1 | AS |  | 0
233 | 0676 2122 | ITS CABINET, FURNISH & INSTALL, POLE MOUNT WITH SUNSHIELD, 336S, 24" W X 46" H X 22" D | 4 | 1 | 5 | EA |  | 0
234 | 0682 1113 | ITS CCTV CAMERA, F&I, DOME PTZ ENCLOSURE - PRESSURIZED, IP, HIGH DEFINITION | 4 | 1 | 5 | EA |  | 0
235 | 0684 1 1 | MANAGED FIELD ETHERNET SWITCH, FURNISH & INSTALL | 3 | 2 | 5 | EA |  | 0
236 | 0684 2 1 | DEVICE SERVER, FURNISH & INSTALL | 2 |  | 2 | EA |  | 0
237 | 684 6 11 | WIRELESS COMMUNICATION DEVICE, FURNISH & INSTALL ETHERNET ACCESS POINT |  | 1 | 1 | EA |  | 0
238 | 684 6 12 | WIRELESS COMMUNICATION DEVICE, FURNISH & INSTALL ETHERNET SUBSCRIBER UNIT |  | 1 | 1 | EA |  | 0
239 | 685 1 11 | UNINTERRUPTIBLE POWER SUPPLY, FURNISH AND INSTALL, LINE INTERACTIVE |  | 1 | 1 | EA |  | 0
240 | 0685112 | UNINTERRUPTIBLE POWER SOURCE (F&I) ONLINE/DOUBLE CONVERSION | 4 | 1 | 5 | EA |  | 0
241 | 0685113 | UNINTERRUPTIBLE POWER SOURCE (F&I) LINE INTERACTIVE WITH CABINET | 1 |  | 1 | EA |  | 0
242 | 0700 3201 | SIGN PANEL, FURNISH & INSTALL OVERHEAD MOUNT, UP TO 12 SF | 2 | 2 | 4 | EA |  | 0
243 | 0700 5 22 | INTERNALLY ILLUMINATED SIGN, FURNISH & INSTALL, OVERHEAD MOUNT, 12-18 SF | 4 | 3 | 7 | EA |  | 0
244 | 0700 5 50 | INTERNALLY ILLUMINATED SIGN, RELOCATE | 1 |  | 1 | EA |  | 0
245 | 0715 1 12 | LIGHTING CONDUCTORS, F&I, INSULATED, NO.8 - 6 | 90954 | 34727 | 125681 | LF |  | 0
246 | 0715 1 13 | LIGHTING CONDUCTORS, F&I, INSULATED, NO 4 TO NO 2 | 987 | 500 | 1487 | LF |  | 0
247 | 0715-4-13 | LIGHT POLE COMPLETE, FURNISH & INSTALL STANDARD POLE STANDARD FOUNDATION, 40' MOUNTING HEIGHT |  | 22 | 22 | EA |  | 0
248 | 0715 4121 | LIGHT POLE COMPLETE, F&I, WIND SPEED 130, POLE HEIGHT 40' | 55 |  | 55 | EA |  | 0
249 | 0715-4-23 | LIGHT POLE COMPLETE, FURNISH & INSTALL STANDARD POLE SPECIAL FOUNDATION, 40' MOUNTING HEIGHT |  | 31 | 31 | EA |  | 0
250 | 0715 5 12 | LUMINAIRE & BRACKET ARM, F&I, GALVANIZED STEEL | 1 |  | 1 | EA |  | 0
251 | 0715 7 11 | LOAD CENTER, F&I, SECONDARY VOLTAGE | 2 | 1 | 3 | EA |  | 0
252 | 0715-11-111 | LUMINAIRE, F&I, ROADWAY, COBRAHEAD |  | 2 | 2 | EA |  | 0
253 | 0715500 1 | POLE CABLE DISTRIBUTION SYSTEM, CONVENTIONAL | 100 | 53 | 153 | EA |  | 0
254 | 0715500 3 | POLE CABLE DISTRIBUTION SYSTEM, WALL MOUNT | 20 |  | 20 | EA |  | 0
255 | 0715512140 | LIGHT POLE COMPLETE- SPECIAL DESIGN, F&I, DOUBLE ARM SHOULDER MOUNT, ALUMINUM, 40' | 20 |  | 20 | EA |  | 0
256 | 0715515140 | LIGHT POLE COMPLETE- SEPCIAL DESIGN, F&I, SINGLE ARM BRIDGE MOUNT, NON-STD ALUMINUM, 40' | 20 |  | 20 | EA |  | 0
|  | SUBTOTAL (SIGNALIZATION & LIGHTING ONLY) | [5 empty] | 0
| CONTRACT CONTINGENCY WORK FOR SIGNALIZATION & LIGHT8ING (USED ONLY WITH COUNTY APPROVAL) | [5 empty] | 10% | 0
POTABLE WATER
GENERAL
257 | UG1 | UG-1 Unsuitable Material Excavation Below Grade | 500 |  | 500 | CY |  | 0
258 | UG2 | UG-2 Select Backfill Below Grade | 500 |  | 500 | CY |  | 0
259 | UG3 | UG-3 Crushed Stone Pipe Bedding | 250 |  | 250 | CY |  | 0
260 | UG4 | UG-4 Permanent Roadway Restoration | 500 |  | 500 | SY |  | 0
261 | UG5 | UG-5 Temporary Roadway Restoration | 500 |  | 500 | SY |  | 0
262 | UG6 | UG-6 Patch Roadway Impacted by Pipe Restraint Installation | 200 |  | 200 | SY |  | 0
263 | UG7 | UG-7 Asphalt Overlay | 2000 |  | 2000 | SY |  | 0
264 | UG8 | UG-8 Driveway Restoration | 100 |  | 100 | SY |  | 0
265 | UG9 | UG-9 Sod Restoration | 1500 |  | 1500 | SY |  | 0
266 | UG10 | UG-10 Tree Replacement | 16 |  | 16 | EA |  | 0
POTABLE WATER INSTALL
UW-1 Water Main by Open Cut
267 |  | UW-1A 36'' DIP PO | 1957 |  | 1957 | LF |  | 0
268 |  | UW-1B 36'' DIP RJ | 2838 |  | 2838 | LF |  | 0
269 |  | UW-1C 30'' DIP PO | 1000 |  | 1000 | LF |  | 0
270 |  | UW-1D 30" DIP RJ | 775 |  | 775 | LF |  | 0
271 |  | UW-1E 24'' DIP RJ | 15 |  | 15 | LF |  | 0
272 |  | UW-1F 12'' DIP RJ | 225 |  | 225 | LF |  | 0
273 |  | UW-1G 8'' DIP PO | 40 |  | 40 | LF |  | 0
274 |  | UW-1H 8" DIP RJ | 320 |  | 320 | LF |  | 0
275 |  | UW-1I 6'' DIP RJ | 158 |  | 158 | LF |  | 0
276 |  | UW-1J 4'' DIP RJ | 60 |  | 60 | LF |  | 0
277 |  | UW-1K 8'' PVC Pipe PO | 3477 |  | 3477 | LF |  | 0
278 |  | UW-1L 8'' PVC Pipe RJ | 552 |  | 552 | LF |  | 0
279 |  | UW-1M 6'' PVC Pipe RJ | 80 |  | 80 | LF |  | 0
UW-2 Ductile Iron Water Main Fittings
280 |  | UW-2A 36" 90 Degree Bend | 3 |  | 3 | EA |  | 0
281 |  | UW-2B 36" 45 Degree Bend | 25 |  | 25 | EA |  | 0
282 |  | UW-2C 36" 22.5 Degree Bend | 19 |  | 19 | EA |  | 0
283 |  | UW-2D 36" 11.25 Degree Bend | 4 |  | 4 | EA |  | 0
284 |  | UW-2E 36" x 36" Tee | 2 |  | 2 | EA |  | 0
285 |  | UW-2F 36" x 30" Tee | 1 |  | 1 | EA |  | 0
286 |  | UW-2G 36" x 24" Tee | 1 |  | 1 | EA |  | 0
287 |  | UW-2H 36" x 12" Tee | 1 |  | 1 | EA |  | 0
288 |  | UW-2I 36" x 8" Tee | 2 |  | 2 | EA |  | 0
289 |  | UW-2J 36" x 6" Tee | 8 |  | 8 | EA |  | 0
290 |  | UW-2K 36" Cap | 2 |  | 2 | EA |  | 0
291 |  | UW-2L 30" 45 Degree Bend | 12 |  | 12 | EA |  | 0
292 |  | UW-2M 30" 22.5 Degree Bend | 2 |  | 2 | EA |  | 0
293 |  | UW-2N 30" 11.25 Degree Bend | 2 |  | 2 | EA |  | 0
294 |  | UW-2O 30" x 8" Reducer | 1 |  | 1 | EA |  | 0
295 |  | UW-2P 30" x 30" Tee | 1 |  | 1 | EA |  | 0
296 |  | UW-2Q 30" Cap | 2 |  | 2 | EA |  | 0
297 |  | UW-2R 24" Cap | 1 |  | 1 | EA |  | 0
298 |  | UW-2S 12" 45 Degree Bend | 4 |  | 4 | EA |  | 0
299 |  | UW-2T 12" 11.25 Degree Bend | 1 |  | 1 | EA |  | 0
300 |  | UW-2U 12" x 6" Tee | 1 |  | 1 | EA |  | 0
301 |  | UW-2V 12" Cap | 1 |  | 1 | EA |  | 0
302 |  | UW-2W 10" x 8" Reducer | 3 |  | 3 | EA |  | 0
303 |  | UW-2X 8" 90 Degree Bend | 2 |  | 2 | EA |  | 0
304 |  | UW-2Y 8" 45 Degree Bend | 19 |  | 19 | EA |  | 0
305 |  | UW-2Z 8" 22.5 Degree Bend | 6 |  | 6 | EA |  | 0
306 |  | UW-2AA 8" 11.25 Degree Bend | 9 |  | 9 | EA |  | 0
307 |  | UW-2AB 8" x 6" Reducer | 1 |  | 1 | EA |  | 0
308 |  | UW-2AC 8" x 8" Tee | 5 |  | 5 | EA |  | 0
309 |  | UW-2AD 8" x 6" Tee | 8 |  | 8 | EA |  | 0
310 |  | UW-2AE 8" x 4" Tee | 1 |  | 1 | EA |  | 0
311 |  | UW-2AF 8" Cap | 3 |  | 3 | EA |  | 0
312 |  | UW-2AG 6" 90 Degree Bend | 5 |  | 5 | EA |  | 0
313 |  | UW-2AH 6" 45 Degree Bend | 2 |  | 2 | EA |  | 0
314 |  | UW-2AI 6" x 2" Reducer | 1 |  | 1 | EA |  | 0
315 |  | UW-2AJ 6" x 6" Tee | 5 |  | 5 | EA |  | 0
316 |  | UW-2AK 6" Cap | 3 |  | 3 | EA |  | 0
317 |  | UW-2AL 4" Cap | 1 |  | 1 | EA |  | 0
318 |  | UW-2AM 30" x 6" Tee | 1 |  | 1 | EA |  | 0
319 |  | UW-3 2" PVC Water Main | 170 |  | 170 | LF |  | 0
UW-4 36'' DIP Water Main on New Bridge
320 |  | UW-4A 36" DIP/RJ | 1600 |  | 1600 | LF |  | 0
321 |  | UW-4B 36" Expansion Joint | 6 |  | 6 | EA |  | 0
322 |  | UW-4C Combination Air Valve | 1 |  | 1 | EA |  | 0
323 |  | UW-4D 36" Pipe Supports | 88 |  | 88 | EA |  | 0
324 |  | UW-4E Concrete Piles | 840 |  | 840 | LF |  | 0
325 |  | UW-4F Gravity Thrust Block | 125 |  | 125 | CY |  | 0
326 |  | UW-4G Pile Cap | 31 |  | 31 | CY |  | 0
327 |  | UW-4H Concrete Slab | 2 |  | 2 | CY |  | 0
328 |  | UW-5 10'' HDPE by Horizontal Directional Drill (HDD) | 220 |  | 220 | LF |  | 0
329 |  | UW-6 Temporary 6'' Water Main | 1 |  | 1 | LS |  | 0
UW-7 Butterfly Valve
330 |  | UW-7A 36'' Butterfly Valve | 7 |  | 7 | EA |  | 0
331 |  | UW-7B 30'' Butterfly Valve | 3 |  | 3 | EA |  | 0
332 |  | UW-7C 24'' Butterfly Valve | 1 |  | 1 | EA |  | 0
UW-8 Gate Valve
333 |  | UW-8A 12'' Gate Valve | 2 |  | 2 | EA |  | 0
334 |  | UW-8B 8'' Gate Valve | 11 |  | 11 | EA |  | 0
335 |  | UW-8C 6'' Gate Valve | 9 |  | 9 | EA |  | 0
336 |  | UW-8D 4'' Gate Valve | 1 |  | 1 | EA |  | 0
337 |  | UW-8E 2'' Gate Valve | 1 |  | 1 | EA |  | 0
338 |  | UW-9 8'' Insertion Valve | 3 |  | 3 | EA |  | 0
339 |  | UW-10 Fire Hydrant Assembly | 15 |  | 15 | EA |  | 0
UW-11 Air Release Valves
340 |  | UW-11A Above Ground Air Release Valve Assembly | 6 |  | 6 | EA |  | 0
341 |  | UW-11B Manual Air Release Valve Connection | 1 |  | 1 | EA |  | 0
UW-12 Water Services
342 |  | UW-12A Long Side on 36" Water Main | 2 |  | 2 | EA |  | 0
343 |  | UW-12B Long Side on 36" Water Main w/ Meter Box Assembly | 2 |  | 2 | EA |  | 0
344 |  | UW-12C Short Side on 36" Water Main w/ Meter Box Assembly | 4 |  | 4 | EA |  | 0
345 |  | UW-12D Short Side on 30" Water Main | 1 |  | 1 | EA |  | 0
346 |  | UW-12E Long Side Service | 10 |  | 10 | EA |  | 0
347 |  | UW-12F Short Side Service | 1 |  | 1 | EA |  | 0
348 |  | UW-12G Short Side Service w/ Meter Box Assembly | 7 |  | 7 | EA |  | 0
349 |  | UW-12H New Short Side Service on 36” WM with Meter Box Assembly & Backflow Preventer (King Property, Sta 216+32) | 1 |  | 1 | EA |  | 0
350 |  | UW-12I New Short Side Service on 4” WM with Meter Box Assembly & Backflow Preventer (King Property, Sta 917+80) | 1 |  | 1 | EA |  | 0
351 |  | UW-13 Backflow Preventer | 4 |  | 4 | EA |  | 0
352 |  | UW-14 Reconnect Water Services for King Property-Allowance | 1 |  | 1 | LS | 20000 | 20000
353 |  | UW-15 Jack & Bore with Steel Casing | 75 |  | 75 | LF |  | 0
354 |  | UW-16 Elwood I Pump Station Interconnection | 1 |  | 1 | LS |  | 0
UW-17 Pipeline Interconnections
355 |  | UW-17A 51st Street E 36" Interconnection | 1 |  | 1 | LS |  | 0
356 |  | UW-17B 51st Street E 30" Interconnection | 1 |  | 1 | LS |  | 0
357 |  | UW-17C Braden River Church Interconnection | 1 |  | 1 | LS |  | 0
UW-18 Restrain Existing Pipe Joints
358 |  | UW-18A Restrain Existing 36'' PCCP Pipe Joints | 16 |  | 16 | EA |  | 0
359 |  | UW-18B Restrain Existing 30'' DIP Pipe Joints | 11 |  | 11 | EA |  | 0
360 |  | UW-18C Restrain Existing 8'' Pipe Joints | 18 |  | 18 | EA |  | 0
361 |  | UW-18D Restrain Existing 6'' Pipe Joints | 5 |  | 5 | EA |  | 0
362 |  | UW-18E Restrain Existing 4'' Pipe Joints | 3 |  | 3 | EA |  | 0
POTABLE WATER REMOVE
UWR-1 Remove and Dispose of Existing Pipe
363 |  | UWR-1A 36'' PCCP | 3020 |  | 3020 | LF |  | 0
364 |  | UWR-1B 36'' DIP | 67 |  | 67 | LF |  | 0
365 |  | UWR-1C 30'' DIP | 1705 |  | 1705 | LF |  | 0
366 |  | UWR-1D 8'' PVC | 5410 |  | 5410 | LF |  | 0
367 |  | UWR-1E 6'' PVC | 305 |  | 305 | LF |  | 0
368 |  | UWR-1F 4'' PVC | 250 |  | 250 | LF |  | 0
369 |  | UWR-2 Remove and Dispose of Existing Thrust Block at Sta 507+00 | 100 |  | 100 | TON |  | 0
370 |  | UWR-3 Remove and Dispose of Temporary 6'' Water Main | 1 |  | 1 | LS |  | 0
371 |  | UWR-4 Remove and Dispose of Existing Water Services | 31 |  | 31 | EA |  | 0
372 |  | UWR-5 Remove and Salvage Existing Fire Hydrant Assembly | 6 |  | 6 | EA |  | 0
|  | SUBTOTAL (POTABLE WATER ONLY) | [5 empty] | 20000
|  | CONTRACT CONTINGENCY WORK FOR POTABLE WATER (USED ONLY WITH COUNTY APPROVAL) |  |  |  |  | 10% | 2000
WASTEWATER
WASTEWATER FORCE MAIN INSTALL
UWW-1 DIP Force Main by Open Cut
373 |  | UWW-1A 10'' DIP PO | 280 |  | 280 | LF |  | 0
374 |  | UWW-1B 10'' DIP RJ | 113 |  | 113 | LF |  | 0
375 |  | UWW-1C 8'' DIP PO | 1508 |  | 1508 | LF |  | 0
376 |  | UWW-1D 8" DIP RJ | 587 |  | 587 | LF |  | 0
377 |  | UWW-1E 6'' DIP PO | 85 |  | 85 | LF |  | 0
378 |  | UWW-1F 6'' DIP RJ | 230 |  | 230 | LF |  | 0
379 |  | UWW-1G 4'' DIP RJ | 233 |  | 233 | LF |  | 0
380 |  | UWW-1H 3'' DIP RJ | 10 |  | 10 | LF |  | 0
381 |  | UWW-1I 10'' PVC PO | 790 |  | 790 | LF |  | 0
382 |  | UWW-1J 10'' PVC RJ | 75 |  | 75 | LF |  | 0
383 |  | UWW-1K 8'' PVC PO | 1049 |  | 1049 | LF |  | 0
384 |  | UWW-1L 8'' PVC RJ | 626 |  | 626 | LF |  | 0
385 |  | UWW-1M 2'' PVC | 125 |  | 125 | LF |  | 0
UWW-2 Ductile Iron Force Main Fittings
386 |  | UWW-2A 10" 45 Degree Bend | 5 |  | 5 | EA |  | 0
387 |  | UWW-2B 10" x 8" Reducer | 1 |  | 1 | EA |  | 0
388 |  | UWW-2C 10" x 8" Wye | 1 |  | 1 | EA |  | 0
389 |  | UWW-2D 10" x 4" Tee | 1 |  | 1 | EA |  | 0
390 |  | UWW-2E 8" 45 Degree Bend | 37 |  | 37 | EA |  | 0
391 |  | UWW-2F 8" 22.5 Degree Bend | 2 |  | 2 | EA |  | 0
392 |  | UWW-2G 8" 11.25 Degree Bend | 1 |  | 1 | EA |  | 0
393 |  | UWW-2H 8" x 8" Tee | 1 |  | 1 | EA |  | 0
394 |  | UWW-2I 8" x 6" Tee | 1 |  | 1 | EA |  | 0
395 |  | UWW-2J 8" Cap | 2 |  | 2 | EA |  | 0
396 |  | UWW-2K 6" 45 Degree Bend | 9 |  | 9 | EA |  | 0
397 |  | UWW-2L 6" 22.5 Degree Bend | 1 |  | 1 | EA |  | 0
398 |  | UWW-2M 6" 11.25 Degree Bend | 1 |  | 1 | EA |  | 0
399 |  | UWW-2N 6" Cap | 2 |  | 2 | EA |  | 0
400 |  | UWW-2O 4" 90 Degree Bend | 2 |  | 2 | EA |  | 0
401 |  | UWW-2P 4" 45 Degree Bend | 8 |  | 8 | EA |  | 0
402 |  | UWW-2Q 4" x 3" Reducer | 1 |  | 1 | EA |  | 0
403 |  | UWW-2R 4" Cap | 2 |  | 2 | EA |  | 0
404 |  | UWW-2S 3" 90 Degree Bend | 2 |  | 2 | EA |  | 0
UWW-3 8'' DIP Dry Force Main on New Bridge
405 |  | UWW-3A 8" DIP/RJ | 1600 |  | 1600 | LF |  | 0
406 |  | UWW-3B 8" Expansion Joint | 6 |  | 6 | EA |  | 0
407 |  | UWW-3C Combination Air Valve | 1 |  | 1 | EA |  | 0
408 |  | UWW-3D 8" Pipe Supports | 88 |  | 88 | EA |  | 0
409 |  | UWW-4 2" HDPE Force Main by HDD | 205 |  | 205 | LF |  | 0
UWW-5 Gate Valve
410 |  | UWW-5A 8'' Gate Valve | 6 |  | 6 | EA |  | 0
411 |  | UWW-5B 6'' Gate Valve | 1 |  | 1 | EA |  | 0
412 |  | UWW-5C 4'' Gate Valve | 1 |  | 1 | EA |  | 0
413 |  | UWW-6 8'' Force Main Bypass Assembly | 2 |  | 2 | EA |  | 0
414 |  | UWW-7 8'' Force Main Pigging Port Assembly | 2 |  | 2 | EA |  | 0
415 |  | UWW-8 8'' Force Main Check Valve Assembly | 1 |  | 1 | EA |  | 0
UWW-9 Air Release Valves
416 |  | UWW-9A Above Ground Air Release Valve | 2 |  | 2 | EA |  | 0
417 |  | UWW-9B Below Grade Air Release Valve | 1 |  | 1 | EA |  | 0
UWW-10 Tapping Sleeve and Valve
418 |  | UWW-10A 20" x 10" Tapping Sleeve and Valve | 1 |  | 1 | EA |  | 0
419 |  | UWW-10B 20" x 4" Tapping Sleeve and Valve | 2 |  | 2 | EA |  | 0
420 |  | UWW-11 Cap 8" Force Main at Old Caruso Road | 1 |  | 1 | LS |  | 0
421 |  | UWW-12 Offset Existing 20'' DIP Force Main | 2 |  | 2 | EA |  | 0
422 |  | UWW-13 Concrete Encasement of Existing 20'' DIP Force Main | 8 |  | 8 | EA |  | 0
423 |  | UWW-14 Reset Manhole Frame and Cover | 1 |  | 1 | EA |  | 0
424 |  | UWW-15 Grinder Lift Station at Elwood I PS | 1 |  | 1 | LS |  | 0
UWW-16 Restrain Existing Pipe Joints
425 |  | UWW-16A Restrain Existing 8'' Pipe Joints | 2 |  | 2 | EA |  | 0
426 |  | UWW-16B Restrain Existing 3'' Pipe Joints | 1 |  | 1 | EA |  | 0
WASTEWATER GRAVITY SEWER INSTALL
UWW-17 Connect to Existing Manhole
427 |  | UWW-17A 8" Sanitary Connection | 1 |  | 1 | EA |  | 0
428 |  | UWW-17B 2" Force Main Connection | 1 |  | 1 | EA |  | 0
429 |  | UWW-18 8'' PVC Gravity Sewer Pipe by Open Cut | 565 |  | 565 | LF |  | 0
430 |  | UWW-19 Sanitary Sewer Manhole & Cover | 1 |  | 1 | EA |  | 0
431 |  | UWW-20 Apply Spray Liner to Existing Manhole | 3 |  | 3 | EA |  | 0
WASTEWATER REMOVE
UWWR-1 Remove and Dispose of Existing Force Main
432 |  | UWWR-1A 8'' PVC | 1320 |  | 1320 | LF |  | 0
433 |  | UWWR-1B 6'' PVC | 140 |  | 140 | LF |  | 0
434 |  | UWWR-1C 3'' PVC | 10 |  | 10 | LF |  | 0
435 |  | UWWR-2 Remove and Dispose of Manhole with CV & ARV | 1 |  | 1 | EA |  | 0
436 |  | UWWR-3 Remove and Dispose of Septic System at Elwood I PS | 1 |  | 1 | EA |  | 0
|  | SUBTOTAL (WASTEWATER ONLY) | [5 empty] | 0
|  | CONTRACT CONTINGENCY WORK FOR WASTEWATER (USED ONLY WITH COUNTY APPROVAL) |  |  |  |  | 10% | 0
RECLAIMED WATER
URW-1 Reclaimed Water Main by Open Cut
437 |  | URW-1A 12'' DIP RJ | 80 |  | 80 | LF |  | 0
438 |  | URW-1B 8'' DIP RJ | 130 |  | 130 | LF |  | 0
439 |  | URW-1C 6'' DIP RJ | 90 |  | 90 | LF |  | 0
URW-2 Ductile Iron Reclaimed Water Main Fittings
440 |  | URW-2A 12" 45 Degree Bend | 3 |  | 3 | EA |  | 0
441 |  | URW-2B 12" x 6" Reducer | 1 |  | 1 | EA |  | 0
442 |  | URW-2C 12" x 12" Tee | 1 |  | 1 | EA |  | 0
443 |  | URW-2D 12" Cap | 1 |  | 1 | EA |  | 0
444 |  | URW-2E 8" 45 Degree Bend | 6 |  | 6 | EA |  | 0
445 |  | URW-2F 8" Cap | 2 |  | 2 | EA |  | 0
446 |  | URW-2G 6" 45 Degree Bend | 4 |  | 4 | EA |  | 0
447 |  | URW-2H 6" Cap | 2 |  | 2 | EA |  | 0
URW-3 Gate Valve
448 |  | URW-3A 12'' Gate Valve | 1 |  | 1 | EA |  | 0
449 |  | URW-3B 6'' Gate Valve | 1 |  | 1 | EA |  | 0
450 |  | URW-4 Reclaimed Water Fire Hydrant Assembly | 5 |  | 5 | EA |  | 0
URW-5 Reclaimed Water Services
451 |  | URW-5A Single RW Service - Replace Service Line | 4 |  | 4 | EA |  | 0
452 |  | URW-5B Single RW Service - Replace Service Line & Meter Box | 4 |  | 4 | EA |  | 0
453 |  | URW-5C Double RW Service - Replace Service Line | 4 |  | 4 | EA |  | 0
454 |  | URW-5D Double RW Service - Replace Service Line & Meter Box | 1 |  | 1 | EA |  | 0
RECLAIMED WATER REMOVE
455 |  | URWR-1 Remove and Dispose of Existing Reclaimed Water Services | 13 |  | 13 | EA |  | 0
456 |  | URWR-2 Remove and Salvage Existing Reclaimed Water FHA | 1 |  | 1 | EA |  | 0
|  | SUBTOTAL (RECLAIMED WATER ONLY) | [5 empty] | 0
|  | CONTRACT CONTINGENCY WORK FOR RECLAIMED WATER (USED ONLY WITH COUNTY APPROVAL) |  |  |  |  | 10% | 0
| TOTAL BASE BID - Based on Completion Time of 900 Calendar Days | [6 empty] | 20000
| CONTRACT CONTINGENCY WORK (USED ONLY WITH COUNTY APPROVAL) | [5 empty] | 10% | 2000
| TOTAL OFFER FOR BID with Contract Contingency - Based on Completion Time of 900 Calendar Days | [6 empty] | 22000