## Attachment F Price Form
ATTACHMENT F PRICING FORM ITQ NO. 20-R073212SR
GROUP A: Generator Preventative Maintenance
One-Time Service: Contractor shall provide labor and material to replace all belts, all rubber hoses & clamps, air filters, fuel filters, replace coolant, top off all fluids and replace block heater hoses. Inspections: Furnish all labor, materials and tools to perform the Major (Annual) and Minor (Semi-annual) inspections.
Submit pricing for all lines in Group A - Generator Preventative Maintenance and Group B - Labor and Parts Cost for Repairs to be considered responsive.
LOCATION |  | KW | 1st. YEAR, ONE-TIME SERVICE PRICE | MAJOR - ANNUAL SERVICE PRICE | MINOR- SEMI-ANNUAL SERVICE PRICE
1 | Administration Center | 1000 | $ | $ | $
2 | Animal Shelter Complex | 80 | $ | $ | $
3 | Area Transit Facility #1 @ Tellevast | 500 | $ | $ | $
4 | Area Transit Facility #2 | 500 | $ | $ | $
5 | Construction office, 12th St, P. M. | 33.5 | $ | $ | $
6 | Convention Center | 100 | $ | $ | $
7 | CPID (MSO) | 300 | $ | $ | $
8 | Desoto Center (MSO) Dist 1 | 1250 | $ | $ | $
9 | Desoto Center (MSO) Evidence | 50 | $ | $ | $
10 | Drainage Building. P.W. | 35 | $ | $ | $
11 | EMS # 5 | 25 | $ | $ | $
12 | EMS 15 & 17 (old Red Cross) Building | 125 | $ | $ | $
13 | Field/Traffic Maintenace Bldg P.W. | 125 | $ | $ | $
14 | First Union Building (Fire Pump only) | Fire Pump | $ | $ | Not included
15 | Fleet Services @ 26th St., P.W. | 180 | $ | $ | $
16 | Fleet Services @ 66th St. W., P.W. | 200 | $ | $ | $
17 | GTE - Records Building | 150 | $ | $ | $
18 | Health Dept. | 400 | $ | $ | $
19 | Historic Courthouse | 100 | $ | $ | $
20 | Jail - Detention Facility (MSO) Fuel Island | 7 | $ | $ | $
21 | Jail - Detention Facility (MSO) Fish Farm | 41 | $ | $ | $
22 | Jail - Detention Facility (MSO) HVAC (Small) | 350 | $ | $ | $
23 | Jail - Detention Facility (MSO) (Large unit) | 800 | $ | $ | $
24 | Judicial Center | 1500 | $ | $ | $
25 | Project Mgmt Administration P.W. | 350 | $ | $ | $
26 | Public Safety Center /EOC unit 1 | 1000 | $ | $ | $
27 | Public Safety Center /EOC unit 2 | 1000 | $ | $ | $
28 | Quattlebaum House | 35 | $ | $ | $
29 | Radio Shop Office | 135 | $ | $ | $
30 | Radio Tower - Buffalo Site | 55 | $ | $ | $
31 | Radio Tower - Cortez Site | 55 | $ | $ | $
32 | Radio Tower – Duette Site | 54 | $ | $ | $
33 | Radio Tower - East County Transmitter | 20 | $ | $ | $
34 | Radio Tower - Loraine site (CR 674) | 25 | $ | $ | $
35 | Radio Tower – Myakka Site | 54 | $ | $ | $
36 | Radio Tower - Northwest Site | 55 | $ | $ | $
37 | Radio Tower - Old East Site | 54 | $ | $ | $
38 | Stockade - Bldg. A & B (MSO) | 300 | $ | $ | $
39 | Stockade – Phone Room (MSO) | 60 | $ | $ | $
40 | Tax Collector Office | 150 | $ | $ | $
| SUBTOTAL |  | 0 | 0 | 0
| Total Amount Group A |  | 0
GROUP B: Labor & Parts Cost for Repairs (As Required by Property Management)
1 | Hourly rate: Normal Business Hours M-F (8 - 5) (On site only, no travel time will be accepted) |  | 0 | x 240 hours = | 0
2 | Overtime rate: (Non-business hours) (On site only, no travel time will be accepted) |  | 0 | x 40 hours = | 0
3 | Parts Mark-up over Contractor's cost. (all itemized parts in excess of $25.00 must have OEM, supply house or published price list documention provided with invoices) |  | %
Total Amount Group B - Lines 1 and 2 only |  |  |  |  | 0
Total Amount for Award Purposes Only (Total amount Groups A and B) |  |  |  |  | 0
GROUP C: Load Bank
Shall be on a "as required" basis. The prices quoted shall include all time, travel and materials to perform a four hour load bank test of the particular equipment and return it to normal operation. This does not include the cost of a standby generator if requested.
LOCATION |  |  | KW | LOAD BANK TEST COST(per request)
1 | Administration Center |  | 1000 | $
2 | Animal Shelter Complex |  | 80 | $
3 | Area Transit Facility #1 @ Tellevast |  | 500 | $
4 | Area Transit Facility #2 @ Tellevast |  | 500 | $
5 | Construction office, 12th St, P. M. |  | 33.5 | $
6 | Convention Center |  | 100 | $
7 | CPID (MSO) |  | 300 | $
8 | Desoto Center (MSO) Dist 1 |  | 1250 | $
9 | Desoto Center (MSO) Evidence |  | 50 | $
10 | Drainage Building. P.W. |  | 35 | $
11 | EMS # 5 |  | 25 | $
12 | EMS 15 & 17 (old Red Cross) Building |  | 125 | $
13 | Field/Traffic Maintenace Bldg P.W. |  | 125 | $
14 | First Union Building (Fire Pump only) |  | Fire Pump | $
15 | Fleet Services @ 26th St., P.W. |  | 180 | $
16 | Fleet Services @ 66th St. W., P.W. |  | 200 | $
17 | GTE - Records Building |  | 150 | $
18 | Health Dept. |  | 400 | $
19 | Historic Courthouse |  | 100 | $
20 | Jail - Detention Facility (MSO) Fuel Island |  | 7 | NOT INCLUDED
21 | Jail - Detention Facility (MSO) Fish Farm |  | 41 | $
22 | Jail - Detention Facility (MSO) HVAC (Small) |  | 350 | $
23 | Jail - Detention Facility (MSO) (Large) |  | 800 | $
24 | Judicial Center (Required during non-business hours) |  | 1500 | $
25 | Project Mgmt Administration P.W. |  | 350 | $
26 | Public Safety Center /EOC unit 1 |  | 1000 | $
27 | Public Safety Center /EOC unit 2 |  | 1000 | $
28 | Quattlebaum House |  | 35 | $
29 | Radio Shop Office |  | 135 | $
30 | Radio Tower - Buffalo Site |  | 55 | $
31 | Radio Tower - Cortez Site |  | 55 | $
32 | Radio Tower – Duette Site |  | 54 | $
33 | Radio Tower - East County Transmitter |  | 20 | $
34 | Radio Tower - Loraine site (CR 674) |  | 25 | $
35 | Radio Tower – Myakka Site |  | 54 | $
36 | Radio Tower - Northwest Site |  | 55 | $
37 | Radio Tower - Old East Site |  | 54 | $
38 | Stockade - Bldg. A & B (MSO) |  | 300 | $
39 | Stockade – Phone Room (MSO) |  | 60 | $
40 | Tax Collector Office |  | 150 | $
| Total Group C |  |  | 0
GROUP D: Generator Rental Costs (As needed)
When required rental of generators and cables for storm or other unforeseen events. Rentals shall require deliver and pick-up services. You may substitute your closest sized generator to our listed sizes if they do not match directly with your sizes.
KW size | Day | Week | Month | Delivery Per Unit | Pickup Per Unit
35 | $ | $ | $ | $ | $
60 | $ | $ | $ | $ | $
125 | $ | $ | $ | $ | $
350 | $ | $ | $ | $ | $
500 | $ | $ | $ | $ | $
800 | $ | $ | $ | $ | $
1000 | $ | $ | $ | $ | $
1250 | $ | $ | $ | $ | $
1500 | $ | $ | $ | $ | $
Cam-Lock Cables Rental (Sizes shall be 4/0) per unit cost |  | Day | Week | Month
Male tails |  | $ | $ | $
Female tails |  | $ | $ | $
4/0 - 50' length |  | $ | $ | $
4/0 - 100' length |  | $ | $ | $
List other specific Rental information/costs not covered above
GROUP E: Generator Rental Costs - Only for Load Bank
Includes all materials, equipment, power cable, labor to deliver, hook-up, start, run for the duration of load bank test, take apart, return our system back to normal operation and return your equipment. (100' of 4/0 cable) (If you cannot match generator size specified, cross out and write-in closest equivelent KW size you carry.)
| KW SIZE | COST OF ONE LOAD BANK JOB
1 | 60 | $
2 | 125 | $
3 | 350 | $
4 | 500 | $
5 | 750 | $
6 | 1000 | $
7 | 1250 | $
Group E Total |  | 0
NOTE: | A. Generator units may be added or deleted as necessary per the County. All future additions must be priced uniformly to other similarly sized units already quoted.
B. All pricing quoted are to include all labor, material and travel time needed to properly perform the particular Preventative Maintenance Service, Load bank or the One-time service.
C. Pricing must be provided in Attachment F for all lines in, Group A - Generator Preventative Maintenance and Group B - Labor and Parts Cost for Repair, to be deemed responsive.