## Attachment F Price Form Rev #1
ATTACHMENT F, PRICING FORM, REVISION NO.1 ITQ NO. 20-R073212SR
GROUP A: GENERATOR PREVENTATIVE MAINTENANCE (BIDDERS ARE REQUIRED TO SUBMIT PRICING FOR ALL ITEMS IN GROUP A TO BE RESPONSIVE)
One-Time Service: Contractor shall provide labor and material to replace all belts, all rubber hoses & clamps, air filters, fuel filters, replace coolant, top off all fluids and replace block heater hoses, during first year of agreement. Inspections: Furnish all labor, materials and tools to perform the Major (Annual) and Minor (Semi-annual) inspections.
LOCATION |  | KW | 1st. YEAR, ONE-TIME SERVICE PRICE | MAJOR - ANNUAL SERVICE PRICE | MINOR- SEMI-ANNUAL SERVICE PRICE
1 | Administration Center | 1000 | $ | $ | $
2 | Animal Shelter Complex | 80 | $ | $ | $
3 | Area Transit Facility #1 @ Tellevast | 500 | $ | $ | $
4 | Area Transit Facility #2 | 500 | $ | $ | $
5 | Construction office, 12th St, P. M. | 33.5 | $ | $ | $
6 | Convention Center | 100 | $ | $ | $
7 | CPID (MSO) | 300 | $ | $ | $
8 | Desoto Center (MSO) Dist 1 | 1250 | $ | $ | $
9 | Desoto Center (MSO) Evidence | 50 | $ | $ | $
10 | Drainage Building. P.W. | 35 | $ | $ | $
11 | EMS # 5 | 25 | $ | $ | $
12 | EMS 15 & 17 (old Red Cross) Building | 125 | $ | $ | $
13 | Field/Traffic Maintenace Bldg P.W. | 125 | $ | $ | $
14 | Fleet Services @ 26th St., P.W. | 180 | $ | $ | $
15 | Fleet Services @ 66th St. W., P.W. | 200 | $ | $ | $
16 | GTE - Records Building | 150 | $ | $ | $
17 | Health Dept. | 400 | $ | $ | $
18 | Historic Courthouse | 100 | $ | $ | $
19 | Jail - Detention Facility (MSO) Fuel Island | 7 | $ | $ | $
20 | Jail - Detention Facility (MSO) Fish Farm | 41 | $ | $ | $
21 | Jail - Detention Facility (MSO) HVAC (Small) | 350 | $ | $ | $
22 | Jail - Detention Facility (MSO) (Large unit) | 800 | $ | $ | $
23 | Judicial Center | 1500 | $ | $ | $
24 | Project Mgmt Administration P.W. | 350 | $ | $ | $
25 | Public Safety Center /EOC unit 1 | 1000 | $ | $ | $
26 | Public Safety Center /EOC unit 2 | 1000 | $ | $ | $
27 | Quattlebaum House | 35 | $ | $ | $
28 | Radio Shop Office | 135 | $ | $ | $
29 | Radio Tower - Buffalo Site | 55 | $ | $ | $
30 | Radio Tower - Cortez Site | 55 | $ | $ | $
31 | Radio Tower – Duette Site | 54 | $ | $ | $
32 | Radio Tower - East County Transmitter | 20 | $ | $ | $
33 | Radio Tower - Loraine site (CR 674) | 25 | $ | $ | $
34 | Radio Tower – Myakka Site | 54 | $ | $ | $
35 | Radio Tower - Northwest Site | 55 | $ | $ | $
36 | Radio Tower - Old East Site | 54 | $ | $ | $
37 | Stockade - Bldg. A & B (MSO) | 300 | $ | $ | $
38 | Stockade – Phone Room (MSO) | 60 | $ | $ | $
39 | Tax Collector Office | 150 | $ | $ | $
40 | First Union Building (Fire Pump only) | Fire Pump | NOT INCLUDED
| SUBTOTAL |  | 0 | 0 | 0
Total amount of Group A |  |  |  |  | 0
GROUP B: LABOR & PARTS COSTS FOR REPAIRS (BIDDERS ARE REQUIRED TO SUBMIT PRICING FOR ALL ITEMS IN GROUP B TO BE CONSIDERED RESPONSIVE) (Hourly services provided on an as neded basis as required by Property Management) NOTE: Line 3, Parts Mark-up will not be considered in the Bid Tabulation for award of an Agreement
1 | Hourly rate: Normal Business Hours M-F (8 - 5) (On site only, no travel time will be accepted) |  | 0 | x 240 hours = | 0
2 | Overtime rate: (Non-business hours) (On site only, no travel time will be accepted) |  | 0 | x 40 hours = | 0
Total Amount of Group B - Lines 1 and 2 only |  |  |  |  | 0
3 | Parts Mark-up over Contractor's cost. (all itemized parts in excess of $25.00 must have OEM, supply house or published price list documention provided with invoices) |  | %
GROUP C: LOAD BANK (BIDDERS ARE REQUIRED TO SUBMIT UNIT PRICING FOR LINES 1-39 IN GROUP C - LOAD BANK TO BE CONSIDERED RESPONSIVE)
Group C, Load Bank services, shall be on a "as required" basis. The prices quoted shall include all time, travel and materials to perform a four hour load bank test of the particular equipment and return it to normal operation. This price does not include the cost of a standby generator if requested by the County. NOTE: The County anticipates that only a portion of the services listed below in Group C will be required during the term of the Agreement. Therefore, for the purpose of evaluation for award of an Agreement, the total from Group A, plus the total from Group B, plus one-third of the total from this Group C, will be considered. All Load Bank services performed during the Agreement term shall be paid at the Load Bank Test Cost (per request) price as shown on this Pricing Form.
LOCATION |  |  | KW | LOAD BANK TEST COST (per request)
1 | Administration Center |  | 1000 | $
2 | Animal Shelter Complex |  | 80 | $
3 | Area Transit Facility #1 @ Tellevast |  | 500 | $
4 | Area Transit Facility #2 @ Tellevast |  | 500 | $
5 | Construction office, 12th St, P. M. |  | 33.5 | $
6 | Convention Center |  | 100 | $
7 | CPID (MSO) |  | 300 | $
8 | Desoto Center (MSO) Dist 1 |  | 1250 | $
9 | Desoto Center (MSO) Evidence |  | 50 | $
10 | Drainage Building. P.W. |  | 35 | $
11 | EMS # 5 |  | 25 | $
12 | EMS 15 & 17 (old Red Cross) Building |  | 125 | $
13 | Field/Traffic Maintenace Bldg P.W. |  | 125 | $
14 | First Union Building (Fire Pump only) |  | NOT INCLUDED
15 | Fleet Services @ 26th St., P.W. |  | 180 | $
16 | Fleet Services @ 66th St. W., P.W. |  | 200 | $
17 | GTE - Records Building |  | 150 | $
18 | Health Dept. |  | 400 | $
19 | Historic Courthouse |  | 100 | $
20 | Jail - Detention Facility (MSO) Fish Farm |  | 41 | $
21 | Jail - Detention Facility (MSO) HVAC (Small) |  | 350 | $
22 | Jail - Detention Facility (MSO) (Large) |  | 800 | $
23 | Judicial Center (Required during non-business hours) |  | 1500 | $
24 | Project Mgmt Administration P.W. |  | 350 | $
25 | Public Safety Center /EOC unit 1 |  | 1000 | $
26 | Public Safety Center /EOC unit 2 |  | 1000 | $
27 | Quattlebaum House |  | 35 | $
28 | Radio Shop Office |  | 135 | $
29 | Radio Tower - Buffalo Site |  | 55 | $
30 | Radio Tower - Cortez Site |  | 55 | $
31 | Radio Tower – Duette Site |  | 54 | $
32 | Radio Tower - East County Transmitter |  | 20 | $
33 | Radio Tower - Loraine site (CR 674) |  | 25 | $
34 | Radio Tower – Myakka Site |  | 54 | $
35 | Radio Tower - Northwest Site |  | 55 | $
36 | Radio Tower - Old East Site |  | 54 | $
37 | Stockade - Bldg. A & B (MSO) |  | 300 | $
38 | Stockade – Phone Room (MSO) |  | 60 | $
39 | Tax Collector Office |  | 150 | $
40 | Jail - Detention Facility (MSO) Fuel Island |  | 7 | NOT INCLUDED
Enter total amount of Group C - lines 1 thru 39 |  |  |  | 0
TABULATION FOR REQUIRED PRICING GROUPS A, B & C
TOTAL FROM GROUP A (LINES 1-39) |  |  | 0 |  | 0
TOTAL FROM GROUP B (LINES 1-2) |  |  | 0 |  | 0
TOTAL FROM GROUP C (LINES 1-39) |  |  | 0 | X 33.33% | 0
TOTAL - GROUPS A, B & C NOTE: The County anticipates that only a portion of the services listed in Group C will be required during the term of the Agreement. Therefore, for the purpose of evaluation for award of an Agreement, the total from Group A, plus the total from Group B, plus one-third of the total from Group C, will be included in the Bid Tabulation. |  |  |  |  | 0
GROUP D: Generator Rental Costs (As needed, optional)
When rental of generators and cables are requested, we understand they are subject to availability. Rentals shall require delivery and pick-up services and may require cables and pigtails. You may substitute your closest sized generator to our listed sizes if they do not match directly with your sizes.
KW size | Day | Week | Month | Delivery Per Unit | Pickup Per Unit
35 | $ | $ | $ | $ | $
60 | $ | $ | $ | $ | $
125 | $ | $ | $ | $ | $
350 | $ | $ | $ | $ | $
500 | $ | $ | $ | $ | $
800 | $ | $ | $ | $ | $
1000 | $ | $ | $ | $ | $
1250 | $ | $ | $ | $ | $
1500 | $ | $ | $ | $ | $
Cam-Lock Cables Rental (Sizes shall be 4/0) per unit cost |  | Day | Week | Month
Male tails |  | $ | $ | $
Female tails |  | $ | $ | $
4/0 - 50' length |  | $ | $ | $
4/0 - 100' length |  | $ | $ | $
List other specific Rental information/costs not covered above
GROUP E: Generator Rental Costs - Only for Load Bank (optional)
Includes all materials, equipment, power cable, labor to deliver, hook-up, start, run for the duration of load bank test, take apart, return our system back to normal operation and return your equipment. (assume 100' of 4/0 cable) (If you cannot match generator size specified, cross out and write-in closest equivelent KW size you carry.)
| LOCATION KW SIZE | COST OF ONE LOAD BANK JOB
1 | Administration Bldg, 1000 KW | $
2 | Desoto Ctr, MSO 1000 KW | $
3 | MSO JAIL 1000 KW | $
Group E Total |  | 0
NOTE: | A. Generator units may be added or deleted as necessary at the discretion of the County. All future additions must be priced uniformly to other similarly sized units on this Pricing Form.
B. All pricing quoted must include all labor, material and travel time needed to properly perform specified service.
C. Pricing must be provided in Attachment F for all lines in, Group A - Generator Preventative Maintenance, Group B - Labor and Parts Cost for Repair and Group C - Load Bank, to be deemed responsive.
D. Group A - Generator Preventative Maintenance , Group B - Labor and Parts Cost for Repair and Group C -Load Bank shall be considered the basis of award as defined in Section 7.07 Basis of Award.