## Bid Form 210 days
APPENDIX J
IFBC 20-TA003249AJ
BID FORM
BID BASED ON A COMPLETION TIME OF 210 CALENDAR DAYS
LIFT STATION REHAB 2018 GROUP 3
LS BRADEN RIVER RTU 324
ITEM NO. | DESCRIPTION | U/M | QTY. | UNIT PRICE | EXTENDED PRICE ($)
1 | Wetwell Cleaning | SF | 973 |  | 0
2 | Wetwell Discharge Piping, HDPE DR-11, 10" | LF | 94 |  | 0
3 | Pump Base Ells, BPIU-16 | EA | 3 |  | 0
4 | Pump Base Ell Mounting Plate | EA | 3 |  | 0
5 | S.S. Pipe Bracing, 12 ft | EA | 3 |  | 0
6 | Stilling Well, PVC, 6" | LF | 22 |  | 0
7 | Intentionally Left Blank
8 | Replace Ex. Wetwell Top Slab | EA | 1 |  | 0
9 | PVC Vent, Sch 80, 6" | EA | 1 |  | 0
10 | Aluminum Hatch Cover, 36" x 48", single door (Wetwell) | EA | 3 |  | 0
11 | Aluminum Hatch Cover, 2" x 2", single door (Wetwell) | EA | 1 |  | 0
12 | 2" S.S.Pump Guide Rail System | LF | 67 |  | 0
13 | Remove Ex. Liner | SF | 973 |  | 0
14 | Wetwell Liner, spray-on | SF | 973 |  | 0
15 | Intentionally Left Blank
16 | Grout Fill Ex. Drain, abandon | EA | 1 |  | 0
17 | Gate Valve, FLG, 10" | EA | 4 |  | 0
18 | Swing Check Valve, FLG, 10" | EA | 3 |  | 0
19 | Gate Valve, MJ, 10" | EA | 1 |  | 0
20 | Pipe, D.I., FLG, 10" | LF | 5 |  | 0
21 | Pipe, PVC (DR-18), 10" | LF | 10 |  | 0
22 | Ductile Iron Fittings
22.1 | Spool Pieces, FLG, 10" | EA | 2 |  | 0
22.2 | Tee, FLG, 10" | EA | 1 |  | 0
22.3 | Cross, FLG, 10" | EA | 1 |  | 0
22.4 | 90, FLG, 10" | EA | 1 |  | 0
22.5 | 90, FLG, w/ boss, 10" | EA | 1 |  | 0
22.6 | 90, MJ, 10" | EA | 1 |  | 0
22.7 | 45, FLG, 10" | EA | 2 |  | 0
22.8 | Intentionally Left Blank
23 | Quick Coupler Adapter, aluminum, male, 6" (w/ alum. dust cap) | EA | 1 |  | 0
24 | S.S. Adjustable Valve Supports, FLG attachment | EA | 5 |  | 0
25 | Abandon Existing Vault | EA | 2 |  | 0
26 | Intentionally Left Blank
27 | Concrete Slab, Valve Assembly | EA | 1 |  | 0
28 | Influent Line Plug, 10" | EA | 1 |  | 0
29 | By-Pass Pumping | LS | 1 |  | 0
30 | Water Service
30.1 | PE, 3/4" | LF | 10 |  | 0
30.2 | PE, 2" | LF | 40 |  | 0
31 | Install Backflow, Meter, & Hose Bib Assembly | EA | 1 |  | 0
32 | Intentionally Left Blank
33 | Remove & Replace Electric Meter Can | EA | 1 |  | 0
34 | Remove & Replace Fused Safety Switch (disconnect) | EA | 1 |  | 0
35 | Remove & Replace Control Panel | EA | 1 |  | 0
36 | TCU & Fiberglass Enclosure, DFS | EA | 1 |  | 0
37 | Junction Box, 304 SS | EA | 1 |  | 0
38 | Extended Generator Receptical, conc. banjo pedestal | LF | 20 |  | 0
39 | Remove & Replace Sch 80 PVC Conduit | LF | 30 |  | 0
40 | Remove & Replace Electrical Service | LF | 20 |  | 0
41 | Remove & Replace Electrical Mounting Structure
41.1 | Lift Station Control Panel | EA | 1 |  | 0
41.2 | Intentionally Left Blank
42 | Level Transducer, GXS3-PP300-A49-B49-50-C01-D49 | EA | 1 |  | 0
43 | Ex. Antenna Concrete Base, remove & disposal | LS | 1 |  | 0
44 | Washed Shell with Weed Barrier | SY | 66 |  | 0
45 | Concrete Repair, 2" thick (if required) | SF | 487 |  | 0
46 | Intentionally Left Blank
47 | Sodding | SY | 50 |  | 0
48 | 6' High Galvanized Fence | LF | 160 |  | 0
49 | 6' High Galvanized Fence Gate, cantilevered | EA | 1 |  | 0
50 | 6' High Galvanized Corner/Gate Post | EA | 6 |  | 0
51 | Tree Trimming & Vegetation Removal | LS | 1 |  | 0
52 | Flow Meter, 10" Ulta Mag (UM06) | EA | 1 |  | 0
53 | Intentionally Left Blank
54 | Intentionally Left Blank
| Subtotal Construction Cost |  |  |  | 0
55 | Mobilization* | LS | 1 |  | 0
56 | Record Drawings* | LS | 1 |  | 0
Total Based Bid for LS BRADEN RIVER RTU 324 |  |  |  |  | 0
57 | Contract Contingency (10% of Subtotal Construction Cost) | 10% |  |  | 0
Total Bid with Contract Contingency based on Completion Time of 210 Calendar Days for LS BRADEN RIVER RTU 324 |  |  |  |  | 0
LS HAWAIIAN VILLAGE RTU 403
ITEM NO. | DESCRIPTION | U/M | QTY. | UNIT PRICE | EXTENDED PRICE ($)
1 | Wetwell Cleaning | SF | 240 |  | 0
2 | Wetwell Discharge Piping, HDPE DR-11, 4" | LF | 49 |  | 0
3 | Pump Base Ells, BPIU-14 | EA | 2 |  | 0
4 | Pump Base Ell Mounting Plate | EA | 2 |  | 0
5 | S.S. Pipe Bracing, 4 ft dia. | EA | 2 |  | 0
6 | Intentionally Left Blank
7 | Modify Ex. Wet Well Rim Elevation, lower | VF | 1 |  | 0
8 | Replace Ex. Wetwell Top Slab | EA | 1 |  | 0
9 | PVC Vent, Sch 80, 2" | EA | 1 |  | 0
10 | Aluminum Hatch Cover, 32" x 42", single door (Wetwell) | EA | 1 |  | 0
11 | Intentionally Left Blank
12 | 2" S.S.Pump Guide Rail System | LF | 35 |  | 0
13 | Remove Ex. Liner | SF | 240 |  | 0
14 | Wetwell Liner, spray-on | SF | 240 |  | 0
15 | Intentionally Left Blank
16 | Grout Fill Ex. Drain, abandon | EA | 1 |  | 0
17 | Gate Valve, FLG, 4" | EA | 3 |  | 0
18 | Swing Check Valve, FLG, 4" | EA | 2 |  | 0
19 | Gate Valve, MJ, 4" | EA | 1 |  | 0
20 | Pipe, D.I., FLG, 4" | LF | 5 |  | 0
21 | Pipe, PVC (DR-18), 4" | LF | 10 |  | 0
22 | Ductile Iron Fittings
22.1 | Intentionally Left Blank
22.2 | Tee, FLG, 4" (w/ side outlet) | EA | 1 |  | 0
22.3 | Intentionally Left Blank
22.4 | 90, FLG, 4" | EA | 1 |  | 0
22.5 | Intentionally Left Blank
22.6 | 90, MJ, 4" | EA | 1 |  | 0
22.7 | 45, MJ, 4" | EA | 2 |  | 0
22.8 | Reducer, MJ, 3"x4" | EA | 1 |  | 0
23 | Quick Coupler Adapter, aluminum, male, 4" (w/ alum. dust cap) | EA | 1 |  | 0
24 | S.S. Adjustable Valve Supports, FLG attachment | EA | 2 |  | 0
25 | Intentionally Left Blank
26 | Complete Removal of Existing Vault | EA | 1 |  | 0
27 | Concrete Slab, Valve Assembly | EA | 1 |  | 0
28 | Influent Line Plug, 8" | EA | 1 |  | 0
29 | By-Pass Pumping | LS | 1 |  | 0
30 | Intentionally Left Blank
30.1 | Intentionally Left Blank
30.2 | Intentionally Left Blank
31 | Intentionally Left Blank
32 | Intentionally Left Blank
33 | Intentionally Left Blank
34 | Intentionally Left Blank
35 | Intentionally Left Blank
36 | Intentionally Left Blank
37 | Intentionally Left Blank
38 | Intentionally Left Blank
39 | Intentionally Left Blank
40 | Intentionally Left Blank
41 | Intentionally Left Blank
41.1 | Intentionally Left Blank
41.2 | Intentionally Left Blank
42 | Intentionally Left Blank
43 | Intentionally Left Blank
44 | Intentionally Left Blank
45 | Concrete Repair, 2" thick (if required) | SF | 120 |  | 0
46 | Intentionally Left Blank
47 | Sodding | SY | 100 |  | 0
48 | Intentionally Left Blank
49 | Intentionally Left Blank
50 | Intentionally Left Blank
51 | Intentionally Left Blank
52 | Intentionally Left Blank
53 | Intentionally Left Blank
54 | Intentionally Left Blank
| Subtotal Construction Cost |  |  |  | 0
55 | Mobilization* | LS | 1 |  | 0
56 | Record Drawings* | LS | 1 |  | 0
Total Based Bid for LS HAWAIIAN VILLAGE RTU 403 |  |  |  |  | 0
57 | Contract Contingency (10% of Subtotal Construction Cost) | 10% |  |  | 0
Total Bid with Contract Contingency based on Completion Time of 210 Calendar Days for LS HAWAIIAN VILLAGE RTU 403 |  |  |  |  | 0
LS MOTE RANCH 1 RTU 478
ITEM NO. | DESCRIPTION | U/M | QTY. | UNIT PRICE | EXTENDED PRICE ($)
1 | Wetwell Cleaning | SF | 637 |  | 0
2 | Wetwell Discharge Piping, HDPE DR-11, 6" | LF | 57 |  | 0
3 | Pump Base Ells, BPIU-14 | EA | 2 |  | 0
4 | Pump Base Ell Mounting Plate | EA | 2 |  | 0
5 | S.S. Pipe Bracing, 8 ft dia. | EA | 3 |  | 0
6 | Stilling Well, PVC, 6" | LF | 21 |  | 0
7 | Modify Ex. Wet Well Rim Elevation, Raise | VF | 0.33 |  | 0
8 | Replace Ex. Wetwell Top Slab | EA | 1 |  | 0
9 | PVC Vent, Sch 80, 4" | EA | 1 |  | 0
10 | Aluminum Hatch Cover, 36" x 60", single door (Wetwell) | EA | 1 |  | 0
11 | Intentionally Left Blank
12 | 2" S.S.Pump Guide Rail System | LF | 43 |  | 0
13 | Remove Ex. Liner | SF | 637 |  | 0
14 | Wetwell Liner, spray-on | SF | 637 |  | 0
15 | Intentionally Left Blank
16 | Grout Fill Ex. Drain, abandon | EA | 1 |  | 0
17 | Gate Valve, FLG, 6" | EA | 3 |  | 0
18 | Swing Check Valve, FLG, 6" | EA | 2 |  | 0
19 | Gate Valve, MJ, 6" | EA | 1 |  | 0
20 | Pipe, D.I., FLG, 6" | LF | 5 |  | 0
21 | Pipe, HDPE (DR-11), 6" | LF | 190 |  | 0
22 | Ductile Iron Fittings
22.1 | Intentionally Left Blank
22.2 | Tee, FLG, 6" | EA | 2 |  | 0
22.3 | Intentionally Left Blank
22.4 | 90, FLG, 6" | EA | 1 |  | 0
22.5 | Intentionally Left Blank
22.6 | 90, MJ, 6" | EA | 1 |  | 0
22.7 | 45, MJ, 6" | EA | 3 |  | 0
22.8 | Intentionally Left Blank
23 | Quick Coupler Adapter, aluminum, male, 6" (w/ alum. dust cap) | EA | 1 |  | 0
24 | S.S. Adjustable Valve Supports, FLG attachment | EA | 2 |  | 0
25 | Abandon Existing Vault | EA | 1 |  | 0
26 | Intentionally Left Blank
27 | Concrete Slab, Valve Assembly | EA | 1 |  | 0
28 | Influent Line Plug, 10" | EA | 1 |  | 0
29 | By-Pass Pumping | LS | 1 |  | 0
30 | Water Service
30.1 | PE, 3/4" | LF | 20 |  | 0
30.2 | Intentionally Left Blank
31 | Install Backflow, Meter, & Hose Bib Assembly | EA | 1 |  | 0
32 | Intentionally Left Blank
33 | Remove & Replace Electric Meter Can | EA | 1 |  | 0
34 | Remove & Replace Fused Safety Switch (disconnect) | EA | 1 |  | 0
35 | Remove & Replace Control Panel | EA | 1 |  | 0
36 | TCU & Fiberglass Enclosure, DFS | EA | 1 |  | 0
37 | Junction Box, 304 SS | EA | 1 |  | 0
38 | Intentionally Left Blank
39 | Remove & Replace Sch 80 PVC Conduit | LF | 30 |  | 0
40 | Remove & Replace Electrical Service | LF | 10 |  | 0
41 | Remove & Replace Electrical Mounting Structure
41.1 | Lift Station Control Panel | EA | 1 |  | 0
41.2 | Intentionally Left Blank
42 | Level Transducer, GXS3-PP300-A49-B49-50-C01-D49 | EA | 1 |  | 0
43 | Ex. Antenna Concrete Base, remove & disposal | LS | 1 |  | 0
44 | Intentionally Left Blank
45 | Concrete Repair, 2" thick (if required) | SF | 319 |  | 0
46 | Intentionally Left Blank
47 | Sodding | SY | 100 |  | 0
48 | Intentionally Left Blank
49 | Intentionally Left Blank
50 | Intentionally Left Blank
51 | Tree Trimming & Vegetation Removal | LS | 1 |  | 0
52 | Intentionally Left Blank
53 | Intentionally Left Blank
54 | Air Release Valve & Fiberglass Enclosure, sewer | EA | 1 |  | 0
| Subtotal Construction Cost |  |  |  | 0
55 | Mobilization* | LS | 1 |  | 0
56 | Record Drawings* | LS | 1 |  | 0
Total Based Bid for LS MOTE RANCH 1 RTU 478 |  |  |  |  | 0
57 | Contract Contingency (10% of Subtotal Construction Cost) | 10% |  |  | 0
Total Bid with Contract Contingency based on Completion Time of 210 Calendar Days for LS MOTE RANCH 1 RTU 478 |  |  |  |  | 0
LS THOUSAND OAKS RTU 516
ITEM NO. | DESCRIPTION | U/M | QTY. | UNIT PRICE | EXTENDED PRICE ($)
1 | Wetwell Cleaning | SF | 577 |  | 0
2 | Wetwell Discharge Piping, HDPE DR-11, 6" | LF | 52 |  | 0
3 | Pump Base Ells, BPIU-14 | EA | 2 |  | 0
4 | Pump Base Ell Mounting Plate | EA | 2 |  | 0
5 | S.S. Pipe Bracing, 8 ft dia. | EA | 3 |  | 0
6 | Stilling Well, PVC, 6" | LF | 18 |  | 0
7 | Modify Ex. Wet Well Rim Elevation, Raise | VF | 0.33 |  | 0
8 | Replace Ex. Wetwell Top Slab | EA | 1 |  | 0
9 | PVC Vent, Sch 80, 4" | EA | 1 |  | 0
10 | Aluminum Hatch Cover, 36" x 48", single door (Wetwell) | EA | 1 |  | 0
11 | Intentionally Left Blank
12 | 2" S.S.Pump Guide Rail System | LF | 38 |  | 0
13 | Intentionally Left Blank
14 | Wetwell Liner, spray-on | SF | 577 |  | 0
15 | Intentionally Left Blank
16 | Grout Fill Ex. Drain, abandon | EA | 1 |  | 0
17 | Gate Valve, FLG, 6" | EA | 3 |  | 0
18 | Swing Check Valve, FLG, 6" | EA | 2 |  | 0
19 | Gate Valve, MJ, 6" | EA | 1 |  | 0
20 | Pipe, D.I., FLG, 6" | LF | 5 |  | 0
21 | Pipe, PVC (DR-18), 6" | LF | 10 |  | 0
22 | Ductile Iron Fittings
22.1 | Intentionally Left Blank
22.2 | Tee, FLG, 6" | EA | 2 |  | 0
22.3 | Intentionally Left Blank
22.4 | 90, FLG, 6" | EA | 1 |  | 0
22.5 | Intentionally Left Blank
22.6 | 90, MJ, 6" | EA | 1 |  | 0
22.7 | 45, MJ, 6" | EA | 2 |  | 0
22.8 | Intentionally Left Blank
23 | Quick Coupler Adapter, aluminum, male, 6" (w/ alum. dust cap) | EA | 1 |  | 0
24 | S.S. Adjustable Valve Supports, FLG attachment | EA | 2 |  | 0
25 | Abandon Existing Vault | EA | 1 |  | 0
26 | Intentionally Left Blank
27 | Concrete Slab, Valve Assembly | EA | 1 |  | 0
28 | Influent Line Plug, 8" | EA | 1 |  | 0
29 | By-Pass Pumping | LS | 1 |  | 0
30 | Water Service
30.1 | PE, 3/4" | LF | 10 |  | 0
30.2 | Intentionally Left Blank
31 | Intentionally Left Blank
32 | Relocate Ex. Backflow, Meter, & Hose Bib Assembly | EA | 1 |  | 0
33 | Remove & Replace Electric Meter Can | EA | 1 |  | 0
34 | Remove & Replace Fused Safety Switch (disconnect) | EA | 1 |  | 0
35 | Remove & Replace Control Panel | EA | 1 |  | 0
36 | TCU & Fiberglass Enclosure, DFS | EA | 1 |  | 0
37 | Junction Box, 304 SS | EA | 1 |  | 0
38 | Extended Generator Receptical, conc. banjo pedestal | LF | 10 |  | 0
39 | Remove & Replace Sch 80 PVC Conduit | LF | 30 |  | 0
40 | Intentionally Left Blank
41 | Remove & Replace Electrical Mounting Structure
41.1 | Lift Station Control Panel | EA | 1 |  | 0
41.2 | Intentionally Left Blank
42 | Level Transducer, GXS3-PP300-A49-B49-50-C01-D49 | EA | 1 |  | 0
43 | Ex. Antenna Concrete Base, remove & disposal | LS | 1 |  | 0
44 | Washed Shell with Weed Barrier | SY | 42 |  | 0
45 | Concrete Repair, 2" thick (if required) | SF | 577 |  | 0
46 | Install New Lift Station Driveway, 6" thick concrete | SY | 20 |  | 0
47 | Intentionally Left Blank
48 | 6' High Galvanized Fence | LF | 80 |  | 0
49 | 6' High Galvanized Fence Gate | EA | 2 |  | 0
50 | 6' High Galvanized Corner/Gate Post | EA | 6 |  | 0
51 | Intentionally Left Blank
52 | Intentionally Left Blank
53 | Intentionally Left Blank
54 | Intentionally Left Blank
| Subtotal Construction Cost |  |  |  | 0
55 | Mobilization* | LS | 1 |  | 0
56 | Record Drawings* | LS | 1 |  | 0
Total Based Bid for LS THOUSAND OAKS RTU 516 |  |  |  |  | 0
57 | Contract Contingency (10% of Subtotal Construction Cost) | 10% |  |  | 0
Total Bid with Contract Contingency based on Completion Time of 210 Calendar Days for LS THOUSAND OAKS RTU 516 |  |  |  |  | 0
LS UNIVERSITY GROVES 1 RTU 659
ITEM NO. | DESCRIPTION | U/M | QTY. | UNIT PRICE | EXTENDED PRICE ($)
1 | Wetwell Cleaning | SF | 931 |  | 0
2 | Wetwell Discharge Piping, HDPE DR-11, 8" | LF | 64 |  | 0
3 | Pump Base Ells, BPIU-14 | EA | 2 |  | 0
4 | Pump Base Ell Mounting Plate | EA | 2 |  | 0
5 | S.S. Pipe Bracing, 10 ft dia. | EA | 3 |  | 0
6 | Stilling Well, PVC, 6" | LF | 24 |  | 0
7 | Intentionally Left Blank
8 | Replace Ex. Wetwell Top Slab | EA | 1 |  | 0
9 | PVC Vent, Sch 80, 6" | EA | 1 |  | 0
10 | Aluminum Hatch Cover, 48" x 72", single door (Wetwell) | EA | 1 |  | 0
11 | Intentionally Left Blank
12 | 2" S.S.Pump Guide Rail System | LF | 50 |  | 0
13 | Intentionally Left Blank
14 | Intentionally Left Blank
15 | Repair Ex. Liner, if required | SF | 233 |  | 0
16 | Grout Fill Ex. Drain, abandon | EA | 1 |  | 0
17 | Gate Valve, FLG, 8" | EA | 3 |  | 0
18 | Swing Check Valve, FLG, 8" | EA | 2 |  | 0
19 | Gate Valve, MJ, 8" | EA | 1 |  | 0
20 | Pipe, D.I., FLG, 8" | LF | 5 |  | 0
21 | Pipe, PVC (DR-18), 8" | LF | 64 |  | 0
22 | Ductile Iron Fittings
22.1 | Intentionally Left Blank
22.2 | Tee, FLG, 8" | EA | 2 |  | 0
22.3 | Intentionally Left Blank
22.4 | 90, FLG, 8" | EA | 1 |  | 0
22.5 | Intentionally Left Blank
22.6 | 90, MJ, 8" | EA | 1 |  | 0
22.7 | 45, MJ, 8" | EA | 2 |  | 0
22.8 | Intentionally Left Blank
23 | Quick Coupler Adapter, aluminum, male, 6" (w/ alum. dust cap) | EA | 1 |  | 0
24 | S.S. Adjustable Valve Supports, FLG attachment | EA | 2 |  | 0
25 | Abandon Existing Vault | EA | 1 |  | 0
26 | Intentionally Left Blank
27 | Concrete Slab, Valve Assembly | EA | 1 |  | 0
28 | Influent Line Plug, 12" | EA | 1 |  | 0
29 | By-Pass Pumping | LS | 1 |  | 0
30 | Water Service
30.1 | PE, 3/4" | LF | 10 |  | 0
30.2 | Intentionally Left Blank
31 | Install Backflow, Meter, & Hose Bib Assembly | EA | 1 |  | 0
32 | Intentionally Left Blank
33 | Remove & Replace Electric Meter Can | EA | 1 |  | 0
34 | Remove & Replace Fused Safety Switch (disconnect) | EA | 1 |  | 0
35 | Remove & Replace Control Panel | EA | 1 |  | 0
36 | TCU & Fiberglass Enclosure, DFS | EA | 1 |  | 0
37 | Junction Box, 304 SS | EA | 1 |  | 0
38 | Intentionally Left Blank
39 | Remove & Replace Sch 80 PVC Conduit | LF | 30 |  | 0
40 | Intentionally Left Blank
41 | Remove & Replace Electrical Mounting Structure
41.1 | Lift Station Control Panel | EA | 1 |  | 0
41.2 | New Structure for Relocation of Exising ATS | EA | 1 |  | 0
42 | Level Transducer, GXS3-PP300-A49-B49-50-C01-D49 | EA | 1 |  | 0
43 | Ex. Antenna Concrete Base, remove & disposal | LS | 1 |  | 0
44 | Washed Shell, 1" thick | SY | 350 |  | 0
45 | Intentionally Left Blank
46 | Intentionally Left Blank
47 | Intentionally Left Blank
48 | Intentionally Left Blank
49 | Intentionally Left Blank
50 | Intentionally Left Blank
51 | Intentionally Left Blank
52 | Intentionally Left Blank
53 | Future Odor Control Connections, 6" & 2" stub-outs | LS | 1 |  | 0
54 | Intentionally Left Blank
| Subtotal Construction Cost |  |  |  | 0
55 | Mobilization* | LS | 1 |  | 0
56 | Record Drawings* | LS | 1 |  | 0
Total Based Bid for LS UNIVERSITY GROVES 1 RTU 659 |  |  |  |  | 0
57 | Contract Contingency (10% of Subtotal Construction Cost) | 10% |  |  | 0
Total Bid with Contract Contingency based on Completion Time of 210 Calendar Days for LS UNIVERSITY GROVES 1 RTU 659 |  |  |  |  | 0
SLS R&R 2018 GROUP 3 - OVERALL GRAND TOTAL BID WITH CONTRACT CONTINGENCY BASED ON COMPLETION TIME OF 210 CALENDAR DAYS FOR CONSTRUCTION COST FOR ALL 5 LOCATIONS (BRADEN RIVER, HAWAIIAN VILLAGE, MOTE RANCH, THOUSAND OAKS, AND UNIVERSITY GROVES 1) |  |  |  |  | 0
Authorized Signature(s):
Name and Title of Above Signer(s):
Date: