## Bid A
APPENDIX J, BID PRICING FORM - REVISED ADDENDUM NO. 4
IFBC NO. 20-TA003315BB
FLAMINGO CAY WATER MAIN REPLACEMENT
BID 'A' - BASED ON A COMPLETION TIME OF 240 CALENDAR DAYS
ITEM NO. | DESCRIPTION | U/M | QTY | UNIT PRICE | EXTENDED PRICE (UNIT PRICE X QTY)
1 | Mobilization | LS | 1 |  | 0
2 | Curb Replacement | LF | 278 |  | 0
3 | Asphalt Pavement Restoration
3.01 | Base & 1 1/2" S-III, (8" min. thick. base) | SY | 1058 |  | 0
3.02 | Mill & Resurface, 1 1/2" S-III | SY | 1548 |  | 0
3.03 | Mill & Resurface, FC12.5, 1.5" Thick | SY | 100 |  | 0
3.04 | SP12.5 Asphalt, 12" Thick | SY | 13 |  | 0
4 | Sidewalk Restoration, concrete, 4" Thick | SY | 92 |  | 0
5 | Driveway Restoration
5.01 | Asphalt (6" min. thick. base) | SY | 143 |  | 0
5.02 | Concrete (6" min. thick.) | SY | 99 |  | 0
5.03 | Brick Paver | SY | 100 |  | 0
6 | Sod | SY | 2423 |  | 0
7 | Grout Fill Abandoned Pipe | CY | 22 |  | 0
8 | Blow-off Assembly, End of Line, 2" | EA | 7 |  | 0
9 | Above-ground Backflow Prevention Assembly, 4" | EA | 1 |  | 0
10 | Above-ground Meter/Backflow Prevention Assembly, 3" | EA | 1 |  | 0
11 | Backflow Prevention Assembly /w Pressure Relief Valve
11.01 | Install New Backflow Prevention Assembly
11.01.1 | 3/4" reduced pressure (RPZ) | EA | 17 |  | 0
11.01.2 | 3/4" double check (DC) | EA | 2 |  | 0
11.01.3 | 1" reduced pressure (RPZ) | EA | 41 |  | 0
11.01.4 | Vacuum Breaker, brass | EA | 120 |  | 0
11.02 | Relocate-Existing Backflow Prevention Assembly | EA | 4 |  | 0
12 | Permit Fee - New Water Service-Building Department | EA | 9 |  | 0
13 | Remove Existing Items
13.01 | Valves | EA | 15 |  | 0
13.02 | Fire Hydrants | EA | 3 |  | 0
13.03 | Ex. Non-Standard Meter Boxes | EA | 22 |  | 0
13.04 | Ex. Non-Standard BPA | EA | 0 |  | 0
14 | Pipe
14.01 | 2" HDPE SDR9 C901, water, (Directional bore) | LF | 1560 |  | 0
14.02 | 4" HDPE DR-11 C906, water (Directional bore) | LF | 1425 |  | 0
14.03 | 4" DIP CL350, water, (Direct bury) | LF | 735 |  | 0
14.04 | 4" DIP CL350, RJ, water, (Directional bore) | LF | 0 |  | 0
14.05 | 6" DIP CL350, RJ, water, (Direct bury) | LF | 25 |  | 0
14.06 | 8" HDPE DR-11 C906, water (Directional bore) | LF | 4135 |  | 0
14.07 | 8" DIP CL350, RJ, water, (Direct bury) | LF | 1280 |  | 0
14.08 | 8" PVC DR18, RJ, water, (Direct bury) | LF | 285 |  | 0
14.09 | 8" HDPE DR-11 C906, CASING (Directional bore) | LF | 105 |  | 0
14.1 | 12" PVC DR-18, RJ, water, (Direct bury) | LF | 90 |  | 0
14.11 | 16" HDPE DR-11 C906, CASING (Directional bore) | LF | 140 |  | 0
15 | Water Service
15.01 | 1" Water Services (Single, long) | EA | 9 |  | 0
15.02 | 1" Water Services (Single, short) | EA | 32 |  | 0
15.03 | 1" Water Services (Double, long) | EA | 28 |  | 0
15.04 | 1" Water Services (Double, Short) | EA | 39 |  | 0
15.05 | 2" Water Services (Single, Long) | EA | 3 |  | 0
15.06 | 2" Water Services (Triple, Short) | EA | 1 |  | 0
15.07 | 2" Water Services (Triple, Long) | EA | 1 |  | 0
15.08 | 2" Water Services (Quadruple, Short) | EA | 6 |  | 0
15.09 | Add-on for Water Service Installed by Trenching (Long) | LF | 46 |  | 0
16 | New Standard Meter Box | EA | 20 |  | 0
17 | Relocate Ex.Standard Meter Box | EA | 69 |  | 0
18 | Ductile Iron Fittings
18.01 | 2" Cap | EA | 23 |  | 0
18.02 | 4" Cap | EA | 5 |  | 0
18.03 | 4" 45 Degree or Less Bend | EA | 11 |  | 0
18.04 | 4" 90 Degree Bend | EA | 2 |  | 0
18.05 | 4" Sleeve | EA | 1 |  | 0
18.06 | 4" RJ DI Plug or Cap x 2" MIP | EA | 7 |  | 0
18.07 | 6" Cap | EA | 6 |  | 0
18.08 | 6" Wye | EA | 1 |  | 0
18.09 | 6" 45 Degree or Less Bend | EA | 3 |  | 0
18.1 | 6" 90 Degree Bend | EA | 2 |  | 0
18.11 | 6"x4" Reducer | EA | 2 |  | 0
18.12 | 8"x4" Reducer | EA | 7 |  | 0
18.13 | 8"x8" Tee | EA | 6 |  | 0
18.14 | 8" 45 Degree or Less Bend | EA | 24 |  | 0
18.15 | 8" Sleeve | EA | 15 |  | 0
18.16 | 12" 45 Degree or Less Bend | EA | 2 |  | 0
18.17 | 12" Sleeve | EA | 2 |  | 0
18.18 | 12" Cap | EA | 1 |  | 0
18.19 | 12" x8" Tee, Cut-In | EA | 1 |  | 0
18.2 | Coupling, 4" | EA | 13 |  | 0
18.21 | Coupling, 6" | EA | 4 |  | 0
18.22 | Coupling, 8" | EA | 4 |  | 0
18.23 | Coupling, 12" | EA | 12 |  | 0
19 | Pipe Joint Restraints
19.01 | 4" Pipe Joint Restraints | EA | 25 |  | 0
19.02 | 8" Pipe Joint Restraints | EA | 101 |  | 0
19.03 | 12" Pipe Joint Restraints | EA | 5 |  | 0
20 | Pipe Adapters
20.01 | 4" HDPE to MJ Adapter | EA | 6 |  | 0
20.02 | 8" HDPE to MJ Adapter | EA | 13 |  | 0
21 | Valves, MJ
21.01 | 4" Gate Valve | EA | 11 |  | 0
21.02 | 8" Gate Valve | EA | 15 |  | 0
21.03 | 12" Gate Valve | EA | 1 |  | 0
22 | Air Release Valve, 1" | EA | 3 |  | 0
23 | ARV Cabinet, fiberglass | EA | 3 |  | 0
24 | Fire Hydrant Assembly | EA | 10 |  | 0
25 | Erosion Control | LS | 1 |  | 0
26 | Traffic Control Plan | LS | 1 |  | 0
27 | Miscellaneous Concrete, 3,000 psi | CY | 20 |  | 0
28 | Detectable Warnings, black, per FDOT 527-2 | SF | 50 |  | 0
29 | Bollards, yellow PVC covering, red reflector | EA | 6 |  | 0
30 | Miscellaneous Restoration
30.1 | Irrigation
30.11 | Sprinkler Head | EA | 109 |  | 0
30.12 | sch 40 pvc, all diameter | LF | 2174 |  | 0
30.2 | Fencing | LS | 1 |  | 0
30.3 | Landscaping Stone, large pieces, small retaining walls, planter edging, etc | LF | 250 |  | 0
30.4 | Landscaping Rock, decorative ground cover | SY | 491 |  | 0
30.5 | Shell, excluding driveways | SF | 216 |  | 0
31 | Record Drawings | LS | 1 |  | 0
Total Base Bid 'A' |  |  |  | 0
32 | Contract Contingency (10% of Total Base Bid) |  |  | 0
Total Bid 'A' with Contract Contingency (Total Base Bid + Contract Contingency) |  |  |  | 0

## Bid B
APPENDIX J, BID PRICING FORM - REVISED ADDENDUM NO. 4
IFBC NO. 20-TA003315BB
FLAMINGO CAY WATER MAIN REPLACEMENT
BID 'B' - BASED ON A COMPLETION TIME OF 300 CALENDAR DAYS
ITEM NO. | DESCRIPTION | U/M | QTY | UNIT PRICE | EXTENDED PRICE (UNIT PRICE X QTY)
1 | Mobilization | LS | 1 |  | 0
2 | Curb Replacement | LF | 278 |  | 0
3 | Asphalt Pavement Restoration
3.01 | Base & 1 1/2" S-III, (8" min. thick. base) | SY | 1058 |  | 0
3.02 | Mill & Resurface, 1 1/2" S-III | SY | 1548 |  | 0
3.03 | Mill & Resurface, FC12.5, 1.5" Thick | SY | 100 |  | 0
3.04 | SP12.5 Asphalt, 12" Thick | SY | 13 |  | 0
4 | Sidewalk Restoration, concrete, 4" Thick | SY | 92 |  | 0
5 | Driveway Restoration
5.01 | Asphalt (6" min. thick. base) | SY | 143 |  | 0
5.02 | Concrete (6" min. thick.) | SY | 99 |  | 0
5.03 | Brick Paver | SY | 100 |  | 0
6 | Sod | SY | 2423 |  | 0
7 | Grout Fill Abandoned Pipe | CY | 22 |  | 0
8 | Blow-off Assembly, End of Line, 2" | EA | 7 |  | 0
9 | Above-ground Backflow Prevention Assembly, 4" | EA | 1 |  | 0
10 | Above-ground Meter/Backflow Prevention Assembly, 3" | EA | 1 |  | 0
11 | Backflow Prevention Assembly /w Pressure Relief Valve
11.01 | Install New Backflow Prevention Assembly
11.01.1 | 3/4" reduced pressure (RPZ) | EA | 17 |  | 0
11.01.2 | 3/4" double check (DC) | EA | 2 |  | 0
11.01.3 | 1" reduced pressure (RPZ) | EA | 41 |  | 0
11.01.4 | Vacuum Breaker, brass | EA | 120 |  | 0
11.02 | Relocate-Existing Backflow Prevention Assembly | EA | 4 |  | 0
12 | Permit Fee - New Water Service-Building Department | EA | 9 |  | 0
13 | Remove Existing Items
13.01 | Valves | EA | 15 |  | 0
13.02 | Fire Hydrants | EA | 3 |  | 0
13.03 | Ex. Non-Standard Meter Boxes | EA | 22 |  | 0
13.04 | Ex. Non-Standard BPA | EA | 0 |  | 0
14 | Pipe
14.01 | 2" HDPE SDR9 C901, water, (Directional bore) | LF | 1560 |  | 0
14.02 | 4" HDPE DR-11 C906, water (Directional bore) | LF | 1425 |  | 0
14.03 | 4" DIP CL350, water, (Direct bury) | LF | 735 |  | 0
14.04 | 4" DIP CL350, RJ, water, (Directional bore) | LF | 0 |  | 0
14.05 | 6" DIP CL350, RJ, water, (Direct bury) | LF | 25 |  | 0
14.06 | 8" HDPE DR-11 C906, water (Directional bore) | LF | 4135 |  | 0
14.07 | 8" DIP CL350, RJ, water, (Direct bury) | LF | 1280 |  | 0
14.08 | 8" PVC DR18, RJ, water, (Direct bury) | LF | 285 |  | 0
14.09 | 8" HDPE DR-11 C906, CASING (Directional bore) | LF | 105 |  | 0
14.1 | 12" PVC DR-18, RJ, water, (Direct bury) | LF | 90 |  | 0
14.11 | 16" HDPE DR-11 C906, CASING (Directional bore) | LF | 140 |  | 0
15 | Water Service
15.01 | 1" Water Services (Single, long) | EA | 9 |  | 0
15.02 | 1" Water Services (Single, short) | EA | 32 |  | 0
15.03 | 1" Water Services (Double, long) | EA | 28 |  | 0
15.04 | 1" Water Services (Double, Short) | EA | 39 |  | 0
15.05 | 2" Water Services (Single, Long) | EA | 3 |  | 0
15.06 | 2" Water Services (Triple, Short) | EA | 1 |  | 0
15.07 | 2" Water Services (Triple, Long) | EA | 1 |  | 0
15.08 | 2" Water Services (Quadruple, Short) | EA | 6 |  | 0
15.09 | Add-on for Water Service Installed by Trenching (Long) | LF | 46 |  | 0
16 | New Standard Meter Box | EA | 20 |  | 0
17 | Relocate Ex.Standard Meter Box | EA | 69 |  | 0
18 | Ductile Iron Fittings
18.01 | 2" Cap | EA | 23 |  | 0
18.02 | 4" Cap | EA | 5 |  | 0
18.03 | 4" 45 Degree or Less Bend | EA | 11 |  | 0
18.04 | 4" 90 Degree Bend | EA | 2 |  | 0
18.05 | 4" Sleeve | EA | 1 |  | 0
18.06 | 4" RJ DI Plug or Cap x 2" MIP | EA | 7 |  | 0
18.07 | 6" Cap | EA | 6 |  | 0
18.08 | 6" Wye | EA | 1 |  | 0
18.09 | 6" 45 Degree or Less Bend | EA | 3 |  | 0
18.1 | 6" 90 Degree Bend | EA | 2 |  | 0
18.11 | 6"x4" Reducer | EA | 2 |  | 0
18.12 | 8"x4" Reducer | EA | 7 |  | 0
18.13 | 8"x8" Tee | EA | 6 |  | 0
18.14 | 8" 45 Degree or Less Bend | EA | 24 |  | 0
18.15 | 8" Sleeve | EA | 15 |  | 0
18.16 | 12" 45 Degree or Less Bend | EA | 2 |  | 0
18.17 | 12" Sleeve | EA | 2 |  | 0
18.18 | 12" Cap | EA | 1 |  | 0
18.19 | 12" x8" Tee, Cut-In | EA | 1 |  | 0
18.2 | Coupling, 4" | EA | 13 |  | 0
18.21 | Coupling, 6" | EA | 4 |  | 0
18.22 | Coupling, 8" | EA | 4 |  | 0
18.23 | Coupling, 12" | EA | 12 |  | 0
19 | Pipe Joint Restraints
19.01 | 4" Pipe Joint Restraints | EA | 25 |  | 0
19.02 | 8" Pipe Joint Restraints | EA | 101 |  | 0
19.03 | 12" Pipe Joint Restraints | EA | 5 |  | 0
20 | Pipe Adapters
20.01 | 4" HDPE to MJ Adapter | EA | 6 |  | 0
20.02 | 8" HDPE to MJ Adapter | EA | 13 |  | 0
21 | Valves, MJ
21.01 | 4" Gate Valve | EA | 11 |  | 0
21.02 | 8" Gate Valve | EA | 15 |  | 0
21.03 | 12" Gate Valve | EA | 1 |  | 0
22 | Air Release Valve, 1" | EA | 3 |  | 0
23 | ARV Cabinet, fiberglass | EA | 3 |  | 0
24 | Fire Hydrant Assembly | EA | 10 |  | 0
25 | Erosion Control | LS | 1 |  | 0
26 | Traffic Control Plan | LS | 1 |  | 0
27 | Miscellaneous Concrete, 3,000 psi | CY | 20 |  | 0
28 | Detectable Warnings, black, per FDOT 527-2 | SF | 50 |  | 0
29 | Bollards, yellow PVC covering, red reflector | EA | 6 |  | 0
30 | Miscellaneous Restoration
30.1 | Irrigation
30.11 | Sprinkler Head | EA | 109 |  | 0
30.12 | sch 40 pvc, all diameter | LF | 2174 |  | 0
30.2 | Fencing | LS | 1 |  | 0
30.3 | Landscaping Stone, large pieces, small retaining walls, planter edging, etc | LF | 250 |  | 0
30.4 | Landscaping Rock, decorative ground cover | SY | 491 |  | 0
30.5 | Shell, excluding driveways | SF | 216 |  | 0
31 | Record Drawings | LS | 1 |  | 0
Total Base Bid 'B' |  |  |  | 0
32 | Contract Contingency (10% of Total Base Bid) |  |  | 0
Total Bid 'B' with Contract Contingency (Total Base Bid + Contract Contingency) |  |  |  | 0