## Appendix K (Revised) Addendum 1
APPENDIX K (REVISED), BID PRICING FORM (SEWER) 21-TA003651DJ, HOLMES BOULEVARD FORCE MAIN REPLACEMENT COUNTY PROJECT NO. 6041587 |  |  |  | MCG
ITEM | DESCRIPTION | QTY | UNITS | UNIT PRICE | AMOUNT | UNIT PRICE BID A 270 Calendar Days | AMOUNT BID A 270 Calendar Days | UNIT PRICE BID B 240 Calendar Days | AMOUNT BID B 240 Calendar Days | Changed Bid A from 210 to 270 Changed Bid B from 180 to 240
I. GENERAL
1 | Mobilization | 1 | LS | 230155.2 | 230155.2 |  | 0 |  | 0
2 | Maintenance of Traffic | 1 | LS | 25000 | 25000 |  | 0 |  | 0
3 | Erosion and Sediment Control | 1 | LS | 4250 | 4250 |  | 0 |  | 0
4 | Clearing and Grubbing | 1 | LS | 2500 | 2500 |  | 0 |  | 0
5 | Record Drawings | 1 | LS | 5000 | 5000 |  | 0 |  | 0
6 | Preconstruction Video | 1 | LS | 1000 | 1000 |  | 0 |  | 0
7 | Bypass Pumping | 1 | LS | 35000 | 35000 |  | 0 |  | 0
8 | Project Signs | 1 | EA | 500 | 500 |  | 0 |  | 0
| SUBTOTAL |  |  |  | 303405.2 |  | 0 |  | 0
II. PROPOSED IMPROVEMENTS
9 | 16" DR 18 PVC Pipe (Open-Cut) | 4000 | LF | 150 | 600000 |  | 0 |  | 0
10 | 8" DR 18 PVC Pipe (Open-Cut) | 900 | LF | 75 | 67500 |  | 0 |  | 0
17 | 30" Steel Casing with 16" Carrier Pipe (Jack and Bore) | 90 | LF | 1100 | 99000 |  | 0 |  | 0
18 | 16" DI Fitting - 45 Degree Bend (Wastewater) | 20 | EA | 3000 | 60000 |  | 0 |  | 0
19 | 16" DI Fitting - 22.5 Degree Bend (Wastewater) | 3 | EA | 3000 | 9000 |  | 0 |  | 0
20 | 16" DI Fitting - 11.25 Degree Bend (Wastewater) | 6 | EA | 3000 | 18000 |  | 0 |  | 0
21 | 16" x 12" DI Fitting - Reducer (Wastewater) | 1 | EA | 2500 | 2500 |  | 0 |  | 0
22 | 16" x 8" DI Fitting - Tee (Wastewater) | 1 | EA | 2500 | 2500 |  | 0 |  | 0
23 | 8" DI Fitting - 45 Degree Bend (Wastewater) | 3 | EA | 1250 | 3750 |  | 0 |  | 0
24 | 8" DI Fitting - 22.5 Degree Bend (Wastewater) | 5 | EA | 1250 | 6250 |  | 0 |  | 0
25 | 8" x 4" DI Fitting - Reducer (Wastewater) | 1 | EA | 1250 | 1250 |  | 0 |  | 0
44 | 16" Plug Valve | 3 | EA | 12000 | 36000 |  | 0 |  | 0
45 | 8" Plug Valve | 1 | EA | 5500 | 5500 |  | 0 |  | 0
48 | 2" ARV Type 2 (Above Ground) | 4 | EA | 5000 | 20000 |  | 0 |  | 0
49 | 16" Bell Joint Pipe Restraints | 100 | EA | 1100 | 110000 |  | 0 |  | 0
51 | 8" Bell Joint Pipe Restraints | 10 | EA | 700 | 7000 |  | 0 |  | 0
54 | Connection to Existing 12" Force Main | 1 | EA | 3000 | 3000 |  | 0 |  | 0
55 | Connection to Existing 4" Force Main | 1 | EA | 1500 | 1500 |  | 0 |  | 0
61 | Connection To Manhole | 1 | EA | 10000 | 10000 |  | 0 |  | 0
62 | Manhole Rehabilitation | 3 | EA | 7500 | 22500 |  | 0 |  | 0
68 | Selected Common Fill | 4137 | CY | 25 | 103425 |  | 0 |  | 0
69 | Crushed Concrete Base, 8" Thick | 2678 | SY | 55 | 147290 |  | 0 |  | 0
70 | Asphaltic Concrete Structure Course – Type S-I, 1-1/4” Thick | 334 | TN | 350 | 116900 |  | 0 |  | 0
71 | Friction Course Overlay – Type S-III, 3/4” Thick | 539 | TN | 300 | 161700 |  | 0 |  | 0
72 | Milling | 6776 | SY | 13 | 88088 |  | 0 |  | 0
73 | Removal of Unsuitable Material | 100 | CY | 30 | 3000 |  | 0 |  | 0
74 | Import of Suitable Backfill | 100 | CY | 50 | 5000 |  | 0 |  | 0
75 | Sodding | 6178 | SY | 7 | 43246 |  | 0 |  | 0
76 | Brick Driveway Repair | 1020 | SY | 125 | 127500 |  | 0 |  | 0
77 | Concrete Driveway Repair | 325 | SY | 100 | 32500 |  | 0 |  | 0
78 | Shell Driveway Repair | 1000 | SY | 65 | 65000 |  | 0 |  | 0
79 | Concrete Sidewalk Repair | 429 | SY | 65 | 27885 |  | 0 |  | 0
80 | Mailbox Removal and Replacement | 10 | EA | 300 | 3000 |  | 0 |  | 0
81 | Removal and Replacement of Infiltration Trench | 1232 | SY | 85 | 104720 |  | 0 |  | 0
82 | Pigging and Pressure Testing | 1 | LS | 10000 | 10000 |  | 0 |  | 0
83 | Grout Fill and Abandon Existing Pipelines | 240 | CY | 550 | 132000 |  | 0 |  | 0 | from 280 to 240
84 | Tree Removal and Replacement | 10 | EA | 1000 | 10000 |  | 0 |  | 0
85 | Permit Allowance | 1 | LS | 2500 | 2500 |  | 0 |  | 0
86 | Removal and Replacement of Stormwater Inlet and Piping | 1 | LS | 15000 | 15000 |  | 0 |  | 0
| SUBTOTAL |  |  |  | 2284004 |  | 0 |  | 0
| TOTAL (Sections I and II) |  |  |  | 2587409.2 |  | 0 |  | 0
88 | Contingency | 10% | LS |  | 258740.92 |  | 0 |  | 0
| SEWER CONSTRUCTION TOTAL |  |  |  | 3149555.32 |  | 0 |  | 0
APPENDIX K (REVISED), BID PRICING FORM (WATER) 21-TA003651DJ, HOLMES BOULEVARD FORCE MAIN REPLACEMENT COUNTY PROJECT NO. 6041587
ITEM | DESCRIPTION | QTY | UNITS | UNIT PRICE BID A 210 Calendar Days | AMOUNT BID A 210 Calendar Days | UNIT PRICE BID A 270 Calendar Days | AMOUNT BID A 270 Calendar Days | UNIT PRICE BID B 240 Calendar Days | AMOUNT BID B 240 Calendar Days | Changed Bid A from 210 to 270 Changed Bid B from 180 to 240
I. GENERAL
1 | Mobilization | 1 | LS | 89504.8 | 89504.8 |  | 0 |  | 0
2 | Maintenance of Traffic | 1 | LS | 25000 | 25000 |  | 0 |  | 0
3 | Erosion and Sediment Control | 1 | LS | 4250 | 4250 |  | 0 |  | 0
4 | Clearing and Grubbing | 1 | LS | 2500 | 2500 |  | 0 |  | 0
5 | Record Drawings | 1 | LS | 5000 | 5000 |  | 0 |  | 0
6 | Preconstruction Video | 1 | LS | 1000 | 1000 |  | 0 |  | 0
8 | Project Signs | 1 | EA | 500 | 500 |  | 0 |  | 0
| SUBTOTAL |  |  |  | 127754.8 |  | 0 |  | 0
II. PROPOSED IMPROVEMENTS
11 | 10" DI Class 350 Pipe (Open-Cut) | 20 | LF | 120 | 2400 |  | 0 |  | 0
12 | 6" DI Class 350 Pipe (Open-Cut) | 590 | LF | 100 | 59000 |  | 0 |  | 0
13 | 4" DI Class 350 Pipe (Open-Cut) | 20 | LF | 85 | 1700 |  | 0 |  | 0
14 | Remove 10" Water Main | 30 | LF | 40 | 1200 |  | 0 |  | 0
15 | Remove 6" Water Main | 326 | LF | 30 | 9780 |  | 0 |  | 0
16 | Remove 4" Water Main | 160 | LF | 20 | 3200 |  | 0 |  | 0 | From 90 to 160
26 | 6" DI Fitting - 45 Degree Bend (Water) | 27 | EA | 500 | 13500 |  | 0 |  | 0
27 | 6" DI Fitting - 22.5 Degree Bend (Water) | 4 | EA | 500 | 2000 |  | 0 |  | 0
28 | 6" DI Fitting - Plug with 2" Threaded Port (Water) | 6 | EA | 750 | 4500 |  | 0 |  | 0
29 | 6" x 4" DI Fitting - Reducer (Water) | 4 | EA | 500 | 2000 |  | 0 |  | 0
30 | 4" DI Fitting - Plug (Water) | 2 | EA | 500 | 1000 |  | 0 |  | 0
31 | 16" x 6" Tapping Sleeve and Valve | 10 | EA | 11000 | 110000 |  | 0 |  | 0
32 | 16" x 4" Tapping Sleeve and Valve | 1 | EA | 10500 | 10500 |  | 0 |  | 0
33 | 12" x 6" Tapping Sleeve and Valve | 5 | EA | 10000 | 50000 |  | 0 |  | 0
34 | 16" x 2" Tapping Sleeve with 2" Threaded Plug | 1 | EA | 8000 | 8000 |  | 0 |  | 0
35 | Remove 16" x 6" Tapping Sleeve and Valve | 5 | EA | 4000 | 20000 |  | 0 |  | 0
36 | Remove 16" x 4" Tapping Sleeve and Valve | 1 | EA | 4000 | 4000 |  | 0 |  | 0
37 | Remove 16" x 2" Tapping Sleeve and Valve | 1 | EA | 4000 | 4000 |  | 0 |  | 0
38 | 10" Gate Valve | 1 | EA | 3000 | 3000 |  | 0 |  | 0
39 | 6" Gate Valve | 5 | EA | 2700 | 13500 |  | 0 |  | 0
40 | 4" Gate Valve | 1 | EA | 1500 | 1500 |  | 0 |  | 0
41 | Remove 10" Gate Valve | 1 | EA | 1000 | 1000 |  | 0 |  | 0
42 | Remove 6" Gate Valve | 5 | EA | 900 | 4500 |  | 0 |  | 0
43 | Remove 4" Gate Valve | 1 | EA | 800 | 800 |  | 0 |  | 0
46 | Remove and Replace 12" x 2" Service Saddle | 4 | EA | 5000 | 20000 |  | 0 |  | 0
47 | Remove and Replace 16" x 2" Service Saddle | 2 | EA | 5000 | 10000 |  | 0 |  | 0
50 | 10" Bell Joint Pipe Restraints | 6 | EA | 750 | 4500 |  | 0 |  | 0
52 | 6" Bell Joint Pipe Restraints | 35 | EA | 650 | 22750 |  | 0 |  | 0
53 | 4" Bell Joint Pipe Restraints | 4 | EA | 600 | 2400 |  | 0 |  | 0
56 | Connection to Existing 10" Water Main | 1 | EA | 2800 | 2800 |  | 0 |  | 0
57 | Connection to Existing 6" Water Main | 11 | EA | 2500 | 27500 |  | 0 |  | 0 | From 10 to 11
58 | Connection to Existing 4" Water Main | 6 | EA | 1500 | 9000 |  | 0 |  | 0
59 | Connection to Existing 2" Water Main | 6 | EA | 1200 | 7200 |  | 0 |  | 0
60 | Remove and Replace Fire Hydrant Assembly | 4 | EA | 8000 | 32000 |  | 0 |  | 0
63 | Single Short Water Service | 18 | EA | 3600 | 64800 |  | 0 |  | 0
64 | Double Short Water Service | 13 | EA | 4000 | 52000 |  | 0 |  | 0
65 | Single Long Water Service with Casing | 20 | EA | 4100 | 82000 |  | 0 |  | 0
66 | Double Long Water Service with Casing | 7 | EA | 4400 | 30800 |  | 0 |  | 0
67 | Triple Short Water Service | 6 | EA | 4700 | 28200 |  | 0 |  | 0
68 | Selected Common Fill | 638 | CY | 25 | 15950 |  | 0 |  | 0
69 | Crushed Concrete Base, 8" Thick | 672 | SY | 55 | 36960 |  | 0 |  | 0
70 | Asphaltic Concrete Structure Course – Type S-I, 1-1/4” Thick | 46 | TN | 350 | 16100 |  | 0 |  | 0
71 | Friction Course Overlay – Type S-III, 3/4” Thick | 74 | TN | 300 | 22200 |  | 0 |  | 0
72 | Milling | 924 | SY | 13 | 12012 |  | 0 |  | 0
75 | Sodding | 842 | SY | 7 | 5894 |  | 0 |  | 0
79 | Concrete Sidewalk Repair | 101 | SY | 65 | 6565 |  | 0 |  | 0
81 | Removal and Replacement of Infiltration Trench | 168 | SY | 85 | 14280 |  | 0 |  | 0
82 | Pigging and Pressure Testing | 1 | LS | 10000 | 10000 |  | 0 |  | 0
85 | Permit Allowance | 1 | LS | 2500 | 2500 |  | 0 |  | 0
86 | Removal and Replacement of Stormwater Inlet and Piping | 1 | LS | 15000 | 15000 |  | 0 |  | 0
87 | Lift Station Water Service Modification | 1 | LS | 10000 | 10000 |  | 0 |  | 0
| SUBTOTAL |  |  |  | 894491 |  | 0 |  | 0
| TOTAL (Sections I and II) |  |  |  | 1022245.8 |  | 0 |  | 0
88 | Contingency | 10% | LS |  | 102224.58 |  | 0 |  | 0
| WATER CONSTRUCTION TOTAL |  |  |  | 1252225.18 |  | 0 |  | 0
| GRAND TOTAL (SEWER AND WATER) |  |  |  | 4401780.5 |  | 0 |  | 0
BIDDER NAME________________________________________________
BIDDER SIGNATURE___________________________________________