## Bid A
APPENDIX K (ADDENDUM 2)
ERIE ROAD - US 301 TO US 301 SOUTH-NORTH PHASE II
PROJECT NO. 6082860
BID 'A' BASED ON 480 CALENDAR DAY COMPLETION
Bidders must provide prices for each line item for their bid to be considered responsive. Revised items noted in red.
LINE | FDOT ITEM | DESCRIPTION | EST.
NO. | NO. |  | QTY | U/M | UNIT PRICE | EXTENDED PRICE
MOBILIZATION, MOT AND CONTINGENCY FOR ROADWAY, AND SIGNING AND PAVEMENT MARKINGS
1 | 101-1 | MOBILIZATION RDWY,SIGNING AND PAVEMENT MARKING (ROADWAY & SIGNING/PAVEMNT ONLY) | 1 | LS | 0 | 0
2 | 102-1 | MAINTENANCE OF TRAFFIC (ROADWAY & SIGNING/PAVEMENT ONLY) | 1 | LS | 0 | 0
3 |  | CONTINGENCY (10% OF LINE NO. 1, 2 AND 4 THROUGH 89) | 10% |  | 0 | 0
SUBTOTAL MOBILIZATION, MOT AND CONTINGENCY ROADWAY, SIGNING AND PAVEMENT MARKINGS | [5 empty] | 0
ROADWAY
4 | 104-10-3 | SEDIMENT BARRIER | 23800 | LF | 0 | 0
5 | 104-11 | FLOATING TURBIDITY BARRIER | 140 | LF | 0 | 0
6 | 104-18 | INLET PROTECTION SYSTEM | 90 | EA | 0 | 0
7 | 110-2-1 | CLEARING & GRUBBING | 19.3 | AC | 0 | 0
8 | 110-7-1 | MAILBOX, F&I SINGLE | 24 | EA | 0 | 0
9 | 120-1 | REGULAR EXCAVATION | 6890 | CY | 0 | 0
10 | 120-4 | SUBSOIL EXCAVATION | 200 | CY | 0 | 0
11 | 120-5 | CHANNEL EXCAVATION | 4990 | CY | 0 | 0
12 | 120-6 | EMBANKMENT (REGULAR) | 11740 | CY | 0 | 0
13 | 145-MC | GEOSYNTHETIC REINFORCED SOIL SLOPE (PP5-XtremeTM with Percussion Earth Anchors) | 1250 | SY | 0 | 0
14 | 160-MC | 12" TYPE B STABILIZATION (LBR 60) | 20360 | SY | 0 | 0
15 | 285-701 | 4" OF OPTIONAL BASE GROUP 1 | 7460 | SY | 0 | 0
16 | 285-709 | 10" OF OPTIONAL BASE GROUP 9 | 9170 | SY | 0 | 0
17 | 327-70-16 | MILLING EXIST ASPH PAVT, 0.5" AVG DEPTH | 20820 | SY | 0 | 0
18 | 327-70-1 | MILLING EXIST ASPH PAVT, 1 " AVG DEPTH | 3810 | SY | 0 | 0
19 | 334-MC | TYPE S-I ASPHALT CONCRETE (INCL TACK COAT) | 4910 | TN | 0 | 0
20 | 337-MC | TYPE S-III ASPHALT CONCRETE (INCL TACK COAT) | 3110 | TN | 0 | 0
21 | 339-1 | MISCELLANEOUS ASPHALT PAVEMENT | 11 | TN | 0 | 0
22 | 400-MC | CONCRETE CLASS I (STEEL INCLUDED) | 12 | CY | 0 | 0
23 | 425-MC | DROP INLET (TRAFFIC BEARING) | 2 | EA | 0 | 0
24 | 425-MC | CURB INLET | 7 | EA | 0 | 0
25 | 425-1-451 | INLETS, CURB, TYPE J-5, <10' | 1 | EA | 0 | 0
26 | 425-1-461 | INLETS, CURB, TYPE J-6, <10' | 1 | EA | 0 | 0
27 | 425-1-531 | INLETS, DT BOT, TYPE C MOD, BACK OF SIDEWALK <10' | 5 | EA | 0 | 0
28 | 425-1-533 | INLETS, DT BOT, TYPE C MOD, BACK OF SIDEWALK J BOT. <10' | 5 | EA | 0 | 0
29 | 425-1-541 | INLETS, DT BOT, TYPE D, <10' | 3 | EA | 0 | 0
30 | 425-1-543 | INLETS, DT BOT, TYPE D, J BOT. <10' | 7 | EA | 0 | 0
31 | 425-1-551 | INLETS, DT BOT, TYPE E, <10' | 6 | EA | 0 | 0
32 | 425-1-553 | INLETS, DT BOT, TYPE E, J BOT. <10' | 1 | EA | 0 | 0
33 | 425-1-561 | INLETS, DT BOT, TYPE F, <10' | 2 | EA | 0 | 0
34 | 425-1-563 | INLETS, DT BOT, TYPE F, J BOT. <10' | 2 | EA | 0 | 0
35 | 425-1-581 | INLETS, DT BOT, TYPE H MOD, <10' | 1 | EA | 0 | 0
36 | 425-2-91 | MANHOLE, J-8, <10' | 2 | EA | 0 | 0
37 | 425-10 | YARD DRAIN | 3 | EA | 0 | 0
38 | 430-174-115 | PIPE STORM SEWER CULV (RCP)(15") | 210 | LF | 0 | 0
39 | 430-174-118 | PIPE STORM SEWER CULV (RCP)(18") | 1477 | LF | 0 | 0
40 | 430-174-124 | PIPE STORM SEWER CULV (RCP)(24") | 1466 | LF | 0 | 0
41 | 430-174-130 | PIPE STORM SEWER CULV (RCP)(30") | 373 | LF | 0 | 0
42 | 430-174-136 | PIPE STORM SEWER CULV (RCP)(36") | 666 | LF | 0 | 0
43 | 430-174-142 | PIPE STORM SEWER CULV (RCP)(42") | 1339 | LF | 0 | 0
44 | 430-174-148 | PIPE STORM SEWER CULV (RCP)(48") | 1164 | LF | 0 | 0
45 | 430-174-154 | PIPE STORM SEWER CULV (RCP)(54") | 1071 | LF | 0 | 0
46 | 430-174-215 | PIPE STORM SEWER CULV (ERCP) (12"X18") | 644 | LF | 0 | 0
47 | 430-174-218 | PIPE STORM SEWER CULV (ERCP) (14"X23") | 39 | LF | 0 | 0
48 | 430-174-242 | PIPE STORM SEWER CULV (ERCP) (34"X53") | 36 | LF | 0 | 0
49 | 430-174-248 | PIPE STORM SEWER CULV (ERCP) (38"X60") | 210 | LF | 0 | 0
50 | 430-175-115 | PIPE STORM SEWER CULV (PVC)(15") | 30 | LF | 0 | 0
51 | 430-175-124 | PIPE STORM SEWER CULV (RCP)(24") | 130 | LF | 0 | 0
52 | 430-175-136 | PIPE STORM SEWER CULV (RCP)(36") | 82 | LF | 0 | 0
53 | 430-175-224 | PIPE STORM SEWER CULV (ERCP) (19"X30") | 85 | LF | 0 | 0
54 | 430-982-125 | MITERED END SECTION- RCP-ROUND, 18" CD | 1 | EA | 0 | 0
55 | 430-982-129 | MITERED END SECTION- RCP-ROUND, 24" CD | 3 | EA | 0 | 0
56 | 430-982-138 | MITERED END SECTION- RCP-ROUND, 36" CD | 1 | EA | 0 | 0
57 | 430-982-142 | MITERED END SECTION- RCP-ROUND, 54" CD | 1 | EA | 0 | 0
58 | 430-982-629 | MITERED END SECTION- RCP-ELLIPTICAL, 24" CD | 1 | EA | 0 | 0
59 | 430-982-640 | MITERED END SECTION- RCP-ELLIPTICAL, 42" CD | 1 | EA | 0 | 0
60 | 430-984-123 | MITERED END SECTION-RCP- ROUND, 15" SD | 3 | EA | 0 | 0
61 | 430-984-125 | MITERED END SECTION-RCP- ROUND, 18" SD | 4 | EA | 0 | 0
62 | 430-984-623 | MITERED END SECTION-RCP-ELLIPTICAL, 15" SD | 23 | EA | 0 | 0
63 | 430-984-625 | MITERED END SECTION-RCP-ELLIPTICAL, 18" SD | 3 | EA | 0 | 0
64 | 515-1-2 | PIPE HANDRAIL-GUIDERAIL ALUMINUM | 1044 | LF | 0 | 0
65 | 520-1-10 | TYPE F CURB & GUTTER | 1545 | LF | 0 | 0
66 | 522-1 | SIDEWALK CONCRETE 4" | 8030 | SY | 0 | 0
67 | 522-2 | SIDEWALK CONCRETE 6" THICK (CONC. DRIVEWAYS) | 1158 | SY | 0 | 0
68 | 527-2 | DETECTABLE WARNINGS | 374 | SF | 0 | 0
69 | 530-3-4 | RIP RAP-RUBBLE | 250 | TN | 0 | 0
70 | 536-1-1 | GUARDRAIL | 0 | LF | 0 | 0
71 | 550-MC | EXISTING FENCE TO BE REMOVED AND RELOCATED | 2050 | LF | 0 | 0
72 | 570-1-2 | PERFORMANCE TURF (BAHIA SOD) | 58730 | SY | 0 | 0
73 | POND-MC | FP COMP POND #1 CONSTRUCTION
74 | 120-1 | FP COMP POND REGULAR EXCAVATION | 5360 | CY | 0 | 0
75 | 120-6 | FP COMP POND EMBANKMENT (REGULAR) | 1130 | CY | 0 | 0
76 | Stockpile | HAUL EXCESS EXCAVATION MATERIAL FROM FP COMP POND TO STOCKPILE | 4230 | CY | 0 | 0
SUBTOTAL ROADWAY CONSTRUCTION COST | [5 empty] | 0
SIGNING AND PAVEMENT MARKINGS
77 | 0700-1-11 | SINGLE POST SIGN, F&I GM, Less than 12 SF | 9 | AS | 0 | 0
78 | 0700-1-50 | SINGLE POST SIGN, RELOCATE | 15 | AS | 0 | 0
79 | 0700-1-60 | SINGLE POST SIGN, REMOVE | 2 | AS | 0 | 0
80 | 0706-1-1 | RAISED PAVT MARK, TYPE B | 965 | EA | 0 | 0
81 | 0710-11-290 | PAINTED PAVEMENT MARKINGS, STANDARD, YELLOW, ISLAND Nose | 91 | SF | 0 | 0
82 | 0711-15-101 | THERMOPLASTIC,STD-OP, WHITE, SOLID, 6" | 3.141 | GM | 0 | 0
83 | 0711-11-123 | THERMOPLASTIC,STD, WHITE, SOLID, 12" | 860 | LF | 0 | 0
84 | 0711-11-124 | THERMOPLASTIC,STD, WHITE, SOLID 18" | 24 | LF | 0 | 0
85 | 0711-11-125 | THERMOPLASTIC,STD, WHITE, SOLID 24" | 190 | LF | 0 | 0
86 | 0711-11-160 | THERMOPLASTIC,STD, WHITE, MESSAGE | 8 | EA | 0 | 0
87 | 0711-11-170 | THERMOPLASTIC,STD, WHITE, ARROW | 18 | EA | 0 | 0
88 | 0711-15-201 | THERMOPLASTIC,STD-OP, YELLOW, SOLID, 6" | 3.56 | GM | 0 | 0
89 | 0711-11-224 | THERMOPLASTIC,STD, YELLOW, SOLID, 18" | 1370 | LF | 0 | 0
SUBTOTAL SIGNING AND PAVEMENT MARKING CONSTRUCTION COST | [5 empty] | 0
UTILITY RELOCATIONS AND IMPROVEMENTS - POTABLE WATER
90 | 1 | Asphalt Road Restoration, (Base & 1 1/2" S-III) (8" min. thick. base) | 560 | SY | 0 | 0
91 | 2 | Grout Fill Abandoned Pipe (Flowable Fill) | 4 | CY | 0 | 0
92 | 3 | Furnish & Install Backflow Prevention Assembly /w Pressure Relief Valve | 19 | EA | 0 | 0
93 | 3.01 | Vacuum Breakers | 38 | EA | 0 | 0
94 | 4 | Permit Fees | 2 | EA | 0 | 0
95 | 5 | Adjust Existing Utilities
96 | 5.01 | valve box | 7 | EA | 0 | 0
97 | 6 | Remove Existing Valve | 6 | EA | 0 | 0
98 | 7 | Excavate & Inspect Existing 16" Water Main Connections | 1 | EA | 0 | 0
99 | 8 | Pipe, water
100 | 8.01 | ductile iron, Cl 350, direct bury, 6" | 300 | LF | 0 | 0
101 | 8.02 | ductile iron, Cl 350, direct bury, 8" | 380 | LF | 0 | 0
102 | 8.03 | ductile iron, Cl 350, direct bury, 10" | 105 | LF | 0 | 0
103 | 8.04 | ductile iron, Cl 350, direct bury, 12" | 75 | LF | 0 | 0
104 | 9 | Ductile Iron Fittings, water
105 | 9.01 | 45 degree bend, 6" | 14 | EA | 0 | 0
106 | 9.02 | 45 degree bend, 8" | 21 | EA | 0 | 0
107 | 9.03 | 45 degree bend, 10" | 6 | EA | 0 | 0
108 | 9.04 | 45 degree bend, 12" | 4 | EA | 0 | 0
109 | 9.05 | 90 degree bend, 8" | 3 | EA | 0 | 0
110 | 9.06 | 16"x8" Tee, Cut in | 3 | EA | 0 | 0
111 | 9.07 | coupling, restrained, 6" | 1 | EA | 0 | 0
112 | 9.08 | coupling, restrained, 8" | 2 | EA | 0 | 0
113 | 9.09 | coupling, restrained, 10" | 1 | EA | 0 | 0
114 | 9.1 | coupling, restrained, 12" | 1 | EA | 0 | 0
115 | 9.11 | coupling, restrained, 16" | 12 | EA | 0 | 0
116 | 9.12 | Reducer, 8"X6" | 3 | EA | 0 | 0
117 | 10 | Valve, gate, cut-in, 16" | 7 | EA | 0 | 0
118 | 11 | Water Services
119 | 11.02 | 1" PE Single Service (Long) | 11 | EA | 0 | 0
120 | 11.02 | 1" PE Double Service (Long) | 7 | EA | 0 | 0
121 | 12 | Meter Box, relocation | 25 | EA | 0 | 0
122 | 13 | Pipe Joint Restraints
123 | 13.01 | 6" | 16 | EA | 0 | 0
124 | 13.02 | 8" | 20 | EA | 0 | 0
125 | 13.03 | 10" | 5 | EA | 0 | 0
126 | 13.04 | 12" | 4 | EA | 0 | 0
127 | 14 | Fire Hydrant Assembly | 10 | EA | 0 | 0
128 | 15 | Tapping Sleeves (steel fusion epoxy coated w/ 316 SS hardware)
129 | 15.01 | 16"x6" | 6 | EA | 0 | 0
130 | 15.02 | 16"x8" | 3 | EA | 0 | 0
131 | 15.03 | 16"x10" | 2 | EA | 0 | 0
132 | 15.04 | 16"x12" | 1 | EA | 0 | 0
133 | 16 | Valves
134 | 16.01 | 6" Tapping | 6 | EA | 0 | 0
135 | 16.02 | 8" Tapping | 3 | EA | 0 | 0
136 | 16.03 | 10" Tapping | 2 | EA | 0 | 0
137 | 16.04 | 12" Tapping | 1 | EA | 0 | 0
138 | 16.05 | 8" Gate | 6 | EA | 0 | 0
SUBTOTAL POTABLE WATER CONSTRUCTION COST | [5 empty] | 0
139 | 17 | Mobilization | 1 | LS | 0 | 0
140 | 18 | Record Drawings | 1 | LS | 0 | 0
141 | 19 | Contingency (10% OF ITEM NO. 90 THROUGH 138, 139 & 140) | 10% |  | 0 | 0
TOTAL POTABLE WATER CONSTRUCTION COST, MOBILITATION, RECORD DRAWINGS, AND CONTINGENCY | [5 empty] | 0
UTILITY RELOCATIONS AND IMPROVEMENTS - WASTEWATER
142 | 20 | Adjust Existing Utilities
143 | 20.01 | valve box | 6 | EA | 0 | 0
144 | 20.02 | manhole frame & cover | 7 | EA | 0 | 0
145 | 21 | Pipe, wastewater
146 | 21.01 | PVC (C900), direct bury, 4" | 70 | LF | 0 | 0
147 | 21.02 | PVC (C900), direct bury, 6" | 88 | LF | 0 | 0
148 | 21.03 | PVC (C900), direct bury, 20" | 40 | LF | 0 | 0
149 | 22 | Ductile Iron Fittings, wastewater
150 | 22.01 | 45 degree bend, 4" | 4 | EA | 0 | 0
151 | 22.02 | 45 degree bend, 6" | 8 | EA | 0 | 0
152 | 22.03 | 45 degree bend, 20" | 8 | EA | 0 | 0
153 | 22.04 | Cap, 6" | 1 | EA | 0 | 0
154 | 22.05 | Cap, 4" | 2 | EA | 0 | 0
155 | 23 | Pipe Joint Restraints
156 | 23.01 | 4" | 4 | EA | 0 | 0
157 | 23.02 | 6" | 5 | EA | 0 | 0
158 | 23.03 | 20" | 3 | EA | 0 | 0
159 | 24 | Tapping Sleeves (all material 316 SS)
160 | 24.01 | 20"x4" | 4 | EA | 0 | 0
161 | 25 | Valves
162 | 25.01 | 4" Tapping | 4 | EA | 0 | 0
163 | 26 | Sanitary Sewer Service, modifications | 17 | EA | 0 | 0
164 | 27 | Temp. By-pass Pumping for 20" FM Deflection | 2 | EA | 0 | 0
SUBTOTAL WASTE WATER CONSTRUCTION COSTS | [5 empty] | 0
165 | 28 | Mobilization | 1 | LS | 0 | 0
166 | 29 | Record Drawings | 1 | LS | 0 | 0
167 | 30 | Contingency (10% OF LINE NO. 142 THROUGH 164, 165 & 167) | 10% |  | 0 | 0
TOTAL WASTE WATER CONSTRUCTION COSTS, MOBILIZATION, RECORD DRAWINGS, AND CONTINGENCY | [5 empty] | 0
|  | TOTAL ROADWAY, SIGNING AND PAVEMENT MARKING, MOBILIZATION, MOT AND CONTINGENCY |  |  |  | 0
|  | TOTAL POTABLE WATER CONSTRUCTION COST, MOBILIZATION RECORD DRAWINGS, AND CONTINGENCY |  |  |  | 0
|  | TOTAL WASTE WATER CONSTRUCTION COST, MOBILIZATION, RECORD DRAWINGS, AND CONTINGENCY |  |  |  | 0
|  | TOTAL BID 'A' PRICE INCLUDING TOTAL ROADWAY, SIGNING AND PAVEMENT, TOTAL POTABLE WATER, TOTAL WASTE WATER CONSTRUCTION COSTS, MOBILIZATION, RECORD DRAWINGS, AND CONTINGENCY BASED ON 480 CALENDAR DAY COMPLETION |  |  |  | 0

## Bid B
APPENDIX K (ADDENDUM 2)
ERIE ROAD - US 301 TO US 301 SOUTH-NORTH PHASE II
PROJECT NO. 6082860
BID 'B' BASED ON 540 CALENDAR DAY COMPLETION
Bidders must provide prices for each line item for their bid to be considered responsive. Revised items noted in red.
LINE | FDOT ITEM | DESCRIPTION | EST.
NO. | NO. |  | QTY | U/M | UNIT PRICE | EXTENDED PRICE
MOBILIZATION, MOT AND CONTINGENCY FOR ROADWAY, AND SIGNING AND PAVEMENT MARKINGS
1 | 101-1 | MOBILIZATION RDWY,SIGNING AND PAVEMENT MARKING (ROADWAY & SIGNING/PAVEMNT ONLY) | 1 | LS | 0 | 0
2 | 102-1 | MAINTENANCE OF TRAFFIC (ROADWAY & SIGNING/PAVEMENT ONLY) | 1 | LS | 0 | 0
3 |  | CONTINGENCY (10% OF LINE NO. 1, 2 AND 4 THROUGH 89) | 10% |  | 0 | 0
SUBTOTAL MOBILIZATION, MOT AND CONTINGENCY ROADWAY, SIGNING AND PAVEMENT MARKINGS | [5 empty] | 0
ROADWAY
4 | 104-10-3 | SEDIMENT BARRIER | 23800 | LF | 0 | 0
5 | 104-11 | FLOATING TURBIDITY BARRIER | 140 | LF | 0 | 0
6 | 104-18 | INLET PROTECTION SYSTEM | 90 | EA | 0 | 0
7 | 110-2-1 | CLEARING & GRUBBING | 19.3 | AC | 0 | 0
8 | 110-7-1 | MAILBOX, F&I SINGLE | 24 | EA | 0 | 0
9 | 120-1 | REGULAR EXCAVATION | 6890 | CY | 0 | 0
10 | 120-4 | SUBSOIL EXCAVATION | 200 | CY | 0 | 0
11 | 120-5 | CHANNEL EXCAVATION | 4990 | CY | 0 | 0
12 | 120-6 | EMBANKMENT (REGULAR) | 11740 | CY | 0 | 0
13 | 145-MC | GEOSYNTHETIC REINFORCED SOIL SLOPE (PP5-XtremeTM with Percussion Earth Anchors) | 1250 | SY | 0 | 0
14 | 160-MC | 12" TYPE B STABILIZATION (LBR 60) | 20360 | SY | 0 | 0
15 | 285-701 | 4" OF OPTIONAL BASE GROUP 1 | 7460 | SY | 0 | 0
16 | 285-709 | 10" OF OPTIONAL BASE GROUP 9 | 9170 | SY | 0 | 0
17 | 327-70-16 | MILLING EXIST ASPH PAVT, 0.5" AVG DEPTH | 20820 | SY | 0 | 0
18 | 327-70-1 | MILLING EXIST ASPH PAVT, 1 " AVG DEPTH | 3810 | SY | 0 | 0
19 | 334-MC | TYPE S-I ASPHALT CONCRETE (INCL TACK COAT) | 4910 | TN | 0 | 0
20 | 337-MC | TYPE S-III ASPHALT CONCRETE (INCL TACK COAT) | 3110 | TN | 0 | 0
21 | 339-1 | MISCELLANEOUS ASPHALT PAVEMENT | 11 | TN | 0 | 0
22 | 400-MC | CONCRETE CLASS I (STEEL INCLUDED) | 12 | CY | 0 | 0
23 | 425-MC | DROP INLET (TRAFFIC BEARING) | 2 | EA | 0 | 0
24 | 425-MC | CURB INLET | 7 | EA | 0 | 0
25 | 425-1-451 | INLETS, CURB, TYPE J-5, <10' | 1 | EA | 0 | 0
26 | 425-1-461 | INLETS, CURB, TYPE J-6, <10' | 1 | EA | 0 | 0
27 | 425-1-531 | INLETS, DT BOT, TYPE C MOD, BACK OF SIDEWALK <10' | 5 | EA | 0 | 0
28 | 425-1-533 | INLETS, DT BOT, TYPE C MOD, BACK OF SIDEWALK J BOT. <10' | 5 | EA | 0 | 0
29 | 425-1-541 | INLETS, DT BOT, TYPE D, <10' | 3 | EA | 0 | 0
30 | 425-1-543 | INLETS, DT BOT, TYPE D, J BOT. <10' | 7 | EA | 0 | 0
31 | 425-1-551 | INLETS, DT BOT, TYPE E, <10' | 6 | EA | 0 | 0
32 | 425-1-553 | INLETS, DT BOT, TYPE E, J BOT. <10' | 1 | EA | 0 | 0
33 | 425-1-561 | INLETS, DT BOT, TYPE F, <10' | 2 | EA | 0 | 0
34 | 425-1-563 | INLETS, DT BOT, TYPE F, J BOT. <10' | 2 | EA | 0 | 0
35 | 425-1-581 | INLETS, DT BOT, TYPE H MOD, <10' | 1 | EA | 0 | 0
36 | 425-2-91 | MANHOLE, J-8, <10' | 2 | EA | 0 | 0
37 | 425-10 | YARD DRAIN | 3 | EA | 0 | 0
38 | 430-174-115 | PIPE STORM SEWER CULV (RCP)(15") | 210 | LF | 0 | 0
39 | 430-174-118 | PIPE STORM SEWER CULV (RCP)(18") | 1477 | LF | 0 | 0
40 | 430-174-124 | PIPE STORM SEWER CULV (RCP)(24") | 1466 | LF | 0 | 0
41 | 430-174-130 | PIPE STORM SEWER CULV (RCP)(30") | 373 | LF | 0 | 0
42 | 430-174-136 | PIPE STORM SEWER CULV (RCP)(36") | 666 | LF | 0 | 0
43 | 430-174-142 | PIPE STORM SEWER CULV (RCP)(42") | 1339 | LF | 0 | 0
44 | 430-174-148 | PIPE STORM SEWER CULV (RCP)(48") | 1164 | LF | 0 | 0
45 | 430-174-154 | PIPE STORM SEWER CULV (RCP)(54") | 1071 | LF | 0 | 0
46 | 430-174-215 | PIPE STORM SEWER CULV (ERCP) (12"X18") | 644 | LF | 0 | 0
47 | 430-174-218 | PIPE STORM SEWER CULV (ERCP) (14"X23") | 39 | LF | 0 | 0
48 | 430-174-242 | PIPE STORM SEWER CULV (ERCP) (34"X53") | 36 | LF | 0 | 0
49 | 430-174-248 | PIPE STORM SEWER CULV (ERCP) (38"X60") | 210 | LF | 0 | 0
50 | 430-175-115 | PIPE STORM SEWER CULV (PVC)(15") | 30 | LF | 0 | 0
51 | 430-175-124 | PIPE STORM SEWER CULV (RCP)(24") | 130 | LF | 0 | 0
52 | 430-175-136 | PIPE STORM SEWER CULV (RCP)(36") | 82 | LF | 0 | 0
53 | 430-175-224 | PIPE STORM SEWER CULV (ERCP) (19"X30") | 85 | LF | 0 | 0
54 | 430-982-125 | MITERED END SECTION- RCP-ROUND, 18" CD | 1 | EA | 0 | 0
55 | 430-982-129 | MITERED END SECTION- RCP-ROUND, 24" CD | 3 | EA | 0 | 0
56 | 430-982-138 | MITERED END SECTION- RCP-ROUND, 36" CD | 1 | EA | 0 | 0
57 | 430-982-142 | MITERED END SECTION- RCP-ROUND, 54" CD | 1 | EA | 0 | 0
58 | 430-982-629 | MITERED END SECTION- RCP-ELLIPTICAL, 24" CD | 1 | EA | 0 | 0
59 | 430-982-640 | MITERED END SECTION- RCP-ELLIPTICAL, 42" CD | 1 | EA | 0 | 0
60 | 430-984-123 | MITERED END SECTION-RCP- ROUND, 15" SD | 3 | EA | 0 | 0
61 | 430-984-125 | MITERED END SECTION-RCP- ROUND, 18" SD | 4 | EA | 0 | 0
62 | 430-984-623 | MITERED END SECTION-RCP-ELLIPTICAL, 15" SD | 23 | EA | 0 | 0
63 | 430-984-625 | MITERED END SECTION-RCP-ELLIPTICAL, 18" SD | 3 | EA | 0 | 0
64 | 515-1-2 | PIPE HANDRAIL-GUIDERAIL ALUMINUM | 1044 | LF | 0 | 0
65 | 520-1-10 | TYPE F CURB & GUTTER | 1545 | LF | 0 | 0
66 | 522-1 | SIDEWALK CONCRETE 4" | 8030 | SY | 0 | 0
67 | 522-2 | SIDEWALK CONCRETE 6" THICK (CONC. DRIVEWAYS) | 1158 | SY | 0 | 0
68 | 527-2 | DETECTABLE WARNINGS | 374 | SF | 0 | 0
69 | 530-3-4 | RIP RAP-RUBBLE | 250 | TN | 0 | 0
70 | 536-1-1 | GUARDRAIL | 0 | LF
71 | 550-MC | EXISTING FENCE TO BE REMOVED AND RELOCATED | 2050 | LF | 0 | 0
72 | 570-1-2 | PERFORMANCE TURF (BAHIA SOD) | 58730 | SY | 0 | 0
73 | POND-MC | FP COMP POND #1 CONSTRUCTION
74 | 120-1 | FP COMP POND REGULAR EXCAVATION | 5360 | CY | 0 | 0
75 | 120-6 | FP COMP POND EMBANKMENT (REGULAR) | 1130 | CY | 0 | 0
76 | Stockpile | HAUL EXCESS EXCAVATION MATERIAL FROM FP COMP POND TO STOCKPILE | 4230 | CY | 0 | 0
SUBTOTAL ROADWAY CONSTRUCTION COST | [5 empty] | 0
SIGNING AND PAVEMENT MARKINGS
77 | 0700-1-11 | SINGLE POST SIGN, F&I GM, Less than 12 SF | 9 | AS | 0 | 0
78 | 0700-1-50 | SINGLE POST SIGN, RELOCATE | 15 | AS | 0 | 0
79 | 0700-1-60 | SINGLE POST SIGN, REMOVE | 2 | AS | 0 | 0
80 | 0706-1-1 | RAISED PAVT MARK, TYPE B | 965 | EA | 0 | 0
81 | 0710-11-290 | PAINTED PAVEMENT MARKINGS, STANDARD, YELLOW, ISLAND Nose | 91 | SF | 0 | 0
82 | 0711-15-101 | THERMOPLASTIC,STD-OP, WHITE, SOLID, 6" | 3.141 | GM | 0 | 0
83 | 0711-11-123 | THERMOPLASTIC,STD, WHITE, SOLID, 12" | 860 | LF | 0 | 0
84 | 0711-11-124 | THERMOPLASTIC,STD, WHITE, SOLID 18" | 24 | LF | 0 | 0
85 | 0711-11-125 | THERMOPLASTIC,STD, WHITE, SOLID 24" | 190 | LF | 0 | 0
86 | 0711-11-160 | THERMOPLASTIC,STD, WHITE, MESSAGE | 8 | EA | 0 | 0
87 | 0711-11-170 | THERMOPLASTIC,STD, WHITE, ARROW | 18 | EA | 0 | 0
88 | 0711-15-201 | THERMOPLASTIC,STD-OP, YELLOW, SOLID, 6" | 3.56 | GM | 0 | 0
89 | 0711-11-224 | THERMOPLASTIC,STD, YELLOW, SOLID, 18" | 1370 | LF | 0 | 0
SUBTOTAL SIGNING AND PAVEMENT MARKING CONSTRUCTION COST | [5 empty] | 0
UTILITY RELOCATIONS AND IMPROVEMENTS - POTABLE WATER
90 | 1 | Asphalt Road Restoration, (Base & 1 1/2" S-III) (8" min. thick. base) | 560 | SY | 0 | 0
91 | 2 | Grout Fill Abandoned Pipe (Flowable Fill) | 4 | CY | 0 | 0
92 | 3 | Furnish & Install Backflow Prevention Assembly /w Pressure Relief Valve | 19 | EA | 0 | 0
93 | 3.01 | Vacuum Breakers | 38 | EA | 0 | 0
94 | 4 | Permit Fees | 2 | EA | 0 | 0
95 | 5 | Adjust Existing Utilities
96 | 5.01 | valve box | 7 | EA | 0 | 0
97 | 6 | Remove Existing Valve | 6 | EA | 0 | 0
98 | 7 | Excavate & Inspect Existing 16" Water Main Connections | 1 | EA | 0 | 0
99 | 8 | Pipe, water
100 | 8.01 | ductile iron, Cl 350, direct bury, 6" | 300 | LF | 0 | 0
101 | 8.02 | ductile iron, Cl 350, direct bury, 8" | 380 | LF | 0 | 0
102 | 8.03 | ductile iron, Cl 350, direct bury, 10" | 105 | LF | 0 | 0
103 | 8.04 | ductile iron, Cl 350, direct bury, 12" | 75 | LF | 0 | 0
104 | 9 | Ductile Iron Fittings, water
105 | 9.01 | 45 degree bend, 6" | 14 | EA | 0 | 0
106 | 9.02 | 45 degree bend, 8" | 21 | EA | 0 | 0
107 | 9.03 | 45 degree bend, 10" | 6 | EA | 0 | 0
108 | 9.04 | 45 degree bend, 12" | 4 | EA | 0 | 0
109 | 9.05 | 90 degree bend, 8" | 3 | EA | 0 | 0
110 | 9.06 | 16"x8" Tee, Cut in | 3 | EA | 0 | 0
111 | 9.07 | coupling, restrained, 6" | 1 | EA | 0 | 0
112 | 9.08 | coupling, restrained, 8" | 2 | EA | 0 | 0
113 | 9.09 | coupling, restrained, 10" | 1 | EA | 0 | 0
114 | 9.1 | coupling, restrained, 12" | 1 | EA | 0 | 0
115 | 9.11 | coupling, restrained, 16" | 12 | EA | 0 | 0
116 | 9.12 | Reducer, 8"X6" | 3 | EA | 0 | 0
117 | 10 | Valve, gate, cut-in, 16" | 7 | EA | 0 | 0
118 | 11 | Water Services
119 | 11.02 | 1" PE Single Service (Long) | 11 | EA | 0 | 0
120 | 11.04 | 1" PE Double Service (Long) | 7 | EA | 0 | 0
121 | 12 | Meter Box, relocation | 25 | EA | 0 | 0
122 | 13 | Pipe Joint Restraints
123 | 13.01 | 6" | 16 | EA | 0 | 0
124 | 13.02 | 8" | 20 | EA | 0 | 0
125 | 13.03 | 10" | 5 | EA | 0 | 0
126 | 13.04 | 12" | 4 | EA | 0 | 0
127 | 14 | Fire Hydrant Assembly | 10 | EA | 0 | 0
128 | 15 | Tapping Sleeves (steel fusion epoxy coated w/ 316 SS hardware)
129 | 15.01 | 16"x6" | 6 | EA | 0 | 0
130 | 15.02 | 16"x8" | 3 | EA | 0 | 0
131 | 15.03 | 16"x10" | 2 | EA | 0 | 0
132 | 15.04 | 16"x12" | 1 | EA | 0 | 0
133 | 16 | Valves
134 | 16.01 | 6", Tapping | 6 | EA | 0 | 0
135 | 16.02 | 8", Tapping | 3 | EA | 0 | 0
136 | 16.03 | 10", Tapping | 2 | EA | 0 | 0
137 | 16.04 | 12", Tapping | 1 | EA | 0 | 0
138 | 16.05 | 8" Gate | 6 | EA | 0 | 0
SUBTOTAL POTABLE WATER CONSTRUCTION COST | [5 empty] | 0
139 | 17 | Mobilization | 1 | LS | 0 | 0
140 | 18 | Record Drawings | 1 | LS | 0 | 0
141 | 19 | Contingency (10% OF ITEM NO. 90 THROUGH 138, 139 & 140) | 10% |  | 0 | 0
TOTAL POTABLE WATER CONSTRUCTION COST, MOBILITATION, RECORD DRAWINGS, AND CONTINGENCY | [5 empty] | 0
UTILITY RELOCATIONS AND IMPROVEMENTS - WASTEWATER
142 | 20 | Adjust Existing Utilities
143 | 20.01 | valve box | 6 | EA | 0 | 0
144 | 20.02 | manhole frame & cover | 7 | EA | 0 | 0
145 | 21 | Pipe, wastewater
146 | 21.01 | PVC (C900), direct bury, 4" | 70 | LF | 0 | 0
147 | 21.02 | PVC (C900), direct bury, 6" | 88 | LF | 0 | 0
148 | 21.03 | PVC (C900), direct bury, 20" | 40 | LF | 0 | 0
149 | 22 | Ductile Iron Fittings, wastewater
150 | 22.01 | 45 degree bend, 4" | 4 | LF | 0 | 0
151 | 22.02 | 45 degree bend, 6" | 8 | LF | 0 | 0
152 | 22.03 | 45 degree bend, 20" | 8 | EA | 0 | 0
153 | 22.04 | Cap, 6" | 1 | EA | 0 | 0
154 | 22.05 | Cap, 4" | 2 | EA | 0 | 0
155 | 23 | Pipe Joint Restraints
156 | 23.01 | 4" | 4 | EA | 0 | 0
157 | 23.02 | 6" | 5 | EA | 0 | 0
158 | 23.03 | 20" | 3 | EA | 0 | 0
159 | 24 | Tapping Sleeves (all material 316 SS)
160 | 24.01 | 20"x4" | 4 | EA | 0 | 0
161 | 25 | Valves
162 | 25.01 | 4", Tapping | 4 | EA | 0 | 0
163 | 26 | Sanitary Sewer Service, modifications | 17 | EA | 0 | 0
164 | 27 | Temp. By-pass Pumping for 20" FM Deflection | 2 | EA | 0 | 0
SUBTOTAL WASTE WATER CONSTRUCTION COSTS | [5 empty] | 0
165 | 28 | Mobilization (Subtotal of Waste Water Construction Cost) | 1 | LS | 0 | 0
166 | 29 | Record Drawings Subtotal Waste Water Construction Cost) | 1 | LS | 0 | 0
167 | 30 | Contingency (10% OF LINE NO. 142 THROUGH 164, 165 & 167) | 10% |  | 0 | 0
TOTAL WASTE WATER CONSTRUCTION COSTS, MOBILIZATION, RECORD DRAWINGS, AND CONTINGENCY | [5 empty] | 0
|  | TOTAL ROADWAY, SIGNING AND PAVEMENT MARKING, MOBILIZATION, MOT AND CONTINGENCY |  |  |  | 0
|  | TOTAL POTABLE WATER CONSTRUCTION COST, MOBILIZATION RECORD DRAWINGS, AND CONTINGENCY |  |  |  | 0
|  | TOTAL WASTE WATER CONSTRUCTION COST, MOBILIZATION, RECORD DRAWINGS, AND CONTINGENCY |  |  |  | 0
|  | TOTAL BID 'B' PRICE INCLUDING TOTAL ROADWAY, SIGNING AND PAVEMENT, TOTAL POTABLE WATER, TOTAL WASTE WATER CONSTRUCTION COSTS, MOBILIZATION, RECORD DRAWINGS, AND CONTINGENCY BASED ON 540 CALENDAR DAY COMPLETION |  |  |  | 0