## Appendix K
APPENDIX K, BID PRICING FORM 21-TA003782DJ 66th STREET COURT EAST/64th STREET COURT EAST AT SR 64 INTERSECTION IMPROVEMENTS COUNTY PROJECT NO. 6015061
EOC--AECOM
PAY ITEM | DESCRIPTION | UNIT | QTY. | UNIT PRICE | AMOUNT | UNIT PRICE BID A 180 Calendar Days | EXTENDED AMOUNT BID A | UNIT PRICE BID B 210 Calendar Days | EXTENDED AMOUNT BID B
6" WATER MAIN RELOCATION
1 | MOBILIZATION/DEMOBILIZATION | LS | 1 | 15000 | 15000 |  | 0 |  | 0
2 | F&I 6" DI WM VIA OPEN CUT | LF | 280 | 130 | 36400 |  | 0 |  | 0
3 | F&I DUCTILE IRON FITTINGS | LB | 500 | 10 | 5000 |  | 0 |  | 0
4 | F&I 6" GATE VALVE | EA | 1 | 3000 | 3000 |  | 0 |  | 0
5 | F&I 6" INSERTION VALVE | EA | 1 | 10000 | 10000 |  | 0 |  | 0
6 | F&I FIRE HYDRANT ASSEMBLY | EA | 1 | 3000 | 3000 |  | 0 |  | 0
7 | EXCAVATE EXISTING 36"x6" TAPPING SADDLE AND VALVE FOR INSPECTION | LS | 1 | 3000 | 3000 |  | 0 |  | 0
8 | REPLACE EXISTING 36"x6" TAPPING SADDLE AND VALVE | LS | 1 | 25000 | 25000 |  | 0 |  | 0
9 | F&I 6" THRUST RESTRAINT FOR EXISTING PIPE JOINTS | EA | 4 | 1200 | 4800 |  | 0 |  | 0
10 | F&I 1.5" SHORT SIDE WATER SERVICE | EA | 1 | 1500 | 1500 |  | 0 |  | 0
11 | F&I 1.5" LONG SIDE WATER SERVICE | EA | 1 | 3000 | 3000 |  | 0 |  | 0
12 | F&I 2" LONG SIDE WATER SERVICE | EA | 1 | 3500 | 3500 |  | 0 |  | 0
13 | REMOVE & DISPOSE OF EXISTING 6" DI WM | LF | 270 | 15 | 4050 |  | 0 |  | 0
14 | REMOVE & SALVAGE EXISTING FIRE HYDRANT ASSEMBLY | LS | 1 | 500 | 500 |  | 0 |  | 0
SUBTOTAL |  |  |  |  | 117750 |  | 0 |  | 0
PAY ITEM | DESCRIPTION | UNIT | QTY. | UNIT PRICE | AMOUNT | UNIT PRICE BID A 180 Calendar Days | EXTENDED AMOUNT BID A | UNIT PRICE BID B 210 Calendar Days | EXTENDED AMOUNT BID B
ROADWAY
101-1 | MOBILIZATION | LS | 1 | 59679.3153 | 59679.3153 |  | 0 |  | 0
102-1 | MAINTENANCE OF TRAFFIC | LS | 1 | 29839.6576 | 29839.6576 |  | 0 |  | 0
104-10-3 | SEDIMENT BARIER | LF | 600 | 1.562 | 937.2 |  | 0 |  | 0
110-1-1 | CLEARING AND GRUBBING | LS | 1 | 44759.4864 | 44759.4864 |  | 0 |  | 0
110-4-10 | REMOVAL OF EXISTING CONCRETE | SY | 200 | 23.199 | 4639.8 |  | 0 |  | 0
120-1 | REGULAR EXCAVATION | CY | 65 | 20.878 | 1357.07 |  | 0 |  | 0
120-6 | EMBANKMENT | CY | 125 | 21.142 | 2642.75 |  | 0 |  | 0
160-4 | STABILIZATION TYPE B | SY | 660 | 6.578 | 4341.48 |  | 0 |  | 0
285-711 | BASE OPTIONAL GROUP 11 | SY | 479 | 27.093 | 12977.547 |  | 0 |  | 0
334-1-14 | SUPERPAVE (TRAFFIC D) | TON | 127.8 | 132 | 16869.6 |  | 0 |  | 0
337-7-83 | FRICTION COURSE FC-12.5 (1 1/2") (TRAFFC C) | TON | 132.56 | 137.313 | 18202.2113 |  | 0 |  | 0
400-0-11 | CONCRETE CLASS NS, GRAVITY WALL | CY | 6 | 924 | 5544 |  | 0 |  | 0
425-1-351 | INLETS, CURB, TYPE P-5 (<10) | EA | 4 | 6160 | 24640 |  | 0 |  | 0
425-1-521 | INLETS, DT BOT, TYPE C, (<10) | EA | 1 | 6304.144 | 6304.144 |  | 0 |  | 0
425-2-61 | MANHOLE, TYPE P-8, (<10) | EA | 1 | 6050 | 6050 |  | 0 |  | 0
430-94-2 | DESILT EXISTNG PIPE 36" | LF | 54 | 9.471 | 511.434 |  | 0 |  | 0
430-175-230 | PIPE CULVERT, ELLIP., (24x38) | LF | 26 | 191.994 | 4991.844 |  | 0 |  | 0
430-175-215 | PIPE CULVERT, CONC., ELLIP., (12x18) | LF | 517 | 281.468 | 145518.956 |  | 0 |  | 0
430-982-633 | MITERED END SECTION (CD) (24x38) | EA | 2 | 3504.281 | 7008.562 |  | 0 |  | 0
430-984-623 | MITERED END SECTION, SD, (12x18) | EA | 1 | 3300 | 3300 |  | 0 |  | 0
515-2-111 | PEDESTRIAN RAILING | LF | 74 | 91.3 | 6756.2 |  | 0 |  | 0
520-1-7 | CURB & GUTTER (TYPE E) | LF | 153 | 16.676 | 2551.428 |  | 0 |  | 0
520-1-10 | CURB & GUTTER (TYPE F) | LF | 474 | 27.06 | 12826.44 |  | 0 |  | 0
522-1 | SIDEWALK CONCRETE (4" THICK) | SY | 216 | 38.61 | 8339.76 |  | 0 |  | 0
527-2 | DETECTABLE WARNING | SF | 40 | 31.405 | 1256.2 |  | 0 |  | 0
570-1-2 | PERFORMANCE TURF (SODDING) | SY | 595 | 2.97 | 1767.15 |  | 0 |  | 0
SUBTOTAL |  |  |  |  | 433612.2356 |  | 0 |  | 0
PAY ITEM | DESCRIPTION | UNIT | QTY. | UNIT PRICE | AMOUNT | UNIT PRICE BID A 180 Calendar Days | EXTENDED AMOUNT BID A | UNIT PRICE BID B 210 Calendar Days | EXTENDED AMOUNT BID B
SIGNING AND MARKING
700-1-60 | REMOVE SINGLE POST SIGN | EA | 1 | 107.47 | 107.47 |  | 0 |  | 0
706-3 | REFLECTIVE PAVEMENT MARKERS | EA | 78 | 11.64 | 907.92 |  | 0 |  | 0
711-11-125 | THERMO, PREFORMED, WHITE, SOLID, 24" STOP BAR CROSSWALK | LF | 189 | 6.15 | 1162.35 |  | 0 |  | 0
711-11-141 | THERMO, STD, 2-4 DOTTED GUIDE LINE, WHITE, 6" | GM | 0.043 | 3641.92 | 156.6026 |  | 0 |  | 0
711-11-170 | THERMO, STD, WHITE, ARROW | EA | 4 | 68.62 | 274.48 |  | 0 |  | 0
711-11-224 | THERMO, STD, YELLOW, SOLID, 18" | LF | 50 | 4.22 | 211 |  | 0 |  | 0
711-11-241 | THERMO, STD, 2-4 DOTTED GUIDE LINE, YELLOW, 6" | GM | 0.031 | 3641.92 | 112.8995 |  | 0 |  | 0
711-14-123 | THERMO, PREFORMED, WHITE, SOLID, 12" FOR CROSSWALK | LF | 151 | 9.28 | 1401.28 |  | 0 |  | 0
711-16-101 | THERMO, OTHER SUFACES, WHITE, SOLID, 6" | GM | 0.132 | 4275.48 | 564.3634 |  | 0 |  | 0
711-16-201 | THERMO, OTHER SUFACES, YELLOW, SOLID, 6" | GM | 0.173 | 5481.54 | 948.3064 |  | 0 |  | 0
SUBTOTAL |  |  |  |  | 4898.3654 |  | 0 |  | 0
PAY ITEM | DESCRIPTION | UNIT | QTY. | UNIT PRICE | AMOUNT | UNIT PRICE BID A 180 Calendar Days | EXTENDED AMOUNT BID A | UNIT PRICE BID B 210 Calendar Days | EXTENDED AMOUNT BID B
SIGNING AND MARKING
630-2-11 | CONDUIT (F&I) (OPEN TRENCH) | LF | 80 | 7.02 | 561.6 |  | 0 |  | 0
630-2-12 | CONDUIT (F&I) (DIRECTIONAL BORE) | LF | 80 | 22.55 | 1804 |  | 0 |  | 0
632-7-1 | SIGNAL CABLE F&I | PI | 1 | 5356.44 | 5356.44 |  | 0 |  | 0
632-7-6 | SIGNAL CABLE, REMOVE - INTERSECTION | PI | 1 | 7235.8 | 7235.8 |  | 0 |  | 0
633-8-1 | MULT-CONDUCTOR COMMUNICATION CABLE, F&I | LF | 105 | 5.06 | 531.3 |  | 0 |  | 0
635-2-11 | PULL & SPLICE BOX (F&I) (17X30) | EA | 4 | 653.97 | 2615.88 |  | 0 |  | 0
635-2-12 | PULL & SPLICE BOX (F&I) (24X36) | EA | 2 | 836.86 | 1673.72 |  | 0 |  | 0
646-1-11 | ALUMIN. SIGNAL POLE, F&I, PED, T BASE, 4-1/2" | EA | 2 | 1473.08 | 2946.16 |  | 0 |  | 0
646-1-60 | ALUMIN. SIGNAL POLE, REMOVE | EA | 2 | 337.09 | 674.18 |  | 0 |  | 0
650-1-14 | VEHICULAR TRAFFIC SIGNAL, F&I, ALUMIN, 3 SEC-1 WAY | AS | 2 | 1153.29 | 2306.58 |  | 0 |  | 0
650-1-19 | VEHICULAR TRAFFIC SIGNAL, F&I, ALUMIN, 5 SEC-1 WAY | AS | 2 | 1667 | 3334 |  | 0 |  | 0
650-1-60 | VEHICULAR TRAFFIC SIGNAL,REMOVE-POLE TO REMAIN | AS | 2 | 136.98 | 273.96 |  | 0 |  | 0
653-1-11 | PEDESTRIAN SIGNAL, F&I, LED COUNTDOWN, 1 WAY | EA | 2 | 745.08 | 1490.16 |  | 0 |  | 0
660-4-42 | VDS - VIDEO, RELOCATE ABOVE GROUND EQUIPMENT | EA | 2 | 770 | 1540 |  | 0 |  | 0
660-4-51 | VDS - VIDEO, ADJUST/MODIFY CABINET EQUIPMENT | EA | 1 | 479.6 | 479.6 |  | 0 |  | 0
660-4-52 | VDS - VIDEO, ADJUST/MODIFY ABOVE GROUND | EA | 2 | 762.58 | 1525.16 |  | 0 |  | 0
665-1-11 | PEDESTRIAN DETECTOR, F&I, STANDARD | EA | 2 | 270.95 | 541.9 |  | 0 |  | 0
670-5-400 | TRAFFIC CONTROLLER ASSEMBLY (MODIFY) | AS | 1 | 3209.63 | 3209.63 |  | 0 |  | 0
682-1-113 | ITS CCTV CAMERA F&I DOME PTZ ENC- PRESS, IP, HD | EA | 1 | 8387.9 | 8387.9 |  | 0 |  | 0
684-1-1 | MANAGED FIELD ETHERNET SWITCH, F&I | EA | 1 | 4054.33 | 4054.33 |  | 0 |  | 0
SUBTOTAL |  |  |  |  | 50542.3 |  | 0 |  | 0
SUBTOTAL ALL SECTIONS |  |  |  |  | 606802.901 |  | 0 |  | 0
CONTINGENCY |  |  | 10% |  | 60680.2901 |  | 0 |  | 0
GRAND TOTAL |  |  |  |  | 667483.1912 |  | 0 |  | 0
BIDDER NAME________________________________________________
BIDDER SIGNATURE___________________________________________