## Total Combined Cost
APPENDIX K
BID PRICING FORM
SATELLITE LIFT STATION R&R COLONY COVE 6 & MEMPHIS RD
Bid BASED ON 240 CALENDAR DAY FOR COMPLETION
Item | DESCRIPTION | U/M | Total QTY. | EXTENDED PRICE ($)
1 | Total Base Bid Based on Completion time of 240 Calendar Days | 1 | Each | 0
1 | Wet Well Cleaning | SF | 2361 | #VALUE!
2 | Wet Well Discharge Piping, HDPE DR-11 | LF | 145 | #VALUE!
3 | Pump Base Ells, BPIU | EA | 4 | #VALUE!
4 | Pump Base Ell Mounting Plate | EA | 4 | #VALUE!
5 | S.S. Pipe Bracing. | EA | 7 | #VALUE!
6 | Modify Ex. Top Slab Elevation | VF | 1 | #VALUE!
7 | Replace Existing Top Slab, wet well | EA | 2 | #VALUE!
8 | Aluminum Hatch Cover, 36" x 72", single or double door (wetwell) | EA | 2 | #VALUE!
9 | 2" S.S.Pump Guide Rail System | LF | 105 | #VALUE!
10 | Remove Ex. Liner | SF | 2361 | #VALUE!
11 | Liner, spray-on | SF | 2399 | #VALUE!
12 | Grout Fill Ex. Drain, abandon | EA | 2 | #VALUE!
13 | Gate Valve, FLG | EA | 6 | #VALUE!
14 | Swing Check Valve, FLG | EA | 4 | #VALUE!
15 | Gate Valve, MJ | EA | 2 | #VALUE!
16 | Pipe |  |  | 0
16.1 | DI, FLG | LF | 20 | #VALUE!
16.2 | PVC (DR-18) | LF | 134 | #VALUE!
16.3 | PVC (DR-26), 18" | LF | 56 | #VALUE!
17 | Ductile Iron Fittings |  |  | 0
17.1 | Tee, FLG, 10" | EA | 4 | #VALUE!
17.2 | 45, FLG, 10" | EA | 4 | #VALUE!
17.3 | 90, FLG, 10" | EA | 4 | #VALUE!
17.4 | Reducer, MJ, 10"x12" | EA | 2 | #VALUE!
17.5 | 90, MJ, 12" | EA | 2 | #VALUE!
17.6 | 45, MJ, 12" | EA | 7 | #VALUE!
17.7 | Foster Adapter, 12" | EA | 2 | #VALUE!
18 | Quick Coupler Adapter, aluminum, male w/ aluminum dust cap | EA | 2 | #VALUE!
19 | S.S. Adjustable Valve Supports, FLG attachment | EA | 8 | #VALUE!
20 | Abandon Existing Structure | EA | 2 | #VALUE!
21 | Complete Removal of Existing Structure | EA | 2 | #VALUE!
22 | Reinforced Concrete Slab & Permitting |  |  | 0
22.1 | emergency backup pump | CY | 2 | #VALUE!
22.2 | odor control | CY | 6 | #VALUE!
23 | Influent Line Plug | EA | 2 | #VALUE!
24 | By-Pass Pumping System, w/ 24 hr operator | LS | 2 | #VALUE!
25 | Water Service Connection and Line, 2" | LF | 265 | #VALUE!
26 | Replace Ex. Tapping Saddle; Install Brass Plug | EA | 2 | #VALUE!
27 | Install Meter, Backflow, & Hose Bibb Assembly | EA | 1 | #VALUE!
28 | Relocate Ex. Meter, Backflow, & Hose Bibb Assembly | EA | 1 | #VALUE!
29 | Remove & Replace Electric Meter Can | EA | 2 | #VALUE!
30 | Remove & Replace Fused Safety Switch (disconnect) | EA | 2 | #VALUE!
31 | Remove & Replace Control Panel, mechanically vented | EA | 2 | #VALUE!
31.1 | Includes TCU Bubbler Unit (RPT-001) by DFS | EA | 2 | #VALUE!
32 | TCU & Fiberglass Enclosure, DFS | EA | 2 | #VALUE!
33 | Junction Box, 304 SS | EA | 2 | #VALUE!
34 | Remove & Replace Sch 80 PVC Conduit |  |  | 0
34.1 | 1" | LF | 90 | #VALUE!
34.2 | 2" | LF | 60 | #VALUE!
34.3 | 3" | LF | 165 | #VALUE!
35 | Remove & Replace Electrical Service | LF | 40 | #VALUE!
36 | Remove & Replace Electrical Mounting Structure | EA | 2 | #VALUE!
36.1 | Electrical Mounting Rack Extension for ATS Enclosure | LS | 2 | #VALUE!
37 | Elect. System Study & Elect. Study Analysis, (NFPA 70E), complete | LS | 2 | #VALUE!
37.1 | Contractor efforts to coordinate with Rozel, LLC | LS | 2 | #VALUE!
38 | Remove Ex. Generator and ATS Equipment | LS | 2 | #VALUE!
39 | New Automatic Transfer Switch, (ASCO Series 300) | EA | 1 | #VALUE!
40 | Remove Antenna Concrete Base | LS | 2 | #VALUE!
41 | Remove Ex. Concrete Pads, Piping, and Conduit | LS | 2 | #VALUE!
42 | Concrete Repair, Wet Well, 2" thick (if required) | SF | 1200 | #VALUE!
43 | Install New Lift Station Driveway, 6" thick concrete | SY | 80 | #VALUE!
44 | Sodding | SY | 925 | #VALUE!
45 | New Conc. Floor & Fillet | CY | 10 | #VALUE!
46 | Flow Meter, incl. Electrical, complete (McCrometer UM06) | EA | 2 | #VALUE!
47 | Install Odor Control Stub-outs |  |  | 0
47.1 | 6" PVC | LF | 21 | #VALUE!
47.2 | 2" PVC | LF | 21 | #VALUE!
48 | Maintenance of Traffic | LS | 1 | #VALUE!
49 | Asphalt Pavement Restoration |  |  | 0
49.1 | Base & 1 1/2" S-III) (8" min. thick. Base | SY | 40 | #VALUE!
49.2 | Mill & Resurface, 1 1/2" S-III | SY | 181 | #VALUE!
#REF!
|  |  | Subtotal | 0
LIFT STATION EMERGENCY BACK-UP PUMP |  |  |  | 0
50 | Emergency Backup Pump & Fuel Tank | LS | 1 | #VALUE!
51 | e-Pump Piping |  |  | 0
51.1 | * HDPE (DR-11), 8", suction line (see note 2 below) | LF | 30 | #VALUE!
51.2 | * HDPE (DR-11, 8", discharge line (see note 2 below) | LF | 30 | #VALUE!
51.3 | PVC, 2", drain line | LF | 12 | #VALUE!
52 | Sch 80 PVC Conduit, 1" | LF | 15 | #VALUE!
53 | Level Transducer, GXS3-PP300-A49-B49-50-C01-D49 | EA | 1 | #VALUE!
54 | PVC Stilling Well, 6" | LF | 28 | #VALUE!
|  |  | Subtotal | 0

## Colony Cove 6
APPENDIX K
BID PRICING FORM
SATELLITE LIFT STATION R&R COLONY COVE 6
Bid BASED ON 240 CALENDAR DAY FOR COMPLETION
Bidder must provide a prices for each line item for their bid to be considered responsive.
ITEM NO. | DESCRIPTION | U/M | QTY | UNIT PRICE | EXTENDED PRICE ($)
LIFT STATION REHABILITATION
1 | Wet Well Cleaning | SF | 1077
2 | Wet Well Discharge Piping, HDPE DR-11, 10" | LF | 68
3 | Pump Base Ells, BPIU-16 | EA | 2
4 | Pump Base Ell Mounting Plate | EA | 2
5 | S.S. Pipe Bracing, 12 ft dia. | EA | 3
6 | Modify Ex. Wet Well Rim Elevation | VF | 1
7 | Replace Existing Top Slab, wet well | EA | 1
8 | Aluminum Hatch Cover, 36" x 72", single or double door (wetwell) | EA | 1
9 | 2" S.S.Pump Guide Rail System | LF | 48
10 | Remove Ex. Liner | SF | 1077
11 | Liner, spray-on | SF | 1115
12 | Grout Fill Ex. Drain, abandon | EA | 1
13 | Gate Valve, FLG, 10" | EA | 3
14 | Swing Check Valve, FLG, 10" | EA | 2
15 | Gate Valve, MJ, 12" | EA | 1
16 | Pipe
16.1 | DI, FLG, 10" | LF | 10
16.2 | PVC (DR-18), 12" | LF | 40
16.3 | Intentionally Left Blank
17 | Ductile Iron Fittings
17.1 | Tee, FLG, 10" | EA | 2
17.2 | 45, FLG, 10" | EA | 2
17.3 | 90, FLG, 10" | EA | 2
17.4 | Reducer, MJ, 10"x12" | EA | 1
17.5 | 90, MJ, 12" | EA | 1
17.6 | 45, MJ, 12" | EA | 3
17.7 | Foster Adapter, 12" | EA | 1
18 | Quick Coupler Adapter, aluminum, male w/ aluminum dust cap, 6" | EA | 1
19 | S.S. Adjustable Valve Supports, FLG attachment | EA | 4
20 | Abandon Existing Structure | EA | 1
21 | Complete Removal of Existing Structure | EA | 1
22 | Reinforced Concrete Slab & Permitting
22.1 | emergency backup pump | CY | 2
22.2 | odor control | CY | 3
23 | Influent Line Plug, 10" | EA | 1
24 | By-Pass Pumping System, w/ 24 hr operator | LS | 1
25 | Water Service Connection and Line, 2" | LF | 240
26 | Replace Ex. Tapping Saddle; Install Brass Plug | EA | 1
27 | Install Backflow, Meter, & Hose Bibb Assembly | EA | 1
28 | Intentionally Left Blank
29 | Remove & Replace Electric Meter Can | EA | 1
30 | Remove & Replace Fused Safety Switch (disconnect) | EA | 1
31 | Remove & Replace Control Panel, mechanically vented | EA | 1
31.1 | Includes TCU Bubbler Unit (RPT-001) by DFS | EA | 1
32 | TCU & Fiberglass Enclosure, DFS | EA | 1
33 | Junction Box, 304 SS | EA | 1
34 | Remove & Replace Sch 80 PVC Conduit
34.1 | 1" | LF | 45
34.2 | 2" | LF | 30
34.3 | Intentionally Left Blank
35 | Remove & Replace Electrical Service | LF | 10
36 | Remove & Replace Electrical Mounting Structure | EA | 1
36.1 | Electrical Mounting Rack Extension for ATS Enclosure | LS | 1
37 | Elect. System Study & Elect. Study Analysis, (NFPA 70E), complete | LS | 1
37.1 | Contractor efforts to coordinate with Rozel, LLC | LS | 1
38 | Remove Ex. Generator and ATS Equipment | LS | 1
39 | Intentionally Left Blank
40 | Remove Antenna Concrete Base | EA | 1
41 | Remove Ex. Concrete Pads, Piping, and Conduit | LS | 1
42 | Concrete Repair, Wet Well, 2" thick (if required) | SF | 558
43 | Intentionally Left Blank
44 | Sodding | SY | 500
45 | New Conc. Floor & Fillet | CY | 5
46 | Flow Meter, incl. Electrical, complete (McCrometer UM06), 10" | EA | 1
47 | Install Odor Control Stub-outs
47.1 | 6" PVC | LF | 5
47.2 | 2" PVC | LF | 5
48 | Intentionally Left Blank
49 | Intentionally Left Blank
49.1 | Intentionally Left Blank
49.2 | Intentionally Left Blank
Rehabilitation Subtotal |  |  |  |  | 0
LIFT STATION EMERGENCY BACK-UP PUMP
50 | Emergency Back-up Pump & Fuel Tank | LS | 1
51 | e-Pump Piping
51.1 | * HDPE (DR-11), 8", suction line (see note 2 below) | LF | 30
51.2 | * HDPE (DR-11, 8", discharge line (see note 2 below) | LF | 30
51.3 | PVC, 2", drain line | LF | 12
52 | Sch 80 PVC Conduit, 1" | LF | 15
53 | Level Transducer, GXS3-PP300-A49-B49-50-C01-D49 | EA | 1
54 | PVC Stilling Well, 6" | LF | 28
|  | Back-up Pump SubTotal Construction Cost |  |  | 0
Subtotal Construction Cost |  |  |  |  | 0
55 | Mobilization* | LS | 1
56 | Record Drawings* | LS | 1
Total Base Bid Based on Completion time of 240 Calendar Days |  |  |  |  | 0
57 | Contract Contingency (10% of Subtotal Construction Cost) | 10% | 1 |  | 0
TOTAL BASE BID PRICE INCLUDING CONTINGENCE COSTS BASED ON 240 CALENDAR DAY COMPLETION |  |  |  |  | 0

## Memphis Rd
APPENDIX K
BID PRICING FORM
SATELLITE LIFT STATION R&R MEMPHIS RD
Bid BASED ON 240 CALENDAR DAY FOR COMPLETION
Bidder must provide a prices for each line item for their bid to be considered responsive.
ITEM NO. | DESCRIPTION | U/M | QTY. | UNIT PRICE | EXTENDED PRICE ($)
LIFT STATION REHABILITATION
1 | Wet Well Cleaning | SF | 1284
2 | Wet Well Discharge Piping, HDPE DR-11, 8" | LF | 77
3 | Pump Base Ells, BPIU-16 | EA | 2
4 | Pump Base Ell Mounting Plate | EA | 2
5 | S.S. Pipe Bracing, 12 ft dia. | EA | 4
6 | Intentionally Left Blank
7 | Replace Existing Top Slab, wet well | EA | 1
8 | Aluminum Hatch Cover, 36" x 72", single or double door (wetwell) | EA | 1
9 | 2" S.S.Pump Guide Rail System | LF | 57
10 | Remove Ex. Liner | SF | 1284
11 | Liner, spray-on | SF | 1284
12 | Grout Fill Ex. Drain, abandon | EA | 1
13 | Gate Valve, FLG, 8" | EA | 3
14 | Swing Check Valve, FLG, 8" | EA | 2
15 | Gate Valve, MJ, 12" | EA | 1
16 | Pipe
16.1 | DI, FLG, 8" | LF | 10
16.2 | PVC (DR-18), 12" | LF | 94
16.3 | PVC (DR-26), 18" | LF | 56
17 | Ductile Iron Fittings
17.1 | Tee, FLG, 8" | EA | 2
17.2 | 45, FLG, 8" | EA | 2
17.3 | 90, FLG, 8" | EA | 2
17.4 | Reducer, MJ, 8"x12" | EA | 1
17.5 | 90, MJ, 8" | EA | 1
17.6 | 45, MJ, 8" | EA | 4
17.7 | Foster Adapter, 12" | EA | 1
18 | Quick Coupler Adapter, aluminum, male w/ aluminum dust cap, 6" | EA | 1
19 | S.S. Adjustable Valve Supports, FLG attachment | EA | 4
20 | Abandon Existing Structure | LS | 1
21 | Complete Removal of Structure | LS | 1
22 | Reinforced Concrete Slab & Permitting
22.1 | Intentionally Left Blank
22.2 | odor control | CY | 3
23 | Influent Line Plug, 18" | EA | 1
24 | By-Pass Pumping System, w/ 24 hr operator | LS | 1
25 | Water Service Connection and Line, 2" | LF | 25
26 | Replace Ex. Tapping Saddle; Install Brass Plug | EA | 1
27 | Intentionally Left Blank
28 | Relocate Ex. Meter, Backflow, & Hose Bibb Assembly | EA | 1
29 | Remove & Replace Electric Meter Can | EA | 1
30 | Remove & Replace Fused Safety Switch (disconnect) | EA | 1
31 | Remove & Replace Control Panel, mechanically vented | EA | 1
31.1 | Includes TCU Bubbler Unit (RPT-001) by DFS | EA | 1
32 | TCU & Fiberglass Enclosure, DFS | EA | 1
33 | Junction Box, 304 SS | EA | 1
34 | Remove & Replace Sch 80 PVC Conduit
34.1 | 1" | LF | 45
34.2 | 2" | LF | 30
34.3 | 3" | LF | 165
35 | Remove & Replace Electrical Service | LF | 30
36 | Remove & Replace Electrical Mounting Structure | EA | 1
36.1 | Electrical Mounting Rack Extension for ATS Enclosure | LS | 1
37 | Elect. System Study & Elect. Study Analysis, (NFPA 70E), complete | LS | 1
37.1 | Contractor efforts to coordinate with Rozel, LLC | LS | 1
38 | Remove Ex. ATS Equipment | LS | 1
39 | New Automatic Transfer Switch, (ASCO Series 300)) | EA | 1
40 | Remove Antenna Concrete Base | EA | 1
41 | Remove Ex. Concrete Pads, Piping, and Conduit | LS | 1
42 | Concrete Repair, Wet Well, 2" thick (if required) | SF | 642
43 | Install New Lift Station Driveway, 6" thick concrete | SY | 80
44 | Sodding | SY | 425
45 | New Conc. Floor & Fillet, 4,000 psi | CY | 5
46 | Flow Meter, incl. Electrical, complete (McCrometer UM06), 8" | EA | 1
47 | Install Odor Control Stub-outs
47.1 | 6" PVC | LF | 16
47.2 | 2" PVC | LF | 16
48 | Maintenance of Traffic | LS | 1
49 | Asphalt Pavement Restoration
49.1 | Base & 1 1/2" S-III) (8" min. thick. Base | SY | 40
49.2 | Mill & Resurface, 1 1/2" S-III | SY | 181
|  |  |  | Rehabilitation Subtotal | 0
LIFT STATION EMERGENCY BACK-UP PUMP
50 | Intentionally Left Blank
51 | Intentionally Left Blank
51.1 | Intentionally Left Blank
51.2 | Intentionally Left Blank
51.3 | Intentionally Left Blank
52 | Intentionally Left Blank
53 | Intentionally Left Blank
54 | Intentionally Left Blank
Generator SubTotal Construction Cost
|  |  |  | Subtotal Construction Cost | 0
55 | Mobilization* | LS | 1
56 | Record Drawings* | LS | 1
Total Base Bid Based on Completion time of 240 Calendar Days |  |  |  |  | 0
57 | Contract Contingency (10% of Subtotal Construction Cost) | 10% |  |  | 0
TOTAL BASE BID PRICE INCLUDING CONTINGENCE COSTS BASED ON 240 CALENDAR DAY COMPLETION |  |  |  |  | 0