## 1M Electrical Rehab
APPENDIX K, BID PRICING FORM 22-TA004115DJ LIFT STATION 1M ELECTRICAL REHABILITATION PROJECT #6101380 |  |  |  | EOC McKim and Creed
Bidders must provide prices for each available line item on each tab for their bid to be considered responsive.
ITEM # | BRIEF DESCRIPTION OF ITEMS | UNIT | ESTIMATED QUANTITY | UNIT PRICE BID A 275 Calendar Days | EXTENDED AMOUNT BID A | UNIT PRICE BID A 275 Calendar Days | EXTENDED AMOUNT BID A | UNIT PRICE BID A 365 Calendar Days | EXTENDED AMOUNT BID A
1 | MOBILIZATION/DEMOBILIZATION | LS | 1 | 77000 | 77000
2 | Site Work | LS | 1 | 5000 | 5000
3 | Mechanical Improvements
3A | Intake Fan | EA | 1 | 24000 | 24000
3B | Exhaust Fan | EA | 1 | 24000 | 24000
3C | Bypass Pumping with Backup | LS | 1 | 70000 | 70000
3D | Building Paint and Patching | LS | 1 | 5000 | 5000
4 | Structural & Architectural
4A | Site Preparation for Building
4A-1 | Excavation | CY | 15 | 40 | 600
4A-2 | Backfill and 57 Stone | CY | 20 | 50 | 1000
4B | Concrete Building
4B-1 | Concrete Building | LS | 1 | 85000 | 85000
4B-2 | Building Installation | LS | 1 | 25000 | 25000
4B-3 | HVAC | LS | 1 | 10000 | 10000
4C | Steel Columns, Beams and Bracing
4C-1 | Steel Columns | EA | 6 | 900 | 5400
4C-2 | Steel Beams | LF | 210 | 80 | 16800
4C-3 | Steel Bracing | LF | 180 | 100 | 18000
4D | Reinforced Concrete Footings | CY | 10 | 600 | 6000
4E | Reinforced Concrete Slabs on Grade | CY | 4 | 450 | 1800
4F | Reinforced Concrete Piers | CY | 2 | 600 | 1200
4G | Reinforced Concrete Elevated Slab | CY | 6 | 1000 | 6000
4H | CMU Mod & Door Assembly | EA | 1 | 13000 | 13000
4I | Front Door Mod & Door Assembly | EA | 1 | 16000 | 16000
4J | Grating, Stairs and Guardrails
4J-1 | Steel Grating | SF | 50 | 50 | 2500
4J-2 | Steel Stairs | RISER | 28 | 200 | 5600
4J-3 | Steel Guardrails | LF | 60 | 70 | 4200
4K | Floor Hatch Modification | EA | 1 | 15000 | 15000
5 | Instrumentation & Controls
5A | Field Cabinets | EA | 1 | 18000 | 18000
5B | Alarm Silence Station | EA | 1 | 1000 | 1000
5C | Field Instrumentation | EA | 1 | 1500 | 1500
6 | Electrical
6A | Main and MCC | EA | 1 | 72000 | 72000
6B | VFD's | EA | 3 | 63000 | 189000
6C | Safety Disconnects, Junction and Terminal Boxes
6C-1 | Junction/Terminal Boxes | EA | 6 | 965 | 5790
6C-2 | Disconnect Switches | EA | 2 | 4000 | 8000
6C-3 | Snap Switches | EA | 2 | 110 | 220
6C-4 | Low Voltage Receptacles | EA | 20 | 55 | 1100
6D | Rigid Conduit | LF | 2400 | 11.6 | 27840
6E | Low Voltage Cables | LF | 11500 | 4.45 | 51175
6F | Instrumentation Cable | LF | 750 | 1.2 | 900
6G | Panelboards | EA | 2 | 5400 | 10800
6H | Dry Transformers | EA | 1 | 7400 | 7400
6I | Cable Trays | LF | 45 | 46 | 2070
6J | Grounding and Bonding | EA | 3 | 250 | 750
6K | Miscellaneous Electric | LS | 1 | 9200 | 9200
7 | Lighting Allowance | 1 LS | 5000 |  | 5000 |  | 5000 |  | 5000
8 | Permit Allowance | 1 LS | 5000 |  | 5000 |  | 5000 |  | 5000
9 | Record Drawings | 1 LS | 5000 |  | 5000 |  | 5000 |  | 5000
SUBTOTAL FOR 1M ELECTRICAL REHABILITATION |  |  |  |  | 859845
10 | Contract Contingency (Used with County Authorization only) | 10% | 1 |  | 85984.5
TOTAL BID FOR 1M ELECTRICAL REHABILITATION |  |  |  |  | 945900 |  | 0 |  | 0
BIDDER NAME________________________________________________
BIDDER SIGNATURE___________________________________________

## LS 12A Pump, VFD & Elec Rehab
APPENDIX K, BID PRICING FORM REVISED 22-TA004115DJ LIFT STATION 12A PUMP, VFD'S, and ELECTRICAL REHABILITATION PROJECT #'s 6101480, 6101680 |  |  |  | EOC McKim & Creed
Bidders must provide prices for each available line item on each tab for their bid to be considered responsive.
ITEM # | BRIEF DESCRIPTION OF ITEMS | UNIT | ESTIMATED QUANTITY | UNIT BID PRICE | AMOUNT | UNIT PRICE BID A 275 Calendar Days | EXTENDED AMOUNT BID A | UNIT PRICE BID A 365 Calendar Days | EXTENDED AMOUNT BID A
LIFT STATION 12A PUMP AND VFD's PROJECT #6101680
1 | MOBILIZATION/DEMOBILIZATION | LS | 1 |  | 110000
3 | Mechanical Improvements
3A | Mechanical Piping Demolition | LS | 1 | 53600 | 53600
3B | Dry Pit Submersible Pumps and Installation | EA | 3 | 212000 | 636000
3C | Sanitary Bypass Pumping with Backup | LS | 1 | 150000 | 150000
3D | 16'' x 12'' FLG C110-LR 90 REDUCING BEND | EA | 1 | 2900 | 2900
3E | 16'' x 16'' x 12'' FLG C110 TEE | EA | 1 | 4300 | 4300
3F | 18'' x 16'' FLG C110-CONCENTRIC REDUCER | EA | 1 | 2900 | 2900
3G | 18'' x 18'' x 12'' FLG C110 TEE | EA | 1 | 5300 | 5300
3H | 18'' FLG C110 45 BEND | EA | 2 | 3100 | 6200
3I | 18" FLANGE ADAPTER | EA | 1 | 600 | 600
3J | 18'' x 18'' x 12'' FLG C110 WYE | EA | 1 | 5300 | 5300
3K | 12'' BLIND FLANGE | EA | 1 | 800 | 800
3L | 12'' FLG C110-SR 90 BEND w/ BASE | EA | 3 | 1800 | 5400
3M | 16'' FLG FLG FABRICATED PIPE CL-53 3'6'' | EA | 1 | 6100 | 6100
3N | 18'' FLG FLG FABRICATED PIPE CL-53 1'0'' | EA | 1 | 4600 | 4600
3O | 18'' FLG FLG FABRICATED PIPE CL-53 2'1'' | EA | 1 | 5800 | 5800
3P | 18'' FLG FLG FABRICATED PIPE CL-53 2'6'' | EA | 1 | 6200 | 6200
3Q | 12'' TORUSEAL SBR GASKET | EA | 1 | 18.09 | 18.09
3R | 16'' TORUSEAL SBR GASKET | EA | 1 | 36.52 | 36.52
3S | 18'' TORUSEAL SBR GASKET | EA | 1 | 78 | 78
3T | 12" Plug Valve | EA | 3 | 3900 | 11700
3U | 8" Check Valve | EA | 3 | 4400 | 13200
3V | 8" Flexible Connector | EA | 3 | 1100 | 3300
3W | 8'' FLG FLG FABRICATED PIPE CL-53 2'2'' | EA | 3 | 1900 | 5700
3X | 12" x 8" x 8" 90 Side Out | EA | 1 | 2300 | 2300
3Y | 8" x 6" 90 Reducing Bend | EA | 1 | 800 | 800
3Z | 6" Dump Gate Valve | EA | 1 | 1000 | 1000
3AA | Pipe Support | EA | 1 | 1000 | 1000
3BB | Building Paint and Pathing | LS | 1 | [6 empty] | ADDED
6 | Electrical
6B | VFD's | EA | 3 | 63000 | 189000
9 | Record Drawings | 1 LS | 3000 | 3000 | 9000000 |  | 3000 |  | 3000
SUBTOTAL FOR PUMP and VFD |  |  |  |  | 10234132.61
LIFT STATION 12A ELECTRICAL REHABILITATION PROJECT #6101480
1 | MOBILIZATION/DEMOBILIZATION | LS | 1 |  | 46000
2 | Site Work | LS | 1 |  | 5000
Structural and Architectural
4A | Site Preparation for Building
4A-1 | Excavation | CY | 15 | 40 | 600
4A-2 | Backfill and 57 Stone | CY | 20 | 50 | 1000
4B | Concrete Building
4B-1 | Concrete Building | LS | 1 | 85000 | 85000
4B-2 | Building Installation | LS | 1 | 25000 | 25000
4B-3 | HVAC | LS | 1 | 10000 | 10000
4C | Steel Columns, Beams and Bracing
4C-1 | Steel Columns | EA | 6 | 900 | 5400
4C-2 | Steel Beams | LF | 210 | 80 | 16800
4C-3 | Steel Bracing | LF | 180 | 100 | 18000
4D | Reinforced Concrete Footings | CY | 10 | 600 | 6000
4E | Reinforced Concrete Slabs on Grade | CY | 4 | 450 | 1800
4F | Reinforced Concrete Piers | CY | 2 | 600 | 1200
4G | Reinforced Concrete Elevated Slab | CY | 6 | 1000 | 6000
4H | CMU Mod & Door Assembly | EA | 1 | 10000 | 10000
4I | Front Door Mod & Door Assembly | EA | 1 | 12000 | 12000
4J | Grating, Stairs and Guardrails
4J-1 | Steel Grating | SF | 50 | 50 | 2500
4J-2 | Steel Stairs | RISER | 28 | 200 | 5600
4J-3 | Steel Guardrails | LF | 60 | 70 | 4200
4K | Floor Hatch Modification | EA | 1 | 15000 | 15000
5 | Instrumentation & Controls
5A | Field Cabinets | EA | 1 | 18000 | 18000
5B | Alarm Silence Station | EA | 1 | 1000 | 1000
5C | Field Instrumentation | EA | 1 | 1500 | 1500
6 | Electrical
6A | Main and MCC | EA | 1 | 53000 | 53000
6C | Safety Diconnects, Junction and Terminal Boxes
6C-1 | Junction/Terminal Boxes | EA | 6 | 970 | 5820
6C-2 | Disconnect Switches | EA | 2 | 4000 | 8000
6C-3 | Snap Switches | EA | 2 | 105 | 210
6C-4 | Low Voltage Receptacles | EA | 20 | 55 | 1100
6D | Rigid Conduit | LF | 1985 | 14.6 | 28981
6E | Low Voltage Cables | LF | 12600 | 3.8 | 47880
6F | Instrumentation Cable | LF | 870 | 1.15 | 1000.5
6G | Panelboards | EA | 2 | 5400 | 10800
6H | Dry Transformers | EA | 1 | 7400 | 7400
6I | Cable Trays | LF | 45 | 45 | 2025
6J | Grounding and Bonding | EA | 3 | 250 | 750
6K | Demolition | LS | 1 | 7500 | 7500
6L | Temporary Wiring | LS | 1 | 1600 | 1600
7 | Lighting Allowance | 1 LS | 5000 | 5000 | 25000000 |  | 5000 |  | 5000
8 | Permit Allowance | 1 LS | 5000 | 5000 | 25000000 |  | 5000 |  | 5000
9 | Record Drawings | 1 LS | 2000 | 2000 | 4000000 |  | 2000 |  | 2000
SUBTOTAL FOR ELECTRICAL REHABILITATION |  |  |  |  | 54473666.5
SUBTOTAL FOR 12A PUMP, VFD, and ELECTRICAL
10 | Contract Contingency (Used with County Authorization only) | 10% | 1 |  | 2723683.325
TOTAL BID FOR 12A PUMP, VFD'S, AND ELECTRICAL REHABILITATION |  |  |  |  | 57197349.825
BIDDER NAME________________________________________________
BIDDER SIGNATURE___________________________________________

## 13A Wetwell
APPENDIX K, BID PRICING FORM 22-TA004115DJ LIFT STATION 13A WETWELL and ELECTRICAL REHABILITATION PROJECT #'s 6101580, 6101581 |  |  |  | EOC McKim & Creed
Bidders must provide prices for each available line item on each tab for their bid to be considered responsive.
ITEM # | BRIEF DESCRIPTION OF ITEMS | UNIT | ESTIMATED QUANTITY | UNIT BID PRICE | AMOUNT | UNIT PRICE BID A 275 Calendar Days | EXTENDED AMOUNT BID A | UNIT PRICE BID A 365 Calendar Days | EXTENDED AMOUNT BID A
LIFT STATION 13A WETWELL PROJECT #6101581
1 | MOBILIZATION/DEMOBILIZATION | LS | 1 | 28000 | 28000
3 | Mechanical Improvements
3A | Intake Fan | EA | 1 | 10300 | 10300
3B | Exhaust Fan | EA | 1 | 10200 | 10200
3C | Sanitary Bypass Pumping with backup | LS | 1 | 75000 | 75000
3D | Building Paint and Patching | LS | 1 | 5000 | 5000
3E | 6-inch Dump Gate Valve | EA | 1 | 515 | 515
3F | Pipe Supports | EA | 1 | 1000 | 1000
3G | 12" x 12" x 12" 90 Side Out | EA | 1 | 830 | 830
3H | 12" x 6" 90 Reducing Bend | EA | 1 | 730 | 730
3I | Stop Guides | EA | 3 | 7800 | 23400
3J | Removal and Reinstallation of Grinder Pump | EA | 1 | 4000 | 4000
4 | Structural & Architectural
4B | Concrete Building
4H | Floor Hatch Modification | EA | 1 | 15000 | 15000
4I | Wet Well Remove Existing Coating | SF | 1850 | 8 | 14800
4J | Wet Well Concrete Repairs | SF | 750 | 40 | 30000
4K | Wet Well New Coating | SF | 1850 | 15 | 27750
4L | Wet Well FRP Grating | SF | 32 | 45 | 1440
9 | Record Drawings | 1 LS | 1000 | 1000 | 1000 |  | 1000 |  | 1000
SUBTOTAL FOR WETWELL |  |  |  |  | 248965
LIFT STATION 13A ELECTRICAL REHABILITATION PROJECT #6101580
1 | MOBILIZATION/DEMOBILIZATION | LS | 1 | 60000 | 60000
2 | Site Work | 1 LS | 1 | 5000 | 5000
3 | Mechanical Improvements
4 | Structural & Architectural
4A | Site Preparation for Building
4A-1 | Excavation | CY | 15 | 40 | 600
4A-2 | Backfill and 57 Stone | CY | 20 | 50 | 1000
4B | Concrete Building
4B-1 | Concrete Building | LS | 1 | 75000 | 75000
4B-2 | Building Installation | LS | 1 | 25000 | 25000
4B-3 | HVAC | LS | 1 | 10000 | 10000
4C | Demo Existing Concrete Stair and Install FRP | LS | 1 | 25000 | 25000
4D | Louver Modification and Door Assembly | LS 1 | 1 | 15000 | 15000
4E | Reinforced Concrete Slabs on Grade | CY | 20 | 450 | 9000
4F | Front Door Mod & Door Assembly | EA | 1 | 12000 | 12000
4G | Aluminimum Stairs | RISER | 6 | 800 | 4800
5 | Instrumentation & Controls
5A | Field Cabinets | EA | 1 | 15000 | 15000
5B | Alarm Silence Station | EA | 1 | 1000 | 1000
5C | Field Instrumentation | EA | 1 | 1500 | 1500
6 | Electrical
6A | Main and MCC | EA | 1 | 73000 | 73000
6B | VFD's | EA | 3 | 69000 | 207000
6C | Safety Diconnects, Junction and Terminal Boxes
6C-1 | Junction/Terminal Boxes | EA | 6 | 970 | 5820
6C-2 | Disconnect Switches | EA | 2 | 4000 | 8000
6C-3 | Snap Switches | EA | 2 | 105 | 210
6C-4 | Low Voltage Receptacles | EA | 20 | 55 | 1100
6D | Rigid Conduit | LF | 3800 | 13.7 | 52060
6E | Low Voltage Cables | LF | 15900 | 4.3 | 68370
6F | Instrumentation Cable | LF | 900 | 1.15 | 1035
6G | Panelboards | EA | 2 | 5400 | 10800
6H | Dry Transformers | EA | 1 | 7400 | 7400
6I | Cable Trays | LF | 45 | 45 | 2025
6J | Grounding and Bonding | EA | 3 | 250 | 750
6K | Demolition | LS | 1 | 7500 | 7500
6L | Temporary Wiring | LS | 1 | 3500 | 3500
6M | Ductbanks | CY | 95 | 110 | 10450
7 | Lighting Allowance | 1 LS | 5000 | 5000 | 5000 |  | 5000 |  | 5000
8 | Permit Allowance | 1 LS | 5000 | 5000 | 5000 |  | 5000 |  | 5000
9 | Record Drawings | 1 LS | 4000 | 4000 | 4000 |  | 4000 |  | 4000
SUBTOTAL FOR ELECTRICAL REHABILITATION |  |  |  |  | 732920
SUBTOTAL FOR 13A WETWELL and ELECTRICAL REHABILITATION
10 | Contract Contingency (Used with County Authorization only) | 10% | 1 |  | 36646
TOTAL BID FOR 13A WETWELL AND ELECTRICAL REHABILITATION |  |  |  |  | 769566
BIDDER NAME__________________________________________________
BIDDER SIGNATURE____________________________________________