## 22-TA004498 Bid Form
APPENDIX K, BID PRICING FORM (FILLABLE)
INVITATION FOR BID CONSTRUCTION 23-TA004498SAM
CORTEZ BOOSTER PUMP STATION UPGRADES
PROJECT NO.6050771
*To be considered responsive, Bidders must provide prices for each line item and it is the sole responsibility of the Bidder to correctly calculate and manually enter all sub-total, contingency, and total bid price fields.
ITEM # | BRIEF DESCRIPTION OF ITEMS | UNIT | ESTIMATED QUANTITY | UNIT BID PRICE | AMOUNT
1 | MOBILIZATION/DEMOBILIZATION | LS | 1 |  | 0
2 | Site Work | LS | 1 |  | 0
3 | Demolition
3A | Concrete Vault | EA | 1 |  | 0
3B | Valving and Piping | LS | 1 |  | 0
4 | Mechanical Improvements
4A | Pump and Motor Replacement (Pumps #1, 2 & 3) | EA | 3 |  | 0
4A.1 | Spare Pump & Motor | EA | 1 |  | 0
4B | 24-inch Butterfly Valve | EA | 2 |  | 0
4C | 12-inch Gate Valve | EA | 1 |  | 0
4D | 24-inch Pressure Sustaining Valve | EA | 1 |  | 0
4E | 24-inch Ductile Iron Pipe | LF | 152 |  | 0
4F | 24-inch Blind Flange | EA | 2 |  | 0
4G | 24-inch Plug | EA | 1 |  | 0
4H | 24'' 90 Degree Bend | EA | 3 |  | 0
4I | 24'' 11.25 Degree Bend | EA | 1 |  | 0
4J | 24'' x 24" Tee | EA | 1 |  | 0
4K | 2-inch ARV | EA | 2 |  | 0
4L | Pipe Supports | EA | 7 |  | 0
4M | Bollards | EA | 8 |  | 0
4N | Equipment Pads | CY | 4 |  | 0
4O | Thrust Blocks | CY | 10 |  | 0
4P | Temporary By Passing Operation | LS | 1 |  | 0
4Q | 24" BFV (Pneumatic Operated) and Valve Vault with Single Leaf Aluminum Access Hatch | LS | 1 |  | 0
4R | 24" Tank Outlet Vortex Baffle | LS | 1 |  | 0
Mechanical Improvements - CROM TANK
4Q | Mixer | EA | 1 |  | 0
4R | Inlet Pipe at Crom Tank | LS | 1 |  | 0
5 | Instrumentation & Controls
5A | Field Equipment | LS | 1 |  | 0
5B | Panel Equipment | LS | 1 |  | 0
5C | Network Modifications Cable | LS | 1 |  | 0
5D | Spare Parts | LS | 1 |  | 0
5E | System Integration, Start Up, Testing and Software Implementation | LS | 1 |  | 0
6 | Electrical
6A | VFD (Variable Frequency Drives) | EA | 3 |  | 0
6B | Motor Control Center with Main | EA | 1 |  | 0
6C | Electrical Demolition | LS | 1 |  | 0
6D | Temporary Wiring | LS | 1 |  | 0
6E | Safety Disconnects, Junction and Terminal Boxes | EA | 4 |  | 0
6F | Rigid Conduit | LF | 1800 |  | 0
6G | Low Voltage Cables | LF | 6474 |  | 0
6H | Instrumentation Cable | LF | 100 |  | 0
6I | Grounding and Bonding (Equipment Ground part of Low Voltage Cables)
6I-1 | Ground Rods | EA | 3 |  | 0
6I-2 | Bare Copper Cable #8 | LF | 25 |  | 0
6I-3 | Insulated Cable #8 | LF | 40 |  | 0
7 | Permit Allowance | 1 LS | 1 | 5000 | 5000
8 | Record Drawings | 1 LS | 1 |  | 0
SUBTOTAL FOR ITEMS 1 THRU 8
9 | Contract Contingency (Used with prior County approval only) | 10% | 1
TOTAL BID FOR 280 DAY CONSTRUCTION COMPLETION (subtotal + Item 9)