## MLS LWR (hidden)
Bid Form
Manatee County
Master Lift Station Lakewood Ranch (MLS LWR)
ITEM | DESCRIPTION | QUANTITY |  | UNIT PRICE | AMOUNT
I. MISCELLANEOUS
1 | Mobilization | 1 | LS
2 | Project Signs | 2 | EA
3 | Preconstruction Video | 1 | LS
4 | Field Recognissance / Utility Locates & Coordination | 1 | LS
5 | Sanitary Sewer Bypass Pumping and Appurtenances | 1 | LS
6 | Pressure and Leakage Testing of Piping | 1 | LS
8 | Permitting | 1 | LS
9 | Record Drawings | 1 | LS
10 | Demobilization | 1 | LS
SUBTOTAL
II. PROPOSED IMPROVEMENTS
EARTHWORK
11 | Temporary Erosion Control Measures | 1 | LS
12 | Import Fill and Place | 25 | CY
13 | Excavation and Disposal of Unsuitable Material | 25 | CY
14 | Seeding & Sodding | 1 | LS
CIVIL / DEMOLITION
15 | Sidewalk | 360 | SF
16 | Concrete Paving | 9 | CY
17 | Bollards | 2 | EA
18 | Demolition - Electrical Building structural items (doors, louvers, walls) | 1 | LS
19 | Demolition - Generator and Appurtenances (including Exhaust) | 1 | LS
20 | Demolition - Fuel Tank, including fuel lines, appurtenances and structural pad | 1 | LS
21 | Demolition - 12" gate valve | 6 | EA
22 | Demolition - 8" buried gate valve | 1 | EA
23 | Demolition - 10" buried plug valve | 1 | EA
24 | Demolition - ARVs | 2 | EA
25 | Demolition of 12" PVC Pipe (MLS influent piping) | 1 | LS
26 | Demolition - 12" check valve | 3 | EA
27 | Demolition - 12" check valve | 3 | EA
28 | Demolition - 12" flowmeter and wiring | 1 | EA
29 | Demolition of 8", 10", and 12" piping / fittings downstream of pumps (MLS effluent piping), including asphalt driveway | 1 | LS
30 | Demolition of electrical gear, including all appurtenances / conduits, inside Electrical Building | 1 | LS
31 | Demolition of Concrete Flowmeter Vault | 1 | LS
32 | Demolition of Concrete Valve Vault | 1 | LS
33 | Protective Coatings (Piping / Appurtenances) | 1 | LS
34 | Tie-In Connections to Existing 16" PVC pipe downstream of flowmeter pad | 1 | EA
STRUCTURAL / ARCHITECTURAL
35 | Electrical Building Structural - Building Penetrations, CMU infill, Doors, Miscellanous Patching at Wall being Demo'd | 1 | LS
36 | Concrete Pad (Packaged Heat Pump) | 4 | CY
37 | Concrete Pad (Flowmeter) | 14 | CY
38 | Concrete Pad (Generator) | 8 | CY
39 | Wetwell Relining | 1 | LS
40 | Pump / Pipe Supports | 1 | LS
41 | Electrical Building Architectural Finishing, including Stucco | 1 | LS
MECHANICAL / HVAC
42 | Removal and reinstallation of Submersible Pumps and Appurtenances | 3 | EA
43 | Engine Generator and Sub-base Fuel Tank | 1 | EA
44 | Ginder, In-Line | 2 | EA
45 | Pump Influent Piping, Fittings, and Appurtenances (12" DIP) | 1 | LS
46 | Pump Influent Piping, Fittings, and Appurtenances (12" SS) | 1 | LS
47 | Pump Discharge DIP Piping, Fittings, and Appurtenances (8", 10", 12", and 16") | 1 | LS
48 | ARVs | 2 | EA
49 | 12" Gate Valve | 5 | EA
50 | 8" Gate Valve | 3 | EA
51 | 8" Check Valve | 3 | EA
52 | 12" Flowmeter | 1 | EA
53 | Packaged Heat Pump and associated appurtenances | 1 | EA
54 | HVAC Ducting including appurtenances (register/grille) and supports | 1 | LS
ELECTRICAL / I&C
55 | Site electrical ductbanks (including conduit & circuits) | 1 | LS
56 | VFDs | 3 | EA
57 | Switchboard | 1 | EA
58 | Automatic Transfer Switch | 1 | EA
59 | Main Circuit Breaker | 1 | EA
60 | Generator Docking Station | 1 | EA
61 | Lighting Transformer / Lighting Panel | 1 | EA
62 | Lighting Control Panel | 1 | EA
63 | Electrical Building Lighting Fixtures | 1 | LS
64 | RTU Panel | 1 | EA
65 | 12" Flowmeter | 1 | EA
66 | Pressure / level instruments | 1 | LS
MISCELLANEOUS
67 | Miscellaneous Work Not Specifically Described in Bid Form | 1 | LS
SUBTOTAL
68 | Contingency (10% of Subtotal)
TOTAL

## Bid A
Appendix K, Bid Pricing Form
IFBC NO. 23-TA004595SAM
Improvements at Master Lift Station 39A (MLS 39A)
BID FORM 'A' BASED ON 425 CALENDAR DAYS COMPLETION
Bidders shall provide prices for each line item for their bid to be considered responsive. To be considered responsive, it is the sole responsibility of the bidder to correctly calculate and manually enter all sub-total, contingency and total bid price fields.
ITEM | DESCRIPTION | QUANTITY |  | UNIT PRICE | AMOUNT
I. MISCELLANEOUS
1 | Mobilization | 1 | LS |  | 0
2 | Project Signs | 2 | EA |  | 0
3 | Preconstruction Video | 1 | LS |  | 0
4 | Field Recognissance / Utility Locates & Coordination | 1 | LS |  | 0
5 | Sanitary Sewer Bypass Pumping and Appurtenances | 1 | LS |  | 0
6 | Pressure and Leakage Testing of Piping | 1 | LS |  | 0
8 | Permitting | 1 | LS |  | 0
9 | Record Drawings | 1 | LS |  | 0
10 | Demobilization | 1 | LS |  | 0
SUBTOTAL
II. PROPOSED IMPROVEMENTS
EARTHWORK
11 | Temporary Erosion Control Measures | 1 | LS |  | 0
12 | Import Fill and Place | 12 | CY |  | 0
13 | Excavation and Disposal of Unsuitable Material | 12 | CY |  | 0
14 | Seeding & Sodding | 1 | LS |  | 0
SUBTOTAL
CIVIL / DEMOLITION
15 | Sidewalk | 950 | SF |  | 0
16 | Concrete Paving | 9 | CY |  | 0
17 | Concrete Drive | 775 | SF |  | 0
18 | Bollards | 6 | EA |  | 0
19 | HVAC Condensate Drain Sump | 1 | EA |  | 0
20 | Demolition of Miscellaneous Site Features (fencing, door landings, rain gauge, concrete pad to North of pump building | 1 | LS |  | 0
21 | Demolition - Miscellaneous Pump Building (sky lights, fans, doors, louvers) | 1 | LS |  | 0
22 | Demolition - Generator and Appurtenances inside Pump Building (including Exhaust) | 1 | LS |  | 0
23 | Demolition - Fuel Tank, including bollards, fuel lines, appurtenances and structural pad | 1 | LS |  | 0
24 | Demolition - Dry-pit Submersible Pumps | 3 | EA |  | 0
25 | Demolition - 14" gate valve | 5 | EA |  | 0
26 | Demolition - 12" gate valve | 3 | EA |  | 0
27 | Demolition - 12" check valve | 3 | EA |  | 0
28 | Demolition of Pump influent DIP piping (14") | 1 | LS |  | 0
29 | Demolition of Pump effluent DIP piping (8", 12") | 3 | EA |  | 0
30 | Demolition of electrical gear, including all appurtenances / conduits, inside Pump Building | 1 | LS |  | 0
31 | Protective Coatings (Piping / Appurtenances) | 1 | LS |  | 0
SUBTOTAL
STRUCTURAL / ARCHITECTURAL
32 | Prefabricated Electrical Building | 1 | LS |  | 0
33 | Pump Building - Roof Membrane System | 1 | LS |  | 0
34 | Pump Building Structural - Building Penetrations, CMU Infill, Doors, Stucco Recoat, Fascia | 1 | LS |  | 0
35 | Concrete Pad, including equipment pad (Condensing Unit) | 2.5 | CY |  | 0
36 | Concrete Pad (Generator) | 13.5 | CY |  | 0
37 | Concrete Pad (Electrical Building) | 12 | CY |  | 0
38 | Pump / Pipe Supports | 1 | LS |  | 0
39 | Pump Building Architectural Finishing, including Stucco | 1 | LS |  | 0
SUBTOTAL
MECHANICAL / HVAC
40 | Pump Building Mechanical - Exhaust fans
41 | Dry Pit Submersible Pump (including all appurtenances) | 3 | EA |  | 0
42 | Pump Influent Piping, including Fittings, and Appurtenances (14" DIP) | 1 | LS |  | 0
43 | Pump Discharge Piping, including Fittings, and Appurtenances (12" DIP) | 1 | LS |  | 0
44 | 14" Gate Valve | 5 | EA |  | 0
45 | 12" Check Valve | 3 | EA |  | 0
46 | 12" Gate Vale | 3 | EA |  | 0
47 | Engine Generator and Sub-base Fuel Tank | 1 | EA |  | 0
48 | HVAC Package (Air Handler including Supports, Condenser, and Piping….condensate, refrigerant, etc) | 1 | EA |  | 0
49 | HVAC Ducting including appurtenances (register/grille) and supports | 1 | LS |  | 0
SUBTOTAL
ELECTRICAL / I&C
50 | Site electrical ductbanks (including conduit & circuits) | 1 | LS |  | 0
51 | VFDs | 3 | EA |  | 0
52 | Switchboard | 1 | EA |  | 0
53 | Power Panel | 1 | EA |  | 0
54 | Automatic Transfer Switch | 1 | EA |  | 0
55 | Manual Transfer Switch | 1 | EA |  | 0
56 | Main Circuit Breaker | 1 | EA |  | 0
57 | Generator Docking Station | 1 | EA |  | 0
58 | Lighting Transformer / Lighting Panel | 2 | EA |  | 0
59 | Lighting Control Panel | 1 | EA |  | 0
60 | Pump Building (Upper and Lower Level) Lighting Fixtures | 1 | LS |  | 0
61 | Sump Pump Control Panel | 1 | LS |  | 0
62 | RTU Panel | 1 | EA |  | 0
63 | Pressure / level instruments | 1 | LS |  | 0
SUBTOTAL
SUBTOTAL PRICE (Total of Miscellaneous, Earthwork, Civil / Demolition, Structural / Architectural, Mechanical / HVAC, and Electrical / I&C)
64 | CONSTRUCTION CONTINGENCY COUNTY AUTHORIZED USE ONLY (10% of Subtotal)
TOTAL BID PRICE (Subtotal Price plus the Construction Contingency)

## Bid B
Appendix K, Bid Pricing Form
IFBC NO. 23-TA004595SAM
Improvements at Master Lift Station 39A (MLS 39A)
BID FORM 'B' BASED ON 485 CALENDAR DAYS COMPLETION
Bidders shall provide prices for each line item for their bid to be considered responsive. To be considered responsive, it is the sole responsibility of the bidder to correctly calculate and manually enter all sub-total, contingency and total bid price fields.
ITEM | DESCRIPTION | QUANTITY |  | UNIT PRICE | AMOUNT
I. MISCELLANEOUS
1 | Mobilization | 1 | LS |  | 0
2 | Project Signs | 2 | EA |  | 0
3 | Preconstruction Video | 1 | LS |  | 0
4 | Field Recognissance / Utility Locates & Coordination | 1 | LS |  | 0
5 | Sanitary Sewer Bypass Pumping and Appurtenances | 1 | LS |  | 0
6 | Pressure and Leakage Testing of Piping | 1 | LS |  | 0
8 | Permitting | 1 | LS |  | 0
9 | Record Drawings | 1 | LS |  | 0
10 | Demobilization | 1 | LS |  | 0
SUBTOTAL
II. PROPOSED IMPROVEMENTS
EARTHWORK
11 | Temporary Erosion Control Measures | 1 | LS |  | 0
12 | Import Fill and Place | 12 | CY |  | 0
13 | Excavation and Disposal of Unsuitable Material | 12 | CY |  | 0
14 | Seeding & Sodding | 1 | LS |  | 0
SUBTOTAL
CIVIL / DEMOLITION
15 | Sidewalk | 950 | SF |  | 0
16 | Concrete Paving | 9 | CY |  | 0
17 | Concrete Drive | 775 | SF |  | 0
18 | Bollards | 6 | EA |  | 0
19 | HVAC Condensate Drain Sump | 1 | EA |  | 0
20 | Demolition of Miscellaneous Site Features (fencing, door landings, rain gauge, concrete pad to North of pump building | 1 | LS |  | 0
21 | Demolition - Miscellaneous Pump Building (sky lights, fans, doors, louvers) | 1 | LS |  | 0
22 | Demolition - Generator and Appurtenances inside Pump Building (including Exhaust) | 1 | LS |  | 0
23 | Demolition - Fuel Tank, including bollards, fuel lines, appurtenances and structural pad | 1 | LS |  | 0
24 | Demolition - Dry-pit Submersible Pumps | 3 | EA |  | 0
25 | Demolition - 14" gate valve | 5 | EA |  | 0
26 | Demolition - 12" gate valve | 3 | EA |  | 0
27 | Demolition - 12" check valve | 3 | EA |  | 0
28 | Demolition of Pump influent DIP piping (14") | 1 | LS |  | 0
29 | Demolition of Pump effluent DIP piping (8", 12") | 3 | EA |  | 0
30 | Demolition of electrical gear, including all appurtenances / conduits, inside Pump Building | 1 | LS |  | 0
31 | Protective Coatings (Piping / Appurtenances) | 1 | LS |  | 0
SUBTOTAL
STRUCTURAL / ARCHITECTURAL
32 | Prefabricated Electrical Building | 1 | LS |  | 0
33 | Pump Building - Roof Membrane System | 1 | LS |  | 0
34 | Pump Building Structural - Building Penetrations, CMU Infill, Doors, Stucco Recoat, Fascia | 1 | LS |  | 0
35 | Concrete Pad, including equipment pad (Condensing Unit) | 2.5 | CY |  | 0
36 | Concrete Pad (Generator) | 13.5 | CY |  | 0
37 | Concrete Pad (Electrical Building) | 12 | CY |  | 0
38 | Pump / Pipe Supports | 1 | LS |  | 0
39 | Pump Building Architectural Finishing, including Stucco | 1 | LS |  | 0
SUBTOTAL
MECHANICAL / HVAC
40 | Pump Building Mechanical - Exhaust fans
41 | Dry Pit Submersible Pump (including all appurtenances) | 3 | EA |  | 0
42 | Pump Influent Piping, including Fittings, and Appurtenances (14" DIP) | 1 | LS |  | 0
43 | Pump Discharge Piping, including Fittings, and Appurtenances (12" DIP) | 1 | LS |  | 0
44 | 14" Gate Valve | 5 | EA |  | 0
45 | 12" Check Valve | 3 | EA |  | 0
46 | 12" Gate Vale | 3 | EA |  | 0
47 | Engine Generator and Sub-base Fuel Tank | 1 | EA |  | 0
48 | HVAC Package (Air Handler including Supports, Condenser, and Piping….condensate, refrigerant, etc) | 1 | EA |  | 0
49 | HVAC Ducting including appurtenances (register/grille) and supports | 1 | LS |  | 0
SUBTOTAL
ELECTRICAL / I&C
50 | Site electrical ductbanks (including conduit & circuits) | 1 | LS |  | 0
51 | VFDs | 3 | EA |  | 0
52 | Switchboard | 1 | EA |  | 0
53 | Power Panel | 1 | EA |  | 0
54 | Automatic Transfer Switch | 1 | EA |  | 0
55 | Manual Transfer Switch | 1 | EA |  | 0
56 | Main Circuit Breaker | 1 | EA |  | 0
57 | Generator Docking Station | 1 | EA |  | 0
58 | Lighting Transformer / Lighting Panel | 2 | EA |  | 0
59 | Lighting Control Panel | 1 | EA |  | 0
60 | Pump Building (Upper and Lower Level) Lighting Fixtures | 1 | LS |  | 0
61 | Sump Pump Control Panel | 1 | LS |  | 0
62 | RTU Panel | 1 | EA |  | 0
63 | Pressure / level instruments | 1 | LS |  | 0
SUBTOTAL
SUBTOTAL PRICE (Total of Miscellaneous, Earthwork, Civil / Demolition, Structural / Architectural, Mechanical / HVAC, and Electrical / I&C)
64 | CONSTRUCTION CONTINGENCY COUNTY AUTHORIZED USE ONLY (10% of Subtotal)
TOTAL BID PRICE (Subtotal Price plus the Construction Contingency)

## MLS 27A (hidden)
Bid Form
Manatee County
Master Lift Station 27A (MLS 27A)
ITEM | DESCRIPTION | QUANTITY |  | UNIT PRICE | AMOUNT
I. MISCELLANEOUS
1 | Mobilization | 1 | LS
2 | Project Signs | 2 | EA
3 | Preconstruction Video | 1 | LS
4 | Field Recognissance / Utility Locates & Coordination | 1 | LS
5 | Sanitary Sewer Bypass Pumping and Appurtenances | 1 | LS
6 | Pressure and Leakage Testing of Piping | 1 | LS
8 | Permitting | 1 | LS
9 | Record Drawings | 1 | LS
10 | Demobilization | 1 | LS
SUBTOTAL
II. PROPOSED IMPROVEMENTS
EARTHWORK
11 | Temporary Erosion Control Measures | 1 | LS
12 | Import Fill and Place | 12 | CY
13 | Excavation and Disposal of Unsuitable Material | 12 | CY
14 | Seeding & Sodding | 1 | LS
CIVIL / DEMOLITION
15 | Sidewalk | 150 | SF
16 | Concrete Paving | 5 | CY
17 | Bollards | 5 | EA
18 | HVAC Condensate Drain Sump | 1 | EA
19 | Demolition - Miscellaneous Electrical Building items (fans, doors, louvers) | 1 | LS
20 | Demolition - Miscellaneous Storm Shelter Building items (garage door, personnel door, Exhaust fan) | 1 | LS
21 | Demolition - Drypit Submersible Pumps | 3 | EA
22 | Demolition - Pump Influent DIP piping, fittings, and appurtenances | 1 | LS
23 | Demolition - Pump Discharge DIP piping, fittings, and appurtenances | 1 | LS
24 | Demolition - 16" gate valve | 3 | EA
25 | Demolition - 14" gate valve | 3 | EA
26 | Demolition - 14" check valve | 3 | EA
27 | Demolition of electrical gear, including all appurtenances / conduits, inside Pump Building | 1 | LS
28 | Protective Coatings (Piping / Appurtenances) | 1 | LS
STRUCTURAL / ARCHITECTURAL
29 | Concrete Pad and Equiment Pad (Condensing Unit) | 3 | CY
30 | Concrete Pad and Equipment Pad (Transformer) | 7.5 | CY
31 | Pump / Pipe Supports | 1 | LS
32 | Pump Building Structural (Building penetrations, doors, CMU infill, etc) | 1 | LS
33 | Pump Building Architectural Finishing, including Stucco | 1 | LS
34 | New Electrical Building Architectural Finishing, including Stucco | 1 | LS
MECHANICAL / HVAC
35 | Dry Pit Submersible Pump (including all appurtenances) | 3 | EA
36 | Pump Influent DIP Piping, Fittings, and Appurtenances | 1 | LS
37 | Pump Discharge DIP Piping, Fittings, and Appurtenances | 1 | LS
38 | 16" Gate Valve | 3 | EA
39 | 14" Gate Valve | 3 | EA
40 | 14" Check Valve | 3 | EA
41 | HVAC Package (Air Handler including Supports, Condenser, and Piping….condensate, refrigerant, etc) | 1 | EA
42 | HVAC Ducting including appurtenances (damper, etc) and supports | 1 | LS
ELECTRICAL / I&C
43 | Demolition - Transformer | 1 | LS
44 | Transformer Coordination / Installation | 1 | LS
45 | Site electrical ductbanks (including conduit & circuits) | 1 | LS
46 | VFDs | 3 | EA
47 | MCC | 1 | EA
48 | Power Panel | 1 | EA
49 | Automatic Transfer Switch | 1 | EA
50 | Manual Transfer Switch | 1 | EA
51 | Main Circuit Breaker | 1 | EA
52 | Generator Docking Station | 1 | EA
53 | Lighting Transformer / Lighting Panel | 1 | EA
54 | Lighting Control Panel | 1 | EA
55 | Pump Building (Upper and Lower Floors) Lighting Fixtures | 1 | LS
56 | Electrical Building Lighting Fixtures | 1 | LS
57 | RTU Panel | 1 | EA
58 | Pressure / level instruments | 1 | LS
fire extinguisher (E-03)
MISCELLANEOUS
60 | Miscellaneous Work Not Specifically Described in Bid Form | 1 | LS
SUBTOTAL
61 | Contingency (10% of Subtotal)
TOTAL